## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
“Zera”make portable three phase fully Automatic test system with accessories. Purchased in 2019 | MT781 | Energy Meter Calibration Lab | ZERA | MT781 | 50064717 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Fully automatic Test System with master source and reference meter, accuracy: 0.1 | Energy Meter Calibration Lab | Energy Meter Calibration Lab | 2971801 |  | CALIBRATED EVERY YEAR | Analytical |  | 2971801 |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | ZERA INDIA PVT LTD | zeraindia@zera.co.in | zeraindia@zera.co.in
“Zera”make portable three phase fully Automatic test system with accessories. Purchased in 2022 | MT781 | Energy Meter Calibration Lab | ZERA | MT781 | 50072676 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Fully automatic Test System with master source and reference meter, accuracy: 0.1% | Energy Meter Calibration Lab | Energy Meter Calibration Lab | 3248853 |  | CALIBRATED EVERY YEAR | Analytical |  | 3248853 |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | ZERA INDIA PVT LTD | zeraindia@zera.co.in | zeraindia@zera.co.in
“Zera”make portable reference standard with accessories. Purchased in 2019 | MTi300 | Energy Meter Calibration Lab | ZERA | MTi300 | 190102438 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Reference meter with 0.2% accuracy class | Energy Meter Calibration Lab | Energy Meter Calibration Lab | 352348 |  | CALIBRATED EVERY YEAR | Analytical |  | 352348 |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | ZERA INDIA PVT LTD | zeraindia@zera.co.in | zeraindia@zera.co.in
Digital Earth Tester | DET | Energy Meter Calibration Lab | SONEL | MRU-11 | E70507 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for measuring earth resistance. | Energy Meter Calibration Lab | Energy Meter Calibration Lab | 85196 |  | CALIBRATED EVERY YEAR | Analytical |  | 85196 |  | TESTRON ENGINEERING SOLUTIONS | mkr@testron.in | TESTRON ENGINEERING SOLUTIONS | mkr@testron.in | mkr@testron.in
Advanced Power Quality and Energy Analyser | Power Analyser | Energy Meter Calibration Lab | FLUKE | FLUKE-435-II | 37793103 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits | Energy Meter Calibration Lab | Energy Meter Calibration Lab | 715080 |  | CALIBRATED EVERY YEAR | Analytical |  | 715080 |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com
Advanced Power Quality and Energy Analyser | Power Analyser | Energy Meter Calibration Lab | FLUKE | FLUKE-435-II | 37793103 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits | Energy Meter Calibration Lab | Energy Meter Calibration Lab | 715339 |  | CALIBRATED EVERY YEAR | Analytical |  | 715339 |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com
LED Stroboscope | Stroboscope | Energy Meter Calibration Lab | FLUKE | Fluke-820-2 | 39430025 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits | Energy Meter Calibration Lab | Energy Meter Calibration Lab | 68617 |  | CALIBRATED EVERY YEAR | Analytical |  | 68617 |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com
Digital Temperature Humidity Meter | Temp-Humidity Meter | Energy Meter Calibration Lab | FLUKE | Fluke 971 | 12001009 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits and ensuring laboratory environmental conditions | Energy Meter Calibration Lab | Energy Meter Calibration Lab |  |  | CALIBRATED EVERY YEAR | Analytical |  |  |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com
Digital Light Meter | Lux meter | Energy Meter Calibration Lab | FLUKE | FLUKE- 941 | 43930493 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits and ensuring laboratory environmental conditions | Energy Meter Calibration Lab | Energy Meter Calibration Lab |  |  | CALIBRATED EVERY YEAR | Analytical |  |  |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com
Digital Sound Meter | Sound Meter | Energy Meter Calibration Lab | FLUKE | FLUKE- 945 | 49810053 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits and ensuring laboratory environmental conditions | Energy Meter Calibration Lab | Energy Meter Calibration Lab |  |  | CALIBRATED EVERY YEAR | Analytical |  |  |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com
Digital Multi Meter | Multi Meter | Energy Meter Calibration Lab | FLUKE | FLUKE- 83 V | 28670090 | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits and ensuring laboratory environmental conditions | Energy Meter Calibration Lab | Energy Meter Calibration Lab |  |  | CALIBRATED EVERY YEAR | Analytical |  |  |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com
True RMS Clamp Meter | Clamp Meter | Energy Meter Calibration Lab | FLUKE | FLUKE- 317 | 35960156WS | External | ENERGY MANAGEMENT CENTRE- KERALA | ENERGY METER CALIBRATION LAB | Used for Energy audits and ensuring laboratory environmental conditions | Energy Meter Calibration Lab | Energy Meter Calibration Lab |  |  | CALIBRATED EVERY YEAR | Analytical |  |  |  | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | SINETEC AUTOMATION PVT LTD | accounts@sinetecautomation.com | accounts@sinetecautomation.com