## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Flame photometer (Digital) |  | Room No. 207 | Systronics | 1027 | 545/11801 | External | Grant in Aid, MoEF&CC | Lab Strengthening project | Systronics Photodiode Sodium, Potassium flame Photometer with compressor 126 | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh |  |  | Installed | Characterization/Analytical/Testing Equipment | Born by supplier | Born by supplier |  | Panacea Instruments Pvt. Ltd. | panaceai@yahoo.co.in | Panacea Instruments Pvt. Ltd. | panaceai@yahoo.co.in
pH Meter (Bench top) |  |  | Hanna | HI2002-02 | C1038057, C102901D |  |  |  | Hanna Instruments Bench Type Water Quality Meter/ Analyzer Measuring pH Meter | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Aarohi Enterprises | Not Mentioned | Aarohi Enterprises | Not Mentioned
Magnetic Stirrer |  |  | Not Mentioned | TTR-77 | Not Mentioned |  |  |  | KEMI Mild Steel Electronically Controlled Magnetic Stirrers | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh
Turbidity Meter (digital) |  |  | Not Mentioned | TB200 | Not Mentioned |  |  |  | Automatic Benchtop Turbidity Meter , Range 0-1000 NTU in 3 ranges | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh
Conductivity meter |  |  | Mettler Toledo | Not Mentioned | Not Mentioned |  |  |  | Mettler Toledo Automatic/Manual 0.01 Digital Conducyivity Meter | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Om Techno Systems | omtechnosystems@gmail.com | Om Techno Systems | omtechnosystems@gmail.com
Muffle Furnace (1200 °C) |  |  | Rescholar | RG100-21 | 1081 |  |  |  | Rescholar LED Display R type Kanthal A1 Muffle Furnace | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Rescholar Devices | rdevices@gmail.com | Rescholar Devices | rdevices@gmail.com
Hot Air Oven - digital |  |  | BP Labsol | Not Mentioned | Not Mentioned |  |  |  | BP Labsol 3000 Watt 252 L Hot Air Oven | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Education Lab Solution | educationlabsolution@gmail.com | Education Lab Solution | educationlabsolution@gmail.com
Bacteriological Incubator |  |  | Creative Lab World | Not Mentioned | Not Mentioned |  |  |  | Creative Lab WorldLCD Display Bacteriological Incubator | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh
Water Bath (SS), 16 holes |  |  | LFAS | Not Mentioned | Not Mentioned |  |  |  | LFAS >14 to 18 L Chamber Capacity Water Bath | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh
Humidity Chamber |  |  | HTICO | Not Mentioned | Not Mentioned |  |  |  | HTICO LED Display Humidity Chamber, Range +10% RH to 95% RH | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Bhargava Enterprises | verma.rk29@gmail.com | Bhargava Enterprises | verma.rk29@gmail.com
BOD Incubator |  |  | Not Provided | Not Mentioned | Not Mentioned |  |  |  | BOD Incubator | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh
Compound Microscope |  |  | Radical Scientific Equipment | RXLr-4EX | Not Mentioned |  |  |  | LED mnicroscope | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Radical Scientific Equipment | info@radicalscientific.com | Radical Scientific Equipment | info@radicalscientific.com
Air Handy Sampler |  |  | Vaibhav Equipment Service | VHS 23T | E-11-X-54, E-12-X-55 |  |  |  | Handy Air Sampler | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Vaibhav Equipment Service | vaibhavequipment@gmail.com | Vaibhav Equipment Service | vaibhavequipment@gmail.com
Digital Thermometer |  |  | Metravi | ET-99IR | 220311134, 220311057, 220311102 |  |  |  | LCD Display, -10 to 70 degree Celcius | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Techntronix | techntronix@bsnl.in | Techntronix | techntronix@bsnl.in
Autoclave |  |  |  | STE-001 |  |  |  |  | Autoclave (ICMR Specs) (Q3) | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh | [7 empty] | Star Techno Engineering Pvt. Ltd. |  | Star Techno Engineering Pvt. Ltd.
Handheld GPS |  |  | Garmin | eTrex 10 | 53D747160, 53D747162 |  |  |  | Handheld GPS | CPCB RD Chandigarh | Environmantal Laboratory of CPCB RD Chandigarh |  |  | installed |  |  |  |  | Education Lab Solution | educationlabsolution@gmail.com | Education Lab Solution | educationlabsolution@gmail.com