## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
P M 2 5 Sampler | PM 2.5 Sampler | Stilt Room 2 Ground Floor | Thermo Environmental Instruments Inc. | PARASOL 2000I | 2000I202091205 | External Funding | CPCB, Delhi | Own project | PM2.5 monitoring | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 590539 | cpcb.nic.in | Working | Monitoring Equipment |  |  |  | M/s Thermo Fisher Scientific,27,Forge Parkway Franklin MA | customerservice.aqc@thermofisher.cpm | M/s Thermo Fisher Scientific India Pvt, C-327,TTC Indusrial area ,Navi Mumbai | santanu.behera@thermofisher.com | bdpandey.cpcb@gov.in
Gas Chromatograph | GC | 302/Meteorological Station | Agilent Technologies, Singapore | G4514A | CN12111094 | External Funding | CPCB, Delhi | Own project | Gas chromatography | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 2196215 | cpcb.nic.in | Working | Pesticides & Herbisides analysis |  |  |  | M/s Agilent Technologies, Singapore | ccc-smt@agilent.com | M/s Agilent Technologies,india pvt ltd, Plot no.08, G/F Eligance Tower,Jasola District centre,New delhi | customercare.india@agilent.com | manojsharma.cpcb@gov.in
Auto Clave | Auto Clave | 201/Microbiology Laboratory | Lab Services | NA | 1047 | External Funding | CPCB, Delhi | Own project | Bacteriological analysis | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 116955 | cpcb.nic.in | Working | Microbial sterilisation |  |  |  | M/s Lab Services,198,GIDC-Makarpura,Baroda | sales@labserviceindia.com | M/s Lab Services,198,GIDC-Makarpura,Baroda | sales@labserviceindia.com | bdpandey.cpcb@gov.in
P M 2 5 Sampler | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2109 | External Funding | CPCB, Delhi | Own project | PM2.5 sampler | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 1136357 | cpcb.nic.in | Working | Ambient Air monitoringequipment |  |  |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
P M 2 5 Sampler | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2112 | External Funding | CPCB, Delhi | Own project | PM2.5 sampler | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 1136357 | cpcb.nic.in | Working | Ambient Air monitoringequipment |  |  |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
P M 2 5 Sampler | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2113 | External Funding | CPCB, Delhi | Own project | PM2.5 sampler | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 1136357 | cpcb.nic.in | Working | Ambient Air monitoringequipment |  |  |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
P M 2 5 Sampler | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2214 | External Funding | CPCB, Delhi | Own project | PM2.5 sampler | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 1136357 | cpcb.nic.in | Working | Ambient Air monitoringequipment |  |  |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
Gas Chromatography Mass Spectrometry | GCMS | 302/GCMS | Perkin Elmer | Clrus680+SQ&M | 680815074,648N5060202 | External Funding | CPCB, Delhi | Own project | Gas chromatography-Mass Spectroscopy | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 5314635 | cpcb.nic.in | Working | Pesticides & Herbisides analysis |  |  |  | M/s Perkin Elmer singapore pvt ltd,28 ayer rajan crescent,08-01,singapore-139959 | sgsales@perkinelmer.com | Perkin Elmer(India) Pvt.Ltd,8th floor Ghodbandar Road, Kasarvadavali,Thane(West)-400615 | las-india.servicerequest@perkinnlmer.com | manojsharma.cpcb@gov.in
Auto Ignition Flame Photometer | FPM | 204/instrumentation lab | Systronics | 1027 | 26/10467 | External Funding | CPCB, Delhi | Own project | Flame igition spectrohotometer | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 90860 | cpcb.nic.in | Working | Alkaline Earth metals analysis |  |  |  | M/S Systronics(india),89-92,Narmada industrial Area,Naroda,Ahmedabad | sales@systronicsindia.com | M/S Systronics(india),89-92,Narmada industrial Area,Naroda,Ahmedabad | service.ahd@systronicsindia.com | bdpandey.cpcb@gov.in
BOD Incubator | BOD Incubator | 203/HOT ROOM | Dinesh Scientific | DS-BOD-336 | DS-BOD-336 | External Funding | CPCB, Delhi | Own project | BOD sample incubation | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 240869 | cpcb.nic.in | Working | BOD testing |  |  |  | M/S Innovative Engineers,1079,Bengali Mohalla,Ambala cant,Haryana-133001 | innovativeengineers17@gmail.com | M/S Innovative Engineers,1079,Bengali Mohalla,Ambala cant,Haryana-133001 | innovativeengineers17@gmail.com | bdpandey.cpcb@gov.in
Portable TOC or HC Analyzer | TOC/HC Analyzer | 303-A/Pre Treatment room | Pollution Analytical Italy | Polaris FID | PF918BH | External Funding | CPCB, Delhi | Own project | TOC/Hcanalyser | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 2835360 | cpcb.nic.in | Working | TOC/HC analysis |  |  |  | M/s Pullution Analytical Equipment,Guitzzardi-53-40054,Buddio(B.O),Italy | www.pollution@pollution.it | Mars Bioanalyticals Pvt.Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
Water Purification System | WPS | 204/instrumentation lab | ELGA | Purelab Chorus II+With RO+EDI+UV10 | CRS00017996,Flex-2-FLA-00016533 | External Funding | CPCB, Delhi | Own project | Water purifier | Central Pollution Control Board Regional Directorate Vadodara | Regional Laboratory CPCB Vadodara | 1077869 | cpcb.nic.in | Working | Nano pure water system |  |  |  | M/s Elga Lab Lane End Industrial Park High Wycombe,HP-143BY,UK | www.elgalabwater.com | Metrom Pvt Ltd, Siri tower,3&4 floors Fourts Avanue, Annal Indira Nagar,Okkayam, Thoraipakkam,Chennai-600097 | info@metrohm..in | bdpandey.cpcb@gov.in