## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Integrated Sphere | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for electrical and photometric parameters of luminaries | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT | Purchased and Supplied by Central Power Research Institute, Bangalore |  | Calibration pending. The training for the test personel is also pending. NABL accreditation for the lab is under process | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
Glow wire test Apparatus | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Glow Wire Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
Endurance Test High Temp (45 degree C) Life Test System cum switching cycle test system | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Endurance Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
BALL PRESSURE TEST UNIT | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Ball Pressure Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
TORSION TEST EQUIPMENT | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Torsion Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
AXIAL PULL TEST APPARATUS | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Axial Pull Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
BENDING TEST | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Bending Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
ELECTRIC SHOCK TEST UNIT | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Electric Shock Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
ELECTRIC OVEN TO CHECK LED GEARS AND DRIVERS | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used to Check LED gears and Drivers | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
DEEP FREEZER | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Deep Freezer Test for LED Lamps | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
HOT AIR OVEN | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used forHot Air Oven Test for LED Lamps | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
CAP TEMP RISE TEST EQUIPMENT FOR LED LAMPS | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for CAP Temperature Rise Test | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
HUMIDITY CHAMBER | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for Humidity Test for LED Lamps | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in
EMI/ EMC Test for LED Lamps | NIL | LED Testing Lab |  |  |  | BUREAU OF ENERGY EFFICIENCY | CENRTAL GOVERNMENT | LIGHT AND LUMINARIES TESTING UNIT | Used for measuring the luminous intensity distribution in accordance with the standards IES LM-79-19 | LIGHT AND LUMINARIES TESTING UNIT | LIGHT AND LUMINARIES TESTING UNIT |  |  |  | Analytical | [7 empty] | rajeev@keralaenergy.gov.in