## Ecology
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Minidisc Infiltrometer | MDI | Room NO. 45 | THE SCIENTIFIC SUPPLIERS | Model :S |  | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Measures the infiltration rate and hydraulic conductivity of soil | Forest Ecology And Climate Change Division |  | 60057 | https://metergroup.com/products/mini-disk-infiltrometer/ | Working | Characterisation |  |  |  | The Scientific Suppliers | thescientificsuppliers@gmail.com | The Scientific Suppliers | thescientificsuppliers@gmail.com | anilsharma@icfre.org
Psychrometer | PSY | Room NO. 45 | ICT INTERNATIONAL | PSY-1 | PSY 1L20N | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Measures the water potential in leaf and stem | Forest Ecology And Climate Change Division |  | 243750 | https://ictinternational.com/product-category/b-plant/psychrometer/ | Not Working | Analytical |  |  |  | SpecAgri Technologies Pvt.Ltd. | info@spectragritec.com | Green Spectrum Technology Pvt.Ltd. | info@greenspectrum.co.in | anilsharma@icfre.org
Automatic Weather Station | AWS | Ecology field and AFRI main Campus | Advance Tech India Pvt. Ltd. | AWS J | AWSJ-1 &AWSJ-2 | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Monitoring weather parameters | Forest Ecology And Climate Change Division |  | 288397.2 | https://dataloggersindia.org/ | Working | Characterisation |  |  |  | Advance Tech India Pvt. Ltd. | advancetechipl@gmail.com | Advance Tech India Pvt. Ltd. | advancetechipl@gmail.com | anilsharma@icfre.org
Soil Moisture Sensor | SMS | Ecology field | Odyssey | MPSMT | CC2395341A03 | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Mesures the soil moisture and temperature depth wise | Forest Ecology And Climate Change Division |  | 270085 | http://odysseydatarecording.com/index.php?route=product/product&product_id=102 | Working | Characterisation |  |  |  | Logic Energy | enquiry.es@gmail.com | Logic Energy | enquiry.es@gmail.com | anilsharma@icfre.org
Soil Moisture Sensor | SMS | AFRI main Campus | Odyssey | MPSMT | C17CABC578CB | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Mesures the soil moisture and temperature depth wise | Forest Ecology And Climate Change Division |  |  | http://odysseydatarecording.com/index.php?route=product/product&product_id=102 | Working | Characterisation |  |  |  | Logic Energy | enquiry.es@gmail.com | Logic Energy | enquiry.es@gmail.com | anilsharma@icfre.org
Soil Moisture Sensor | SMS | Room NO. 45 | Odyssey | MPSMT | CODD81826E20,F3F572987EE3 | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Mesures the soil moisture and temperature depth wise | Forest Ecology And Climate Change Division |  |  | http://odysseydatarecording.com/index.php?route=product/product&product_id=102 | Not working | Characterisation |  |  |  | Logic Energy | enquiry.es@gmail.com | Logic Energy | enquiry.es@gmail.com | anilsharma@icfre.org
Soil Moisture Sensor | SMS | SITAMATA WLS | Odyssey | MPSMT | FEE8D499E3AC | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Mesures the soil moisture and temperature depth wise | Forest Ecology And Climate Change Division |  |  | http://odysseydatarecording.com/index.php?route=product/product&product_id=102 | Working | Characterisation |  |  |  | Logic Energy | enquiry.es@gmail.com | Logic Energy | enquiry.es@gmail.com | anilsharma@icfre.org
Sap Flow Meter | SFM | AFRI main Campus Neem field | ICT INTERNATIONAL | Model: SFM 1 | SX01M40DB10,SX01M40H,SX01M40V,SX01M40O,SX01M30L,SX01M40Y,SX01M40D,SX01M40P | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Measures sap flow velocity and transpiration rate in trees | Forest Ecology And Climate Change Division |  | 2962785 | https://ictinternational.com/product/sfm1x-sap-flow-meter/ | Working | Characterisation |  |  |  | SpecAgri Technologies Pvt.Ltd. | info@spectragritec.com | Green Spectrum Technology Pvt.Ltd. | info@greenspectrum.co.in | anilsharma@icfre.org
Sap Flow Meter | SFM | Ecology field | ICT INTERNATIONAL | Model: SFM 1 | SX01M40K,SX01MB06,SX01M403,SX01LB0V,SX01M30M,SX01M402,SX01M40I | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Measures sap flow velocity and transpiration rate in trees | Forest Ecology And Climate Change Division |  |  | https://ictinternational.com/product/sfm1x-sap-flow-meter/ | Working | Characterisation |  |  |  | SpecAgri Technologies Pvt.Ltd. | info@spectragritec.com | Green Spectrum Technology Pvt.Ltd. | info@greenspectrum.co.in | anilsharma@icfre.org
Sap Flow Meter | SFM | SITAMATA WLS | ICT INTERNATIONAL | Model: SFM 1 | SX01M405,SX01M40C,SX01M40L,SX01M40N,SX01M40J,SX01M40F,SX01M40S,SX01M401,SX01M407,SX01M409,SX01M40B,SX01M406,SX01M40M,SX01M404,SX01M20Y | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Measures sap flow velocity and transpiration rate in trees | Forest Ecology And Climate Change Division |  |  | https://ictinternational.com/product/sfm1x-sap-flow-meter/ | Working | Characterisation |  |  |  | SpecAgri Technologies Pvt.Ltd. | info@spectragritec.com | Green Spectrum Technology Pvt.Ltd. | info@greenspectrum.co.in | anilsharma@icfre.org
Sap Flow Meter | SFM | Room no 45 | ICT INTERNATIONAL | Model: SFM 1 | SX01M40J, SX01M40A, SX01M40X, SX01M40Q, SX01M40D, SX01LB0V,SX01M40Z | External | CAMPA | Assessment of water requirement of different tree species and its impact on subsoil moisture(AICRP-19) | Measures sap flow velocity and transpiration rate in trees | Forest Ecology And Climate Change Division |  |  | https://ictinternational.com/product/sfm1x-sap-flow-meter/ | Not Working | Characterisation |  |  |  | SpecAgri Technologies Pvt.Ltd. | info@spectragritec.com | Green Spectrum Technology Pvt.Ltd. | info@greenspectrum.co.in | anilsharma@icfre.org
Inductively Coupled Plasma Mass Spectrometry | ICP-MS | Lab no 53 | Thermofisher Scientific wissenschaftliche gerate Gm | iCAP QC-2422R |  | OTG-SE | One time grant |  | Detect and quantify trace elements in soil/plant/water samples | Forest Ecology And Climate Change Division |  | 13263886 |  | Not Working | Analytical |  |  |  | Thermofisher Sci. Ind Pvt Ltd | ininfo@thermofisher.com | Thermofisher Sci Ind Pvt Ltd | manish.ray@thermofisher.com | nklimba@icfre.org
Mechanical Shaker | MSR | INSTRUMENT LAB 51 | Tempstar bench top microprosseor Rotatary Shaker | KRS-110 |  | External | CAMPA | Combting Desrtification by enhancing veg.cover(AICRP-24) | Disperse solids into liquids, create emulsion, and suspensions | Forest Ecology And Climate Change Division |  | 99993.6 | https://www.indiamart.com/proddetail/rotary-shaker-digital-orbital-shaker-microprocessor-based-22431422073.html?mTd=1 | Working | Fabrication |  |  |  | The Scientific Suppliers | kotharicm_cm@rediffmail.com | The Scientific Suppliers | kotharicm_cm@rediffmail.com | prnagora@icfre.org
Flame Photometer | FMP | INSTRUMENT LAB 51 | ESICO | 1385 | 18020155 | internal | ICFRE-Dehradun | PLAN (3.6.9) | Analysis of Li, Na, Ca & Mg | Forest Ecology And Climate Change Division |  | 132825 | Esicointernational.com | Working | Analytical |  |  |  | ELECTRONICS INDIA | info@electronicsin.com | MULTITECH AUTOMATION | TSSRIL.SERVICE@GMAIL.COM | yadavmk@icfre.org
Centrifuge | CTF | INSTRUMENT LAB 51 | REMI | R-8M | JGLC12878 | internal | ICFRE-Dehradun | plan | Easy and quick separation of suspensions and immiscibe liquids | Forest Ecology And Climate Change Division |  | 60762 | M.REMIELEKTROTECHNIK.COM | Working | Fabrication |  |  |  | SCIENTIFIC SUPPLIERS | www.scientificbazaar.com |  |  | yadavmk@icfre.org
CNS Balance | CNSB | INSTRUMENT LAB 51 | METTLER TOLEDO | XP6 | 1123140058 | internal | ICFRE-Dehradun | plan | Sample prepration, synthesis, analytical bench top activities and inline measurement for CNS analyser | Forest Ecology And Climate Change Division |  | 86441 | www.mt.com | Working | Analytical |  |  |  | METTLER-TOLEDO INDIA LTD |  |  |  | yadavmk@icfre.org
CHNS Analyser | CHNS | INSTRUMENT LAB 51 | ELEMENTAR | VARIO EL CUB E | 19093024 | ICFRE Dehradun | ICFRE-Dehradun | STUDIES ON CARBON SEQUESTRATTION IN DIFFERENT FOREST TYPES OF RAJASTHAN | Estimation of C,H.N,S in soil/plant/manure samples | Forest Ecology And Climate Change Division |  | 2907882 | ELEMENTAR.COM | Not Working | Analytical | 30000 | EURO 43800 |  | ELEMENTAR ANALYSENSYSTEME GmbH | INFO@ELEMENTAR.DE | ELEMENTAR INDIA PVT LTD | TARANJEET.KAUR@ELEMENTAR.CO.IN | yadavmk@icfre.org
Automatic Sample Shaker | ASR | INSTRUMENT LAB 51 | TEMPSTAR | KWI-97 | KWI/97/2021/02/23 | External | CAMPA | Combating Desrtification by enhancing veg.cover(AICRP-24) | Disperse solids into liquids, create emulsion, and suspensions | Forest Ecology And Climate Change Division |  | 99994 | www.tempstar.com | Working | Fabrication |  |  |  | THE SCIENTIFIC SUPPLIERS | www.scientificbazaar.com |  |  | yadavmk@icfre.org
Spectrophotometer | SPM | INSTRUMENT LAB 51 | SYSTRONICS | 545-2203 | 2203/767 | External | CAMPA | Preparation of forest soil health cards under different forest vegetations in all the forest divisions of India | Estimates the intensity of light spectra adsorbed or transmitted by a sample/ colorimetric analysis for P, S, B | Forest Ecology And Climate Change Division |  | 320978.7 | www.systronicsindia.com | Working | Analytical |  |  |  | MULTITECH AUTOMATION |  |  |  | yadavmk@icfre.org
Atomic absorption spectrophotometer | AAS | INSTRUMENT LAB 51 | Electronics corporation of India Limited | AAS 4141A | 420-187 | External | CAMPA | Preparation of forest soil health cards under different forest vegetations in all the forest divisions of India | Estimation of Fe,Mn,Zn,Cu in soil/plant/water/manure samples | Forest Ecology And Climate Change Division |  | 847884 |  | Working | Analytical |  |  |  | Motras Scientific Instruments Pvt Ltd | info@motras.in | Motras Sci Inst Ltd |  | yadavmk@icfre.org
Grinding Machine | GRM | LAB NO.50 | WILEY |  |  | internal |  | plan | Grinding of plant/ wood materials | Forest Ecology And Climate Change Division |  | 46190 | starscientificindtruments.com | Working | Fabrication |  |  |  | SCIENTIFIC SUPPLIERS | www.scientificbazaar.com |  |  | ssrathore@icfre.org
Kjeldahl Digestion cum Distillation Assembly Unit | KDU | LAB NO.50 | BOROSIL | KDI 040 | 1008148592 | External | CAMPA | Combating Desrtification by enhancing veg.cover(AICRP-24) | Estimation of available N content in soi, N content in plant samples | Forest Ecology And Climate Change Division |  | 408999 | labquest.co | Not Working | Analytical |  |  |  |  | multitechautomations.com |  |  | ssrathore@icfre.org
Hot Air Oven | HAO | LAB NO.52 | TEMPSTAR | KL-103 |  | External | CAMPA | Combating Desrtification by enhancing veg.cover(AICRP-24) | Drying of soil/plant samples | Forest Ecology And Climate Change Division |  | 95189 | www.tempstar.com | Not Working | Fabrication |  |  |  | THE SCIENTIFIC SUPPLIERS | www.scientificbazaar.com |  |  | ssrathore@icfre.org
Pressure Plate Extractor | PPE | LAB NO.52 | SOIL MOISTURE EQUIPMENT CORP, USA | [5 empty] | Determining available water, field capacity, water retentivity and development of soil moisture characteristic curve | Forest Ecology And Climate Change Division |  | 139226 |  | Not Working | Analytical | US $5956.28 | US $7726.74 |  | SOIL MOISTURE EQUIPMENT CORP, USA |  | ELECTROTEK INTERNATIONAL |  | gangaram@icfre.org
Electronic Weighing Balance | EWB | LAB NO.52 | AXIS | EAB2200 | 900226 | internal |  | plan | Measuring the mass of small objects with extreme precision | Forest Ecology And Climate Change Division |  | 63000 | www.wensar.net | Working | Analytical |  |  |  | SHYAM SCIENTIFIC AND CHEMICALS |  |  |  | ssrathore@icfre.org
Automatic pHmeter | PHM | LAB NO.47 | Labman Micro CONTROLLER Based Automatic pHmeter | LABMAN LMPH 12 |  | External | CAMPA | Combating Desrtification by enhancing veg.cover(AICRP-24) | Checking the water and soil pH | Forest Ecology And Climate Change Division |  | 19599.71 | https://www.labmanscientific.net/product-page/lmph12-ph-meter-5-points | Working | Analytical |  |  |  | MultiTech Automation | anoopkothari5566@gmail.com | MultiTech Automation | anoopkothari5566@gmail.com | anilsharma@icfre.org
EC meter | ECM | LAB NO.47 | Labman temp. Correction water quality meter | LABMAN LMMP 30 |  | External | CAMPA | Combating Desrtification by enhancing veg.cover(AICRP-24) | Estimation of electrical conductivity of soil/ water samples | Forest Ecology And Climate Change Division |  | 19989 | https://www.labmanscientific.net/product-page/lmmp30-multiparameter | Working | Analytical |  |  |  | MultiTech Automation | anoopkothari5566@gmail.com | MultiTech Automation | anoopkothari5566@gmail.com | anilsharma@icfre.org
Distillation unit | DWU | Room no 46 | Multitech automation | GLSD |  | External | CAMPA | Preparation of forest soil health cards under different forest vegetations in all the forest divisions of India | Water distillation | Forest Ecology And Climate Change Division |  | 49969 |  | Working | Fabrication |  |  |  | MultiTech Automation |  | MultiTech Automation |  | nklimba@icfre.org
Hot Air Oven | HAO | LAB NO.47 | Tempstar 1500 Watt | KL103 |  | External | CAMPA | Combating Desrtification by enhancing veg.cover(AICRP-24) | Drying soil and plant Samples | Forest Ecology And Climate Change Division |  | 47594 | https://www.indiamart.com/proddetail/hot-air-oven-3367854291.html?mTd=1 | Working | Fabrication |  |  |  | The Scientific Suppliers | kotharicm_cm@rediffmail.com | The Scientific Suppliers | kotharicm_cm@rediffmail.com | ssrathore@icfre.org
LC-SoilHood Soil respiration Chamber | SRC | GIS LAB | ADC Bioscientific Ltd, UK | LC-SOILHOOD Soil respiration Chamber | 34974 | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 31 | Field robust accessory for the accurate analysis of CO2 flux in soil compatible with LC pro-SD Photosynthesis System | Forest Ecology And Climate Change Division |  | 247800 | https://www.adc.co.uk/products/soil-respiration-chamber-for-lci-and-lcpro/ | Working | Analytical |  |  |  | M/S VS instrument Private limited, Faridabad | sales@vsinstruments.com | M/S VS instrument Private limited | sales@vsinstruments.com | brbishnoi@icfre.org
Portable Photosynthesis System | PPS | GIS LAB | ADC Bioscientific Ltd, UK | LC-Pro SD Photosynthesis System | 33730 | OTG-SE | One-time Grant |  | Portable photosynthesis System (portable IRGA) with in-built microclimate control for CO2, Temperature, Light, RH etc. | Forest Ecology And Climate Change Division |  | 1585461 | https://vsinstruments.com/portable-photosynthesis-system-new | Working | Analytical |  |  |  | M/S VS instrument Private limited, Faridabad | sales@vsinstruments.com | M/S VS instrument Private limited | sales@vsinstruments.com | brbishnoi@icfre.org
Automatic Weather Station | AWS | Sitamata Wildlife sanctuary, Chittorgarh, Rajasthan | Campbell Scientific India Private Limited | Datalogger: CR1000X-NA-ST-SW | S.no.-31499 | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 31 | Monitoring weather parameters | Forest Ecology And Climate Change Division |  | 663596 | https://www.campbellsci.com/aws-meteorology | Working | Characterisation |  |  |  | Campbell Scientific India Pvt. Ltd., 2nd floor, 218 & 219 A, DLF Prime Power, F-Block, Okhla Industrial area, Phase-I, ND-110020, GSTN: 07AAICC1964A1ZZ | www.campbellsci.in | Campbell Scientific India Pvt. Ltd., | www.campbellsci.in | brbishnoi@icfre.org
Laser Range Finder | LRF | GIS LAB | Multitech Automation | Apresys Laser range finder pro 1200 |  | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 31 | Apresys Laser Rangefinder, with 8X magnification and max range of 1200 meter | Forest Ecology And Climate Change Division |  | 24998.4 | GeM (government e-marketplace) | Working | Measurement |  |  |  | Multitech Automation | anoopkothari5566@gmail.com | Multitech Automation | anoopkothari5566@gmail.com | brbishnoi@icfre.org
Garmin Montana 680 GPS | GPS | GIS LAB | Asim Navigation India Private limited | Montana 680 | Sr. No. 4HU075202 | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 31 | Hand held GPS | Forest Ecology And Climate Change Division |  | 51600 | GeM (government e-marketplace) | Working | Measurement |  |  |  | Asim Navigation India Private limited | sumit@asimindia.com |  |  | prnagora@icfre.org
Increment Borer | IBR | GIS LAB | Haglof Sweden | Increment borer: 3-Thread 12" core diameter |  | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 31 | Increment borer: 3-Thread 12 "core diameter, 5.15 mm/0.200" | Forest Ecology And Climate Change Division |  | 26970 | https://www.elixirtechno.in/haglof-products | Working | Measurement |  |  |  | Elixir Technologies, Bengaluru | elixirtechnologies.com |  |  | prnagora@icfre.org
Leaf Area Meter | LAM | GIS LAB | BIOVIS | Bovis PSM Leaf AV - |  | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 31 | Portable Leaf area meter for field Model | Forest Ecology And Climate Change Division |  | 199999 | https://mkp.gem.gov.in/leaf-area-meter/portable-leaf-area-meter-field-condition/p-5116877-85517151453-cat.html#variant_id=5116877-85517151453 | Working | Analytical |  |  |  | Shekhawati International India Private limited | shekhawatiinternationalindia23@gmail.com |  |  | gangaram@icfre.org
Digital Alltimeter | DAM | GIS LAB | INSIF India | Digital Altimeter |  | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 31 | A device that measures altitude, Range: 2296 ft to 29500 ft. | Forest Ecology And Climate Change Division |  | 9850 |  | Working | Measurement |  |  |  | SPAQ LABS, Plot no. 60, 16/2, new Prabhu Prem Puram, Ambala Cantt., Haryana | insifelectronics@gmail.com |  |  | gangaram@icfre.org
Binocular | BNR | GIS LAB | Vortex Optics | Vortex Fuury HD 10*42 Laser Range Finding Binocular |  | External | CAMPA | Study of Climate Driven Effects on Indian Forests Through Long Term Monitoring: AICRP 32 | To find the range/ tree tagging, enlarged image of objects | Forest Ecology And Climate Change Division |  | 106200 | https://mkp.gem.gov.in/binocular/binocular/p-5116877-61695548678-cat.html | Working | Measurement |  |  |  | Asim navigation India Pvt Ltd | Sumit@asimindia.com | Asim navigation India Pvt Ltd | Sumit@asimindia.com | gangaram@icfre.org