## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Atomic Absorption Spectrometer | AAS |  | Perkin Elmer | Pinaacle 500 | P5PS17061604 | Internal | Institute | NA | AAS is a widely used quantitative analytical technique used for the detection of metal ions in aqueous solutions. It is an important technique to assess the extent of adsorption by determining the level of metal ions in environmental samples. | Central Instrumentation Centre | CIC | 2200000 | research.adamasuniversity.ac.in | UP | Characterization | [7 empty] | dean_rd@adamasuniversity.ac.in
Gas Chromatograph | GC |  | Agilent Tech. Pvt. Ltd. | 7890B | CN17193062 | External | DST-SERB ECR Grant | "Synergy between metal-organic frameworks and organometallics through C-H bond activation: Novel approach in heterogeneous multifunctional catalysis | AAS is a widely used quantitative analytical technique used for the detection of metal ions in aqueous solutions. It is an important technique to assess the extent of adsorption by determining the level of metal ions in environmental samples. | Central Instrumentation Centre | CIC | 1500000 | research.adamasuniversity.ac.in | UP | Characterization | [7 empty] | dean_rd@adamasuniversity.ac.in
UV VIS Spectrophotometer | UV-VIS |  | Hitachi | U-2910 | 2754-004 | External | DST-SERB CRG Grant | “PHOTOINDUCED ENERGY TRANSFER/ELECTRON TRANSFER , UNFOLDING OF MULTITRYPTOPHAN PROTEINS”. | A UV-Vis spectrophotometer is an analytical instrument that measures the amount of ultraviolet (UV) and visible light that is absorbed by a sample. | Central Instrumentation Centre | CIC | 2000000 | research.adamasuniversity.ac.in | UP | Characterization | [7 empty] | dean_rd@adamasuniversity.ac.in
Fluorescence Spectrophotometer | PL |  | Hitachi | F-7000 | 2705-002 | External | DST-SERB CRG Grant | “PHOTOINDUCED ENERGY TRANSFER/ELECTRON TRANSFER , UNFOLDING OF MULTITRYPTOPHAN PROTEINS”. | Fluorescence spectroscopy uses a beam of light that excites the electrons in molecules of certain compounds, and causes them to emit light. | Central Instrumentation Centre | CIC | 2200000 | research.adamasuniversity.ac.in | UP | Characterization | [7 empty] | dean_rd@adamasuniversity.ac.in
FPLC | FPLC | School of lifescience and Biothecnology, Adamas University | BioRad | NGC Quest 10 Plus | 841BR020573 | External | DST | Deciphering the enigmatic host-lysis mechanism of transposable phage Mu and its application towards the development of bacterial antimicrobial resistance (AMR) combating strategies | Fast protein liquid chromatography (FPLC) is a form of liquid chromatography that is often used to analyze or purify mixtures of proteins. | Biotechnology | CIC | 2065000 | research.adamasuniversity.ac.in | UP | Characterization | [7 empty] | dean_rd@adamasuniversity.ac.in
Electroporator |  | School of lifescience and Biothecnology, Adamas University | BioRad | Gene Pulser Xcell Total System | 617BR15217 | External | ICMR | Exploring antimicrobial combination efficacy network through profiling collateral sensitivity, cross-resistance and tolerance trade-offs during evoluation of antibiotic resistance in Acinetobacter baumannii | Electroporation—the use of high-voltage electric shocks to introduce DNA into cells—is a procedure that is gaining in popularity for standard gene transfer and also allows the generation of genetically modified mice,. | Biological Sciences | CIC | 1000000 | research.adamasuniversity.ac.in | UP | Characterization | [7 empty] | dean_rd@adamasuniversity.ac.in
Thin Film Coating Unit with Chiller | VCU | Room no 103 Pharmacy block Adamas University | HHV-Smart Coat-3 |  | SOP/FF/103/VCU/001 | Internal | Institute | NA | Thin film coating is a technology that creates a thin layer of material on a base film to give it specific properties. | Central Instrumentation Centre | CIC | 1259000 | research.adamasuniversity.ac.in | UP | Characterization |  |  |  | HHV company private limited |  |  |  | dean_rd@adamasuniversity.ac.in
Thermoluminescence dosimetry | TLD | Room no 4004 SOET block Adamas University | Nucleonix Systems Pvt. Ltd | Nucleonix TL 1009I | HSN90301000 | Internal | Institute | NA | Study of thermoluminescence material within a single integrated system, | Department of Physics | CIC | 1025000 | research.adamasuniversity.ac.in | UP | Characterization |  |  |  | Nucleonix Systems Pvt. Ltd | info@nucleonix.com | Nucleonix Systems Pvt. Ltd | info@nucleonix.com | dean_rd@adamasuniversity.ac.in