## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
X-ray Diffractometer | XRD |  | Rigaku Japan | Miniflex600C 6G | BD71000445-01 | Internal |  |  |  | Chemistry | Advanced Instrumentation Center | 3415530 |  |  | Characterization |  |  |  | Rigaku Corporation Japan |  | I R Technology Services Pvt Ltd Bangalore | service_blr@lecoindia.in | meghana_chemistry@staloysius.edu.in
Gas Chromatography | GC-FID |  | Perkin Elmer | Clarus 590 GC | 590S21100401 | Internal |  |  |  | Chemistry | Advanced Instrumentation Center | 7.82,040 |  |  | Characterization |  |  |  | Perkin Elmer Singapre Pte Ltd | india.servicesupport@perkinelmer.com | Perkin Elmer India Pvt Ltd | india.servicesupport@perkinelmer.com | jeesugeorge@staloysius.edu.in
FT-IR Spectrometer | FTIR |  | Perkin Elmer | L1600300 Spectrum Two LiTa | 119552 | Internal |  |  | FTIR is used to measure the absorbance of the wavelengths ranging in infared region of the light. | Chemistry | Advanced Instrumentation Center | 949620 |  |  | Characterization |  |  |  | Perkin Elmer Singapre Pte Ltd | india.servicesupport@perkinelmer.com | Perkin Elmer India Pvt Ltd | india.servicesupport@perkinelmer.com | jeesugeorge@staloysius.edu.in
Thermogravimetric Analyzer | TGA |  | Perkin Elmer | TGA 4000 | 522A21051301 | Internal |  |  | TGA is a method of thermal analysis in which the mass of a sample is measured over time as the temperature changes based on quantification of heat. | Chemistry | Advanced Instrumentation Center | 996218 |  |  | Characterization |  |  |  | Perkin Elmer Singapre Pte Ltd | india.servicesupport@perkinelmer.com | Perkin Elmer India Pvt Ltd | india.servicesupport@perkinelmer.com | jeesugeorge@staloysius.edu.in
Photocatalyitc Reactor | PCR |  | Heber | NA | NA | Internal |  |  |  | Chemistry | Advanced Instrumentation Center | 300000 |  |  | Characterization |  |  |  | Heber Scientific Chennai |  | Heber Scientific Chennai |  | meghana_chemistry@staloysius.edu.in
BET Specific area and pore size Distributor Analyser | BET Analyser |  | Verder Scietific | BELSORP-MINI-X | 120 | Internal |  |  | Instrument for measuring surface area and pore size distribution by the volumetric gas adsorption technique. | Chemistry | Advanced Instrumentation Center | 2152000 |  |  | Characterization |  |  |  | VERDER SCIENTIFIC PVT LTD, HYDERABAD | info@verder-scientific.co.in | VERDER SCIENTIFIC | info@verder-scientific.co.in | meghana_chemistry@staloysius.edu.in