## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Reference Multimeter |  |  | Fluke 8508A |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
AC Measurement Standard |  |  | Fluke 5790B |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Precision Current Shunts |  |  | Fluke A40B (1mA, 10mA, 100mA, 2A, 10A, 20A) |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Universal Frequency Counter |  |  | Philips FC-2130U |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Universal Frequency Counter/Timer |  |  | Keysight 53220A |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
LCR Meter |  |  | Agilent 4263B |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
RF Power Meter with Sensor |  |  | Agilent E4418B (meter) Agilent E9300H (sensor) |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Phase meter |  |  | Clarke-Hess 6000A |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Multiproduct Calibrator (Scope Calibration Option) |  |  | Fluke 5500A |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Multiproduct Calibrator |  |  | Fluke 5502A |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Multi Function Calibrator |  |  | Yokogawa CA71 |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Digital Temperature Indicator |  |  | Fluke Chub E4 |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Decade Resistance Box |  |  | Vaiseshika 7400 |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
7 Dial Decade Resistance Box |  |  | Guildline 9345/1G |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Decade Inductance Box |  |  | Time Electronics 1053 |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Decade Capacitance Box |  |  | Time Electronics 1071 |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
Digital Timer |  |  | Casio |  |  | External |  |  |  | Electro Technical | [12 empty] | cts@sticindia.com
SPRT |  |  | Hart Scientific 5681 |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
S-Type Standard Thermocouple |  |  | Isotech 1600 |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
Digital Temperature Indicator |  |  | Fluke Chub E4 |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
PRT Probes for RH Calibration (Wet & Dry) |  |  | Fluke 5622 |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
Data Acquisition/ Switch Unit |  |  | Agilent 34970A |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
Data Acquisition/ Switch Unit |  |  | HP 34970A |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
N Type Thermocouples |  |  | Thermo Electric |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
RTD Probes |  |  | Thermo Electric |  |  | External |  |  |  | Thermal | [12 empty] | cts@sticindia.com
E1 class Weights (1mg to 200g) |  |  | Mettler Toledo |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
E2 class Weights(1mg to 200g) |  |  | Sartorius/CS 01- 61 1- 00 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
F1 class Weights (1mg to 200g) |  |  | Sartorius/CS01- 523- 00 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
F1 class Weights (500g to 20kg) |  |  | Sartorius |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Microbalance (1mg to 6g) |  |  | Sartorius /MSE6.6S-000-DMM |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Precision Balance(0 to 220g) |  |  | Mettler Toledo/XP-205 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Weighing Balance(5kg) |  |  | Sartorius /MSA5203S-100-DA |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Mass Comparator(40kg) |  |  | Sartorius /CC50002 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
K Grade Gauge Block set |  |  | KCP/635 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Long Gauge Blocks K Grade |  |  | 70132/1634 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Scale & Tape Calibration Unit |  |  | KIPL/KCLPL-4845 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Electronic Dial Calibration Tester |  |  | Mikrotech/305/16 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Oil Dead Weight Tester (1 to 1200kg/cm2) |  |  | Budenberg/580HX |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Digital Hydraulic Pressure Calibrator(0 to 400kg/cm2) |  |  | Budenberg/H524 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Pneumatic Pressure Calibrator(-1 to 20bar) |  |  | Budenberg/ PPS42 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Pneumatic Pressure Calibrator(-1 to 20bar) |  |  | Druck/DPI610 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com
Digital Non Contact Tachometer |  |  | Omega/HHT13 |  |  | External |  |  |  | Mechanical | [12 empty] | cts@sticindia.com