## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Universal Testing Machine with Accessories | UTM | Mechanical Lab | H100KS-0081 | H100KS-0081 | H100KS-0081 | External | Govt. of India |  | Testing of mechanical Properties (Tensile, Flexural, Compressivbe, Tear, Shear, Puncture,etc.) | Plastic Testing Laboratory | Mechanical Lab | 1920000 |  | Working | Testing Equipment |  |  |  | Hounsfield Test Equipment |  | Aimil Limited |  | testing-haldia@cipet.gov.in
Tensile Testing Machine (Analog) | - | Mechanical Lab | Nil – 2020 | Nil – 2020 | Nil – 2020 | External | Govt. of India |  | Tensile Testing | Plastic Testing Laboratory | Mechanical Lab | 500000 |  | Working | Testing Equipment |  |  |  | Elmech Engineering Industries |  | Elmech Engineering Industries | elmecheng@yahoo.co.in | testing-haldia@cipet.gov.in
Izod/Charpy Impact tester | - | Mechanical Lab | Tinius Olsen | Tinius Olsen | Tinius Olsen | External | Govt. of India |  | Impact Strength | Plastic Testing Laboratory | Mechanical Lab | 2500000 |  | Working | Testing Equipment |  |  |  | Tinius Olsen |  | Aimil Limited | kolkata@aimil.com | testing-haldia@cipet.gov.in
Co – efficient of friction Tester | - | Mechanical Lab | 10.21 | 10.21 | 10.21 | External | Govt. of India |  | Slip Test | Plastic Testing Laboratory | Mechanical Lab | 190000 |  | Working | Testing Equipment |  |  |  | ATSFAAR (ITALY) |  | Techscience Services Pvt. Ltd. |  | testing-haldia@cipet.gov.in
Abraser ( Taber ) Tester | - | Mechanical Lab | Taber Industries | 5131 | 5131 | External | Govt. of India |  | Abrasion Resistance Test | Plastic Testing Laboratory | Mechanical Lab | 1500000 |  | Working | Testing Equipment |  |  |  | Taber Industries | sales@taberindustries.com | Hemtek Instruments |  | testing-haldia@cipet.gov.in
Rockwell Hardness Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 200000 |  | Working | Testing Equipment |  |  |  | S.C. Dey & Co. |  | S.C. Dey & Co. | info@scdey.com | testing-haldia@cipet.gov.in
Falling Dart Impact Tester for Film | - | Mechanical Lab | Fall Dart Film | Fall Dart Film | Fall Dart Film | External | Govt. of India |  | Dart Impact Test | Plastic Testing Laboratory | Mechanical Lab | 200000 |  | Working | Testing Equipment |  |  |  | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Falling weight Impact Tester for pipe | - | Product Testing Lab | Elmech | Nil | Nil | External | Govt. of India |  | Impact Test of Pipe | Plastic Testing Laboratory | Product Testing Lab | 20000 |  | Working | Testing Equipment |  |  |  | Elmech Pneumatic industries Pvt. Ltd. |  | Elmech Pneumatic industries Pvt. Ltd. | elmecheng@yahoo.co.in | testing-haldia@cipet.gov.in
Burst strength tester for film | - | Product Testing Lab | 21.4856 | 21.4856 | 21.4856 | External | Govt. of India |  | Burst Strength Test | Plastic Testing Laboratory | Product Testing Lab | 50000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Deep Fridger | - | Product Testing Lab | Wadegati | Nil | Nil | External | Govt. of India |  | Conditioning of Sample at 0 Degree Centigrade | Plastic Testing Laboratory | Product Testing Lab | 200000 |  | Working | Testing Equipment |  |  |  | Wadegati Labequip Private Ltd. | wadegati@bom7.vsnl.net.in | Wadegati Labequip Private Ltd. | wadegati@bom7.vsnl.net.in | testing-haldia@cipet.gov.in
Cable Duct Friction test Arrangements | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Product Testing Lab | 150000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Notch Cutter ( Manual ) | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Notch Cutting | Plastic Testing Laboratory | Mechanical Lab | 75000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Crush Resistance for Cable duct | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment |  |  |  | S.C. Dey & Co. |  | S.C. Dey & Co. | info@scdey.com | testing-haldia@cipet.gov.in
Load Deformation Tester for Cable Duct | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Mechanical Lab | 35000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Flattening Test Apparatus | - | Mechanical Lab | Elmech | Nil | Nil | External | Govt. of India |  | Testing of Cable duct | Plastic Testing Laboratory | Mechanical Lab | 60000 |  | Working | Testing Equipment |  |  |  | Elmech engineering industries |  | Elmech engineering industries | elmecheng@yahoo.co.in | testing-haldia@cipet.gov.in
Opacity Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Opacity | Plastic Testing Laboratory | Mechanical Lab | 54000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Shore D Hardness Tester | - | Mechanical Lab | SHR – D- Gold | SHR – D- Gold | SHR – D- Gold | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Shore A Hardness Tester | - | Mechanical Lab | SHR – A – Gold | SHR – A – Gold | SHR – A – Gold | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment |  |  |  | Askib Engineers Pvt Ltd. |  | Askib Engineers Pvt Ltd. |  | testing-haldia@cipet.gov.in
Hydrostatic Pressure Testing Machine | HPT | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Internal Pressure creep rupture test of pipe | Plastic Testing Laboratory | Product Testing Lab | 108000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Contour Cutter with Template | - | Product Testing Lab | 20006745 | 20006745 | 20006745 | External | Govt. of India |  | Specimen Preparation | Plastic Testing Laboratory | Product Testing Lab | 275000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Punching Press & Cutting Dies | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Specimen Preparation | Plastic Testing Laboratory | Product Testing Lab | 75000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Muffle Furnace | - | Product Testing Lab | Muffle Fur | Muffle Fur | Muffle Fur | External | Govt. of India |  | Ashing Purpose | Plastic Testing Laboratory | Product Testing Lab | 25000 |  | Working | Testing Equipment |  |  |  | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Muffle Furnace | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Ashing Purpose | Plastic Testing Laboratory | Product Testing Lab | 30000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Muffle Furnace | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Ashing Purpose | Plastic Testing Laboratory | Chemical Lab | 11000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Hot Air Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 20000 |  | Working | Testing Equipment |  |  |  | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Hot Air Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 20000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Hot Air Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 14500 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Melt flow Index Tester | MFI | Thermal Lab | Nil | Nil | Nil | External | Govt. of India |  | Melt flow Index/Rate Test | Plastic Testing Laboratory | Thermal Lab | 50000 |  | Working | Testing Equipment |  |  |  | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Melt flow Index Tester (Microprocessor Controlled) | MFI | Thermal Lab | MFI – 10, Sl.No. – 256 | MFI – 10, Sl.No. – 256 | MFI – 10, Sl.No. – 256 | External | Govt. of India |  | Melt flow Index/Rate Test | Plastic Testing Laboratory | Thermal Lab | 60000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Modular Melt flow Tester | MFI | Thermal Lab | Nil | Nil | Nil | External | Govt. of India |  | Melt flow Index/Rate Test | Plastic Testing Laboratory | Thermal Lab | 1500000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Heat Deflection Temperature & Vicat Softening Temperature Tester | HDT & VST | Chemical Lab | H.D.T, V.S.P. | H.D.T, V.S.P. | H.D.T, V.S.P. | External | Govt. of India |  | Deflection & Softening Temp. Test | Plastic Testing Laboratory | Chemical Lab | 80000 |  | Working | Testing Equipment |  |  |  | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Microprocessor controlled Heat Deflection Temperature & Vicat Softening Temperature apparatus | HDT & VST | Thermal Lab | Nil | Nil | Nil | External | Govt. of India |  | Deflection & Softening Temp. Test | Plastic Testing Laboratory | Thermal Lab | 2000000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Carbon Black Content Tester | CBC | Chemical Lab | VT-4826 | Nil | nil | External | Govt. of India |  | Carbon Black Conetnt Test | Plastic Testing Laboratory | Chemical Lab | 50000 |  | Working | Testing Equipment |  |  |  | International Equipments | inter@bom8.vsnl.net.in | International Equipments | inter@bom8.vsnl.net.in | testing-haldia@cipet.gov.in
Carbon Black Dispersion ( Hot Plate ) | CBD | Thermal Lab | C.B.D. | C.B.D. | C.B.D. | External | Govt. of India |  | Dispersion Test | Plastic Testing Laboratory | Thermal Lab | 40000 |  | Working | Testing Equipment |  |  |  | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Limiting Oxygen Index Tester | LOI | Chemical Lab | S/N-14362 | S/N-14362 | S/N-14362 | External | Govt. of India |  | Limiting Oxygen Index Test | Plastic Testing Laboratory | Chemical Lab | 1200000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Melting Point Apparatus | - | Thermal Lab | S1108 | S1108 | S1108 | External | Govt. of India |  | Melting point Test | Plastic Testing Laboratory | Thermal Lab | 75000 |  | Working | Testing Equipment |  |  |  | S.C. Dey & Co. |  | S.C. Dey & Co. | info@scdey.com | testing-haldia@cipet.gov.in
Water Bath | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Product Testing Lab | 86000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Environmental Stress Cracking Resistance Test Apparatus | ESCR | Chemical Lab | ESCR | ESCR | ESCR | External | Govt. of India |  | ESCR Test | Plastic Testing Laboratory | Chemical Lab | 58000 |  | Working | Testing Equipment |  |  |  | CIPET, Ahmedabad |  | CIPET |  | testing-haldia@cipet.gov.in
Weighting Balance | - | Thermal Lab | HR – 200 | HR – 200 | HR – 200 | External | Govt. of India |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 240000 |  | Working | Testing Equipment |  |  |  | A & D Co. Ltd. Ineternational |  | Afcoset Balances |  | testing-haldia@cipet.gov.in
Weighting Balance | - | Thermal Lab | TC-60 | TC-60 | TC-60 | External | Govt. of India |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 75000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Microscope | - | Thermal Lab | CBD & 106 | CBD & 106 | CBD & 106 | External | Govt. of India |  | Magnify small objects | Plastic Testing Laboratory | Thermal Lab | 200000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Brookfield Viscometer | - | Mechanical Lab | Programmable DV – II+ | Programmable DV – II+ | Programmable DV – II+ | External | Govt. of India |  | Viscosity | Plastic Testing Laboratory | Mechanical Lab | 700000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Low Temp Viscometric Bath | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 1000000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Reversion Oil Bath | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Reversion | Plastic Testing Laboratory | Product Testing Lab | 75000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Hot Plate | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 20000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Hot Plate | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 15000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 1MLH | 1MLH | 1MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 25000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 2MLH | 2MLH | 2MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 30000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 5MLH | 5MLH | 5MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 25000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Magnetic Stirrer | - | Chemical Lab | 5MLH | 5MLH | 5MLH | External | Govt. of India |  | Heating/ Evaporation | Plastic Testing Laboratory | Chemical Lab | 25000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Volume & Surface Resistivity | - | Mechanical Lab | SM 8220 | SM 8220 | SM 8220 | External | Govt. of India |  | Electrical Resistance | Plastic Testing Laboratory | Mechanical Lab | 275000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Vacuum Pump | - | Mechanical Lab | 2SP – 45 | 2SP – 45 | 2SP – 45 | External | Govt. of India |  | Pumping Purpose | Plastic Testing Laboratory | Mechanical Lab | 53000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
pH Meter | - | Thermal Lab | 11E | 11E | 11E | External | Govt. of India |  | Ph Measurement | Plastic Testing Laboratory | Thermal Lab | 20000 |  | Working | Testing Equipment |  |  |  | Testing equipments & manufacturing Company |  | Testing equipments & manufacturing Company |  | testing-haldia@cipet.gov.in
Centrifuge | - | Chemical Lab | Model-C-24BL | Model-C-24BL | Model-C-24BL | External | Govt. of India |  | Rotation/Revolution | Plastic Testing Laboratory | Chemical Lab | 123000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Tearing Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Tear Strength Test | Plastic Testing Laboratory | Mechanical Lab | 35000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Two Roll Mill | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Compounding/mixing | Plastic Testing Laboratory | Product Testing Lab | 300000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Motorized Notch Cutter | - | Mechanical Lab | NOTCHVIS | NOTCHVIS | NOTCHVIS | External | Govt. of India |  | Notch Cutting | Plastic Testing Laboratory | Mechanical Lab | 980000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Notch Cutter | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Notch Cutting | Plastic Testing Laboratory | Mechanical Lab | 25000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Hot stage Melting Point Apparatus | - | Rheological Lab | MELT POINT SNo – 103 | MELT POINT SNo – 103 | MELT POINT SNo – 103 | External | Govt. of India |  | Melting point Test | Plastic Testing Laboratory | Rheological Lab | 100000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Dielectric Strength Tester | - | Mechanical Lab | Type : 6135.054 Sl No.18693 | Type : 6135.054 Sl No.18693 | Type : 6135.054 Sl No.18693 | External | Govt. of India |  | Dielectric stength test/Insulation test | Plastic Testing Laboratory | Mechanical Lab | 1700000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Transparency Tester | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Transparency Test | Plastic Testing Laboratory | Mechanical Lab | 182000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Vibration table | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Vibration Test | Plastic Testing Laboratory | Product Testing Lab | 680000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Drop Impact Tester for bottle | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Impact Test | Plastic Testing Laboratory | Product Testing Lab | 47000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Vacuum Oven | - | Chemical Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Chemical Lab | 120000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
QUV Accelerator Weatherometer | - | Mechanical Lab | QUV-Spary | QUV-Spary | QUV-Spary | External | Govt. of India |  | Weather Resistance Test | Plastic Testing Laboratory | Mechanical Lab | 2500000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
QUV Accelerator Weatherometer | - | Mechanical Lab | QUV-Spary | QUV-Spary | QUV-Spary | External | Govt. of India |  | Weather Resistance Test | Plastic Testing Laboratory | Mechanical Lab | 2500000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Atomic Absorption Spectrophotometer | AAS | Thermal Lab | AA 700 | AA 700 | AA 700 | External | Govt. of India |  | Elemental Analysis | Plastic Testing Laboratory | Thermal Lab | 3000000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Haze Meter | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Haze | Plastic Testing Laboratory | Mechanical Lab | 29500 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Digital gloss meter | - | Mechanical Lab | Nil | Nil | Nil | External | Govt. of India |  | Glossyness | Plastic Testing Laboratory | Mechanical Lab | 75000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Compression Sheet Moulding Machine | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Moulding | Plastic Testing Laboratory | Product Testing Lab | 100000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Conditioning Chamber | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | Conditioning | Plastic Testing Laboratory | Product Testing Lab | 40000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Resistance to Dichloromethane Tester | - | Chemical Lab | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | External | Govt. of India |  | Resistance to Dichloromethane Test | Plastic Testing Laboratory | Chemical Lab | 125665 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Tulu Pump (Atomic Absorption Spectrophotometer) | - | Chemical Lab |  |  |  | External | Govt. of India |  | Pumping Purpose | Plastic Testing Laboratory | Chemical Lab | 75000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Automatic High Air Compressor (2 Pcs) | - | Product Testing Lab | Nil | Nil | Nil | External | Govt. of India |  | compressed air | Plastic Testing Laboratory | Product Testing Lab | 200000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Barcol Hardness Tester | - | Mechanical Lab | Elmech | Elmech | Elmech | External | Govt. of India |  | Hardness | Plastic Testing Laboratory | Mechanical Lab | 36000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Vis Double Beam Spectrophotometer | - | Thermal Lab | Systronics | Systronics | Systronics | External | Govt. of India |  | Chemical Analysis | Plastic Testing Laboratory | Thermal Lab | 200000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Differential Scanning Calorimetry | DSC | Mechanical Lab | TA | TA | TA | External | Govt. of India |  | Thermal transition | Plastic Testing Laboratory | Mechanical Lab | 2700000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Microprocessor Karl Fisher Apparatus | - | Thermal Lab | Labtronics | Labtronics | Labtronics | External | Govt. of India |  | water Content Test | Plastic Testing Laboratory | Thermal Lab | 69148 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Notch Cutter for Slow Crack Growth Test | - | Product Testing Lab | DSH Equipments | DSH Equipments | DSH Equipments | External | Govt. of India |  | Notch Cutting of PE Pipes | Plastic Testing Laboratory | Product Testing Lab | 120000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Flammability Tester | - | Chemical Lab | Asian Test Equipments | Asian Test Equipments | Asian Test Equipments | Internal | CIPET |  | Flammabililty test | Plastic Testing Laboratory | Chemical Lab | 75000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Gas Chromatography | GC | Thermal Lab | Thermo Scientific | Thermo Scientific | Thermo Scientific | External | Govt. of India |  | Separation and measurement of organic molecules and gases | Plastic Testing Laboratory | Thermal Lab | 5000000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Weighing Balance (Digital) | - | Thermal Lab | Nil | Nil | Nil | Internal | CIPET |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 40000 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Hydrostatic Pressure Testing Machine | HPT | Product Testing Lab | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | Elmech Pneumatic Industries Pvt. Ltd. | Internal | CIPET |  | Internal Pressure creep rupture test of pipe | Plastic Testing Laboratory | Product Testing Lab | 1153778 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Universal Testing Machine | UTM | Product Testing Lab | Hemtech PVT. LTD | Hemtech PVT. LTD | Hemtech PVT. LTD | Internal | CIPET |  | Testing of mechanical Properties (Tensile, Flexural, Compressivbe, Tear, Shear, Puncture,etc.) | Plastic Testing Laboratory | Product Testing Lab | 1923400 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in
Digital Weighing Balance | - | Thermal Lab | Mettler Toledo | Mettler Toledo | Mettler Toledo | Internal | CIPET |  | Weight measurement | Plastic Testing Laboratory | Thermal Lab | 191160 |  | Working | Testing Equipment | [7 empty] | testing-haldia@cipet.gov.in