## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Potters Wheel |  | School of Architecture and Planning(SAP) | Shalia Brand |  |  | Government | UGC XI plan, II instalment |  | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Digital Colour Meter |  | Lighting Lab | TES | Digital Colour Meter |  | Government | DST - PURSE Phase 2 Program 2 - Research Facility | Check the colour different between two samples Auto memory and read Function | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Digital Colour Analyser |  | Lighting Lab | TES |  |  | Government | DST - PURSE Phase 2 Program 2 - Research Facility | Portable colour analyser equipped with an external sensor proble having a 45 degree to 9 degree colour | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Luminous Flux Meter |  | Lighting Lab | TES |  |  | Government | DST- PURSE Phase 2 Program 2 - Research Facility | Portable Hand held model, Display 4 digit read out | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Illuminance Meter |  | Lighting Lab | Konica Minolta, Japan |  |  | Government | DST- PURSE Phase 2 Program 2 - Research Facility | Provides high accuracy and high reliability measurements, Conformance with JIS AA class and DIN class B | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Accessories for Illuminance Meter |  | Lighting Lab | Konica Minolta, Japan |  |  | Government | DST- PURSE Phase 2 Program 2 - Research Facility | Optical Lens, Lens cap, Eye piece cap, ND eye piece cap filter, case | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Accessories for Illuminance Meter |  | Lighting Lab | Konica Minolta, Japan |  |  | Government | DST- PURSE Phase 2 Program 2 - Research Facility | Date management software, Receptor head with adapter unit, adapter for main body | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Luminance Meter |  | Lighting Lab | Konica Minolta, Japan |  |  | Government | DST- PURSE Phase 2 Program 2 - Research Facility | luminance meter with wide measuring range | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Tunable White LEDluminaire |  | Lighting Lab |  | PANAS INF E150 HG ZZW LED 9z7-65, LDE WH |  | Government | DST- PURSE Phase 2 Program 2 - Research Facility |  | School of Architecture and Planning (SAP) |  |  |  | Research Equipment | Up
Internet of Things (IOT) |  | DIST / Second Floor Lab | Fujitsu | Primergy RX4770M1,RX2540M1 and BX90052 |  | Government | DST - FIST - IST -1 | Rack Server, Blade Server, Blade chasis to sUPport 8 Blades, 2 nos. Video and image kit band on DSP and 2 Nos. Wireless sensor netowrk trainer kit | Department of Information Science and Technology |  |  |  | Research Equipment | Up
Cloud Computing Lab |  | DIST / Third Floor Lab | DELL | Power Edge |  | Government | UGC - Special Assistance Programme (SAP) - DSR - 1 | SAN Storage 20 TB with SCSI / SAS Driver - Virtualisation Server , Blade Server. | Department of Information Science and Technology |  |  |  | Research Equipment | Up
FDM RP Machine |  | PG Library | Reddx Technologies Pvt. Ltd. |  |  | Government | UGC XIIth Plan | FDM Technology works with specialized 3D printers and production-grade thermoplastics to build strong, durable and dimensionally stable parts with the best accuracy and repeatability of any 3D printing technology. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Resin Transfer Moulding (RTM) System | RTM | Machine Tools Laboratory | Graco Inc, USA (Aero Composites Solutions Pvt. Ltd.) | RTM Injection System |  | Government | DST PURSE Phase II | Resin transfer molding (RTM) uses a liquid thermoset resin to saturate a fiber preform placed in a closed mold. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Abrasive Waterjet Machine (AWJM) | AWJM | Machine Tools Laboratory | Omax Corporation, USA (MD Corporation) | Omax 2626 |  | Government | UGC SAP | A waterjet utilizes a high pressure stream of water to erode a narrow line in the stock material. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Non Contact Surface Roughness Tester |  | Precision Engineering Laboratory | Taylor Hobson, UK (Ametek Inc.) | Talysurf CCI Lite |  | Government | DST-FIST | The CCI HD is a non contact 3D Optical Profiler with thin & thick film measurement capability. | Department of Manufacturing Engineering |  |  |  | Analytical Measurement | Up
Fully Programmable CNC Router Machine |  | CAM Laboratory | SVP Laser Technologies Pvt. Ltd. | CNC R 2x2 |  | Government | UGC XIth Plan | A computer numerical control (CNC) router is a computer-controlled cutting machine related to the hand-held router used for cutting various hard materials, such as wood, composites, aluminium, steel, plastics, and foams. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Physical Vapor Deposition (PVD) Unit | PVD | Advanced Machine Tools Laboratory | Hind High Vaccum | HHV BC 600 |  | Government | DST- FIST | Physical vapor deposition (PVD) describes a variety of vacuum deposition methods which can be used to produce thin films and coatings. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Fiber Forming Chamber |  | Composite Materials Laboratory | VB Ceramic Consultants |  |  | Government | DST PURSE | Through sol gel technique, Maximum temperature is 500°C, Custom built sizes, Silica, alumina and other oxide ceramics fibers, Easy operation and collection. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
High Temperature Tubular Furnace |  | Composite Materials Laboratory | VB Ceramic Consultants |  |  | Government | DST PURSE | Working Temperature UP to RT to 1600°C, 1°C accuracy at dwell temp, Rapid heating rate(1 to 5°C/min) programmable, indigenized Insulation, Indigenous VBCC Make phase control thyrister controller, Nippon/Eurotherm PID programmable controller, Vaccum Level in the furnace system can reach 5x10-3mbar. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Micro Abrasion Test |  | Material Testing Laboratory | Wear and Friction Tech |  |  | Government | DST PURSE | Micro-scale abrasion (commonly referred to as 'ball cratering') is a small-scale tribological test method which can be operated on a desktop. It offers the possibility of providing a quick, cheap, localized abrasion test that can be used with small samples. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Acoustic Emission with data Acquisition board and analysis software |  | Advanced Machine Tools Laboratory | NK Instruments, Kolkata |  |  | Government | UGC Non SAP | Data acquisition system acquires and stores the data. USB data acquisition (DAQ) system provides the choice and flexibility for creating solutions that evolve and expand as per the changing measurement needs. | Department of Manufacturing Engineering |  |  |  | Analytical Measurement | Up
Dilatometer 1000°C |  | Material Testing Laboratory | VB Ceramic Consultants |  |  | Government | UGC XIth Plan | A dilatometer is a precision instrument for the measurement of dimensional changes in material as a function of temperature. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Ultrasonic Flaw Detector |  | Material Testing Laboratory | SUPertech Scientific & Metallurgical Services | Einstein - II TFT |  | Government | UGC XIth Plan | Ultrasonic Flaw Detectors operate on a principle similar to sonar except at much higher frequencies and speed. The Transducer sends a short pulse of sound into the material. | Department of Manufacturing Engineering |  |  |  | Analytical Measurement | Up
Microwave Furnace 1400°C |  | Composite Materials Laboratory | VB Ceramic Consultants |  |  | Government | UGC XIth Plan | Microwave heating is a multiphysics phenomenon that involves electromagnetic waves and heat transfer; any material that is exposed to electromagnetic radiation will be heated UP. The rapidly varying electric and magnetic fields lead to four sources of heating. | Department of Manufacturing Engineering |  |  |  | Fabrication | Up
Three Phase Relay Test System | Three Phase relay test kit | Power System/EEE | omicron | CMC356 |  | Government | UGC CAS | CMC software modules,quick CMC, State Sequences, Ramping,Utilities Transplay,Harminic generator,Over Current,Differential | Department of Electrical and Electronics Engineering |  |  |  | Testing and Measurement | Up
Power System Real Time Digital Simulator | RTDS | Power System/EEE |  |  |  | Government | DST PURSE -phase 2 | Capable to simulate in real time minimum 1000 three phase buses in phasor mode for dynamic stability and analysis capable of closed loop testing of physixcal device in real time | Department of Electrical and Electronics Engineering |  |  |  | Testing and Measurement | Up
Renewable Enegy Laboratory | Renewable Enegy Laboratory | Power System/EEE |  |  |  | Government | DST - FIST | Test bench with renewable enegy simulator/emulator connected to generator Essential software and hardware interface Power Elelctronic Interface | Department of Electrical and Electronics Engineering |  |  |  | Research Equipment | Up
Electrical Cell Subtrate Impedance | ECIS | High Volrage Division/EEE | LABMATE |  |  | Government | DST - FIST | TURN KEY SUSTEM THAT PROVIDES ADVANCED.AUTOMATED, NON INVASIVE MEANS TO MONITOR CELL BEHAVIOUR IN REAL TIME. | Department of Electrical and Electronics Engineering |  |  |  | Characterization | Up
Incubator | Incubator | High Volrage Division/EEE | medispec | NU-5800 |  | Government | DST - FIST | INVITRO CELL ,DIRECT HEAT CO2 INCUBATOR 220 LT, NUTOUCH ELECTRONIC CONTROL SYSTEM | Department of Electrical and Electronics Engineering |  |  |  | Research Equipment | Up
Elelctroporator |  | High Volrage Division/EEE |  | ECM830 |  | Government | DST - FIST | ECM830 genetator with power sUPply | Department of Electrical and Electronics Engineering |  |  |  | Research Equipment | Up
Human CAD Evaluation Tool |  | Industrial Engineering | NexGen Ergonomics Inc., Canada. | Software |  | Government | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | Human CAD Evaluation Tool: Creates digital humans in a three-dimensional environment, aids users with the design of products and workplaces by determining what humans of different sizes can see, reach, or lift. | Department of Industrial Engineering |  |  |  | Analytical Measurement | Up
Whole Body Vibration Meter |  | Industrial Engineering | CESVA | VC431+AC031 |  | Government | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | Whole Body Vibration Meter: The VC431 is a triaxialvibrometer (in accordance with the regulation ISO 804) and the ideal instrument for vibration measurements on risks arising from the exposure of workers to mechanical vibration. | Department of Industrial Engineering |  |  |  | Analytical Measurement | Up
Metabolic Analyzer |  | Industrial Engineering | MES Ltd, Poland. | Start 2000M |  | Government | DST – Fund for Improvement in S&T Infrastructure (FIST 2000) | Metabolic Analyzer: START 2000M ergospirometer, which is a portable system for cardiopulmonary exercise tests during real training. | Department of Industrial Engineering |  |  |  | Analytical Measurement | Up
Mooney Viscometer | Mooney Viscometer | Rubber Testing lab | Ektrontek, Taiwan |  |  | Government | DST-PURSE | For measuring viscosity of raw rubber | MIT - Department of Rubber and Plastics Technology |  |  |  | Research Equipment | Up
Moving Die Rheometer (MDR) | MDR | Rubber testing lab | PrescottInstruments,UK |  |  | Government | DST-FIST | To study curing characteristics of rubber compounds | MIT - Department of Rubber and Plastics Technology |  |  |  | Research Equipment | Up
Fatigue-to-Failure Tester for Rubber (FTFT) | FTFT | Rubber testing lab | Ektrontek, Taiwan |  |  | Government | DST-FIST | To study fatigue life of rubber specimens in tension mode | MIT - Department of Rubber and Plastics Technology |  |  |  | Research Equipment | Up
Blown Film Extruder |  | Anna University (AU), Chennai | Thermoscientific | Haake polylab |  | Government | UGC SAP DRS1 | Polymer films can be extruded even with very low quantities i.e 100 gm. Blending of polymers and nanomaterials for film preparation can be carried out. | Department of Printing Technology |  |  |  | Fabrication | Up
Piezoelectric Ink Jet Deposition Machine |  | Anna University (AU), Chennai | Microfab Technologies | Jetlab 4XL |  | Government | Department of Biotechnology, Ministry of Science, UGC | Capable of depositing custom formulated inks at very high precision levels. Suitable for depositing inks and liquids on any type of surface. | Department of Printing Technology |  |  |  | Fabrication | Up
Server(Dell PowerEdge) |  | Server Room RCC | Dell PowerEdge | M1000e Chassis |  | Government | DST-PURSE | Chassis Management Controller - CMC-4VPMG2S | Ramanujan Computing Centre |  |  |  | Research Equipment | Under Maintenance
Server(Dell PowerEdge) |  | Server Room RCC | Dell PowerEdge | M620 Blade |  | Government | DST-PURSE | 2 x Intel(R) Xeon(R) CPU E5- 2630L 0 @ 2.00GHz 96 GB RAM with 2x300 GB HDD | Ramanujan Computing Centre |  |  |  | Research Equipment | Under Maintenance
Server(Dell PowerEdge) |  | Server Room RCC | Dell PowerEdge | M620 Blade |  | Government | DST-PURSE | 2 x Intel(R) Xeon(R) CPU E5- 2630L 0 @ 2.00GHz 96 GB RAM with 2x300 GB HDD | Ramanujan Computing Centre |  |  |  | Research Equipment | Under Maintenance
Server(Dell PowerEdge) |  | Server Room RCC | Dell PowerEdge | M620 Blade |  | Government | DST-PURSE | 2 x Intel(R) Xeon(R) CPU E5- 2630L 0 @ 2.00GHz 96 GB RAM with 2x300 GB HDD | Ramanujan Computing Centre |  |  |  | Research Equipment | Under Maintenance
Server(Dell PowerEdge) |  | Server Room RCC | Dell PowerEdge | M620 Blade |  | Government | DST-PURSE | 2 x Intel(R) Xeon(R) CPU E5- 2630L 0 @ 2.00GHz 96 GB RAM with 2x300 GB HDD | Ramanujan Computing Centre |  |  |  | Research Equipment | Under Maintenance
Server(Dell PowerEdge) |  | Server Room RCC | Dell PowerEdge | Vault MD 1200 |  | Government | DST-PURSE | SAS 7x600 GB = 4.2 TB | Ramanujan Computing Centre |  |  |  | Research Equipment | Under Maintenance
Server(Dell PowerEdge) |  | Server Room RCC | Dell PowerEdge | Vault MD 3600f |  | Government | DST-PURSE | SAS 8x600 GB = 4.8 TB SAS 1x200 GB = 200 GB SSD 1x200 GB = 200 GB Total - 5.2 TB | Ramanujan Computing Centre |  |  |  | Research Equipment | Under Maintenance
Hot Press |  | Room No : 230, A.C.Tech Main Block | VB Ceramics Consultants |  |  | Government | DST - PURSE | Capacity : 10 TON, Max. Opera. Pr : 200 Bar | Department of Ceramic Technology |  |  |  | Research Equipment | Up
Surface Roughness Tester |  | Room No : 309 A, A.C.Tech Main Block | Lakshmee Tech & Applied Materials |  |  | Government | DST - Project | Measuring Range : ±20 µm, ±40 µm, ±80 µm, Max. Tracing Length : 17.5 mm,/0.71 inch | Department of Ceramic Technology |  |  |  | Research Equipment | Up
Surface Grinding Machine |  | Room No : 230, A.C.Tech Main Block | Lakshmee Tech & Applied Materials |  |  | Government | DST - Project | Grinding Wheel Dia: 200 mm, Workiing surface of Table : 430mm X200 mm | Department of Ceramic Technology |  |  |  | Research Equipment | Up
Uni-Axial Pressing Machine |  | Room No : 230, A.C.Tech Main Block | Lakshmee Tech & Applied Materials |  |  | Government | DST - Project | Pressure : 5 TON | Department of Ceramic Technology |  |  |  | Research Equipment | Up
Microwave Furnace |  | Room No : 230, A.C.Tech Main Block | VB Ceramics Consultants |  |  | Government | UGC XII Plan | Sample Size : <50mm, Max. Temp. : 1600°C, Max. Heating rate : 10 to 25°C/min, Max Working Temp. 1500°C | Department of Ceramic Technology |  |  |  | Research Equipment | Up
Thermal conductivity equipment |  | Room No : 314, A.C.Tech Main Block | Lakshmee Tech & Applied Materials |  |  | Government | DST - Project | Max. Temp : 1300°C, Sample Size : 70X115X230mm | Department of Ceramic Technology |  |  |  | Research Equipment | Up
High Temperature Furnace 1800ºC |  | Room No : 230, A.C.Tech Main Block | VB Ceramics Consultants |  |  | Government | DST - Project | Max working Temp : 1700°C | Department of Ceramic Technology |  |  |  | Research Equipment | Up
High Temperature Dilatometer |  | Room No : 308A, A.C.Tech Main Block | Lakshmee Tech & Applied Materials |  |  | Government | DST - Project | Max Operating Temp. : 1100°C | Department of Ceramic Technology |  |  |  | Research Equipment | Up
Pyrometric Cone Equivalent (PCE) | PCE | Room No : 230, A.C.Tech Main Block | VB Ceramics Consultants |  |  | Government | DST - Project | Max Operating Temp. : 1600°C | Department of Ceramic Technology |  |  |  | Research Equipment | Up
High Temperature HOT MOR 1600ºC |  | Room No : 230, A.C.Tech Main Block | VB Ceramics Consultants |  |  | Government | DST - Project | Max Operating Temp. : 1400°C , Sample Size : 25X25X150 mm, | Department of Ceramic Technology |  |  |  | Research Equipment | Up
Scanning Electron Microscope (SEM) | SEM |  |  |  |  | Government | UGC |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
SEM with EDAX | [5 empty] | Government | UGC |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
10 % Atomic Force Microscope (AFM) | AFM |  |  |  |  | Government | DST |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
Powder X-Ray Diffractometer (XRD) | XRD |  |  |  |  | Government | UGC |  | Crystal Growth Centre |  |  |  | Research Equipment | Under Maintenance
High Resolution X-Ray Diffraction (HRXRD) | HRXRD |  |  |  |  | Government | DST |  | Crystal Growth Centre |  |  |  | Research Equipment | Under Maintenance
FTIR Spectrometer | FTIR |  |  |  |  | Government | UGC |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
Photoluminescence (PL) | PL |  |  |  |  | Government | DST |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
SPM coUPled Nanoindentor | [5 empty] | Government | DIT |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
Portable Laser Raman Spectrometer | RAMAN |  |  |  |  | Government | DRDO |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
Flourimeter | [5 empty] | Government | DRDO |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
Integrated Measurement System | [5 empty] | Government | DST |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
Dynamic Light Scattering (DLS) | DLS |  |  |  |  | Government | DST |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
DC Polling Unit | [5 empty] | Government | CSIR |  | Crystal Growth Centre |  |  |  | Research Equipment | Up
High Pressure Liquid Chromotograph (HPLC) | HPLC | Sophisticated Lab | AGILENT,TECH |  |  | Government | UGC | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Hybrid Membrane Bio Reactor |  | Chemical Engg |  |  |  | Government | DST/WTI | Effluent Treatment | Department of Chemical Engineering |  |  |  | Fabrication | Up
Total Organi Carbon (TOC) Analyser | TOC | Sophisticated Lab | SHIMADZU | TOC-VCPH |  | Government | DRDO | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Contact Angle |  | Sophisticated Lab | DATA PHYSICS | OCA15EC |  | Government | BRNS | Polymer material | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Moisture Analyser Dhaus |  | Sophisticated Lab | TERAOKA LTD | ESSAR |  | Government | UGC | solid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Electrochemical Workstation | CV | Chemical Engg | CH INSTRUMENT | 680 |  | Government | DST- PURSE | Electrode characterization | Department of Chemical Engineering |  |  |  | Characterization | Up
U.V. Visible Spectectrometer | UV-Vis | Sophisticated Lab | HITACHI- | C-2000(W) |  | Government | DST FIST | Organic sample | Department of Chemical Engineering |  |  |  | Characterization | Up
Capillary Flow Porometer |  | Sophisticated Lab | POROUS MATERIAL INC | CFP – 1200 AXL |  | Government | DST- PURSE | solid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Gas Chromatography (GC) | GC | Sophisticated Lab | SHIMADZU | GC – 2014 |  | Government | DST- FIST | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Atomic Absorption Specttroscopy (AAS) | AAS | Sophisticated Lab | SHIMADZU | AA – 6300 (W) |  | Government | DST - FIST | Metal ions | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Surface Area And Pore Size Analyser | BET | Sophisticated Lab | QUANTACHROME INSTRUMENTS | NOVA 4200e (BET) |  | Government | TEQIP FUND | solid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Under Maintenance
Thermo Gravimetric (TG) Differntial Thermal Analayzer (TGA) | TG/DTA | Sophisticated Lab | PERKIN ELMER INSTRUMENTS | SII |  | Government | TEQIP FUND | solid sample | Department of Chemical Engineering |  |  |  | Characterization | Under Maintenance
Membrane Bioreactor |  | Chemical Engg |  |  |  | Government | DST (WTI) | Effluent Treatment | Department of Chemical Engineering |  |  |  | Fabrication | Up
Rheometer |  | Sophisticated Lab | ANTON PAAR | MCR102 |  | Government | DST FIST | liquid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Diffuse Reflectance Uv-Vis NIR |  | Sophisticated Lab | JASCO | NIR-V770 |  | Government | DST FIST | liquid sample | Department of Chemical Engineering |  |  |  | Characterization | Up
Gas Chromatograph (GC) | GC | Sophisticated Lab | AGILENT,TECH | G1312B1260 |  | Government | DST FIST | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
High Pressure Liquid Chromotograph (HPLC) | HPLC | Sophisticated Lab | AGILENT,TECH | G1312B |  | Government | DST FIST | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Muffle Furnace |  | Chemical Engg |  | VBCC/MF/17-18 |  | Government | DST-SERB | solid sample | Department of Chemical Engineering |  |  |  | Fabrication | Up
Vacuum Oven With Vacuum Pump |  | Chemical Engg |  | VBCC/VO/17-18 |  | Government | DST-SERB | solid sample | Department of Chemical Engineering |  |  |  | Fabrication | Up
High Pressure Liquid Chromotograph (HPLC) | HPLC | Sophisticated Lab | AGILENT,TECH | G1312B |  | Government | CSIR | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Gas Chromtograph (GC) | GC | Chemical Engg | AGILENT,TECH | 7890B |  | Government | DST-SERB | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Scanning Electron Microscope (SEM) | SEM | Sardar Patel Road, Chennai-25 | TESCAN, Czech Republic | VEGA 3 SBU |  | Government | DST | All conducting and Non-conducting Samples | Centre for Nanoscience and Technology |  |  |  | Characterization | Up
Ultra Violet Visible Spectrophotometer | UV-VIS SPECTROPHOTOMETER | Sardar Patel Road, Chennai-26 | Labindia Analytical Instruments Pvt. Ltd | UV T90+ |  | Government | DST | Liquid as well as Solid samples | Centre for Nanoscience and Technology |  |  |  | Characterization | Up
Fourier Transform Infra Red (FTIR) Spectrometer | FTIR SPECTRO METER | Sardar Patel Road, Chennai-27 | JASCO International Co. Ltd., Japan | FTIR-6600 |  | Government | DST | Solid Samples | Centre for Nanoscience and Technology |  |  |  | Characterization | Up
RAMAN Spectrometer | RAMAN SPECTROMETER | Sardar Patel Road, Chennai-28 | Agiltron Inc., USA | PRO 532 |  | Government | DST | Liquid as well as Solid samples | Centre for Nanoscience and Technology |  |  |  | Characterization | Up
Evenness Tester (Premier IQ Quali Centre Hairness Module) |  | Testing lab | Premier Polytronics Pvt.Ltd., Coimbatore | IQ0.110 |  | Government | DST-FIST Programme | Evenness of textile strands | Department of Textile Technology |  |  |  | Research Equipment | Under Maintenance
Tensil Tester (Premier Tensomaxx 7000) |  | Testing lab | Premier Polytronics Pvt.Ltd., Coimbatore | Tenso rapid- 01101 |  | Government | DST-FIST Programme | Tensile property of Textile Strands | Department of Textile Technology |  |  |  | Research Equipment | Under Maintenance
Fabric Washing Fastness Tester |  | Chemical | Paramount scientific Instrument New Delhi |  |  | Government | Modernisation of Weaving Lab | Washing fastness of textile materials | Department of Textile Technology |  |  |  | Research Equipment | Down
Doubler Winding Machiine |  | Weaving Lab | Premier Polytronics Pvt.Ltd., Coimbatore | 810089 |  | Government | AICTE Project | Classification of yarn Faults | Department of Textile Technology |  |  |  | Research Equipment | Up
Compression Moulding Machine |  | Spinning Lab | Asian Fluid Power System and Automation, chennai |  |  | Government | DST Project | Composite Preparation | Department of Textile Technology |  |  |  | Research Equipment | Up
Fiber Microtome |  | Textile Testing Lab | Paramount scientific Instrument New Delhi |  |  | Government | DST - FIST | Prepatarion of micro slices of samples for microscopic study | Department of Textile Technology |  |  |  | Research Equipment | Down
Universal Tester |  | Testing Lab | Instron,USA | 3369 |  | Government | UGC-SAP | Tensile and flexural property measurement | Department of Textile Technology |  |  |  | Research Equipment | Up
UV Visible Spectrophotomet |  | Textile Chemical | Tech Comp (Macao Commercial Offshore) Ltd., Hong kong DELVAC 154 - PUMPS Pvt. 07- |  |  | Government | SITRA COE | Absorbance and reflectance management | Department of Textile Technology |  |  |  | Research Equipment | Up
Freeze Drier |  | Textile Chemical Processing Lab | DELVAC PUMPS Pvt.,L., Chennai | 154-07-10 |  | Government | SITRA COE | To dry samples at very low temprature and by applying vaccum | Department of Textile Technology |  |  |  | Research Equipment | Up
Thermo Gravimetric Analyser (TGA) |  | Textile Chemical Processing Lab | Waters Ges M.B.H., Austria |  |  | Government | SITRA COE | Thermal Behaviour of the given sample | Department of Textile Technology |  |  |  | Research Equipment | Up
Lower Tempretature |  | Textile Chemical Processing Lab | Kaltis International Co.Ltd.,Taiwan | AVo39M-86 |  | Government | DST - FIST | Preserve the biological Samples at very low temperature | Department of Textile Technology |  |  |  | Research Equipment | Up
Miniature Speed Frame |  | Spinning Lab | Trytex Machines Company Coimbatore |  |  | Government | DST - FIST | Prepare Roving From Silver | Department of Textile Technology |  |  |  | Research Equipment | Up
Infra Red Dyer |  | Textile Chemical Processing Lab | R.B. Electronic and Engineering Pvt.Ltd., Gujarat |  |  | Government | DST-FISt | Dyeing of Fibres, fabrics and yarn | Department of Textile Technology |  |  |  | Research Equipment | Up
Miniature Warp Knitting Machine |  | Weaving Lab | Jagdish Kumar Industries Coimbatore |  |  | Government | DST- FIST | Produce Knitted Fabric | Department of Textile Technology |  |  |  | Research Equipment | Down
Rapier Weaving Machine with Beam Preparation Machine |  | Weaving Lab | Trytex Machines Company Coimbatore |  |  | Government | DST- FIST | Produce Woven fabric | Department of Textile Technology |  |  |  | Research Equipment | Up
Air Permeability |  | Electrospinning Lab | Porous Materials INC., USA | GP-100A-F |  | Government | DST-PURSE | Test for air Permeability of textile Fabrics | Department of Textile Technology |  |  |  | Research Equipment | Up
Bursting Strength Tester |  | Testing lab | MAG Solvics Pvt.Ltd., Coimbatore |  |  | Government | UGC-SAP | Test for air Permeability of textile Fabrics | Department of Textile Technology |  |  |  | Research Equipment | Up
Muffle Furnace |  | Textile Chemical Processing Lab | Shriram Enterprises Pvt.Ltd.,Chennai |  |  | Government | UGC-SAP | Heating Samples at High Temprature | Department of Textile Technology |  |  |  | Research Equipment | Up
Medium Scal Nano Fiber Spinning Uniot |  | Techinical Testing lab | Physics Equipment co, chennai |  |  | Government | UGC-SAP | Produce nano fibres | Department of Textile Technology |  |  |  | Research Equipment | Up
Rotator Spinning Machine |  | Spinning Lab | Bharat Sales Agencies, Mumbai | Computer Controlled Lab Model |  | Government | DST FIST | Produce Rotor yarn | Department of Textile Technology |  |  |  | Research Equipment | Up
High Temperature Muffle Furnance |  | Textile Chemical Processing Lab | JKR Scientifics. Chennai |  |  | Government | DST Project | Heating Samples at High Temprature | Department of Textile Technology |  |  |  | Research Equipment | Up
Microscope with in built camera |  | Textile Testing Lab | Paramount scientific Instrument New Delhi |  |  | Government | UGC XI plan, II instalment | Microscopic Study of Fibres | Department of Textile Technology |  |  |  | Research Equipment | Up
Ring Frame Machine (Spinning) |  | Spinning Lab | Lakshmi Machines Coimbatore | LR6/s |  | Government | AICTE Project | To Produce Different yarn samples from roving | Department of Textile Technology |  |  |  | Research Equipment | Up
Miniature Card |  | Spinning Lab | Bharat Sales Agencies, Mumbai |  |  | Government | TEQIP | To Produce silver/ web | Department of Textile Technology |  |  |  | Research Equipment | Up
Miniature Draw Frame |  | Spinning Lab | Bharat Sales Agencies, Mumbai |  |  | Government | TEQIP | To Produce silver/ web | Department of Textile Technology |  |  |  | Research Equipment | Up
Scholar Combined Logging Cover Meter and Half Cell Potential Meter |  | Strength of materials Lab, Division of Structural Engineering | AIMIL Ltd Instrumentation and Technologies Naimex House A-B, Mohan Co-operative Industrial Estate Mathur a Road, New Delhi.110044 Tel No. 91-11-30810200 | PC 1008 – Scholar Plus cover meter kit PC 1008 M – Mini Search Head PC 1008 D – Deep Search Head PC 1009 – Hand Held Half cell |  | Government | UGC - CAS | Measurement Ranges • Cover mode standard Head UP to 130mm Deep seeking Head UP to 250 mm • Detect mode standard head UP to 170 mm Deep seeking Head UP to 370 mm • Potential Silver / Silver chloride hand – held cell or potential wheel. Values corrected to read in terms of copper / copper sulphate potentials • Hand Held Half cell. | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
On Site Permeability Tester (Water, Air, Water absorption combined) |  | Strength of materials Lab, Division of Structural Engineering | AIMIL Ltd Instrumentation and Technologies Naimex House A-B, Mohan Co-operative Industrial Estate Mathur a Road, New Delhi.110044 Tel No. 91-11-30810200 | NILL |  | Government | UGC - CAS | Autoclam Specification • It should be used for the measurement of air water perm abilities and water absorption in the near surface zone of concrete and other building materials • To be workable on vertical , inclined and horizontal surfaces • The co-efficient of permeability is less than 10 -10 m/s gas permeability | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System STS Wifi Base station |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System STS Wifi 4 Channel Node |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System Auto clicker load position indicator includes, Vechicle mounted wireless transmitter, 3 modified walky-talkies radios receiving unit |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System BDI strain transducer |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System Transducer mounting tabs |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System Transducer Tab zig |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System Rechargeable Battery |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System Battery Charger 220 V |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
Wireless Structural Testing System Win STS Testing software |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Software | Under Maintenance
Wireless Structural Testing System Finite element analysis software package, Wingess Modeling software winsac data comparison and optimisation, Win GRF data viewing software |  | Strength of materials Lab, Division of Structural Engineering | M/S bridge diagnostics inc,1965 57Th Court North Suite 106, Boulder, Colorado, 80301, United States | NILL |  | Government | UGC - CAS | PURPOSE TO WIRELESS TESTING | Department of Civil Engineering (Division of Structural Engineering) |  |  |  | Analytical Measurement | Under Maintenance
UV-VIS Spectrophotometer | Ultraviolet- visible Spectrophoto meter | DMP, DAE, BRNS LAB | PERKIN ELMER, USA | LAMBDA 35 |  | Government | UGC X PLAN | Fully automated double beam UV absorption spectrometer | Department of Medical Physics |  |  |  | Characterization | Down
FTIR Spectrometer | Fourier Transform Infrared Spectrometer | DMP, DAE, BRNS LAB | JASCO Japan | FTIR- 6600 |  | Government | DST PURSE | Diamond ATR based FTIR Spectrometer 400- 4000 cm -1 | Department of Medical Physics |  |  |  | Research Equipment | Up
Fluorescence Steady State Spectrophotometer | Fluorescence Steady State Spectrophotometer | DMP, DAE, BRNS LAB | Fluoro max -2 Jobin Yvon Spex, Edision, NJ,USA | Fluoromax - 2 |  | Government | DST | 450 w Xenon lamp as exciation source and it has the capability to record Fluorescence emission from 280-750nm | Department of Medical Physics |  |  |  | Research Equipment | Up
Time Correlated Single Photon Counting System | Time correlated Single Photon Counting System | DMP, DAE, BRNS LAB | Flurolog 3,HORIBA Jobin Yvon, INC, NJ,USA | Flurolog 3 |  | Government | DST-FIST | Fluorescence lifetime Instrument with 266nm nano LED, 280 nm nano LED,310 nm nano LED,405 nm nano LED. | Department of Medical Physics |  |  |  | Research Equipment | Up
Confocal Micro Raman Spectrum | Confocal Micro Raman Spectrum | DMP, DAE, BRNS LAB | Lab RAM HR 800, HORIBA, Jobin, Yvon,France | Lab RAM HR 800 |  | Government | DAE- BRNS | Micro Raman Spectrometer with488 nm(Ar ion) laser, 633 nm(He:Ne)Laser & 785 nm diode laser | Department of Medical Physics |  |  |  | Research Equipment | Up
Capillary Electrophorises Laser Induced Fluorescence | Capillary Electrophorises- Laser Induced Fluorescence | DMP, DAE, BRNS LAB | SCIEX, Germany | SCIEX |  | Government | DAE- BRNS | Capillary Electrophorises instrument with 266nm, 350 nm, 405 nm, and 480 nm lasers. | Department of Medical Physics |  |  |  | Research Equipment | Up
Portable Wheel Weigher | Portable weigher | Highway Lab | M/s. Sri Vinayaga Sayee Instruments, No.178, 1st floor, Paper mill Road, Peravallur, Chennai 600082. | Column Type |  | Government | UGC, DST, PURSE Programme | Portable Wheel Weigher, Capacity 20 Tones, Load Cells, .Range 5 Tones, Sensor: Resistance type, Bridge Configuration: 4 Arms, Bridge Excitation: 9 Volts DC. | Department of Civil Engineering (Division of Transportation Engineering) |  |  |  | Research Equipment | Up
PTV Visim & Viswalk | Viswalk | Computer Lab | M/s Sunovatech India Ltd, 145. Aggarwal Metro Heights Netaji Subash Place, Delhi-110034 | PTV Vision Viswalk & Vissim Package version 6 |  | Government | CSIR-CRRI New Delhi | PTV Vision Viswalk & Vissim Package version 6, Network license size G (100.000 Pedestrians/99.999 inter sections) | Department of Civil Engineering (Division of Transportation Engineering) |  |  |  | Research Equipment | Up
Pneumatic Mast | Mast | Traffic Lab | M/s. Total Mast Solutions Pvt Ltd. 38, Deeming Drive Quorn, Leccester shine LE 128 nf , England. | TMS1597A |  | Government | AICTE New Delhi | 1 X Pneumatic mast of 15 M & 101 with all items asper quotations TMS1597A-Including Delivery. | Department of Civil Engineering (Division of Transportation Engineering) |  |  |  | Research Equipment | Up
Distributed Control System |  | Industrial Automation Laboratory,Dept. of Instrumentation Engineering | M/s Emerson Process Management (India) Pvt. Ltd. | Delta-V DCS ( MD Controller) |  | Government | DST - FIST | Distributed Control System comprises of DCS-Controller, HART- AI Module, HART-AO module, DI and DO modules and H1-Interface cards, FF enabled DPT Transmitter, FF enabled Temp. Transmitter, Pneumatically actuated Control Valve with FF Positioner, HART Communicator | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
4-Tank Test Rig |  | Process Control Laboratory, Dept. of Instrumentation Engineering | M/s Vi microsystems Pvt. Ltd, Chennai-96 |  |  | Government | DST - FASTRACK Scheme | 4 Tank test rig comprises of metering pump with pump controller, AI Module, AO module, Power supply Module, DPT based Level transmitter (2 Nos.) | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Spherical Tank Test Rig |  | Process Control Laboratory, Dept. of Instrumentation Engineering | M/s Lab tech electronics Pvt. Ltd, Chennai-107 |  |  | Government | DST - FASTRACK Scheme | Spherical tank test rig comprises of pumps, pneumatically actuated controller with smart positioner | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Hybrid Tank Test Rig |  | Process Control Laboratory, Dept. of Instrumentation Engineering | M/s Vi microsystems Pvt. Ltd, Chennai-96 |  |  | Government | UGC- MRP | Hybrid tank test rig comprises of flow transmitters, control valves, Level transmitter and AL USB 6251 DAQ | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Digital Pendulum |  | Control System laboratory, Dept. of Instrumentation Engineering | M/s Feedback Edutech Instruments Ltd., Chennai-6 |  |  | Government | DST - PURSE |  | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Magnetic Levitation System |  | Control System laboratory, Dept. of Instrumentation Engineering | M/s Feedback Edutech Instruments Ltd., Chennai-6 |  |  | Government | DST - PURSE |  | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Twin Rotor MIMO System |  | Control System laboratory, Dept. of Instrumentation Engineering | M/s Feedback Edutech Instruments Ltd., Chennai-6 |  |  | Government | DST - PURSE |  | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Electro Pneumatic Tutor Sytem |  | Control System laboratory, Dept. of Instrumentation Engineering | M/s Feedback Edutech Instruments Ltd., Chennai-6 |  |  | Government | DST - PURSE |  | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
RTC 156 Temperature Calibrator |  | Industrial Instrumentation Laboratory,Dept. of Instrumentation Engineering | M/s Ametek, Denmark |  |  | Government | DST, UGC XII | The Temperature Calibrator is an equipment used to calibrate Thermocouples and RTD's | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Multi Product Calibrator |  | Industrial Instrumentation Laboratory,Dept. of Instrumentation Engineering | M/s Fluke, USA | 5502A |  | Government | GOVT. (DST -PURSE) | The multi-product calibrator is a test and measuring instruments which can be used to calibrate all electrical test equipment | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
6.5 Digit Precision Multimeter |  | Industrial Instrumentation Laboratory,Dept. of Instrumentation Engineering | M/s Fluke, USA | 8846A/ SU |  | Government | GOVT. (DST -PURSE) | The multi-product calibrator is a test and measuring instruments which can be used to calibrate all electrical test equipment | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Loop Calibrator |  | Industrial Instrumentation Laboratory,Dept. of Instrumentation Engineering | M/s Fluke, USA | 709 |  | Government | GOVT. (DST -PURSE) | The multi-product calibrator is a test and measuring instruments which can be used to calibrate all electrical test equipment | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Temperature Measurement using Thermocouple |  | Transducers & Measurements Laboratory,Dept. of Instrumentation Engineering | M/s National Instruments, Bangalore | NI9211 (779001-01) 781425-01, 745690-J001, 745690-K001, 745690-E001, 745690-T001, 745685-J01, 745685-J02, 745685-K01, 745685-K02, 745685-T01, 745685-T02, 745685-E01, 745685-E02, 745688-37, 745688-J10, 745688-K10, 745688-E10, 745688-T10 |  | Government | GOVT. (DST - PURSE) | Temperature measurement system using Thermocouple (Sensor,signal conditioning and alnalog to digital conversion with minimum USB 2.0 interface to PC) A.DAQ Module B.1.Thermocouple sensor types - J,K,E,T Fixed length - 1m with fibre glass insulation 2.Types-J,K,E,T field cuttable Ground and ungrounded C.Accessories tube cutter and connector plugs for Types J,K,E,T | Department of Instrumentation Engineering |  |  |  | Analytical Measurement | Up
pH Meter and Bioreactor |  | Project Laboratory, Dept. of Instrumentation Engineering | M/s Biojenic Engineering, chennai - 75 |  |  | Government | DST - FIST | The Bioreactor unit is self-contained and fully instrumented unit which includes: i. In-situ sterilizable Glass Fermentation Reactor vessel ii. Aerator iii. Agitator iv. Measurement and Control Unit | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Distillation column(with windows software) |  | Control System laboratory, Dept. of Instrumentation Engineering | M/s Armfield, UK |  |  | Government | DST - FIST | Distillation Unit with the following subsystems 1.Feed system 2.Distillation Column 3.Reboiler with heater 4.Condenser 5.Reflux separator 6.Control console 7.Additional features –vacuum system and third feed vessel | Department of Instrumentation Engineering |  |  |  | Research Equipment | Up
Wi-Comm T-Wireless Digital Communication System | Vol VI/P79 | CMNL | Benchmark |  |  | Government | DST - PURSE | Wi-Comm T-Wireless Digital Communication System | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
ADI 16 Channel Biomedical Data acquisition System | Vol VI/P100 | Research lab | ADI | ML880P, ML408 |  | Government | DST - PURSE | ADI 16 Channel Biomedical Data acquisition System | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Down
Ansoft HF(5 user) & EM (1User) Software | Vol VII/ P23 | HOD | Ansoft |  |  | Government | DST - FIST | Ansoft HF(5 user) & EM (1User) Software | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Video Processing Board ( SMT 339, 111, 939 with Camea) | Vol VII /P44 | DSP | Sundance |  |  | Government | DST - FIST | Video Processing Board ( SMT 339, 111, 939 with Camea) | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Labview Software V.8.6 (dept License) | Vol VII /P45 | ALL Labs | NI |  |  | Government | DST - FIST | Labview Software V.8.6(dept License) | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
ELVIS -II + | Vol VII /P45 | Research Lab | NI |  |  | Government | DST - FIST | ELVIS -II + | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Xilinx Sparton 3E DE FPGA | Vol VII /P45 | Research Lab | NI |  |  | Government | DST - FIST | Xilinx Sparton 3E DE FPGA | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Free Scale µC Board | Vol VII /P45 | Research Lab | NI |  |  | Government | DST - FIST | Free Scale µC Board | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Bio Amplifier Kit | Vol VII /P45 | Medical Electronics | ITIE |  |  | Government | DST - FIST | Bio Amplifier Kit | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Ethernet Data acquisition device 32 Ch 16 bit 256ks/s | Vol VII /P45 | Research Lab | NI | ENET 9205 |  | Government | DST - FIST | Ethernet Data acquisition device, 32 Ch, 16 bit, 256ks/s | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Real Time Compact Vision System with Camera | Vol VII /P45 | DSP | NI | NI 1454 |  | Government | DST - FIST | Real time compact vision system with camera | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
DSP Module | Vol VII /P45 | DSP 2/5, Research Lab 3/5 | NI | NI Speedy 33 |  | Government | DST - FIST | DSP Module | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Data Acquisition Card | Vol VII /P45 | ME-4/5, Research Lab 1/5 | NI | NI USB 6009 |  | Government | DST - FIST | Data Acquisition Card | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Image Processing System (Frame Grabber card, Camera and stands with Matrox software) | Vol VII /P57 | DSP | Matrox/SVS-Vistek |  |  | Government | DST - FIST | Image Processing System (Frame Grabber card, Camera and stands with Matrox software) | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
MSO-1 GHZ | Vol VII /P59 | Research lab | Agilent | MSO 7104B |  | Government | DST - FIST | MSO-1 GHZ | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Data Acquisition ad development hardware for Labview Wireless Data acquisition device | Vol VII /P86 | Research Lab | NI | WLS 9215 |  | Government | DST - FIST | Data Acquisition ad development hardware for Labview- Wireless Data acquisition device | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Multi FunctionDAQ Device with driver software (37 pin) with connector block and cable | Vol VII /P86 | Research Lab | NI | PCI 6221 |  | Government | DST - FIST | Multi FunctionDAQ Device with driver software (37 pin) with connector block and cable | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Vernier Bio Instrumentation Kit for ELVIS II+ | Vol VII /P86 | Research Lab | NI | Vernier |  | Government | DST - FIST | Vernier Bio Instrumentation Kit for ELVIS II+ | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Robatics Starter Kit | Vol VII /P86 | DSP | NI |  |  | Government | DST - FIST | Robatics Starter Kit | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Telecommunication Board DATEX | Vol VII /P86 | CMNL | NI |  |  | Government | DST - FIST | Telecommunication Board – DATEX | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Fiber Optic Communication Trainer | Vol VII /P86 | CMNL | NI |  |  | Government | DST - FIST | Fiber Optic Communication trainer | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
MSO-1 GHZ | Vol VII /P110 | AE | Agilent | MSO 7104B |  | Government | DST - PURSE | MSO-1 GHZ | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
136 Channel Logic Analyser with 8x 17 Ch single ended flying leads | Vol VII /P115 | AE | Agilent | 16804A/ E5383A |  | Government | DST - PURSE | 136 Channel Logic Analyser with 8x 17 Ch single ended flying leads | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Optical Time Domain Reflectometer | Vol VII /P120 | Communication Lab | Yokogowa | AQ7275, 735041 |  | Government | DST - PURSE | Optical Time Domain Reflectometer | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
RF Vector Signal Generator under DGS | Vol VII /P132 | CMNL | Rohde&Schwarg | Smbv100A |  | Government | UGC-SAP | RF Vector Signal Generator under DGS | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Wifi Data Acquisition Module | Vol VII /P146 | Research Lab |  | CDAQ 9191, N19971 |  | Government | UGC-SAP | Wifi Data Acquisition Module | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
32 ch 16 bit 250ks/s analog input Module | Vol VII /P146 | Research Lab |  | N19940, |  | Government | UGC-SAP | 32 ch 16 bit, 250ks/s analog input Module | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Bi- directional 8 ch Digital I/o module | Vol VII /P146 | Research Lab |  | N19401, |  | Government | UGC-SAP | Bi- directional 8 ch, Digital I/o module | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Multifunctional test and measurement kit | Vol VII /P147 | AE | Digilent | Analog Discovery |  | Government | DST Purse-II | Multifunctional test and measurement kit | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
usrb b200 KIT | Vol VII /P148 | CMNL |  |  |  | Government | DST Purse-II | usrb b200 KIT | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
USRB B210 kit | Vol VII /P148 | CMNL | Academica |  |  | Government | DST Purse-II | USRB B210 kit | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Digital Funds Camera with accessories and software | Vol VII /P149 | Research Lab | Volk Pictor Plus | VP20PHK |  | Government | UGC-SAP | Digital Funds Camera with accessories and software | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Infrared Camera | Vol VII /P154 | Research lab | FLIR | E60 |  | Government | DST Purse-II | Infrared Camera | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
FPGA Evaluation Kit | Vol VII /P158 |  | Xilinx | ZIGNC |  | Government | DST Purse-II | FPGA Evaluation Kit | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
UEF Vivado System 25X | Vol VII /P159 |  | Xilinx |  |  | Government | DST Purse-II | UEF Vivado System 25X | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Software for Asic Design | Vol VII /P160 |  | Mentor Graphics |  |  | Government | DST Purse-II | Software for Asic Design | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Image Sensor with high Definiton Video Interface | Vol VII /P163 |  |  |  |  | Government | DST Purse-II | Image Sensor with high Definiton Video Interface | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Development Board for Xilinx ZynQ 7000 (EPP) | Vol VII /P164 |  | Digilent | ZED board |  | Government | DST Purse-II | Development Board for Xilinx ZynQ 7000 (EPP) | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Antix 7 FPGA Board for Digital Circuit development | Vol VII /P164 |  | Digilent | Nexys4DDR |  | Government | DST Purse-II | Antix 7 FPGA Board for Digital Circuit development | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
20 ghz Vector network analyser | Vol VII /P168 |  | Keysight | E5071C ENA series |  | Government | DST Purse-II | 20 ghz Vector network analyser | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
Gait Analysis System | Vol VII /P169 |  | Biometrics |  |  | Government | DST Purse-II | Gait Analysis System | Department of Electronics and Communication Engineering |  |  |  | Research Equipment | Up
TOC Analyser | Total organic Carbon Analyser | Centre for Environmental Studies (Temporary) | Analytik jena | multiN/C 2100s |  | Government | DST | TOC Analyzer Multi N/ 2100 S BU, HT 1300, APG 64 $ 42746 | Centre for Climate Change and Adaptation Research |  |  |  | Research Equipment | Under Maintenance
Solar Wind Hybrid System | SWHS | IES | Ecosense Sustainable Energy, New Delhi |  |  | Government | DST – FIST | To test the solar and wind system components under various operating conditions. | Institute for Energy Studies |  |  |  | Research Equipment | Under Maintenance
Differential Scanning Calorimeter | DSC | IES | NETZSCH Technologies India Pvt., Ltd., Chennai – 37 | DSC214Polyma |  | Government | DST - CERI | To characterize the material for its thermal properties | Institute for Energy Studies |  |  |  | Research Equipment | Up
Bio Gas plant |  | Hostel | B-Sustain Energy Projects Pvt., Ltd, Chennai - 106 |  |  | Government | RUSA scheme | 1000 kg Food waste plant for Bio gas generation with all monitoring instruments | Institute for Energy Studies |  |  |  | Research Equipment | Up
XYZ 3 Axis Traverse System for Measurement |  | CWR LAB | M/S.Vinayaga Development Engineering | XYZ- T9000 |  | Government | DST-Inspire | DST | Institute of Ocean Management |  |  |  | Research Equipment | Up
A0 Plotter |  | IOM GIS LAB | Hp Designing T2 300 PS Multifunction printer (Plotter) | HP |  | Government | MoEF | PS Multifunction printer plotter, Print width : 4.4 wich , Scan and copy width: 36 inch print Technology: Inkjet (colours) Memory : 32 GB Virtural RAM (640 MB RAM) and 160 GB hard disk, Resolution : 2400 x 1200 (Max for printing), 600 x 600 for Scanning and copying media handling: two automatic roll feeds with auto roll switch and sheet feed. Connectivity : Gigabit Ethernet line Accuracy : +_1% plotter should support postscript Printing and Scanning Warring : one year | Institute of Ocean Management |  |  |  | Research Equipment | Down
Contex SD 4450 scanner + stand |  | IOM GIS LAB | Contex Denmark |  |  | Government | MoEF |  | Institute of Ocean Management |  |  |  | Research Equipment | Down
HP XW9400 Workstation |  | IOM GIS LAB | HP | HP- XW9400 |  | Government | MoES |  | Institute of Ocean Management |  |  |  | Research Equipment | Up
Shimadzu |  | IOM Lab | UV – 1800 | “UV – 1800 UV – Vis Spectrophotometer with curvette |  | Government | BRNS Project | UV-Vis Spectrophotometer with corvette | Institute of Ocean Management |  |  |  | Research Equipment | Down
Thermal Infrared Camera |  | Marine Lab / CWR | M/S Middle Street FZE E - LOB Office Dubai, Uae | T620 |  | Government | Project: Atomic Energy Regulatory Board |  | Centre for Water Resources |  |  |  | Research Equipment | Up
AP-2000 D GPS |  | WET Chemistry Lab/ CWR | M/S ESSAR Lab Mate Pvt.Ltd., Banglore | HSN/SAC 9027 |  | Government | UGC NewDelhi | Aqua Mater | Centre for Water Resources |  |  |  | Research Equipment | Up
Spectro Photo Meter |  | WET Chemistry Lab/ CWR | M/s Thosvin Analytical Pvt.,Ltd., | UV- 1800 WIT |  | Government | UGC NewDelhi | SHLMADZU US-VIS | Centre for Water Resources |  |  |  | Research Equipment | Up
Petentio Metric Auto Titrator |  | WET Chemistry Lab/ CWR | M/S METHROM AG LONENSTRASE, SWITERLAND | 28481010 |  | Government | UGC NewDelhi | FOOD/ BEVERAGE TIRINOPLUS | Centre for Water Resources |  |  |  | Research Equipment | Up
Rainfall Recording System with Data Logger |  | WET Chemistry Lab/ CWR | M/s SULTRON HYDROMET SYSTEM PVT,LTD., NEWDELHI | 70.210.001.3.0 |  | Government | UGC NewDelhi | OTT Parasiver DC Power | Centre for Water Resources |  |  |  | Research Equipment | Up
76 Hand Held Flow Meter |  | WET Chemistry Lab/ CWR | M/s SULTRON HYDROMET SYSTEM PVT,LTD., NEWDELHI | ADC ACOUSTIC DOOPLER METHOD |  | Government | UGC NewDelhi | Measured output Depth Veocity, Discharge, Water Temperature | Centre for Water Resources |  |  |  | Research Equipment | Up
Research Microscope with Digital Interface with Accessiories |  | WET Chemistry Lab/ CWR | M/s CarriZeiss Microscopy Gmbh, Koenigsalle, Germany | Axio Lab A1 |  | Government | UGC NewDelhi | Upright Trinocular Light Microscope With Digital Camera | Centre for Water Resources |  |  |  | Research Equipment | Up
Servo Hydraulic Fatigue Machine |  | Advanced Materials testing Laboratory |  | UK |  | Government | DST-FIST | Fatigue study | Mechanical Engineering |  |  |  | Research Equipment | Up
50 Ton Hydraulic Press |  | Composite laboratory |  | Power hydraulics |  | Government | DST-SERB | Load application over material | Mechanical Engineering |  |  |  | Research Equipment | Up
Friction Stir Welding |  | Special machine shop |  | Rv machine tool(manual) |  | Government | DRDO-NRB | Welding | Mechanical Engineering |  |  |  | Research Equipment | Up
Friction Stir Welding |  | Special machine shop |  | Semi automatic |  | Government | DST-SERB | Welding | Mechanical Engineering |  |  |  | Research Equipment | Up
Extrusion Press(100 Ton) |  | Special machine shop |  | Semi automatic |  | Government | DRDO/ER&IPR | Extrusion study | Mechanical Engineering |  |  |  | Research Equipment | Up
Two Channel Constant Temperature Hot Wire Anemometer | HWA | I.C.E Divison, Wind Tunnel Lab | Dantec Dynamics |  |  | Government | DST-FIST | To measure flow velocity, pressure and turbulence characteristics | Mechanical Engg. / Wind Tunnel Lab |  |  |  | Research Equipment | Under Maintenance
AVL Combustion Analysis System (CAS) | CAS | I.C.E Divison, I.C. Engines Lab | AVL | DIGAS4445 |  | Government | DST PURSE | For Combustion Analysis of I.C. Engines | Mechanical Engg. / I.C. Engines Lab |  |  |  | Research Equipment | Up
Eddy Current Dynamometer (ECD) | ECD | I.C.E Divison, I.C. Engines Lab | Application Ssytems Pvt Ltd | APPSYS-WED-11S |  | Government | UGC XII Plan | To measure engine torque and power | Mechanical Engg. / I.C. Engines Lab |  |  |  | Research Equipment | Up
Automated Surface Area and Pore Size Analyzer |  | Department of Physics | MicrotracBEL, Japan | BELSORP-mini II |  | Government | DST- FIST |  | Department of Physics |  |  |  | Characterization | Up
Photoconductivity Apparatus |  | Department of Physics | Hind High Vacuum Co Pvt Ltd | Hindvac CMT25 |  | Government | DST -PURSE |  | Department of Physics |  |  |  | Research Equipment | Up
Hall Effect Measurement System |  | Department of Physics | Ecopia Corp, South Korea | HMS-3000/MS55T |  | Government | UGC -XII Plan |  | Department of Physics |  |  |  | Research Equipment | Up
TGA DTA DSC(TG-DSC TG-DTA) |  | Department of Physics | Netzsch Geratebau GmbH, Germany | STA 449 F3 Jupiter |  | Government | UGC-SAP |  | Department of Physics |  |  |  | Characterization | Up
Microhardness Tester |  | Department of Physics | Hibiki Corp, Japan | MATSUZAWA-MMTX-B |  | Government | DRDO Project |  | Department of Physics |  |  |  | Characterization | Down
Desktop X-Ray Powder Diffractometer |  | Department of Physics | Bruker AXS Gmbh, Germany | D2 Phaser |  | Government | UGC-XI Plan |  | Department of Physics |  |  |  | Characterization | Up
Electrochemical Workstation |  | Department of Physics | CH Instruments Inc. USA | CH 17081D |  | Government | DST-PURSE |  | Department of Physics |  |  |  | Research Equipment | Up
UV Spectrophotometer |  | Department of Physics | Shimadzu | UV2450 |  | Government | DST-PURSE |  | Department of Physics |  |  |  | Characterization | Down
Photoluminescence System |  | Department of Physics | Horiba Jobin Yvon Inc, Japan | iHR550 |  | Government | DST-FIST |  | Department of Physics |  |  |  | Characterization | Down
Fourier Transform Infrared Spectroscopy (FTIR) | FTIR | Department of Physics | Bruker AXS Gmbh, Germany | Alpha |  | Government | CSIR Project |  | Department of Physics |  |  |  | Characterization | Up
Micro Raman Spectrophotometer |  | Department of Physics | Spectrolab | R-3000-532 |  | Government | TEQUIP |  | Department of Physics |  |  |  | Characterization | Down
CNC Slant Bed Lathe | CNC Lathe | Chennai | PMT machines Ltd. | Supercut 5 |  | Government | TEQIP | Capacity - Standard Chuck size - Not less than 165 mm, Spindle speed range - 40- 4000rpm | Department of Production Technology |  |  |  | Research Equipment | Up
CNC Wire cut EDM | WEDM | Chennai | Electronica Machines Tools | Maxi cut e |  | Government | TEQIP | Accommodation job size - 400x600x200mm, max taper cutting angle-+ (or) -30deg on 50mm job height | Department of Production Technology |  |  |  | Research Equipment | Up
Hydraulic Press - 30T | Press | Chennai | HY- Nu Engineers |  |  | CIA | CIA | Hydraulic H frame and 3HP Power Packwith cylinder and electrical control panel - 1No.Capacity 30T,Bed Size 60x60mm | Department of Production Technology |  |  |  | Research Equipment | Up
Electro Chemical Machine (ECM) | ECM | Chennai | Sinergy Nano Systems | HYPER-TTECM |  | Government | DST FIST | Travel X axis-200mm, Y axis-100mm, Z axis-100mm, working table 350X200mm, AC servo motor 100W (5000rpm), Resolution 0.1µm, Accuracy +/- 1µm | Department of Production Technology |  |  |  | Research Equipment | Up
Abrasive Water Jet Machine (AWJM) | AWJM | Chennai | OMAX Corporation | MAXIEM 1515 |  | Government | DST FIST | Programmable Motorized Z-Axis with a precision OMAX MAXJET®5i Nozzle boosts productivity and process efficiency | Department of Production Technology |  |  |  | Research Equipment | Up
Surface Roughness Testing Machine | Roughness | Chennai | Precision Product marketing | SE1200 |  | Government | UGC X | Stylus type - Cone type, Diamond; Radius 10µm+30%, machine Parts - Probe head with stylus, Electro mechanical movement, Control panel with printers | Department of Production Technology |  |  |  | Research Equipment | Up
Ultrasonic Sonicator | Ultrasonic | Chennai | Johnson Plasto sonic | Ultrasonic sonicator |  | Government | AICTE - RPS | Temperature - 1000°C, 230V AC, 3.5KW Power,Power 200W, Freq 20KHz with Pnematic foot operated up down trigger pulse and titanium full wave length … | Department of Production Technology |  |  |  | Research Equipment | Up
CNC Vertical Machining centre | CNC VMC | Chennai | Bharat fritz werner Ltd. | BMV51TC |  | Government | UPE | Table longitudinal travel (X - Axis) - 800mm, Table cross travel (Y - Axis)- 510mm, Headstock travel (Z - Axis) - 510mm, Distance from Floor to table - 1015, automatic pallet change, automatic tool change | Department of Production Technology |  |  |  | Research Equipment | Up
Rapid Prototype Machine | RPTM | Chennai | Design Tech | Stratasys uprint SE |  | Government | UGC SAP | RPTM using ABS plus proprietery material from stratasys, ABS plus in ivory | Department of Production Technology |  |  |  | Research Equipment | Up
Vision Measuring System (VMS) | VMS | Chennai | Sipcon Instrument Industries | Sipcon |  | Government | TEQIP | A VMS is provides automated, Computer based image acquisition and analysis capabilities that can be employed for tasks such as measurement and inspection of parts or material.It comprises a camera coupled with a computer. | Department of Production Technology |  |  |  | Research Equipment | Up
PLC Assisted Hydraulic Trainer Kit | PLC | Chennai | Dev Systems | Dev Systems |  | Government | UGC XI | To study Hydraulic Power pack & its components, To study operation of different Hydraulic Direction Control Valves, To study operation of Hydraulic Check Valve, To study operation of Flow Control Valve, To study operation of Pressure Relief Valve. To study operation of Linear Actuators, To test following Hydraulic circuit, Regenerative Circuit - Speed Control of Linear Actuators, - Transverse & Feed Circuit, To test following PLC based circuits, Operation of Solenoid operated direction control valves, Sequencing Circuit Clamping Circuit | Department of Production Technology |  |  |  | Research Equipment | Up
Quantitative Real time Polymerase Chain Reaction (Qpcr) | Quantitative Real time Polymerase chain reaction | Near Tissue culture room 1 | Eppendrof | 5345 030335 |  | Government | No, DBT | Quantitative analysis of gene expression studies | MIT Campus AU-KBC Research Centre |  |  |  | Research Equipment | Up
Fluorimeter | Fluroresence Spectrophotometer | Near Student Room | Varain Cary Eclipse | 09-1610 |  | Government | No, LSRB-DRDO | Anisotropy studies | MIT Campus AU-KBC Research Centre |  |  |  | Characterization | Up
NO Electrode | Amphometeric ultra sensitive nitric oxide electrode system | Near Student Room | World Precision Instruments | Apollo4000-2 |  | Government | No, ICMR | Amperometric measurement of real-time Nitric oxide production in live cells. | MIT Campus AU-KBC Research Centre |  |  |  | Research Equipment | Up
Infra Red Moisture Balance |  | Food Microbiology/Food Analysis | Sartorius |  |  | Government | DBT | Moisture measurement | Department of Bio Technology |  |  |  | Analytical Measurement | Down
Electronic Orbital Shaker |  | Food Microbiology/Food Analysis | Scigenics |  |  | Government | DBT | Mixing of components | Department of Bio Technology |  |  |  | Characterization | Up
High Performance Liquid Chromatography (HPLC) |  | Food Microbiology/Food Analysis | Shimadzu |  |  | Government | DBT | Molecularseperation of components | Department of Bio Technology |  |  |  | Characterization | Up
Evaporative Light Scattering Detector |  | Food Microbiology/Food Analysis |  |  |  | Government | DBT | Charecterisation of components | Department of Bio Technology |  |  |  | Characterization | Up
Texture Analyser |  | Food Microbiology/Food Analysis |  |  |  | Government | DBT | Charecterisation of food particles | Department of Bio Technology |  |  |  | Characterization | Up
Color Measuring Spectrophotometer |  | Food Microbiology/Food Analysis |  |  |  | Government | DBT | Measurement of Absorbence | Department of Bio Technology |  |  |  | Analytical Measurement | Up
BOD Incubator |  |  |  | Economy automatic |  | Government | DBT | Charecterisation of cells | Department of Bio Technology |  |  |  | Characterization | Up
Centrifuge |  |  | Sigma | Sigma 2-16V |  | Government | DBT | Seperation of components | Department of Bio Technology |  |  |  | Characterization | Up
Centrifuge |  |  | Thermoscientific | ThermoScientific sorvall legend XTR |  | Government | DBT | Seperation of components | Department of Bio Technology |  |  |  | Characterization | Up
Centrifuge |  |  | Thermoscientific | ThermoScientific Micro CL 21R |  | Government | UGC-BSR | Seperation of components | Department of Bio Technology |  |  |  | Characterization | Up
Electronic Balance |  |  | Shimadzu | Shimadzu AY120 |  | Government | DST | Measurement of Weight | Department of Bio Technology |  |  |  | Analytical Measurement | Up
pH Meter |  |  | Hanna | Hanna Instruments-H12211 |  | Government | DST | Measurement of Ions | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Sonicator |  |  | Sonics | Sonics VibracellTM |  | Government | DST | Cell lysis | Department of Bio Technology |  |  |  | Characterization | Up
GelDoc |  |  | Biorad | BioRad |  | Government | DST | imaging of Gels | Department of Bio Technology |  |  |  | Charecterisation/Measurement | Up
Atomic Force Microscopy (AFM) |  |  | JPK | JPK instruments |  | Government | DBT | Charecterisation of surface | Department of Bio Technology |  |  |  | Characterization | Up
Bioreactor | [5 empty] | Government | DBT | Cell culture | Department of Bio Technology |  |  |  | Characterization | Up
Biosafety cabinet | [5 empty] | Government | DBT | Cell culture | Department of Bio Technology |  |  |  | Characterization | Up
FPLC |  |  |  | Biorad |  | Government | DBT | Molecular Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
Gas Chromatography (GC) | [5 empty] | Government | DBT | Molecular Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
-80°C Refrigerator |  |  | ESCO | ESCO |  | Government | DBT | Storage of samples | Department of Bio Technology |  |  |  | Characterization | Up
-20°C Refrigerator | [5 empty] | Government | DBT | Storage of samples | Department of Bio Technology |  |  |  | Characterization | Up
Lyophilizer | [5 empty] | Government | DST | Evaporation of solvents | Department of Bio Technology |  |  |  | Fabrication | Up
Fourier Transform Infrared Spectroscopy (FTIR) |  | Food Processing | Agilent | Carry 660 |  | Government | DST | to find chemical groups | Department of Bio Technology |  |  |  | Characterization | Down
MAP |  | Food Processing | Dansensor | MAP Mix 900i ME Dansensor Ramon |  | Government | DST –SERB | to pack food product in modifed atmos | Department of Bio Technology |  |  |  | Fabrication | Up
Fermenter |  | Food Processing | Sribiocare | Shree Biocare/3ltre capacity |  | Government | UGC-MRP | culture for microbes | Department of Bio Technology |  |  |  | Fabrication | Up
UV-Vis Spectrometer |  | Food Processing | Thermoscientific | Evo 201 Thermo Scientific |  | Government | DBT | to analyse the chemical compounds | Department of Bio Technology |  |  |  | Characterization | Up
PCR |  | Cell Culture | Life Technologies | Applied Biosystem/Veriti 96 well thermo cycler 29902-18495 |  | Government | UGC | Molecular biological work -DNA amplification | Department of Bio Technology |  |  |  | Characterization | Down
CO2 Incubator |  | Cell Culture | ESCO | ESCO/CCL-170B-8-UV |  | Government | SERB | Cell culture | Department of Bio Technology |  |  |  | Characterization | Up
Electroporator |  | Cell Culture | Eppendorf | Eppendorf AG/22331 Hamburg/4308 |  | Government | SERB | DNA Binding | Department of Bio Technology |  |  |  | Fabrication | Up
Inverted Fluorescence Microscope with Camera (Nikon) |  | Cell Culture | Nikon | Nikon |  | Government | NHHID | Imaging the cells | Department of Bio Technology |  |  |  | Characterization | Up
High Speed Centrifuge |  | Cell Culture | ThermoFisher | Haraeus Multifuge X3R |  | Government | DBT | Seperate of compounds | Department of Bio Technology |  |  |  | Characterization | Up
CO2 Incubator |  | Cell Signalling lab | NuAir | NuAire/2012 |  | Government | DBT | Cell culture | Department of Bio Technology |  |  |  | Fabrication | Up
Biological Oxygen Monitor |  | Cell Signalling lab | YSI | YSI 5300A/2013 |  | Government | DST | Analysis of cell metabolism | Department of Bio Technology |  |  |  | Characterization | Up
Centrifuge |  | Cell Signalling lab | Labogene | Scanspeed 1580R/2013 |  | Government | DBT | Seperation of components | Department of Bio Technology |  |  |  | Characterization | Up
Biosafety Cabinet |  | Cell Signalling lab | Labogene | Scanlaf Mars M1200/2013 |  | Government | DST | Cell Culture | Department of Bio Technology |  |  |  | Characterization | Up
Deep Freezer |  | Cell Signalling lab | Labogene | Scancool SCl510/2013 |  | Government | DBT | Storage of components | Department of Bio Technology |  |  |  | Characterization | Down
Microplate Reader |  | Cell Signalling lab | Tecan | Tecan/2013 |  | Government | UGC | Measurement of Absorbence | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Chemidoc |  | Cell Signalling lab | Licor | Odyssey FC |  | Government | DST-PURSE | Imaging of western blots | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Co2 Incubator |  | Tissue Culture & Drug Discovery Laboratory | ESCO | ESCO/ 2012 |  | Government | DBT | Cell cuture | Department of Bio Technology |  |  |  | Characterization | Up
Co2 Incubator |  | Tissue Culture & Drug Discovery Laboratory | Eppendorf | Eppendorf/2013 |  | Government | ICMR | Cell cuture | Department of Bio Technology |  |  |  | Characterization | Up
Refrigerated Centrifuge |  | Tissue Culture & Drug Discovery Laboratory | Eppendorf | Eppendorf/2014 |  | Government | DBT | Cell culture | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Inverted Microscope |  | Tissue Culture & Drug Discovery Laboratory | nikon | Nikon/2014 |  | Government | DBT | Imaging the cells | Department of Bio Technology |  |  |  | Characterization | Up
Laminar Hood -3 Nos. |  | Tissue Culture & Drug Discovery Laboratory | ILE | ILE Co/2009 |  | Government | CSIR | Provding clean for cell culture | Department of Bio Technology |  |  |  | Fabrication | Up
Phosphor Imager |  | Tissue Culture & Drug Discovery Laboratory | Perkind Elmer | Perkin Elmer/2013 |  | Government | DST-PURSE | Imaging of radio labeled samples | Department of Bio Technology |  |  |  | Characterization | Up
Liquid Scintillation Counter |  | Tissue Culture & Drug Discovery Laboratory | Perkin Elmer | Perkin Elmer/2014 |  | Government | DST-PURSE | Quantification of radio labeled substance | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Liquid Scintillation Counter |  | Tissue Culture & Drug Discovery Laboratory | Packard | Packard/2003 |  | Government | DST | Quantification of radio labeled substance | Department of Bio Technology |  |  |  | Analytical Measurement | Down
Fluorimeter |  | Tissue Culture & Drug Discovery Laboratory | Turner Biosystem | Turner Biosystem/2008 |  | Government | DBT | Quantification of fluorosence | Department of Bio Technology |  |  |  | Analytical Measurement | Up
PCR |  | Tissue Culture & Drug Discovery Laboratory | Eppendorf | Eppendorf/2004 |  | Government | DBT | Amplification of DNA | Department of Bio Technology |  |  |  | Fabrication | Up
Refrigerated Centrifuge |  | Tissue Culture & Drug Discovery Laboratory | Sigma | Sigma/2000 |  | Government | DST | Microbial culture | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Shaker Incubator |  | Tissue Culture & Drug Discovery Laboratory | Indigenous | Indigenous /2009 |  | Government | CSIR | for Microbial culture | Department of Bio Technology |  |  |  | Charecterisation | Down
Reactor |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | Bioengineering | Bioengineering 2.4L |  | Government | DBT | For large -scale cultivation of micro organisms -1.8 l | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Reactor |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | Bioengineering | Bioengineering 3.1L |  | Government | DBT | For large -scale cultivation of micro organisms -2.3 l | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Reactor |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | NBS | NBS Bioflo415 |  | Government | DBT | For large -scale cultivation of micro organisms-5 l | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Reactor |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab |  | NBS Bioflo115 |  | Government | DBT | For large -scale cultivation of micro organisms-2.2 l | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Chiller |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | Servo | Servo Enterprises |  | Government | DBT | To supply chilled water | Department of Bio Technology |  |  |  | Characterization | Down
Air Compressor |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | Sthiraa | STHIRAA |  | Government | DBT | Supply of Compressed air at a particular pressure | Department of Bio Technology |  |  |  | Characterization | Down
Microscope |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | Olumpus | Magnus PLUS Olympus |  | Government | DBT | Identification of microorganism | Department of Bio Technology |  |  |  | Characterization | Up
FPLC |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | GE Health care | AKTA |  | Government | DBT | Analysis of fermentation broth | Department of Bio Technology |  |  |  | Analytical Measurement | Down
High Pressure Liquid Chromotograph (HPLC) |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | Shimadzu | Shimadzu |  | Government | DBT- Virtual enzyme.. | Analysis of fermentation broth | Department of Bio Technology |  |  |  | Analytical Measurement | Up
High Pressure Liquid Chromotograph (HPLC) |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | agilent | Agilent technologies |  | Government | DBT | Analysis of fermentation broth | Department of Bio Technology |  |  |  | Analytical Measurement | Down
High Pressure Liquid Chromotograph (HPLC) |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | Shimadzu | Shimadzu |  | Government | UGC | Analysis of fermentation broth | Department of Bio Technology |  |  |  | Analytical Measurement | Down
Cooling Centrifuge |  | Metabolic Engineering, Fermentation Technology and Analytical Instrumentation Lab | ELTEK | ELTEK |  | Government | UGC, CPEES | Seperation of solid from liquid | Department of Bio Technology |  |  |  | Characterization | Down
2-D Gel Electro Phoresis Package |  | Proteomics Lab |  | Protean i12IEF &2D/2014 |  | Government | DBT | To find protein band/DNA band | Department of Bio Technology |  |  |  | Fabrication | Up
Maldi-Tof/Tof Mass.Spectrometer & Accessories |  | Proteomics Lab |  | Maldi 7090/Shimadzu 2014 |  | Government | DBT | For Protein studies | Department of Bio Technology |  |  |  | Fabrication | Up
Ultra Sonicator |  | Biofuel and Nanobiomaterials |  | Sonics Vibra Cell |  | Government | DST |  | Department of Bio Technology |  |  |  | Research Equipment | Up
Centrifuge |  | Biofuel and Nanobiomaterials |  | REMI |  | Government | DST |  | Department of Bio Technology |  |  |  | Research Equipment | Down
Micro Centrifuge |  | Biofuel and Nanobiomaterials |  | REMI RM-12C |  | Government | TEQIP |  | Department of Bio Technology |  |  |  | Research Equipment | Up
Growth Chamber |  | Biofuel and Nanobiomaterials |  | Lab net |  | Government | DST |  | Department of Bio Technology |  |  |  | Research Equipment | Down
Planetary Ball Mill |  | Biofuel and Nanobiomaterials |  | VB Ceramics |  | Government | DST |  | Department of Bio Technology |  |  |  | Research Equipment | Down
SUPercritical Extractor |  | Biofuel and Nanobiomaterials |  | Assembled |  | Government | CSIR |  | Department of Bio Technology |  |  |  | Research Equipment | Down
FACS |  |  | BD | BD FACS Canto II |  | Government | BUILDER | Charecterisation of cells | Department of Bio Technology |  |  |  | Characterization | Up
Confocal Microscope |  | Cancer Biology & Stemcell Technology | Carl Zeuis | Carl Zeius LSM700 |  | Government | BUILDER | imaging of celss | Department of Bio Technology |  |  |  | Characterization | Up
Refrigerated Centrifuge (2 nos) |  | Cancer Biology & Stemcell Technology | Sigma | SIGMA REMI |  | Government | DST-SERB | Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Down
CO2 Incubator (2 NOS) |  | Cancer Biology & Stemcell Technology | Galaxy | Galaxy B NOVAS |  | Government | DST-SERB | Cell Culture | Department of Bio Technology |  |  |  | Characterization | Up
Hypoxia Chamber |  | Cancer Biology & Stemcell Technology | Eppendorf | Eppendorf |  | Government | DST-SERB | Cell culture under low oxygen | Department of Bio Technology |  |  |  | Characterization | Up
Hypoxia Workstation |  | Cancer Biology & Stemcell Technology |  |  |  | Government | DST-SERB | Cell culture under low oxygen | Department of Bio Technology |  |  |  | Characterization | Up
Biosafety Cabinet (2 nos) |  | Cancer Biology & Stemcell Technology |  | ClassI |  | Government | BUILDER | Cell culture | Department of Bio Technology |  |  |  | Characterization | Up
Biosafety Cabinet (2 nos) |  | Cancer Biology & Stemcell Technology |  | ClassI |  | Government | DST-SERB | Cell culture | Department of Bio Technology |  |  |  | Characterization | Up
Hot Air Oven |  | Cancer Biology & Stemcell Technology | Guna | GUNA |  | Government | DST-SERB | Heating | Department of Bio Technology |  |  |  | Characterization | Up
Refrigerator (4⁰C) (3 nos) |  | Cancer Biology & Stemcell Technology |  | RT36JSRFESL |  | Government | BUILDER | Storage of samples | Department of Bio Technology |  |  |  | Characterization | Up
Refrigerator (4⁰C) (3 nos) |  | Cancer Biology & Stemcell Technology |  | LABTECH |  | Government | BUILDER | Storage of samples | Department of Bio Technology |  |  |  | Characterization | Up
Refrigerator (4⁰C) (3 nos) |  | Cancer Biology & Stemcell Technology |  | REMI |  | Government | BUILDER | Storage of samples | Department of Bio Technology |  |  |  | Characterization | Up
Refrigerator (-20⁰C) (1 no) |  | Cancer Biology & Stemcell Technology |  | VEST FROST |  | Government | BUILDER | Storage of samples | Department of Bio Technology |  |  |  | Characterization | Up
300 Litres Bioreactor Bioengg. |  | Bioprocess | bioengineering | Bioengineering |  | Government | DBT -ISCB | Microbial culture | Department of Bio Technology |  |  |  | Characterization | Up
20 Litres Bioreactor Bioengg. |  | Bioprocess | bioengineering | Bioengineering |  | Government | DBT-ISCB | Microbial culture | Department of Bio Technology |  |  |  | Characterization | Up
30 Litres Airlift Bioreactor Bioengg |  | Bioprocess | bioengineering | Bioengineering |  | Government | DBT-ISCB | Microbial culture | Department of Bio Technology |  |  |  | Characterization | Up
5 Litres Sygenics Bioreactor |  | Bioprocess | Scigenics | Scigenics |  | Government | DST-FIST | Microbial culture | Department of Bio Technology |  |  |  | Characterization | Up
Dynomill |  | Bioprocess |  |  |  | Government | DBT-ISCB | Cell lysis | Department of Bio Technology |  |  |  | Characterization | Up
Homogeniser |  | Bioprocess |  |  |  | Government | DBT-Builder | Cell lysis | Department of Bio Technology |  |  |  | Characterization | Up
Micro filtration big |  | Bioprocess |  |  |  | Government | DBT | Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
Micro filtration small |  | Bioprocess |  |  |  | Government | DBT | Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
Ultra Filtration |  | Bioprocess |  |  |  | Government | DST | Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
Ultra Sonication 4 Finger |  | Bioprocess |  |  |  | Government | DST-FIST | Cell Lysis | Department of Bio Technology |  |  |  | Characterization | Up
Ultra Sonication Single |  | Bioprocess |  |  |  | Government | DST | Cell Lysis | Department of Bio Technology |  |  |  | Characterization | Up
Alfa Level Continuous Centrifuge |  | Bioprocess |  |  |  | Government | DBT-ISCB | Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
Gel Documentation (Old) |  | Bioprocess |  |  |  | Government | DBT-FOOD | Imaging of Gels | Department of Bio Technology |  |  |  | Characterization | Up
Gel Documentation (New) |  | Bioprocess |  |  |  | Government | CSIR | Imaging of Gels | Department of Bio Technology |  |  |  | Characterization | Up
Realtime PCR (1) |  | Bioprocess |  |  |  | Government | DBT-FOOD | Amplification of DNA | Department of Bio Technology |  |  |  | Characterization | Down
Spectrophotometer (1) |  | Bioprocess |  |  |  | Government | DBT-MTECH | Measurement of Absorbence | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Centrifuge Large scale (1) (Hermile) |  | Bioprocess |  |  |  | Government | DBT-FOOD | Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
Microscope (1) |  | Bioprocess |  |  |  | Government | DBT | Imaging of cells | Department of Bio Technology |  |  |  | Characterization | Up
Nano Drop(1) |  | Bioprocess |  |  |  | Government | DBT_FOOD | Measurement of nucleic acids | Department of Bio Technology |  |  |  | Measurement | Up
Electroporater (1) |  | Bioprocess |  |  |  | Government | MHRD COE | Transformation of cells | Department of Bio Technology |  |  |  | Characterization | Up
YSI |  | Bioprocess |  |  |  | Government | DBT_FOOD | Measurement of Oxygen | Department of Bio Technology |  |  |  | Analytical Measurement | Down
Titration Manager |  | Bioprocess |  |  |  | Government | DBT | Tritration | Department of Bio Technology |  |  |  | Analytical Measurement | Down
-20°C Freezer |  | Bioprocess |  |  |  | Government | MHRD-COE | Storage of samples | Department of Bio Technology |  |  |  | Characterization | Up
NBS Bioreactor (3) |  | Bioprocess |  |  |  | Government | DBT_FOOD – 2nos | Cell Culture | Department of Bio Technology |  |  |  | Characterization | Up
NBS Bioreactor (3) |  | Bioprocess |  |  |  | Government | DST_FIST | Cell Culture | Department of Bio Technology |  |  |  | Characterization | Up
Gas analyzer |  | Bioprocess |  |  |  | Government | DBT | Seperation of Components | Department of Bio Technology |  |  |  | Analytical Measurement | Down
Sortorium cell line Bioreactor |  | Bioprocess |  |  |  | Government | TEQIP | Cell culture | Department of Bio Technology |  |  |  | Characterization | Down
Akta Purifier Chromatography |  | Bioprocess |  | GE |  | Government | DBT | Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
UHPLC |  | Bioprocess |  | Agilent |  | Government | DBT | Molecular Seperation of Components | Department of Bio Technology |  |  |  | Characterization | Up
Lyophilizer |  | Bioprocess |  |  |  | Government | DBT | Removal of solvents | Department of Bio Technology |  |  |  | Characterization | Up
Multimode Reader |  | Bioprocess |  | BioTek |  | Government | DBT | Measurement of Absorbence | Department of Bio Technology |  |  |  | Analytical Measurement | Up
Bioreactor 3 L |  | Bioprocess |  | Bioengineering |  | Government | DBT Builder | Cell culture | Department of Bio Technology |  |  |  | Characterization | Up
High Pressure Liquid Chromotograph (HPLC) | HPLC | Sophisticated Lab | AGILENT,TECH |  |  | Government | UGC | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Hybrid Membrane Bio Reactor |  | Chemical Engg |  |  |  | Government | DST/WTI | Effluent Treatment | Department of Chemical Engineering |  |  |  | Fabrication | Up
Total Organi Carbon (TOC) Analyser | TOC | Sophisticated Lab | SHIMADZU | TOC-VCPH |  | Government | DRDO | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Contact Angle |  | Sophisticated Lab | DATA PHYSICS | OCA15EC |  | Government | BRNS | Polymer material | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Moisture Analyser Dhaus |  | Sophisticated Lab | TERAOKA LTD | ESSAR |  | Government | UGC | solid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Electrochemical Workstation | CV | Chemical Engg | CH INSTRUMENT | 680 |  | Government | DST- PURSE | Electrode characterization | Department of Chemical Engineering |  |  |  | Characterization | Up
U.V. Visible Spectectrometer (UV-Vis) | UV-Vis | Sophisticated Lab | HITACHI- | C-2000(W) |  | Government | DST FIST | Organic sample | Department of Chemical Engineering |  |  |  | Characterization | Up
Capillary Flow Porometer |  | Sophisticated Lab | POROUS MATERIAL INC | CFP – 1200 AXL |  | Government | DST- PURSE | solid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Gas Chromatography (GC) | GC | Sophisticated Lab | SHIMADZU | GC – 2014 |  | Government | DST- FIST | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Atomic Absorption Specttroscopy (AAS) | AAS | Sophisticated Lab | SHIMADZU | AA – 6300 (W) |  | Government | DST - FIST | Metal ions | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Surface Area And Pore Size Analysr | BET | Sophisticated Lab | QUANTACHROME INSTRUMENTS | NOVA 4200e (BET) |  | Government | TEQIP FUND | solid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Under Maintenance
Thermo Gravimetric (TG) /Differntial Thermal Analayzer (DTA) | TG/DTA | Sophisticated Lab | PERKIN ELMER INSTRUMENTS | SII |  | Government | TEQIP FUND | solid sample | Department of Chemical Engineering |  |  |  | Characterization | Under Maintenance
Membrane Bioreactor |  | Chemical Engg |  |  |  | Government | DST (WTI) | Effluent Treatment | Department of Chemical Engineering |  |  |  | Fabrication | Up
Rheometer |  | Sophisticated Lab | ANTON PAAR | MCR102 |  | Government | DST FIST | liquid sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Diffuse Reflectance Uv-Vis NIR |  | Sophisticated Lab | JASCO | NIR-V770 |  | Government | DST FIST | liquid sample | Department of Chemical Engineering |  |  |  | Characterization | Up
Gas Chromatograph (GC) | GC | Sophisticated Lab | AGILENT,TECH | G1312B1260 |  | Government | DST FIST | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
High Pressure Liquid Chromotograph (HPLC) | HPLC | Sophisticated Lab | AGILENT,TECH | G1312B |  | Government | DST FIST | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Muffle Furnace |  | Chemical Engg |  | VBCC/MF/17-18 |  | Government | DST-SERB | solid sample | Department of Chemical Engineering |  |  |  | Fabrication | Up
Vacuum Oven with Vacuum Pump |  | Chemical Engg |  | VBCC/VO/17-18 |  | Government | DST-SERB | solid sample | Department of Chemical Engineering |  |  |  | Fabrication | Up
High Pressure Liquid Chromotograph (HPLC) | HPLC | Sophisticated Lab | AGILENT,TECH | G1312B |  | Government | CSIR | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Gas Chromtograph (GC) | GC | Chemical Engg | AGILENT,TECH | 7890B |  | Government | DST-SERB | Organic sample | Department of Chemical Engineering |  |  |  | Analytical Measurement | Up
Bond Master (BM) | BM | MIT Campus, Anna University | Olympus NDT Corp., US |  |  | Government | DST-PURSE | Bond Master 1000+color LCD multi mode includes Bond Master 1000+all mode base unit color LCD Display Module VGA cable power card Li-Ion Battery UBC-Universal charges eliminator UBC-Uni cable UBC to Li-Ion instrument portative cover single | Department of Aerospace Engineering |  |  |  | Research Equipment | Up
Electro Mechanical Type Universal Testing Machine (UTM) | UTM | MIT Campus, Anna University | Tinius Olsen Ltd,UK | 100KN (M36x2 Base) |  | Government | DST-FIST | Electro Machenical Type Universal Testing Machine H100KU Material Machine 100Kn (M36x2 Base) | Department of Aerospace Engineering |  |  |  | Research Equipment | Up
Compression Moulding Machine (CMM) | CMM | MIT Campus, Anna University | G-Tech Engg.Foundr Co., Coimbatore | 50 Kn Compression Moulding Machine |  | Government | DST-FIST | Compression Moulding Machine | Department of Aerospace Engineering |  |  |  | Research Equipment | Up
Horizontal Type Autoclave (HTA) | HTA | MIT Campus, Anna University | Lakshmi Engg., Works, Chennai | Horizontal Type Autoclave |  | Government | DST-FIST | Equipment Capabilities: Composite,Bonding and Curing, Size: 600x600x600 mm, Type: Horizontal,Rectangular- Single Door, MOC:SS304, Operating Temp Range: 30-300*C, Operating Pressure Range: Vacuum 600mm Hg - 3bar, Pressure and Temp medium: Air, Heater Type: Electric & Accessories | Department of Aerospace Engineering |  |  |  | Research Equipment | Up
B.O.D Incubator | 30.03.2009 | Analytical Laboratory |  | TCL1072- S.S.chamber size 6cy ft-170ltrs |  | Government | UGC XI plan | TCL1072- S.S.chamber size 6cy ft-170ltrs | Centre for Environmental Studies |  |  |  | Research Equipment | Up
All Quartz Double Edistilation | 26.03.2009 | R &D Laboratory |  | AQDD-30P-DB-XL/RSH/CES |  | Government | UGC XI plan | Make all quartz double distillation Unit | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Bhanu Make Aqua DM Water De-mineraliser | 26.03.2009 | R & D Laboratory |  | DM 600/100-XL-Digital |  | Government | UGC XI plan | Make Aqua DM water De-mineraliser | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Gas Permeator with Accessories | 3.10.11 | Analytical Laboratory |  | gas permeator |  | Government | UGC -CPEES 11 | Pressure transmitter | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Pre Requisites for Gas Chromatograph |  | CES unit operation & processing lab |  | gas chromatograph |  | Government | UGC -CPEES 11 | gas chromatograph | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Systronics Micro Controller Based Flame Photometer | 16.2.12 | Analytical Laboratory |  | Micro controller |  | Government | UGC XI plan | Micro controller | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Cold Storage System Labserve with Stabilizer | 08.03.2012 | Analytical Laboratory |  | cold storage |  | Government | UGC XI plan | cold storage system | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Incubator Shaker | 27.03.2012 | Analytical Laboratory |  | Incubator shaker |  | Government | UGC XI plan | Incubator shaker | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Cod Digestor with Accessories | 30.03.2012 | Analytical Laboratory |  | CoD Digestor |  | Government | UGC XI plan | COD Digestor | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Lab Scale Bioreactor | 24.09.2012 | Micro Laboratory |  | Hygene-Insitu Sesselterilliable glass vessel |  | Government | DST FIST | 7 Lit Volume: 5.24 lit maximum working volume 2.0 lit cylindrical borosilicate glass vesselminimum | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Mercury Analyzer | 24.05.2013 | Analytical Laboratory |  | Mille merlin system for low level mercury altermination |  | Government | DST FIST | low level mercury altermination | Centre for Environmental Studies |  |  |  | Research Equipment | Up
Panasonic 1.5 Tr Split 3 Star A.C |  | Second floor | PANASONIC | CS-UC18 Sky 3PR |  | Government | ICRFT | 1.5 TON CAPACITY 3 STAR | Department of Management Studies |  |  |  | Research Equipment | Up
Online Ups 3Kva |  | Second floor | MATRIX | MU300 |  | Government | ICRFT | Sealed maintenance hsn code 8507 free batteries for 1 hr back up | Department of Management Studies |  |  |  | Research Equipment | Up
Dell Optiplex 5050 |  | Ground floor | DELL | i5-6400 |  | Government | ICRFT | ITB hard disk,monitor 19.5 led monitor,optcal mouse,keyboard | Department of Management Studies |  |  |  | Research Equipment | Up
Hp Prodesk 600 G3 Pci Mt |  | Ground floor | HP | AU625 |  | Government | RUSA scheme | USB hardened mouse,bus slim keyboard,pro desk monitor, | Department of Management Studies |  |  |  | Research Equipment | Up