## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Cyclic Voltmeter (CV) | CV | UCE Villupuram / Kukuppam |  | Biologic VSP2 |  | Government | DST Nanomission | Multichannel Electrochemical workstation with in built FRA | Chemitry / Nmnotech Lab |  |  |  | Research Equipment | Up
Solar Simulator | Solar Cell | UCE Villupuram / Kukuppam |  | Sinsil International, SS50AAA |  | Government | DST | Charcterization purpose of solid and liquid samples | UCE Villupuram |  |  |  | Characterization | Up
Fluorescence Spectrometer (FS) | FS | UCE Villupuram / Kukuppam |  | Jasco, EP-8300 |  | Government | DST |  | UCE Villupuram |  |  |  | Research Equipment | Up
Utra Violet Visible DRS | UV- Vis DRS | UCE Villupuram / Kukuppam |  | Jasco, V-650 |  | Government | DST |  | UCE Villupuram |  |  |  | Research Equipment | Up
Tubular Furnace |  | Coimbatore, Tamil Nadu | VB Ceramics |  |  | Government | DST Fast Track Scheme | Temp. 1200 Deg. | Nano Technology |  |  |  | Research Equipment | Up
Muffle Furnace |  | Coimbatore, Tamil Nadu | Technica |  |  | Government | DST Fast Track Scheme | Temp. 1000 Deg. | Nano Technology |  |  |  | Research Equipment | Up
Hot Air Oven |  | Coimbatore, Tamil Nadu | Technica |  |  | Government | DST Fast Track Scheme | Temp. 300 Deg. | Nano Technology |  |  |  | Research Equipment | Up
Surface Area Analyser |  | Coimbatore, Tamil Nadu | Quanta Chrome Nova | 1200e |  | Government | DST Fast Track Scheme | To measure surface area | Nano Technology |  |  |  | Research Equipment | Up
Cryogenic Tank 30Lts |  | Coimbatore, Tamil Nadu | Quanta Chrome Nova |  |  | Government | DST Fast Track Scheme | 30 Ltrs. Storage tank | Nano Technology |  |  |  | Research Equipment | Up
Electronic Weighing Balance |  | Coimbatore, Tamil Nadu | Shimadzu |  |  | Government | DST Fast Track Scheme | Measures weight upto 0.001g | Nano Technology |  |  |  | Research Equipment | Up
Fluoride Meter with Electrode | Lr.No. AU/UCED/CHEM/DST-SERB/EQUIPMENT/PO/2013/7 dt. 28-10-2013 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | Thermo Orion, USA | VersaStar 92 |  | Government | DST-SERB | Fluoride meter with Electrode. CAT No: 9609BNWP | Chemistry |  |  |  | Research Equipment | Under Maintenance
UV-Vis Spectro Photometer (Spectraquant) | Lr.No. AU/UCED/CHEM/DST-SERB/EQUIPMENT/PO/2013/8 dt. 07-11-2013 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | Merck, India | Pharo 300 |  | Government | DST-SERB | Wavelength Range: 190-1100 nm Spectral Band Width: 4 nm Photo Acccuracy: 0.003 Å | Chemistry |  |  |  | Research Equipment | Under Maintenance
Ball Mill | Lr.No. AU/UCED/CHEM/DST-SERB/EQUIPMENT/PO/2013/9 dt. 14-11-2013 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | IKA, Germany | Model No: A11 |  | Government | DST-SERB | Basic Analytical Mill - With Spare Beater & Spare Grinding Chamber | Chemistry |  |  |  | Research Equipment | Under Maintenance
Orbital Shaker | Lr.No. AU/UCED/CHEM/DST-SERB/EQUIPMENT/PO/2013/1 dt. 07-08-2013 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | Rivotek, India | Nil |  | Government | DST-SERB | Construction: M.S Body with Epoxy Powder, Shaking Speed: 20-200 RPM, Plat Form Size: 42.5 x 42.5 cm | Chemistry |  |  |  | Research Equipment | Under Maintenance
Waterbath Shaker | Lr.No. AU/UCED/CHEM/DST-SERB/EQUIPMENT/PO/2013/2 dt. 04-09-2013 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | Remi, India | Model No: RSB-12 |  | Government | DST-SERB | Product Type: Waterbath Shaker, Tray Size: 12 Flask * 100 mL, Temp Range: Upto 95◦C, Shakin Period: 40 to 180 Stokes/min | Chemistry |  |  |  | Research Equipment | Under Maintenance
Double Distilled Unit | Lr.No. AU/UCED/CHEM/DST-SERB/EQUIPMENT/PO/2013/3 dt. 13-09-2013 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | Riviera, India | Horizontal with Softner |  | Government | DST-SERB | Product Type: Double, CAT No: 7221315, Type of Condenser: Borosilicate and Output: 1.5 L/Hr | Chemistry |  |  |  | Research Equipment | Under Maintenance
UV-Vis Spectro Photometer | Lr.No. AU/UCED/CHEM/UGC-MRP/EQUIPMENT-UV-VISIBLE/PO/2016/1 dt. 04-02-2016 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | Anatech | AN-UV-7000 |  | Government | UGC-MRP | Optical Sytem:Double Beam, Wavelength Range: 190-1100 nm, Spectral Band Width: 0.5, 1.0, 2.0, 4.0 nm Photo Acccuracy: +/-0.3 nm | Chemistry |  |  |  | Research Equipment | Under Maintenance
Spectroflurometer | PO No.971/PP4/Chemistry/2016 dt. 16-02-2016 | Anna University, University College of Engineering - Dindigul, Tamil Nadu | Jasco, Japan | FP-8200 |  | Government | DST-SERB | Light Source: Continuous output Xe arc lamp with shielded lamp housing (150 W), Resolution:2.5 nm, Wavelength Range: 200-900 nm | Chemistry |  |  |  | Research Equipment | Under Maintenance
LCMS/MS- Liquid Chromatograph Coupled with Mass Spectrometer and with its accessories | LCMS | Anna University Trichy, Dept. of Pharma Lab | BRUKER Daltonics/MicrOTOF Q-III |  |  | Government | DST | It is a chromatographic technique used to split a mixture of compounds. The main purposes are for identifying, quantifying and purifying the individual components of the mixture. | Pharma.Tech |  |  |  | Research Equipment | Up
H(U)PLC - High (Ultra) Performance Liquid Chromatography with accessories | H(U)PLC | Anna University Trichy, Dept. of Pharma Lab | TOMY/SX-500 |  |  | Government | DST | It is a pressure chamber used to carry out industrial processes requiring elevated temperature and pressure different from ambient air pressure. Mainly used for sterilization | Pharma.Tech |  |  |  | Research Equipment | Up
Airway Mechanical Analyser I (AMA-I) | AMA -I | Anna University Trichy, Dept. of Pharma Lab | SCIREQ EMkA Technologies |  |  | Government | DST | Used to measurement of Thoracic Gas Volume, Functional Residual Capacity, lung volume subdivisions, airway resistance, specific airway resistance, conductance and specific conductance. | Pharma.Tech |  |  |  | Research Equipment | Up
Analyser II | AMA -II | Anna University Trichy, Dept. of Pharma Lab | Malvorn/ZEN3600 |  |  | Government | DST |  | Pharma.Tech |  |  |  | Research Equipment | Up
Inverted Fluorescene Microscope (IFM) | IFM | Anna University Trichy, Dept. of Pharma Lab | Perkin Elmer/Enspire |  |  | Government | DST |  | Pharma.Tech |  |  |  | Research Equipment | Up
Multimade Micrplate Reader (MMR) | MMR | Anna University Trichy, Dept. of Pharma Lab | Shimadzu |  |  | Government | DST | It is designed for luminescence, absorbance, and fluorescence detection in an easy-to-use, modular format for life science applications. | Pharma.Tech |  |  |  | Research Equipment | Up
Nano Particle/Zeta Potential Analyser |  | Anna University Trichy, Dept. of Pharma Lab | Nikon/Ti-E |  |  | Government | DST | For determining the surface charge of nanoparticles in solution (colloids). | Pharma.Tech |  |  |  | Research Equipment | Up
Gel Documentation System |  | Anna University Trichy, Dept. of Pharma Lab | Shimadzu/UV-2600 |  |  | Government | DST | Used in molecular biology laboratories for the imaging and documentation of nucleic acid and protein suspended within polyacrylamide or agarose gels | Pharma.Tech |  |  |  | Research Equipment | Up
UV Visible Spectrophotometer |  | Anna University Trichy, Dept. of Pharma Lab | Semes AG, Germany/Ultra clearTM ,TWF UVUFTM/EI-ION |  |  | Government | DST | The measurement of the attenuation of a beam of light after it passes through a sample or after reflection from a sample surface. | Pharma.Tech |  |  |  | Research Equipment | Up
Water Purification System |  | Anna University Trichy, Dept. of Pharma Lab | Heidolph/RW-1025G |  |  | Government | DST | For the purification of water. | Pharma.Tech |  |  |  | Research Equipment | Up
Rotary Vaccum Evapurater |  | Anna University Trichy, Dept. of Pharma Lab | Panasonic/MDF-U55V-PE |  |  | Government | DST | Used in chemical laboratories for the efficient and gentle removal of solvents from samples by evaporation. | Pharma.Tech |  |  |  | Research Equipment | Up
Gel Electrophores |  | Anna University Trichy, Dept. of Pharma Lab | Panasonic/MDF-U731M |  |  | Government | DST | Method for separation and analysis of macromolecules and their fragments, based on their size and charge. | Pharma.Tech |  |  |  | Research Equipment | Up
High Performance Thin Layer Chromatography (HPTLC) | HPTLC | Anna University Trichy, Dept. of Pharma Lab | Eppendorf/Galaxy170S |  |  | Government | DST | Robust, simplest, rapid, and efficient tool in quantitative analysis of compounds. | Pharma.Tech |  |  |  | Research Equipment | Up
Fluorescence Microscope with accessories |  | Anna University Trichy, Dept. of Pharma Lab | Shimadzu/AUW220D |  |  | Government | DST | Design for fluorescence and live cell imaging applications | Pharma.Tech |  |  |  | Research Equipment | Up
Small animal anaesthesia system |  | Anna University Trichy, Dept. of Pharma Lab | ANM Industries/ANM-PC103v |  |  | Government | DST | Used for anesthetizing small laboratory animals. | Pharma.Tech |  |  |  | Research Equipment | Up
Semi Microbalance |  | Anna University Trichy, Dept. of Pharma Lab | TARSONS/SPINWIN-MC-01 |  |  | Government | DST |  | Pharma.Tech |  |  |  | Research Equipment | Up
Analytical weighing balance |  | Anna University Trichy, Dept. of Pharma Lab | Lab Tech/LTMHOS-8 |  |  | Government | DST | Used for most laboratory weighing applications, including measuring medicine and compounding chemicals. | Pharma.Tech |  |  |  | Research Equipment | Up
Digital Autoclave |  | Anna University Trichy, Dept. of Pharma Lab | Icematic/F-80C |  |  | Government | DST | It is a pressure chamber used to carry out industrial processes requiring elevated temperature and pressure different from ambient air pressure. Mainly used for sterilization. | Pharma.Tech |  |  |  | Research Equipment | Up
CO2 Incubator |  | Anna University Trichy, Dept. of Pharma Lab | Tarsons/Rocky Vac 300 |  |  | Government | DST | Used in scientific research to grow and maintain cell cultures. | Pharma.Tech |  |  |  | Research Equipment | Up
Deep Freezer 300 C |  | Anna University Trichy, Dept. of Pharma Lab | Bransonic/CPX3800H-E |  |  | Government | DST | It is used to store vaccines, blood plasma, biological materials etc. | Pharma.Tech |  |  |  | Research Equipment | Up
Analytical Weighing Balance |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST |  | Pharma.Tech |  |  |  | Research Equipment | Up
Icematic Iceflaking Machine |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST | Used to prepare ice | Pharma.Tech |  |  |  | Research Equipment | Up
Deep Freezer -860 C |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST | It is used to store vaccines, blood plasma, biological materials etc. | Pharma.Tech |  |  |  | Research Equipment | Up
Spray Dryer |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST | It is used to produce a dry powder from a liquid or slurry by rapidly drying with a hot gas. | Pharma.Tech |  |  |  | Research Equipment | Up
Cooling Centrifuge |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST |  | Pharma.Tech |  |  |  | Research Equipment | Up
Automated Cell Counter |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST | Used to measure the cells passing through an aperture alter resistance and are counted as voltage pulses, or in which cells passing through a flow cell deflect light. | Pharma.Tech |  |  |  | Research Equipment | Up
Dispenser |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST |  | Pharma.Tech |  |  |  | Research Equipment | Up
Mocroscope with camera |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST | It is a variation of a traditional optical microscope that uses optics and a digital camera to output an image to a monitor. | Pharma.Tech |  |  |  | Research Equipment | Up
Water Bath |  | Anna University Trichy, Dept. of Pharma Lab |  |  |  | Government | DST |  | Pharma.Tech |  |  |  | Research Equipment | Up
Trinocular Microscope |  | Anna University Trichy, Dept. of Pharma Lab | Make: Nikon, Japan; | Model: Eclipse 50i |  | Government | DST, TNSCST | A trinocular microscope has two eyepieces like a binocularmicroscope and an additional third eyetube for connecting scope camera. Binocular with moving prism assembly in which light is directed to the binocular assembly of the microscope or to the camera | Pharma.Tech |  |  |  | Research Equipment | Up
Universal Refrigerated Centrifuge |  | Anna University Trichy, Dept. of Pharma Lab | Make: Hermele, German; | Model: Z326K, |  | Government | DST | Particle seperation based on size and gravity rotation per minute | Pharma.Tech |  |  |  | Research Equipment | Up
UV Spectrophotometer |  | Anna University Trichy, Dept. of Pharma Lab | Make: Shimadzu, Japan: | Model UV1800 |  | Government | UGC | Abserve absorption of transmitted materials | Pharma.Tech |  |  |  | Research Equipment | Up
Elisa Reader with Gen5 Software |  | Anna University Trichy, Dept. of Pharma Lab | Make: Biotek, USA; | Model: EPOCH microplates spectrophotometer |  | Government | DST | ELISA readers were designed for measuring antibody tests | Pharma.Tech |  |  |  | Research Equipment | Up
Fplc – Protein Purification System |  | Anna University Trichy, Dept. of Pharma Lab | Make: Bio-Rad Pacific Ltd. USA ; | Model:BioLogic Duo Flow Quad Tech 10 System |  | Government | SERB | Fast protein liquid chromatography (FPLC), is a form of liquid chromatography that is often used to analyze or purify mixtures of proteins. | Pharma.Tech |  |  |  | Research Equipment | Up
Biosafety Cabinet |  | Anna University Trichy, Dept. of Pharma Lab | Make: Biopark, India; | Model: KZBC 1300SS - Bio safety cabinet class II type A2 SS-304 |  | Government | DST | A biosafety cabinet (BSC)—also called a biological safety cabinet or microbiological safety cabinet—is an enclosed, ventilated laboratory workspace for safely working with materials contaminated with (or potentially contaminated with) pathogens requiring a defined biosafety level. | Pharma.Tech |  |  |  | Research Equipment | Up
Co2 Incubator |  | Anna University Trichy, Dept. of Pharma Lab | Make: Esco Biotech Pvt Ltd. USA; Model: CCL-170B-B-UV Esco cell culture CO2 incubator |  |  | Government | DST | A cell culture incubator is designed to maintain a constant temperature and high humidity for the growth of tissues or cells under a CO2 atmosphere | Pharma.Tech |  |  |  | Research Equipment | Up
Video Tracking Mazes |  | Anna University Trichy, Dept. of Pharma Lab | Make: Orchid Scientifics and innovatives Pvt. Ltd. India |  |  | Government | DST | Monitoring the mice activity for alzheimers disease | Pharma.Tech |  |  |  | Research Equipment | Up
Vertical Type Deep Freezer (-20°C) |  | Anna University Trichy, Dept. of Pharma Lab | Make: Euronova, India; | Model: EFS345, |  | Government | SERB | Deep freezers are used to preserve and store Biological samples like Protein sample, blood samples, plant samples and animal tissues, etc. | Pharma.Tech |  |  |  | Research Equipment | Up
Digital Plethysmometer |  | Anna University Trichy, Dept. of Pharma Lab | Make: Panlab, Spain; | Model: LE7500 |  | Government | DST, TNSCST | Digital Plethysmometer used to study the imflammatory response in animal models. | Pharma.Tech |  |  |  | Research Equipment | Up
Humidity Chamber |  | Anna University Trichy, Dept. of Pharma Lab | Make: Wadegatti, Mumbai; | Model: WIL-195 200L CAPACITY |  | Government | DST | Humidity chamber helps improve product reliability and durability | Pharma.Tech |  |  |  | Research Equipment | Up
Ultra Sonicator |  | Anna University Trichy, Dept. of Pharma Lab | Make: Sonics, USA; | Model: VCX-750-220 Ultrasonic processer |  | Government | DST | Ultrasonication is used in many applications, such as homogenizing, disintegration, sonochemistry, degassing or cleaning. | Pharma.Tech |  |  |  | Research Equipment | Up
Magnetic Susceptibility Meter |  | Anna University Trichy, Dept. of Pharma Lab | Make: Fegro, Australia; | Model: MS2 |  | Government | DST | To measure the magnetic properties of nano particles | Pharma.Tech |  |  |  | Research Equipment | Up
Potentiostat |  | Anna University Trichy, UCE-BIT | BIOLOGIC, France |  |  | Government | DST -SERB | Electrochemical workstation - can do all types of electrochemical studies and characterization |  |  |  |  | Characterization | Up
UV-VIS Spectrophotometer with DRS | Spectrophotometer | Anna University Trichy | Shimadzu |  |  | Government | DST - SERB | Shimadzu, Model: UV-2450, Double beam, wavelength range (190 ~ 900nm ), High performance single monochomator with reflectance measurement instrument | Materials Research Laboratary, Department of Chemistry |  |  |  | Research Equipment | up
Optical Polarizing Microscope |  | Papankamp 20 6836BD, Arnhem, The Netharlands | Euromex |  |  | Government | DST Project, SERB Scheme | Objectives 4x,10x,40x,Camera CMEX 5000, 5MP, Halogen bulp 6V, 30W, Compensating filters, | Crystal Research Laboratory, Department of Physics |  |  |  | Research Equipment | Up
Bridgman Set up |  | 75, Electronics estate, Perungudi, chennai-600096 | Vi Microsystems |  |  | Government | DST Project, SERB Scheme | Stepper motor translation rate 0.001mm/hr to 50mm/hr, Torque 7Kg/Cm2, SCR based thyrister unit, temperature range upto 1000 °C | Crystal Research Laboratory, Department of Physics |  |  |  | Research Equipment | Up
Box type crystal growth chamber with cryostat facility |  | 67, thiruvalluvar street, jagathambigai nagar, padi, chennai 600050 | SUB ZERO Lab instruments |  |  | Government | DST Project, SERB Scheme | Inter tank size 470x260x350 (LxWxD) Temperature controller: Eurotherm Range: 0°C- 99°C Accuracy ±0.01°C | Crystal Research Laboratory, Department of Physics |  |  |  | Research Equipment | Up
Sonicator |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
Vertical Freezer (-20) |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
Table Top High Speed Centrifuge |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
Gilsorr Fraction Collector |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
- 86 deep freezer (344 L) |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
Lyophilizer |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
Temperature Controlled Orbital Shaking Incubator |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
Shaking Waterbath |  | Anna University Trichy |  |  |  | Government | DST - SERB |  | Biotech Lab |  |  |  | Research Equipment | Up
IEF Unit |  | Anna University Trichy |  |  |  | Government | DBT |  | Biotech Lab |  |  |  | Research Equipment | Up
IEF Accessories |  | Anna University Trichy |  |  |  | Government | DBT |  | Biotech Lab |  |  |  | Research Equipment | Up
Micro Plate Reader |  | Anna University Trichy |  |  |  | Government | ICMR, IMCR |  | Biotech Lab |  |  |  | Research Equipment | Up
Nano Spectro Photometer |  | Anna University Trichy |  |  |  | Government | ICMR |  | Biotech Lab |  |  |  | Research Equipment | Up
UV- Spectrometer |  | Anna University Trichy, B-24 - PPT LAB | LC- Equipments, Singapore. |  |  | Government | DST, Research Fund |  | Petro / B-24 PPT Lab |  |  |  | Research Equipment | Up
Fermenter |  | Anna University Trichy, B27 -PDC LAB | LARK INNOVATIVE FINE TENKNOWLEDGE -CHENNAI |  |  | Government | DST, Research Fund |  | petro/B-27 PDC LAB |  |  |  | Research Equipment | Up
206-25400-38 UV-1800220-240V-E |  | Anna University Trichy, B27 -PDC LAB | SHIMADZU(ASLA PACIFIC) PVT LTD- SINGAPORE |  |  | Government | DST, Research Fund |  | petro/B-27 PDC LAB |  |  |  | Research Equipment | Up
Biosorptive Foam Colomn |  | Anna University Trichy , B27 -PDC LAB | DEEPTHI ENGINEERING BANGALURU-26 |  |  | Government | DST, Research Fund |  | petro/B-27 PDC LAB |  |  |  | Research Equipment | Up
Fatique Testing Machine Model MFT - 8(D) | Investigation of Fatique behavior of Friction Stir Welded Age hardenable high strength Aluminium alloy | Anna University Trichy, MT Lab |  |  |  | Government | CSIR | Fatique Testing Machine Model MFT - 8(D) | Mechanical Engineering |  |  |  | Research Equipment | Up
UV/Vis Spectrophotometer |  | UCE - Panruti | Lab India |  |  | Government | DRDO |  | Crystal Research Lab |  |  |  | Research Equipment | Up
Over Head Stirrer | OHR | Anna University Tirunelveli, Env.Egg. Lab | IKA, Germany | RW20 |  | Government | DST | Used for Stirring | Anna University Tirunelveli |  |  |  | Research Equipment | Up
Perstaltic Pump | Pump | Anna University Tirunelveli, Env.Egg. Lab | Rivotek, India |  |  | Government | DST | Control flow rate | Anna University Tirunelveli |  |  |  | Research Equipment | Up
Perstaltic Pump | Pump | Anna University Tirunelveli, Env.Egg. Lab | Indian | BT660N |  | Government | DST | Control flow rate | Anna University Tirunelveli |  |  |  | Research Equipment | Up
Thermostatic water bath | Water bath | Anna University Tirunelveli, Env.Egg. Lab | Daihan | LWB/110 |  | Government | DST | Maintain temperature | Anna University Tirunelveli |  |  |  | Research Equipment | Up
Gas Flow Meter (GFM) | GFM | Anna University Tirunelveli, Env.Egg. Lab | Indian | 1S1 |  | Government | DST | Measure gas flow | Anna University Tirunelveli |  |  |  | Research Equipment | Up
Physical Vapour Deposition (PVD) Unit | PVD | Anna University Tirunelveli, Physics | Hind High Vac, india | 12A4D |  | Government | DST | Thin film deposition | Anna University Tirunelveli |  |  |  | Research Equipment | Up
Electrochemical work Station | ECD | Anna University Tirunelveli, Physics lab | CH Instruments USA | CHI1100B |  | Government | DST | Electro chemical deposition | Anna University Tirunelveli |  |  |  | Research Equipment | Up
Cyclic Voltammetry instrument with RDE |  | UCE Nagercoil |  | SB-150 2017 |  | Government | DST - SERB | Used for energy storage applications | Chemistry |  |  |  | Research Equipment | Up
DELL R 730 Server | Server | Anna University MIT Campus - Information Technology, Server Room | Dell | R730 |  | Government | UGC- BRS | Intel Xeon E5-2620 v3,2.4 GHz / 2X16 GB Rdimm/3x300 GB 10 K RPM HDD/ PERC / H730 Integrated RAID Controller Dell E2214H 21.5" Wide Screen LED Monitor | IT Department / Serrver Room |  |  |  | Characterization | Up
Visual Camera - Outdoor and PTZ camera with (Image software Bind) | IP-PTZ outdoor camera | Anna University MIT Campus - Information Technology, Outdoor Admin Block | Sony | EV 1070 PTZ |  | Government | UGC- BRS | Image sensorCCD ( HXV) 764x464 Lens 18X zoom | IT Dept |  |  |  | Analytical Measurement | Up
Server Type I & II Fujitsu | Server | Anna University MIT Campus - Information Technology, Server Room | Fujitsu | PRIMERGY RX4770 M1 & RX2540 M1 - a 2U rack serve |  | Government | DST - PURSE II PROGRAM 1 Equipment | Intel® Xeon® processor E7-4800/8800 v2 family.iRMC S4,Intel® Xeon® E5-2600 v3 processors with up to 36 cores. up to 24 disk drives | IT Dept / Serrver Room |  |  |  | Characterization | Up
Wireless Sensor Network - Class Room Kit ( 2.4 GHz IRIS ) | Sensor | Anna University MIT Campus - Information Technology, Research Lab | IRIS | IRIS 2.4 GHZ |  | Government | DST-FIST | 2.4 GHz IEEE 802.15.4, Tiny Wireless Measurement System.Up to Three Times Improved Radio Range and Twice the Program Memory Over Previous MICA Motes.Designed Specifically for Deeply Embedded Sensor Networks.250 kbps, High Data Rate Radio.Wireless Communications with Every Node as Router Capability | IT Dept |  |  |  | Analytical Measurement | Up
Wireless Sensor Network | Sensor | Anna University MIT Campus - Information Technology, Research Lab | Memsic | Wireless Sensor Network |  | Government | DST-FIST | Sensor board to sense light, temperature, acoustic, sesmic, magnometer, humidity,pressurealong with GPS module | IT Dept |  |  |  | Analytical Measurement | Up
Wireless Monitoring System - Interface cable and boards 2.4 GHz | Sensor | Anna University MIT Campus - Information Technology, Research Lab | Intrinsic Solutions | Long Range Wireless Monitoring System |  | Government | DST-FIST | Long Range Wireless Monitoring System Interface cable and boards 2.4 GHz | IT Dept |  |  |  | Analytical Measurement | Up
Wireless Sensor Network analyser 82.15 A / Zigbee Analyser | Sensor | Anna University MIT Campus - Information Technology, Research Lab | Intrinsic Solutions |  |  | Government | DST-FIST | Wireless Sensor Network analyser 82.15 A / Zigbee Analyser | IT Dept |  |  |  | Analytical Measurement | Up
Qualnet | Qualnet Simulator Software | Anna University MIT Campus - Information Technology, Research Lab | Qualnet | Qualnet Research Licence Single user perp |  | Government | UGC -SAP | Qualnet comes with Developer Multimedia Enterprise and Wireless Library | IT Dept |  |  |  | Frabrication | Up
Polyton S | Sensor | Anna University MIT Campus - Information Technology, Research Lab | Polyton Single | Sensor Network Analyser 240 GHZ |  | Government | UGC -SAP | Polyton S Single Channel Network analyser for 240 GHZ | IT Dept |  |  |  | Analytical Measurement | Up
Sensor I MOTE | Sensor | Anna University MIT Campus - Information Technology, Research Lab | Libelium | Sensor I mote Hardware Bundle Kit |  | Government | UGC -SAP | Sensor I mote Hardware Bundle Kit, Zigbee Pro 3 GAP ( Temperature, Humidity , Presssure ) | IT Dept |  |  |  | Analytical Measurement | Up
Wireless Development System | Sensor | Anna University MIT Campus - Information Technology, Research Lab | SDR04 - B | Wireless Development System Lab Equipments software Defined Radio Lab |  | Government | UGC-SAP | Cognititve Wireless Development Communication software Defined Radio | IT Dept |  |  |  | Analytical Measurement | Up
Video Conferencing System |  | Anna University MIT Campus - Information Technology, PL LAB | Polycom | HDX700 P - 720 P |  | Government | General Fund | Video Conferencing System HDX700P - 720 P | IT Dept |  |  |  | Characterization | Up