## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Vibrating Sample Magnetometer (VSM) | VSM | Room No. 123 | LakeShore, USA | VSM 7404 |  | Government | DST | magnetic powder and fluid samples | PDPIAS/Magnetic measurement Lab |  |  |  | Characterization | Up
Thermal Conductivity Analyzer | Thermal conductivity analyzer | Room No. 123 | F5 Technologies, Flucon fluid control GmbH | LAMBDA System |  | Government | DST | liquid samples | PDPIAS/Magnetic measurement Lab |  |  |  | Characterization | Up
Planetary Micro Mill | Ball Mill | Room No. 125 | FRITSCH GmbH | PULVERISETTE 6 |  | Government | DST | fabrication of nanofluids | PDPIAS/synthesis Lab |  |  |  | Fabrication | Up
Oil Tan-Delta and Resistivity Test System | ORDF | Room No. 122 | Power Electricals | ORDF-2 |  | Government | DST | Highly insulating oil | PDPIAS/electrical resistivity room |  |  |  | Characterization | Up
Motorized oil breakdown voltage tester 0-100 kV | OBDV | Room No. 122 | Power Electricals | OBDV-M100 |  | Government | DST | Highly insulating oil | PDPIAS/electrical resistivity room |  |  |  | Characterization | Up
Thermal Properties Analyzer | Thermal Properties Analyzer | Room No. 122 | Decagone Devices Inc. USA | KD2 Pro |  | GUJCOST, Gandhinagar | Institute | liquid samples | PDPIAS/electrical resistivity room |  |  |  | Characterization | Up
Inkjet Material Printer | Inkjet Material Printer | Room No. 116 | Fujifilm Dimatix | DMP-2800 |  | Government | DST | thin film samples | PDPIAS/Sophisticated Instrument Laboratory-II |  |  |  | Characterization | Up
Induction Heating Equipment | Hyperthermia measurement | Room No. 111 | Ambrell Make, USA | LI-8310 |  | Government | DST | Magnetic Fluid samples | PDPIAS/cell culture lab |  |  |  | Characterization | Up
Ultra Low Temp Freezer -80C | deep freezer -80C freezer | Room No. 111 | ESCO Bio Tech PVT LTD | UUS-480A-1-5D-SS |  | Government | DST | cell lines | PDPIAS/cell culture lab |  |  |  | Characterization | Up
Ultrasonic Interferometer | Ultrasonic Interferometer | Room No. 122 | Mittal Enterprise | M-84 S |  | State Government | GUJCOST, Gandhinagar | liquid samples | PDPIAS/electrical resistivity room |  |  |  | Characterization | Up
Inverted Metallurgical Microscope equippped with Jenoptik CCD camera |  | Room No. 120, P D Patel Institute of Applied Sciences, Charotar University of Science and Technology | Meiji Techno, Japan | IM 7200 |  | Government | DST | characterizations of powder samples, colloidal suspensions, thin films, certain biological samples, etc | Optical Measurement Lab, Department of Physical Sciences |  |  |  | Charaacterization | Up
He-Cd Laser with Power Meter | He-Cd laser | Room No. 120, P D Patel Institute of Applied Sciences, Charotar University of Science and Technology | Kimmon Koha Co. Ltd., Japan | IK411R-C |  | Government | DST | used for interferometry, to prepare thin film grating, etc. | Optical Measurement Lab, Department of Physical Sciences |  |  |  | Charaacterization | Up
Fiber Optic Spectrometer | spectrometer | Room No. 120, P D Patel Institute of Applied Sciences, Charotar University of Science and Technology | Ocean Optics, Germany | FLAME-S-XR1-ES |  | Government | DST | spectrometer assembly Tungsten Halogen Source: HL-2000-LL Premium Fiber: QP400-1-UV-VIS, Corvette Holder: CUV-UV, Ocean View: License Software | Optical Measurement Lab, Department of Physical Sciences |  |  |  | Charaacterization | Up
Optical table with passive vibration isolation table | Optical table | Room No. 120, P D Patel Institute of Applied Sciences, Charotar University of Science and Technology | Holmarc | Honeycomb table with vibration isolation support |  | Government | DST | To arrange optical setups | Optical Measurement Lab, Department of Physical Sciences |  |  |  | Charaacterization | Up
He-Ne Laser | He-Ne laser | Room No. 120, P D Patel Institute of Applied Sciences, Charotar University of Science and Technology | Optochem International |  |  | Government | DST | wavelength 632 nm | Optical Measurement Lab, Department of Physical Sciences |  |  |  | Charaacterization | Up
DPSS Laser | DPSS laser | Room No. 120, P D Patel Institute of Applied Sciences, Charotar University of Science and Technology | Optochem International |  |  | Government | DST | wavelength 532 nm | Optical Measurement Lab, Department of Physical Sciences |  |  |  | Charaacterization | Up
Materials Inkjet Printer (IJP) | IJP | Lab No. 116 | Fujifilm Dimatix Inc., USA | DMP-2831 |  | Government | Solar Energy Research Initiatives (SERI), Ministry of Science and Technology, Department of Science and Technology (DST), Government of India | Drop-on-Demand (DoD) 2D printer, movable scan head, Print area: 200 mm x 300 mm, Print any pattern at 5 - 254 mm dot pitch (100 - 5080 dpi), substrate upto 25 mm thick, Heated vacuum table for rigid and flexible substrate, Repeatability 25 mm, user variable drop size and drop density | Dr. K C Patel Research and Development Laboratory (KRADLE) |  |  |  | Fabrication | Up
Split Tube Furnace |  | Lab No. 116 | MTI Corporation, USA | OTF-1200X-80 |  | Government | Solar Energy Research Initiatives (SERI), Ministry of Science and Technology, Department of Science and Technology (DST), Government of India | Quartz tube: O.D. 80 mm x I.D. 74 mm x L: 1000mm, Heating Temp.: RT - 1100 oC, PID automatic control with 30 segments programmable, provision of inert gas and rotary vacuum | Dr. K C Patel Research and Development Laboratory (KRADLE) |  |  |  | Fabrication | Up
Vacuum Oven |  | Lab No. 116 | MTI Corporation, USA | EQ-DZF-6050-220 |  | Government | Solar Energy Research Initiatives (SERI), Ministry of Science and Technology, Department of Science and Technology (DST), Government of India | Inner chamber size: 415 mm x 345 mm x 370 mm, Operating temperature range: RT - 200 oC continuous, 28 segments temperature profile programmable, Vacuum: < 133 pa | Dr. K C Patel Research and Development Laboratory (KRADLE) |  |  |  | Fabrication | Down
Microviscometer |  | Lab No. 116 | Anton Paar GmBH, Austria | LOVIS 2000M |  | Government | Extra Mural Research (EMR), Science and Engineering Research Board (SERB), Department of Science and Technology (DST) | Dynamic viscosity: 0.3 mPaS - 10,000 mPaS, Density: 0 - 3 g/cm3, Sample volume: 0.1 - 0.8 ml, Test duration: 30 sec - 3 min | Dr. K C Patel Research and Development Laboratory (KRADLE) |  |  |  | Analytical Measurement | Up
Compact Split Tube Furnace |  | Lab No. 116 | Ants Ceramics, India | ants lab |  | Government | Extra Mural Research (EMR), Science and Engineering Research Board (SERB), Department of Science and Technology (DST) | Quartz tube: O.D. 125/300 mm x I.D. 120 mm x L: 700mm, Heating Temp. RT - 800oC, PID automatic control with 30 segments programmable, provision of inert gas and rotary vacuum | Dr. K C Patel Research and Development Laboratory (KRADLE) |  |  |  | Fabrication | Up
Vacuum Oven |  | Lab No. 116 | Ants Ceramics, India | ants lab |  | Government | Extra Mural Research (EMR), Science and Engineering Research Board (SERB), Department of Science and Technology (DST) | Dimension: 300 mm x 300 mm x 500 mm, Operating temperature range: RT - 250 oC, Microprocessor based PID temperature controller, Vacuum: 0.1 mbar | Dr. K C Patel Research and Development Laboratory (KRADLE) |  |  |  | Fabrication | Up
Computer Cluster |  | Changa, Anand | FUJITSU | Fujitsu Primergy RX2530 M2 |  | Government | Sience and Engineering Research Board (SERB), Department of Science and Technology (DST) | 5 compute nodes each node with following specification Intel Xeon E5-2697v4 18C/36T 2.30 GHz 16GB (1x16GB) 2Rx4 DDR4-2400 R ECC HD SATA 6G 1TB 7.2K HOT PL 3.5' BC PLAN EM 2x1Gb T OCl14000-LOM interface IB HCA 56Gb 1 port FDR | Physical Sciences |  |  |  | Research Equipment | Up
Hot Air Oven |  | Research Lab-221 | NOVA |  |  | Government | DST | Temp: 200º C | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Deep Freeze |  | Research Lab-221 | VOLTAS | 500 CFS |  | Government | DST | Temp: -20º C | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Distillery |  | Research Lab-221 | DURGA GLASS WORKS | CAT-1863502 |  | Government | DST | Glass round bottom flask unit | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Weighing Balance I (<300GM) |  | Research Lab-221 | GOLDTECH | GTJ |  | Government | DST | 0.01 gm to 200gm | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Weighing Balance I (<20KG) |  | Research Lab-221 |  |  |  | Government | DST | 40 gm to 20 kg | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
MINI Protein Tetra Cell with Powerpack |  | Research Lab-221 | BioRad | 1658003, 1645050 |  | Government | DST | Volts: 300V, Current: 400mA | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Standard Test Sieves |  | Research Lab-221 | Hydraulic and enginering instruments | HS32.40 |  | Government | DST |  | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Refrigerator |  | Research Lab-221 | Electrolux | EDL294 |  | Government | DST | 4°C with temperature controller | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
pH Meter |  | Research Lab-221 | NOVA | 101 |  | Government | DST | Temp: 0 to 100°C controller | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Spin Win (PCR tubes) |  | Research Lab-221 | SPINWIN | CAT-1000 |  | Government | DST | RPM: 1000 | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Spin Win (1.5 ml tube) |  | Research Lab-221 | SPINWIN | CAT-1010 |  | Government | DST | RPM: 1000 | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Mini Centrifuge (2 ml tube) |  | Research Lab-221 | MJ Mini | CAT-1020 |  | Government | DST | 10,000 RPM, 15 min. | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Microwave Oven |  | Research Lab-221 | WHIRLPOOL | 20(S) ELE |  | Government | DST | Highly digital with auto defrost | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Under Maintenance
Magnetic stirrer |  | Research Lab-221 | SPINIT | 4050 |  | Government | DST | Slim, 1 AMPS | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
BOD incubator shaker |  | Research Lab-221 | NOVA | 1202135/136 |  | Government | DST | Temp: 35°C, RPM: 200 | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Bacteriological Incubator |  | Research Lab-221 | DURGA Scientifics | Sr.-559/13 |  | Government | DST | Size: 18’’×18’’×18’’, 230 V | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
UV Cabinet- MS ODY |  | Research Lab-221 | Mihir Enterprise |  |  | Government | DST | UV: 264nm, 365 nm, Visible light | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Kitchen App. Mixer |  | Research Lab-221 | GLEN | GL4025 |  | Government | DST | high tek blades | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Kitchen App. Hand Blander |  | Research Lab-221 | BOSS | B101 |  | Government | DST | flexible and handy material | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Hair Dryer |  | Research Lab-221 | PHILLIPS | HP8100 |  | Government | DST | heat blower with heat coil | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Cooling Centrifuge |  | Research Lab-221 | REMI | C-24 PLUS |  | State Government | GUJCOST | RPM: 20,000, temp: -8°C | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Laminar Air flow |  | Research Lab-221 | K M SCIENTIFIC | -- |  | State Government | GUJCOST | HEPA, UV lamp, Visible light , burner | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Autoclave I |  | Research Lab-221 |  |  |  | Government | DST | 20 psi, 121º C | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Autoclave II |  | Research Lab-221 | equitron | 7431PAD |  | Government | DBT | Digital display, Automated | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
UV-Visible spectrophotometer |  | Research Lab-221 | SHIMADZU | UV-1800 |  | Government | DBT | 200-800 nm, PC controller | biological Sciences-Research Laboratory 221 |  |  |  | Research Equipment | Up
Vaccum Pump |  | Research Lab-221 | RIVOTEK |  |  | Government | DST | Blower and sucsion | CHARUSAT |  |  |  | Research Equipment | Up
Real-Time PCR System |  | USA | Agilent Technologies | AriaMx |  | Government | DBT | AriaMax Real-Time PCR System with 5 Filter FAM, HEX, Cy3,Cy5, ROX (along with PCR for Gradient application) | Biological Sciences Lab: 312 |  |  |  | Research Equipment | Up
Benchtop Complete Water Quality Package |  | USA | Hach | HQ440d |  | Government | DBT | pH - General applications & pH of Dyes-Colorings Effluents, Conductivity/TDS/Salinity, Dissolved Oxygen | Biological Sciences Lab: 312 |  |  |  | Research Equipment | Up
Spectrophotometer |  | USA | Hach | DR3900 |  | Government | DBT | Wavelength range 320-1100nm with pre-fed programs for testing various parameters in wastewater analysis | Biological Sciences Lab: 312 |  |  |  | Research Equipment | Up
Thermo Reactor |  | USA | Hach | DRB 200 |  | Government | DBT | Dual Block Digital Reactor (15 vials x 16 mm +15 vials 16 mm), Power cord. Temperature Range: 37 - 165 ºC (99 - 329 ºF), Temperature Stability: ± 2 ºC Heating Rate: 20 to 150 ºC in 10 minute | Biological Sciences Lab: 312 |  |  |  | Research Equipment | Up
Electronic balance |  | India | Wensar | MAB220 |  | Government | DST | weighing capacity 0.1 mg to 220 g. | Biological Sciences Lab: 312 |  |  |  | Research Equipment | Up
Spectrophotometer with thermostat module |  | Japan | Shimadzu | 1800 and TCC-100 (Temperature Controlled Cell Holder) |  | Government | DST | UV- Visible Spectrophotometer wavelength range 190-1100nm , Enzyme kinatics, quantative analysis | Biological Sciences Lab: 312 |  |  |  | Research Equipment | Up
Refrigerated Centrifuge |  | Germany | Thermo Scientific | Thermo –Sorvall ST 8R Benchtop Centrifuge (75007204) |  | Government | DST | Refrigerated centrifuge with Microclick 24*2 Fixed Angle Rotor Maximum speed 17,850 rpm (75005715) Sorvall ST 8R High Conic Rotor maximum speed 9000 rpm (7500570-9) | Biological Sciences Lab: 312 |  |  |  | Research Equipment | Up
UV-Visible Spectro photometer |  |  | Shimadzu UV-1800 |  |  | Government | DST |  | Department of Biological Sciences |  |  |  | Research Equipment | Up
Probe Sonicator |  |  | VIBRA-CELL Ultrasonic Processor | MODEL VC 505, 230V, 50Hz |  | Government | DST |  | CHARUSAT |  |  |  | Research Equipment | Up
Refrigerated centrifuge |  |  | Thermo Fisher Scientific | Sorvall ST16R |  | Government | DST |  | CHARUSAT |  |  |  | Research Equipment | Up
Thermal Cycler |  |  | Biorad | Biorad T100 |  | Government | DST |  | CHARUSAT |  |  |  | Research Equipment | Up
Laminar Airflow Hood |  |  | Indigenous | BTI1003, Horizontal |  | Government | DST |  | CHARUSAT |  |  |  | Research Equipment | Up
Bacteriologic Incubator-37°C |  | Room No. 111 | EIE Instruments, India | 201 CDF |  | State Government | GUJCOST-DST, Gujarat | Biological samples: For the incubation of cells during cell fixation | Biological Sciences |  |  |  | Incubation | Up
Deep freezer -20°C |  | Room No. 111 | Blue Star, India | CHF 300B |  | State Government | GUJCOST-DST, Gujarat | Biological samples: For the storage of DNA, reagents etc. | Biological Sciences |  |  |  | Research Equipment | Up
Refrigerator |  | Room No. 111 | Whirlpool, India | FF 2D 244 3S |  | State Government | GUJCOST-DST, Gujarat | Biological samples: For the sorage of cell culture media, reagents etc. | Biological Sciences |  |  |  | Research Equipment | Up
Microwave Oven |  | Room No. 111 | Whirlpool, India | MagiCook MW 20 SW |  | State Government | GUJCOST-DST, Gujarat | Biological samples: For agarose gel prepration | Biological Sciences |  |  |  | Research Equipment | Up
Advanced Design Systems (ADS) | ADS | CHARUSAT-CSRTC | Keisight |  |  | Government | IPR, CHARUSAT | Momentum and 3D EM simulators (including both FEM and FDTD solvers) | CSRTC |  |  |  | Software | Up
Thermal Imaging Camera (TIC) | TIC | Room No. 509 | Fluke | TIX560 9Hz |  | Government | Research Promotion Scheme AICTE | Camera to capture thermal image of objects | Materials Processing Laboratory, Mechanical Engineering Department |  |  |  | Analytical Measurement | Up
Temperature Input Module |  | Room No. 509 | National Instrument | NI 9214 and TB 9214 |  | Government | Technology System Development Program Scheme DST | Module to record temperature using Thermocouples | Materials Processing Laboratory, Mechanical Engineering Department |  |  |  | Analytical Measurement | Up
Desktop Computer | PC | Room No. 509 | Dell | Dell Precision Tower 3620 XCTO |  | Government | Technology System Development Program Scheme DST | Computing facility | Materials Processing Laboratory, Mechanical Engineering Department |  |  |  | Computing facility | Up
Thermal Properties Analyzer |  | Room No.: 616 | Decagon Devices | KD2PRO |  | State Government | Minor Research Project Scheme, GUJCOST, Gandhinagar DST | Measurement of Thermal Conductivity and Thermal Resistivity of newly developed Liquid, Semisolid, Solid | Heat & Mass Transfer Laboratory, Mechanical Engineering Department |  |  |  | Characterization | Up
DC/RF Magnetron Sputtering |  | Room No.: 522/B | Excel Instruments |  |  | Government | Research Promotion Scheme, AICTE, New Delhi | To deposit metal or polymer base nanostructured coatings on various substrates. | Surface Engineering Laboratory, Mechanical Engineering Department |  |  |  | Fabrication | Up
Surface Roughness Tester |  | Room No: 523 B | Mitutoyo | SV 2100 |  | Government | Modernisation and Removal of Obsolescence (MODROBS), AICTE, New Delhi | To Measure the Surface Roughness of component | Material Charecterisation Laboratory, Mechanical Engineering Department |  |  |  | Analytical Measurement | Up
3D Laser Scanner |  | Room No: 523 B | Power Electricals | Roland PE-OBDV-M100 |  | Government | Modernisation and Removal of Obsolescence (MODROBS), AICTE, New Delhi | To collect point cloud data of a component | Material Charecterisation Laboratory, Mechanical Engineering Department |  |  |  | Analytical Measurement | Up
3D Microscope |  | Room No: 523 B | Mitutoyo | QS-L2010Zi3 |  | Government | Modernisation and Removal of Obsolescence (MODROBS), AICTE, New Delhi | To examine the specimen | Material Charecterisation Laboratory, Mechanical Engineering Department |  |  |  | Characterization | Up