## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Gas Chromatograph with ECD and FPD | GC-ECD-FPD | Central Pollution Control Board, Delhi HQ | Agilent Technologies | 8890 | US2252A012 | EC Funds | EC Funds | Not Applicable | Analysis of organic compounds | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 2020598 | https://www.agilent.com/en/product/gas-chromatography/gc-systems/8890-gc-system | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Agilent Technologies India Pvt Ltd | Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | www.agilent.com/chem/in | skumar.cpcb@nic.in
Gas Chromatograph with ECD and FPD | GC-ECD-FPD | Central Pollution Control Board, Delhi HQ | Agilent Technologies | 8890 | US2251A025 | EC Funds | EC Funds | Not Applicable | Analysis of organic compounds | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 2020598 | https://www.agilent.com/en/product/gas-chromatography/gc-systems/8890-gc-system | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Agilent Technologies India Pvt Ltd | Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | www.agilent.com/chem/in | skumar.cpcb@nic.in
Gas Chromatograph with ECD and FPD | GC-ECD-FPD | Central Pollution Control Board, Delhi HQ | Agilent Technologies | 8890 | US2251A027 | EC Funds | EC Funds | Not Applicable | Analysis of organic compounds | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 2020598 | https://www.agilent.com/en/product/gas-chromatography/gc-systems/8890-gc-system | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Agilent Technologies India Pvt Ltd | Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | www.agilent.com/chem/in | skumar.cpcb@nic.in
Gas Chromatograph with ECD and FPD | GC-ECD-FPD | Central Pollution Control Board, Delhi HQ | Agilent Technologies | 8890 | US2251A031 | EC Funds | EC Funds | Not Applicable | Analysis of organic compounds | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 2020598 | https://www.agilent.com/en/product/gas-chromatography/gc-systems/8890-gc-system | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Agilent Technologies India Pvt Ltd | Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | www.agilent.com/chem/in | skumar.cpcb@nic.in
GC-MS | GC-MS | Central Pollution Control Board, Delhi HQ | Perkin Elmer | Clarus 680 | 680S15050703-GC 648N5051504-MS | External | Grant in aid (MoEF&CC) | Not Applicable | Analysis of organic compounds | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 6226078.5 | https://www.perkinelmer.com/category/gc-ms-instruments | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Perkin Elmer India Pvt. Ltd. | https://content.perkinelmer.com/contactus/default | Spectralytic Scientific India Pvt. Ltd. | india.servicesupport@perkinelmer.com | skumar.cpcb@nic.in
GC-MS | GC-MS | Central Pollution Control Board, Delhi HQ | Perkin Elmer | Clarus 680 | 680S15050705-GC 648N5051902-MS | External | Grant in aid (MoEF&CC) | Not Applicable | Analysis of organic compounds | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 6226078.5 | https://www.perkinelmer.com/category/gc-ms-instruments | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Perkin Elmer India Pvt. Ltd. | https://content.perkinelmer.com/contactus/default | Spectralytic Scientific India Pvt. Ltd. | india.servicesupport@perkinelmer.com | skumar.cpcb@nic.in
LC-MS-MS | LC-MS-MS | Central Pollution Control Board, Delhi HQ | Waters | TQS-Micro | QEA0147 | External | Grant in aid (MoEF&CC) | Not Applicable | Analysis of organic compounds | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 18026910 | https://www.waters.com/nextgen/in/en.html | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Waters Corporation | Waters_India@Waters.com | Waters (India) Private Limited | Office_NewDelhi@waters.com | skumar.cpcb@nic.in
Analytical Balance |  | Central Pollution Control Board, Delhi HQ | Denver | TB 215D | 22402385 | External | Grant in aid (MoEF&CC) | Not Applicable | Weighing of samples | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 103792 | https://denvar.in/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | DENVAR WEIGHING SYSTEMS | denvarindia@gmail.com | DENVAR WEIGHING SYSTEMS | denvarindia@gmail.com | skumar.cpcb@nic.in
Analytical Balance |  | Central Pollution Control Board, Delhi HQ | Denver | TB 215D | 22402386 | External | Grant in aid (MoEF&CC) | Not Applicable | Weighing of samples | Trace Organics Laboratory | Central Pollution Control Board, Delhi | 103792 | https://denvar.in/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | DENVAR WEIGHING SYSTEMS | denvarindia@gmail.com | DENVAR WEIGHING SYSTEMS | denvarindia@gmail.com | skumar.cpcb@nic.in
Inductively Coupled Plasma Optical Emission Spectrometer | ICP-IES | Central Pollution Control Board, Delhi HQ | Perkin Elmer | AVIO-220 MAX | M79SS2203141 | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of trace metals in environmental samples | Instrumentation laboratory | Central Pollution Control Board, Delhi | 750000 | https://www.perkinelmer.com/category/gc-ms-instruments | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Perkin Elmer India Pvt. Ltd. | https://content.perkinelmer.com/contactus/default | Spectralytic Scientific India Pvt. Ltd. | rajnish.sharma@perkinelmer.com | kranga.cpcb@nic.in
Inductively Coupled Plasma Mass Spectrometer | ICP-MS | Central Pollution Control Board, Delhi HQ | Agilent | 7700 SERIES | JP14323194 | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of trace metals in environmental samples | Instrumentation laboratory | Central Pollution Control Board, Delhi | 5545425 | https://www.agilent.com/en/product/gas-chromatography/gc-systems/8890-gc-system | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Agilent Technologies India Pvt Ltd | Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | soumitra.pathak2@agilent.com | kranga.cpcb@nic.in
Atomic Absorption Spectrometer | AAS | Central Pollution Control Board, Delhi HQ | Analytic Jena | novAA 400P | Sl.No 0212884 | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of trace metals in environmental samples | Instrumentation laboratory | Central Pollution Control Board, Delhi | 3900000 | https://www.analytik-jena.com/products/chemical-analysis/elemental-analysis/aas/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Analytical Jena Pvt Ltd | https://www.analytik-jena.com/products/chemical-analysis/elemental-analysis/aas/ | Analytical Jena Pvt Ltd | sanjaykumar.bafila@analytikjena.com | kranga.cpcb@nic.in
Total Organic Carbon (TOC) Analyzer | TOC | Central Pollution Control Board, Delhi HQ | Shimadzu | TOC-L | H544359 | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of organic carbon in water and solids | Instrumentation laboratory | Central Pollution Control Board, Delhi | 3355920 | https://www.shimadzu.com/an/products/total-organic-carbon-analysis/index.html | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Swan Environmental Pvt Ltd | https://www.shimadzu.com/an/products/total-organic-carbon-analysis/index.html | Swan Environmental Pvt Ltd | ravikishore.y@swanenviron.in | kranga.cpcb@nic.in
Direct Mercury Analyzer | DMA | Central Pollution Control Board, Delhi HQ | Milestone | 80-EVO | 19112883 | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of mercury in water and solids | Instrumentation laboratory | Central Pollution Control Board, Delhi | 2900000 | https://www.milestonesrl.com/products/mercury-determination/dma-80-evo | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | irtechnologies | https://www.milestonesrl.com/products/mercury-determination/dma-80-evo | Irtechnologies Pvt. Ltd. | ravinder.sangwan@irtech.in | kranga.cpcb@nic.in
Total Adsorbable Halogen Analyer | AOX | Central Pollution Control Board, Delhi HQ | Mitsubishi Chemical Analytech | TOX-300 | H0AA0185 | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of adsorbable in water and solids | Instrumentation laboratory | Central Pollution Control Board, Delhi | 2898805 | https://skytechindia.com/automatic-organic-halogen-analyzer-aox-400/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Skytech Systems (I) Pvt. Ltd. | https://skytechindia.com/automatic-organic-halogen-analyzer-aox-400/ | Skytech Systems (I) Pvt. Ltd. | shrikant.sharma@skytechindia.com | kranga.cpcb@nic.in
Energy Dispersive X-ray Fluorescence | EDXRF | Central Pollution Control Board, Delhi HQ | Malvernpanalytical | Epsilon 4 | DY6582 | External | Grant in aid (MoEF&CC) | Not Applicable | Elementatal analysis in PM2.5 samples | Instrumentation laboratory | Central Pollution Control Board, Delhi | EUR 1,75,887.00 | https://www.aimil.com/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Aimil Pvt. Ltd. | https://www.aimil.com/ | Aimil | yogeshmishra@aimil.com | kranga.cpcb@nic.in
Energy Dispersive X-ray Fluorescence | EDXRF | Central Pollution Control Board, Delhi HQ | Malvernpanalytical | Epsilon 4 | DY6584 | External | Grant in aid (MoEF&CC) | Not Applicable | Elementatal analysis in PM2.5 samples | Instrumentation laboratory | Central Pollution Control Board, Delhi | EUR 1,75,887.00 | https://www.aimil.com/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Aimil Pvt. Ltd. | https://www.aimil.com/ | Aimil | yogeshmishra@aimil.com | kranga.cpcb@nic.in
Water Purification System |  | Central Pollution Control Board, Delhi HQ | Merck Life Sciences | Milli-Q | F9JA53635A | External | Grant in aid (MoEF&CC) | Not Applicable | Used for the prduction of ultra pure water | Instrumentation laboratory | Central Pollution Control Board, Delhi | 1000000 | https://www.merckgroup.com/in-en/company/legal-entities/merck-life-science-private-limited.html | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Merck Life Sciences Pvt. Ltd. | service.support@merckgroup.com | Merck Life Sciences Pvt. Ltd. | piyush.agrawal@merckgroup.com | kranga.cpcb@nic.in
Micro-Balance |  | Central Pollution Control Board, Delhi HQ | KERN | ABT 220-5DM | WB10E0007 | External | Grant in aid (MoEF&CC) | Not Applicable | Weighing of samples | Instrumentation laboratory | Central Pollution Control Board, Delhi | 101500 |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Visible Spectrophotometer |  | Central Pollution Control Board, Delhi HQ | CECIL | CE-2011 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Used in analysis of samples at different wavelengths of visible light | Fresh Water Laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Flame Photometer |  | Central Pollution Control Board, Delhi HQ | Systronics | 128 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of elements like Na and K | Fresh Water Laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
COD Digester |  | Central Pollution Control Board, Delhi HQ | Tecator | 1015 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Digestion of samples for COD estimation | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
BOD Incubator |  | Central Pollution Control Board, Delhi HQ | Ferrotek | FE-113 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Used for the incubation of samples for BOD analysis at prescribed temperatures | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Hot Air Oven |  | Central Pollution Control Board, Delhi HQ | Khera | KI-181 |  | External | Grant in aid (MoEF&CC) | Not Applicable | dry heating at a specific temperature usally below 200 degree | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Humidity Controller |  | Central Pollution Control Board, Delhi HQ | Ocean | OLSC-116E-10 |  | External | Grant in aid (MoEF&CC) | Not Applicable | To control the humidity | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Analytical Balance |  | Central Pollution Control Board, Delhi HQ | Denver Instrumentss | TB 2150 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Weighing of samples | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Conductivity meter |  | Central Pollution Control Board, Delhi HQ | Hanna | EDGE HI 2003 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of electrical conductivity | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
pH meter |  | Central Pollution Control Board, Delhi HQ | Systronics | µpH system 361 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of pH | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
UV Spectrophotometer |  | Central Pollution Control Board, Delhi HQ | Analytic Jena | Specord 50 Plus |  | External | Grant in aid (MoEF&CC) | Not Applicable | Used in analysis of samples at different wavelengths of UV light | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Flame Photometer |  | Central Pollution Control Board, Delhi HQ | Systronics | 128 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of elements like Na and K | Wastewater Laboratroy | Central Pollution Control Board, Delhi |  | https://www.systronicsindia.com/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Muffle Furnace |  | Central Pollution Control Board, Delhi HQ | Gautam Scientific Works | FE-113 |  | External | Grant in aid (MoEF&CC) | Not Applicable | To heat the samples at high temperatures usually 500-1500 degree | Water laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Hot Air Oven |  | Central Pollution Control Board, Delhi HQ | MKSI |  |  | External | Grant in aid (MoEF&CC) | Not Applicable | dry heating at a specific temperature usally below 200 degree | Water laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Analytical Balance |  | Central Pollution Control Board, Delhi HQ | Citizen | CY420C |  | External | Grant in aid (MoEF&CC) | Not Applicable | Weighing of samples | Water laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Flame Photometer |  | Central Pollution Control Board, Delhi HQ | Systronics | 128 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of elements like Na and K | Water laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
conductivity meter |  | Central Pollution Control Board, Delhi HQ | Spectralab | COT 2 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of electrical conductivity | Water laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
pH meter |  | Central Pollution Control Board, Delhi HQ | Spectralab | ACCUpH2 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Estimation of pH | Water laboratory | Central Pollution Control Board, Delhi |  |  | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable
Autoclave |  | Central Pollution Control Board, Delhi HQ | Mac | NA |  | External | Grant in aid (MoEF&CC) | Not Applicable | Used for Sterlization | Bioscience Laboratory | Central Pollution Control Board, Delhi | 255485 | https://www.kheraexim.com/ | Working | Not Applicable | Not Applicable | Not Applicable | Not Applicable | Khera Instruments Pvt. Ltd. | kherainstruments@gmail.com | Khera Instruments Pvt. Ltd. | kherainstruments@gmail.com | zchangsan.cpcb@nic.in
Laminar Flow system | LFS | Central Pollution Control Board, Delhi HQ | Matrix Eco Solution | MES-139 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Designed to create a contamination-free environment by directing filtered air in a unidirectional flow. This filtered air removes airborne particles such as dust, microbes, and other contaminants, making it ideal for work that requires a sterile environment. | Bioscience Laboratory | Central Pollution Control Board, Delhi | 188000 | https://www.ecomatrix.in/ | working | NA | NA | NA | NA | Matrix Eco Solutions | tendermatrixeco@gmail.com | Matrix Eco Solutions | tendermatrixeco@gmail.com | zchangsan.cpcb@nic.in
Laminar Flow system | LFS | Central Pollution Control Board, Delhi HQ | Matrix Eco Solution | MES-139 |  | External | Grant in aid (MoEF&CC) | Not Applicable | Designed to create a contamination-free environment by directing filtered air in a unidirectional flow. This filtered air removes airborne particles such as dust, microbes, and other contaminants, making it ideal for work that requires a sterile environment. | Bioscience Laboratory | Central Pollution Control Board, Delhi | 188000 | https://www.ecomatrix.in/ | working | NA | NA | NA | NA | Matrix Eco Solutions | tendermatrixeco@gmail.com | Matrix Eco Solutions | tendermatrixeco@gmail.com | zchangsan.cpcb@nic.in
Compound Microscope -RXLR-5-50 | CM | Central Pollution Control Board, Delhi HQ | Radical Instrument | RXLr-5-50 |  | External | Grant in aid (MoEF&CC) | Not Applicable | A compound microscope is a powerful optical instrument used to magnify small objects, allowing the observer to see details that are not visible to the naked eye | Bioscience Laboratory | Central Pollution Control Board, Delhi | 107800 | https://www.radicalindia.com/ |  | NA | NA | NA | NA | Radical Scientific Equipments | info@radicalindia.com | Radical Scientific Equipments | info@radicalindia.com | zchangsan.cpcb@nic.in
Stereo Zoom Microscope | SZM | Central Pollution Control Board, Delhi HQ | Leica | M 80 with HP280MT |  | External | Grant in aid (MoEF&CC) | Not Applicable | Idetification of Benthic organisms | Bioscience Laboratory | Central Pollution Control Board, Delhi | 756149 | https://www.leica-microsystems.com/ | working | NA | NA | NA | NA | Leica | india.marketing@leicabiosystems.com | Leica | india.lbsservice@leicabiosystems.com | zchangsan.cpcb@nic.in
Stereo Zoom Microscope | SZM | Central Pollution Control Board, Delhi HQ | Leica | M 80 with HP280MT |  | External | Grant in aid (MoEF&CC) | Not Applicable | Idetification of Benthic organisms | Bioscience Laboratory | Central Pollution Control Board, Delhi | 756149 | https://www.leica-microsystems.com/ | working | NA | NA | NA | NA | Leica | india.marketing@leicabiosystems.com | Leica | india.lbsservice@leicabiosystems.com | zchangsan.cpcb@nic.in
DO meter |  | Central Pollution Control Board, Delhi HQ | hanna | HI98198 |  | External | Grant in aid (MoEF&CC) | Not Applicable | To measure the dissolved oxygen level | Bioscience Laboratory | Central Pollution Control Board, Delhi | 127118 | https://www.hannainstruments.co.uk/ | working | NA | NA | NA | NA | Hanna Instrument | Jagrat Energy &Environement Solution | Jagrat Energy &Environement Solution | amitosh.nagar@hannainst.in | zchangsan.cpcb@nic.in
DO meter |  | Central Pollution Control Board, Delhi HQ | hanna | HI98198 |  | External | Grant in aid (MoEF&CC) | Not Applicable | To measure the dissolved oxygen level | Bioscience Laboratory | Central Pollution Control Board, Delhi | 127118 | https://www.hannainstruments.co.uk/ | working | NA | NA | NA | NA | Hanna Instrument | Jagrat Energy &Environement Solution | Jagrat Energy &Environement Solution | amitosh.nagar@hannainst.in | zchangsan.cpcb@nic.in
Stack Monitoring Kit |  | Central Pollution Control Board, Delhi HQ | VSS1-SPL |  |  | External | Grant in aid (MoEF&CC) | Air Monitoring |  | Air Laboratory | Air Lab | ~ 2 Lakh |  | Working | NA | NA | NA | NA | Envirotech Instrument Pvt. Ltd. - Okhla, New Delhi |  | Envirotech Instrument Pvt. Ltd. - Okhla, New Delhi |  | sks.cpcb@nic.in
Analytical Balance |  | Central Pollution Control Board, Delhi HQ | Sartorius | ME 215 P |  | External | Grant in aid (MoEF&CC) | Air Monitoring | Weighing of samples | Air Laboratory | Air Lab | 8-10 Lakh |  | Working | NA | NA | NA | NA | sartorius |  | sartorius |  | sks.cpcb@nic.in
Rotary Evaporator |  | Central Pollution Control Board, Delhi HQ | S M Scientific | SMI-RE(NMD)-009 | SMSI/2122/09/RV103-WB | External | Grant in aid (MoEF&CC) | Air Monitoring | Used for sample preparation for metal test | Air Laboratory | Air Lab | 5-6 lakh | www.smscientific.com | Working | NA | NA | NA | NA | s m scientific Instrument pvt.ltd |  | S M Scientific pvt ltd |  | sks.cpcb@nic.in
Precision Balance |  | Central Pollution Control Board, Delhi HQ | ACZET | CI-01 | 22428291 | External | Grant in aid (MoEF&CC) | Air Monitoring | Weighing of samples at a minute level | Air Laboratory | Air Lab | 15-20 Lakh |  |  | NA | NA | NA | NA | Aczet |  | Aczet |  | sks.cpcb@nic.in
Spectrophotometer |  | Central Pollution Control Board, Delhi HQ | CECIL | CE 2011 |  | External | Grant in aid (MoEF&CC) | Air Monitoring | Used in analysis of samples at different wavelengths of light | Air Laboratory | Central Pollution Control Board, Delhi | 20-25 Lakh | https://www.aczet.com | Working | NA | NA | NA | NA | Qtech Scientific india pvt.ltd | qtech.thermo@gmail.com | THERMO FISHER SCIENTIFIC ,9871485599 |  | sks.cpcb@nic.in
Hot Air Oven |  | Central Pollution Control Board, Delhi HQ | SM industries | A-24 |  | External | Grant in aid (MoEF&CC) | Air Monitoring | dry heating at a specific temperature usally below 200 degree | Air Laboratory | Central Pollution Control Board, Delhi | 20-lakh |  | Working | NA | NA | NA | NA | S M Industries A-24 ANAND VIHAR |  | S M Industries A-24 ANAND VIHAR |  | sks.cpcb@nic.in
Temperature & Humidity controlled Chamber | NA | Central Pollution Control Board, Delhi HQ | Ferrotek | TH-7004 |  | External | Grant in aid (MoEF&CC) | Air Monitoring |  | Air Laboratory | Central Pollution Control Board, Delhi | 25 lakh | https://www.ferrotekequipments.com | Working | NA | NA | NA | NA | FERROTEKEQUIPMENT Ghaziabad | 9811576010'0120-5516515 |  |  | sks.cpcb@nic.in
Flue Gas Analyser | NA | Central Pollution Control Board, Delhi HQ | Testo | 350SI | Sl. No. 02706356 & 02706358 | External | Grant in aid (MoEF&CC) | Air Monitoring | Instrument used for analysis of gas | Air Laboratory | Central Pollution Control Board, Delhi | ~ 6 Lakh | https://www.testo.com | Working | NA | NA | NA | NA | TESTO India Pvt. Ltd. Pune |  | TESTO India Pvt. Ltd. Pune |  | sks.cpcb@nic.in
GCMS | GCMS | Central Pollution Control Board, Delhi HQ | Shimadzu | QP2020 | 214256 | External | Grant in aid (MoEF&CC) | Air Monitoring | instrument used for analysis of benzene and benzopyrene | Air Laboratory | Central Pollution Control Board, Delhi | 72 Lakh | https://www.shimadzu.com | Working | NA | NA | NA | NA | SHIMADZU | info@toshvin.com | SHIMADZU | info@toshvin.com | sks.cpcb@nic.in
Gas Chromatograph with ATD | GCMS-ATD | Central Pollution Control Board, Delhi HQ | Shimadzu | QP2020 |  | External | Grant in aid (MoEF&CC) | Air Monitoring | instrument used for analysis of benzene and benzopyrene | Air Laboratory | Central Pollution Control Board, Delhi | 72 Lakh | https://www.shimadzu.com | Working | NA | NA | NA | NA | SHIMADZU | info@toshvin.com | SHIMADZU | info@toshvin.com | sks.cpcb@nic.in
HPLC | HPLC | Central Pollution Control Board, Delhi HQ | Shimadzu | CTO-10ASVP |  | External | Grant in aid (MoEF&CC) | Air Monitoring | Instrument use for analysis of corbonyls (aldehyde and ketones) | Air Laboratory | Central Pollution Control Board, Delhi | 36 lakh | https://www.shimadzu.com | Working | NA | NA | NA | NA | SHIMADZU | info@toshvin.com | SHIMADZU | info@toshvin.com | sks.cpcb@nic.in
Ion chromatography | IC | Central Pollution Control Board, Delhi HQ | Metrohm | Model 930 |  | External | Grant in aid (MoEF&CC) | Air Monitoring | Intrument use for the analysis of ion present in air | Air Laboratory | Central Pollution Control Board, Delhi | 50 lakh | https://www.metrohm.com/ | Working | NA | NA | NA | NA | Metrohm | sanjeev.tripathi@metrohm.in | Metrohm | sanjeev.tripathi@metrohm.in | sks.cpcb@nic.in
Ion chromatography | IC | Central Pollution Control Board, Delhi HQ | Metrohm | Model 930 |  | External | Grant in aid (MoEF&CC) | Air Monitoring | Intrument use for the analysis of ion present in air | Air Laboratory | Central Pollution Control Board, Delhi | 50 lakh | https://www.metrohm.com/ | Working | NA | NA | NA | NA | Metrohm | sanjeev.tripathi@metrohm.in | Metrohm | sanjeev.tripathi@metrohm.in | kranga.cpcb@nic.in
TKN Analyzer | TKN Analyzer | Central Pollution Control Board, Delhi HQ | Borocil | BLFAKBD083000000000 | NA | External | Grant in aid (MoEF&CC) | NA | TKN analysis | Water laboratory | Central Pollution Control Board, Delhi | 12 lakh | https://www.borosil.com | Working | NA | NA | NA | NA | Borosil | rpd@rpde.in | Borosil | sales@rpde.in | kranga.cpcb@nic.in
UV Spectrophotometer | UV Spectrophotometer | Central Pollution Control Board, Delhi HQ | Analytic Jena | Specord 50 Plus | 232H1131 | External | Grant in aid (MoEF&CC) | NA | Used in analysis of samples at different wavelengths of UV light | Water laboratory | Central Pollution Control Board, Delhi | 4 lakh | https://www.analytik-jena.com | Working | NA | NA | NA | NA | Analytic Jena |  |  | sales@rpde.in | kranga.cpcb@nic.in