## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Transmission Electron Microscope (TEM) | TEM | CCMB-Central facility-TEM Facility | Jeol, Japan | JEM -2100 |  | Government | CSIR | Bright field image, Dark field image, Selected Area Diffraction, Materials Analysis, Life sciences, Research and Development, Defect and failure analysis, Max Accelerating .Voltage 200KV, Lenses: Electro static and Magnetic lenses, Detector: CCD | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Scanning Electron Microscope (SEM) | SEM | CCMB-Central facility--Advanced Microscopy & Imaging facility | Hitachi , Japan | S-3400N |  | Government | CSIR | Surface or topographical information of sample for Materials Analysis, Life sciences, Research and Development, Defect and failure analysis. Maximum Acc.Voltage30KV,Maximum Acc.Voltage30KV | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High performance hybrid quadrupole bench top Orbitrap Mass Spectrometer bench Top Orbitrap system with with integrated Easy nLC 1200 | MASS SPEC | CCMB-Central facility-Proteomics facility | Thermo Fisher Scientific,USA | Q-Exactive |  | Government | CSIR | Mass Range -m/z 50-6,000; Max Resolving Power-140,000 @ m/z 200; Max Scan Rate-Up to 12 Hz at resolution setting of 17,500 @ m/z 200; Mass Accuracy-Internal: < 1 ppm RMS,External: < 3 ppm RMS , | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High performance, ultra high field quadrupole bench top Orbitrap Mass Spectrometer System with integrated Easy nLC 1200 | MASS SPEC | CCMB-Central facility-Proteomics facility | Thermo Fisher Scientific,USA | Q-Exactive HF |  | Government | CSIR | Ultra-high-field Orbitrap analyzer. Determination of mass of molecules,identification of polypeptides and proteins based on MS/MS experiments. Mass Range- m/z 50-6,000; Max Resolving Power-240,000 @ m/z 200; Max Scan Rate up to 18 Hz at resolution setting of 15,000 resolution @ m/z 200; Mass Accuracy-Internal: < 1 ppm RMS, External: < 3 ppm | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
LTQ Orbitrap velos with ETD & HESI -II and Easy nLC | MASS SPEC | CCMB-Central facility-Proteomics facility | Thermo Fisher Scientific,USA | LTQ-ORBITRAP-VELOS |  | Government | CSIR | Mass Range : m/z 50-2000, m/z 200-4000; Resolution: 60,000 at m/z 400 at a scan rate of 1 Hz; minimum resolution 7,500 maximum resolution >100,000 at m/z 400; Mass Accuracy < 3 ppm with external calibration, < 1 ppm using internal calibration; Sensitivity : sub-femtomol range for Peptides; Dynamic Range > 4,000 within a single scan guaranteeing specified mass accuracy | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High sensitive spectral Confocal Microscope | CONFOCAL | CCMB-Central facility--Advanced Microscopy & Imaging facility | Leica | TCS-SP-8 |  | Government | CSIR | With 405, 488, 561, 633 nm lasers and Hybrid detectors, For scanning and acquiring images of fluorescence samples with Z stack | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Spectral Confocal Laser Scanning Microscope | CONFOCAL | CCMB-Central facility--Advanced Microscopy & Imaging facility | Carl Zeiss | LSM 880 Airyscan |  | Government | CSIR | Confocal Microscope for acquiring high resolution images and optical sections of Biological samples, Multi channel Image acquisition, Optical Z-sectioning, Tile scan of Fluorescence labelled Biological samples. Lasers: Argon (488nm, 514nm), HeNE 543nm, 594nm, HenE633nm, 405nm. With Airy scan for lateral 120nm resolution . | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Advanced Fluorescence Microscope |  | CCMB-Central facility--Advanced Microscopy & Imaging facility | Carl Zeiss | Axioimager.z2 |  | Government | CSIR | High end mortised upright microscope for bright field, DIC and fluorescence application. It has two cameras, one (MONO) for Fluorescence images and the other one (Color) for tissue sections etc | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Advanced Stereo Fluorescence Microscope with Apotome |  | CCMB-Central facility--Advanced Microscopy & Imaging facility | Carl Zeiss | Axio Zoom V 16 |  | Government | CSIR | High end motorized Stereo microscope with Apotome for capturing high contrast images of drosophila, zebra fish etc.. in bright field and fluorescence. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Atomic Force Microscopy (AFM system) | AFM | CCMB-Central facility--Advanced Microscopy & Imaging facility | Nanonics | MV4000 |  | Government | CSIR | It has Tuning fork based cantilever for imaging surface of biological sample at high resolutions like 20 nm in XY 1nm in Z axis.Surface Imaging of Nano particles, peptides, bacteria etc., at 20nm resolution in X,Y axes. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Raman Spectroscopy System | RAMAN SYSTEM | CCMB-Central facility--Advanced Microscopy & Imaging facility | Renishaw | In Viva Reflex |  | Government | CSIR | For topographical imaging of biological samples, chemical interaction between bio-molecules at nanoscale & nanolithography | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Model AVANCE III 600 MHz Imaging System | NMR | CCMB-Central facility-NMR Facility | Bruker Biospin | AVANCE III HD |  | Government | CSIR | The 600 MHz microimager / spectrometer is interfaced with wide bore (89 mm) 14.1 T Magnet System, NMR Spectroscopy in solution In vivo MR imaging and spectroscopy, One Dimensional NMR spectroscopy (1H, 13C, 15N, 31P), Inverse detection of 13C: 1H-[13C]-NMR spectroscopy, Two Dimensional NMR Spectroscopy: Homonuclear: COSY, DQF-COSY, TOCSY, NOESY, etc); Heteronuclear (1H-13C and 1H-15N based HMBC, HMQC, HSQC etc.), Anatomical Imaging: T1 and T2 weighted Imaging of Brain, Abdomen, etc. 1H MRS: Localized 1H Spectroscopy (STEAM and PRESS). Relaxation Study: T1 and T2. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Model AVANCE NEO 600 Mhz Spectrometer with Cryoprobe and cryo platform | NMR | CCMB-Central facility-NMR Facility | Bruker Biospin | Avance NEO |  | Government | CSIR |  | CSIR-CCMB |  |  |  | Analytical measuring equipment | NEW. YET TO RECEIVE
Single crystal X-Ray Diffractometer (XRD) | XRD | CCMB-Central facility-X-Ray Crystallography Facility | Rigaku | FR-E+ Super Bright |  | Government | CSIR | Ultrahigh -Intensity Rotating Anode X-ray Generator, Image Plate Detector and Cryocooler, Dual wavelength Rigaku FR-E+ SuperBright System with Cu and Cr anode generators using R-axis IV++ image plate detector and X-stream cryosystem | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Single crystal X-Ray Diffractometer (XRD) | XRD | CCMB-Central facility-X-Ray Crystallography Facility | Rigaku | MicroMax 007HF |  | Government | CSIR | MicroMax™ 007 HF: Cu anode generator, Mar345-dtb image plate detector, Oxford cryosystems • XRD system works on small and poor quality crystals at home source, • In-house structure determination of macromolecules, Single wavelength anomalous diffraction (SAD), Single/multiple isomorphous replacement (SIR/MIR), Molecular replacement (MR), Combination of either two or more methods, i.e., SIRAS, MIRAS, MRSAD, Rapid screening of the samples | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Small Angle X-Ray Scattering (SAXS) system | SAX | CCMB-Central facility-X-Ray Crystallography Facility | Hecus X-Ray systems | Genix |  | Government | CSIR | Small-Angle X-ray Scattering (SAXS) is a technique for probing size, shape, quarternary structure and complex formation of molecules in solution without crystallization, Analysis of size and shape of biomolecules in solution; 2-D scattering patterns of oriented molecules; phase-transition characterization in lipid systems; Aggregation state characterization. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Small Angle X-Ray Scattering (SAXS) system | SAX | CCMB-Central facility-X-Ray Crystallography Facility | Rigaku | BioSAX 2000 |  | Government | CSIR | Incident Beam: OptiSAXS CMF focusing opticCollimation: 2D Kratky (X stage and tilt, motorized) Beam size at Sample: Variable Width x 1.5 mm²,Detector: Rigaku HyPix-3000 Hybrid Pixel Array Detector (pixel size: 100 μm, active area: 77.5 mm X 30.5 mm) | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Liquid Handling System |  | CCMB-Central facility-X-Ray Crystallography Facility | Robodesign/Rigaku, USA | Alchemist I |  | Government | CSIR | for Protein Crystallization Solution Preparation, Can handle 72 solutions simultaneously | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Robotic Incubators for Plate Storage & Retrieval |  | CCMB-Central facility-X-Ray Crystallography Facility | Robodesign/Rigaku, USA | RoboIncubator |  | Government | CSIR | Crystallization plate-handling and machine vision system for protein crystal imaging. Temp. Controlled Plate Storage & Retrieval System,• Capacity: up 496standard SBS Plates, 384standard LINBRO Plates or 696 Low Profile Plates | CSIR-CCMB |  |  |  | Analytical measuring equipment | Under Maintenance
Plate Imaing System |  | CCMB-Central facility-X-Ray Crystallography Facility | Robodesign/Rigaku, USA | Minstrell III |  | Government | CSIR | Crystallization plate-handling and machine vision system for protein crystal imaging. inspection of crystal growth and imaging,• Temperature range from 4 to 20 deg | CSIR-CCMB |  |  |  | Analytical measuring equipment | Under Maintenance
Crystallization robotic system |  | CCMB-Central facility-X-Ray Crystallography Facility | TTP Labtech | Mosquito 5 deck |  | Government | CSIR | Used to set up Sitting drop and Hanging drop Crystallization experiments in nano litre range 50nl – 1 microlitre by Contact dispensing method | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Crystallization robotic system |  | CCMB-Central facility-X-Ray Crystallography Facility | Douglas Instruments | Oryx 4 |  | Government | CSIR | Used to set up Sitting drop and Hanging drop Crystallization experiments by Contact dispensing method | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Dynamic Light Scattering Unit |  | CCMB-Central facility-X-Ray Crystallography Facility | Nabitech | SpectroSize 300 |  | Government | CSIR | Used to determine the size distribution profile of small particles in suspension,Can read plates as well as cuvette | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
MOFLO XDP High Speed cell sorter with Biosafety cabinet | FACS | CCMB-Central facility-FACS Facility | Beckman | MOFLO XDP |  | Government | CSIR | 4 way cell sorter- lasers 365nm, 488nm ,640nm—12 parameters- bio safety cabinet-smart sampler.Lasers 488nm , 365nm and 640nm for excitation of fluorescence labelled cells, FSC, SSC and 10 fluorescene detectors, Bio safety cabinet for sterile cell sorting- 4 way sorting. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Gallios cell analyser | FACS | CCMB-Central facility-FACS Facility | Beckman | Gallios |  | Government | CSIR | Bench Top Flow Cytometer with 3 lasers (488, 638, 405nm) | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Fortessa cell analyser with high throughput module | FACS | CCMB-Central facility-FACS Facility | Beckton Dickinson | Fortessa |  | Government | CSIR | Bench Top Multicolor Flow Cytometer with 3 laser configurations system with 488nm, 640nm, 561nm lasers , 12 parameters, High thrpugh put setup for 384well plates etc… | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
MICROARRAY FACILITY: Genechip 7000G system | MICROARRAY | CCMB-Central facility- Microarray facility | Affymetrix | Genechip 7000G |  | Government | CSIR | Microarray Scanner with AutoLoader, Hybridization Station and fully automated fluidics station. Applications: Differential Gene Expression (3’IVT, Whole-Transcript Expression Analysis), Genome-Wide SNP Genotyping etc.,Software for Instrument Control and Data Analysis : Affymetrix GeneChip Command Console and Genespring. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Sequenom Mass Array |  | CCMB-Central facility-Spectroscopy facility | Bruker |  |  | Government | CSIR | The MassARRAY System is a non-fluorescent detection platform utilizing mass spectrometry to accurately measure PCR-derived amplicons.MALDI-TOF mass spectrometry , coupled with end point PCR, enables highly multiplexed reactions under universal cycling conditions to provide accurate, rapid, and cost-effective analysis. The MassARRAY System offers a unique solution for targeted genetic testing with limited input material | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Analytical Ultracentrifuge (AU) | AU | CCMB-Central facility- Annex II | Beckman Coulter | ProteomeLab XL-I |  | Government | CSIR | To measures solute concentration distribution in sample to characterize the thermodynamic properties of the macromolecules & their interactions.Sedimentation Velocity and Sedimentation Equilibrium Experiments can be performed. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Floor model ultra centrifuge with rotors | ULTRA CENTRIFUGE | CCMB-Central facility-instrument halls | Beckman Coulter | Optima XPN |  | Government | CSIR | for Separating particles from solutions like Differential Centrifugation, Density Gradient centrifugations etc, Max Speed 1000000 rpm/Max RCF 802,000xg: Volume up to 8x90 ml | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Table top ultra centrifuge with rotors | TABLE TOP ULTRA CENTRIFUGE | CCMB-Central facility-instrument halls | Beckman Coulter | Optima MAX |  | Government | CSIR | for Separating particles from solutions like Differential Centrifugation, Density Gradient centrifugations etc, Max Speed 1000000 rpm/Max RCF 802,000xg: Volume up to 8x90 ml | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High Speed Floor model Centrifuges with rotors |  | CCMB-Central facility-instrument halls | Beckman Coulter | Avanti JXN-30 |  | Government | CSIR | Max Speed 300000 rpm/ 150,000 rpm and Max RCF 108000 x g , 6 Liters/4 Liters capacity, accommodates both fixed angle and swinging bucket rotors,used for all Centrifugation application, harvesting bacteria, routine pelleting, separation of sub cellular particles, viruses etc | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High Speed Floor model Centrifuges with rotors |  | CCMB-Central facility-instrument halls | Thermo Fisher Scientific | LYNX -4000/6000 |  | Government | CSIR | Max Speed 300000 rpm/ 150,000 rpm and Max RCF 108000 x g , 6 Liters/4 Liters capacity, accommodates both fixed angle and swinging bucket rotors,used for all Centrifugation application, harvesting bacteria, routine pelleting, separation of sub cellular particles, viruses etc | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Differential Scanning Calorimeter (DSC) | DSC | CCMB-Central facility-Spectroscopy facility | Micro Cal, LLC | VPDSC |  | Government | CSIR | Monitor the changes of phase transitions. To measure thermodynamic properties of the biomolecules and nano-sized materials. Characterization of Biopolymers, observe fusion and crystallization events | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
ISOTHERMAL TITRATION CALORIMETER (ITC 200) | ITC | CCMB-Central facility-Spectroscopy facility | GE Healthcare | ITC200 |  | Government | CSIR | used in drug discovery & development to Quantify binding affinity, Measurement of thermodynamics and active concentration, Protein protein interaction studies, Protein ligand integration studies, Min Sample cell volume : 1.4ml, Min reference cell volume : 1.4ml, Sensitivity : 1 Nanocal/sec, Injector titrate volume range :1ul - 400ul, | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
ISOTHERMAL TITRATION CALORIMETER (VP ITC) | ITC | CCMB-Central facility-Spectroscopy facility | MicroCal | VP-ITC |  | Government | CSIR | used in drug discovery and development to Quantify binding affinity, Measurement of thermodynamics and active concentration, Protein protein interaction studies, Protein ligand integration studies, Measures nanomolar to picomolar disassociation constants using competitive binding techniques (109 to 1012 M), Affinity (KD), Enthalpy ∆H, Entropy ∆S,Stoichiometry (n), Sample volume:2mL, Cell volume:1400µL Injection syringe volume:300µL | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Dynamic Light Scattering system (DLS) | DLS | CCMB-Central facility-Spectroscopy facility | Horiba | SZ-100 |  | Government | CSIR | Laser power : 532 nm, 10 mW Particle size measurement range : 2nm to 8Um Measurement range of zeta potential : ?200 mV to 200 mV Molecular weight : < 1000Da Nano particle size measurements. For particle size characterization of proteins, polymers and colloidal dispersions. Protein aggregation studies etc | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | CCMB-Central facility-Spectroscopy facility | Bruker Optik Gmbh | Alpha T |  | Government | CSIR | Spectral range :4000 - 400cm-1 Resolution : 4cm-1 Optics design ; ZnSe ATR crystal Quality control and identification of unknown samples,polymers and polymer blends,Verification of trace organic contaminants on surfaces, Thin film analysis and coatings | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
HIGH PRESSURE LIQUID CHROMATOGRAPHY (HPLC system) | HPLC | CCMB-Central facility-HIGH PRESSURE LIQUID CHROMATOGRAPHY FACILITY -HPLC facility | Agilent | 1100 series |  | Government | CSIR | Separation of bio -molecules,Purification and quantification,Pressure : 600 bar,Manual Injector,temperature controlled thermostatic column oven,UV/Vis Detector: Wave length range 190-900nm, analytical flow cell,Refractive Index Detector: 1.00 to 1.75 RIU,Fluorescence Detector: Excitation 200-700 nm, | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
HIGH PRESSURE LIQUID CHROMATOGRAPHY (HPLC system) | HPLC | CCMB-Central facility-HPLC facility | Agilent | 1200 series |  | Government | CSIR | Pressure : 400 bar,Manual Injector Temperature controlled thermostatic column oven UV/Vis Detector: Wave length range 190-950nm, analytical flow cell Chemstation software. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
HIGH PRESSURE LIQUID CHROMATOGRAPHY (HPLC system) | HPLC | CCMB-Central facility-HPLC facility | Shimadzu, Japan | Prominence |  | Government | CSIR | Pressure : 400 bar, Manual Injector Temperature controlled thermostatic column oven Photo diode Detector: Wave length range 190-800nm UV/Vis Detector: Wave length range 190-700nm, analytical flow cell LC solution software | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Bio-inert Quaternary LC System with UV, RI and FLD detectors | HPLC | CCMB-Central facility- Annex II | Agilent | Infinity 1260 |  | Government | CSIR | separation of bio molecules, Purification and quantification UV, RI and FLD detectors For Protein Purification | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High Content Screening system (HCS) | HCS | CCMB-Central facility-Spectroscopy facility | Perkin Elmer, USA | Operetta |  | Government | CSIR | High Content Screening with Wide Field and Spining Disc Confocal based System, Automated High Content Screening of organelles Applications: Cells and Tissues, Live Cell Studies, Neurite length measurement,Cell Proliferation / Counting, Apoptosis, Cellular Morphology, End point assays, Compound Screening, Investigative Microscopy | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Fluorimeter |  | CCMB-Central facility-Spectroscopy facility | Hitachi , Japan | F7000 |  | Government | CSIR | Fluorescence ,Phosphorescence and Photometry, S/N 800 (RMS) (S/N 250 Peak to Peak), wavelength range: 200 to 750 nm, and zero-order light (both Ex and Em) | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Fluorimeter (Modular Spectro Fluorometer) |  | CCMB-Central facility-Spectroscopy facility | Jobin Yvon, USA | Fluorolog FL3-22 |  | Government | CSIR | Fluorescence ,Phosphorescence and Photometry, S/N 4000 (RMS) (S/N 250 Peak to Peak) , wavelength range: 200 to 750 nm, and zero-order light (both Ex and Em) | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Picosec Lifetime Fluorescence Spectrophotometer |  | CCMB-Central facility-Spectroscopy facility | Jobin Yvon, USA | Ultrafast DELTA D TCSPC |  | Government | CSIR | Time-correlated single photon counting (TCSPC) fluorescence lifetime spectrometer designed for use with high repetition rate pulsed sources and DELTA DIODE lasers with MCP detectors. For Time Resolved Emission spectral analysis, Anisotropy decay times, Energy transfer kinetics etc. Minimum Life time : 5ps (with femtosecond Laser and MCP) ,Measurement range: 5ns -22s Time Resolution : <400fs | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
CD SPECTROPOLARIMETERS (Model J-815) | CD | CCMB-Central facility-Spectroscopy facility | Jasco, Japan | J-815-150S |  | Government | CSIR | For analysing the secondary structure or conformation of macromolecules, particularly proteins. Measurement of absolute CD values, Wavelength temperature scans.Kinetic studies, Light Source: 150W air-cooled Xe arc lamp,Wavelength range: <170nm to 900nm; Cell carriage: Single cell, Peltier temperature controlled, Detection modes (5 channels): Simultaneous CD, absorbance, temperature, detector HT and DC voltage | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
CD SPECTROPOLARIMETERS (Model Chirascan plus) | CD | CCMB-Central facility- Annex II | Applied Photophysics, UK | Chirascan plus |  | Government | CSIR | For analysing the secondary structure or conformation of macromolecules, particularly proteins. Measurement of absolute CD values, Wavelength temperature scans.Kinetic studies, LAAPD based detector system ,Dual polarising prism optics  Light Source: 150W air-cooled Xe arc lamp Wavelength range: <170nm to 900nm; | CSIR-CCMB |  |  |  | Analytical measuring equipment | Under Maintenance
Fortbio Octet Red 96 system ( BLI System ) | BLI system | CCMB-Central facility- Annex II | Forte Bio, USA | Octet Red |  | Government | CSIR | to monitor biomolecular interactions in real time without the use of labels.,characterization of protein-protein and protein-small molecule binding kinetics and for the determination of protein concentrations in 96 well formats using label free biosensor technology | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Liquid Scintillation Counters (LSC) | LSC | CCMB-Central facility | Hidex OY Finland | Hidex 300SL Automatic TDCR |  | Government | CSIR | Sample capacity, 20mL/7mL: 40/96, Counting efficiency 3H/14C (%) 70/96, Background 3H in water (CPM) 12 | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
REAL TIME PCRS (RTPCR) | RTPCR | CCMB-Central facility | Applied Biosystems, USA | ABI Vii A 7 DX |  | Government | CSIR | Quantitation, SNP genotyping, Plus/Minus Assays that utilize internal positive Control, dissociation curve analysis, multiplexing and complete end Point assays.384 well block | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
REAL TIME PCRS (RTPCR) | RTPCR | CCMB-Central facility | Applied Biosystems,USA | ABI 7900 HT |  | Government | CSIR | Quantitation, SNP genotyping, Plus/Minus Assays that utilize internal positive Control, dissociation curve analysis, multiplexing and complete end Point assays.384 well block | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
REAL TIME PCRS (RTPCR) | RTPCR | CCMB-Central facility | Applied Biosystems,USA | ABI QuantStudio5 |  | Government | CSIR | Quantitation, SNP genotyping, Plus/Minus Assays that utilize internal positive Control, dissociation curve analysis, multiplexing and complete end Point assays.384 well block | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
REAL TIME PCRS (RTPCR) | RTPCR | CCMB-Central facility | Roche, USA | Roche LC480 |  | Government | CSIR | Quantitation, SNP genotyping, Plus/Minus Assays that utilize internal positive Control, dissociation curve analysis, multiplexing and complete end Point assays.96 and 384 well block | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
In-Vivo Multispectral Imaging System for mice with X-Ray and Fluorescence |  | CCMB-Central facility- New R & D block0- Imaging facility | Carestream Health Inc | FX |  | Government | CSIR | In Vivo live animal imaging system for fluorescence, X-ray, white light imaging, Acquiring images of fluorescence labelled tumors in mice along with X-ray image. Quantification of fluorescence signals. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
ECOMRI Body composition analyser | ECOMRI | CCMB-Central facility- New R & D block- Imaging facility | EchoMRI Corporation, Singapore | EchoMRI 500 |  | Government | CSIR | In vivo scans of small animals and in vitro analysis of biopsy & tissue samples.Suitable for scanning tissues & small animals (mice & rats) for analysis of lean tissue mass, fat mass, free water and total body water masses.Weight of sample/animal Upto: 300 mg of biopsy sample, 7g of tissue & 500 g of rat. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Super critical fluid extraction system |  | CCMB-Central facility- Annex II | Applied Separations, USA | HELIX |  | Government | CSIR | for Nano particle characterization using GAS/PCA | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Nonofiber electrospinning system |  | CCMB-Central facility- Annex II | Kato Tech Co., Ltd, Japan | NEU |  | Government | CSIR | The NEU Nanofiber Electrospinning Unit uses electrospinning techniques to safely and easily produce nanofibers with diameters of 50 to 800 nm from a small amount of various polymers using an electrospinning technique | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Microcontroller system, pressure pumps, flow controller etc |  | CCMB-Central facility- Annex II | FLUIGENT, France | MFCS-EZ Systems Base 4C |  | Government | CSIR | System constituting of Pressure pumps, Flow regulators and System software Microfluidic pressure and flow controller (4 channels), Pressure range : 0-7000 mbar or more, Pressure stability : ±2 mbar or better, Response time : 40 ms or better. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Photolithography facility for photoresist processing, 1.Plasma clear-PDC002, Spin Coater, Agitator, Hot plate etc 2. UV source-UV-KUB Z |  | CCMB-Central facility- Annex II | Blackhole labs |  |  | Government | CSIR | Set of equipment for Photolithography and soft lithography to fabricate micro-patterns of 5 micron or small for micro fluidic devise prototyping | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
3D Printer |  | CCMB-Central facility- Annex II | PrintZworld, Kolkata | PrintZ |  | Government | CSIR | 3D Printer alonwith suitable filament 4x1kg rolls (ABS & PLA ) for extrusion | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High Performance 2 Tool (Pen and Cutter/Creasing) Flatbed Plotter Cutter |  | CCMB-Central facility- Annex II | M/s. Graphtec Corporation, Japan | FC 2250 |  | Government | CSIR | 24inch X 36inch effective cutting areaVacuum pump; creasing tool; cutting blades; pens | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
High resolution Ultra sound Imaging system |  | CCMB-Central facility- New R & D block -Imaging facility | Visual Sonics, Canada | Vevo 2100 |  | Government | CSIR | 30 micron resolution,Frame rates up to 740 fps,Color and Power Doppler Modes for blood flow quantification ,M-Mode single line acquisition for high-temporal resolution in LV functional analysis,3D-Mode Imaging & Volume Analysis,Nonlinear Contrast Imaging | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
MULTIMODE READERS (PLATE READERS) | PLATE READERS | CCMB-Central facility- Annex II | Biotek Instruments, USA | Synergy H1M |  | Government | CSIR | for fluorescence, absorbance and luminescence measurements in 96/384 well plate formats | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
MULTIMODE READERS (PLATE READERS) | PLATE READERS | CCMB-Central facility-Spectroscopy facility | Perkin Elmer, USA | EnSpire 2300 |  | Government | CSIR | for fluorescence, absorbance and luminescence measurements in 96/384 well plate formats | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
MULTIMODE READERS (PLATE READERS) | PLATE READERS | CCMB-Central facility- Annex II | Tecan | Infinity M200 PRO |  | Government | CSIR | for fluorescence, absorbance and luminescence measurements in 96/384 well plate formats | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
MULTIMODE READERS (PLATE READERS) | PLATE READERS | CCMB-Central facility- New R & D block | Molecular Devices | Spectramax id3 |  | Government | CSIR | for fluorescence, absorbance and luminescence measurements in 96/384 well plate formats | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
ELISA Readers | ELISA | CCMB-Central facility-Spectroscopy facility | Thermo Fisher Scientific | Multiscan GO |  | Government | CSIR | Absorbance plate reader in 96/384 well plate formats | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
THERMAL CYCLERS (PCR) | PCR | CCMB-Central facility-Instrument halls | ABI, USA | PCR- ProFlex |  | Government | CSIR | Block format: Dual block 2x48wells or more for 0.2 ml PCR tubes & Single 96x0.2ml blocks.Maximum ramping rate: Upto 6o C / sec (adjustable) Gradient blocks,Interchangeable block assemblies, Dual block machines have independent temperature control for running different protocols simultaneously on each block. | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
THERMAL CYCLERS (PCR) | PCR | CCMB-Central facility-Instrument halls | ABI | PCR- ABI9700 |  | Government | CSIR | same as above | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
THERMAL CYCLERS (PCR) | PCR | CCMB-Central facility-Instrument halls | Bio-Rad, USA | PCR- C 1000 Touch |  | Government | CSIR | same as above | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
THERMAL CYCLERS (PCR) | PCR | CCMB-Central facility-Instrument halls | Eppendorf, Germany | PCR- Pro S |  | Government | CSIR | same as above | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Lyophilizer/Freeze Drying System | Freeze dryer | CCMB-Central facility-Instrument halls | Martin Christ | Alpha 1-2 LP Plus |  | Government | CSIR | Drying biological materials such as microbial cultures, concentration and recovery of reaction product etc. Condenser Temperature -110℃/-60℃ Condenser Capacity 3 Kgs, | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Speed Vac Concentrator System | Speed Vac | CCMB-Central facility - HPLC facility | Thermo Fisher Scientific | SPD131DDAP1-230 |  | Government | CSIR | Centrifuge 2000 rpm, Condenser Temperature -110℃, Cold Trap Volume 4 liters and Oil Free Vacuum Pump.Rotors for 1.5/2 ml tubes and 10 - 15 ml tubes, For Concentrating aqueous solvents, Organic solvents, acetone, DMSO, DMF, TFA and chloroform etc. The system uses centrifugation, vacuum and heat technologies for removing solvents and concentrating samples while maintaining sample integrity, | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Personal Molecular Imager (Phosphor Imager) |  | CCMB-Central facility | Biorad | PMI |  | Government | CSIR | Imaging system for radio isotope labelled gels and blots | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Gel Documentation Systems (GEL DOC) | GEL DOC | CCMB-Central facility | Syngene, UK | GeneGenius |  | Government | CSIR | Genesnap image acquisition software,Genetools Gel analysis software,ChemigeniusQ camera | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
Gel Documentation Systems (GEL DOC) | GEL DOC | CCMB-Central facility | Syngene, UK | G Box F3 |  | Government | CSIR | G-Box F3,UV Transilluminator : GV4M25x30 | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
CHEMI DOCUMENTATION SYSTEMS (CHEMI DOC) | CHEMI DOC | CCMB-Central facility | Vilber Lourmat, France | CHEMI-SMART 5000 |  | Government | CSIR | Chemiluminescence imaging and analysis system comprising of high sensitivity 12bit cooled CCD camera with grade '0 ' ( Zero defect ) chip quality; Resolution 1280 X 1024 pixels; Pixel size 6.7 X 6.7 microns Dynamic range 4.8 orders of magnitude | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
CHEMI DOCUMENTATION SYSTEMS (CHEMI DOC) | CHEMI DOC | CCMB-Central facility | Syngene, UK | PXI 6 ACCESS |  | Government | CSIR | 6.1 megapixel, 16 bit cooled CCD camera, EPI LED white light illumination, F0.9 motor driven aperture lens, western blot sample holder, Genesys image acquisition software, gene tools image analysis software | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up
CHEMI DOCUMENTATION SYSTEMS (CHEMI DOC) | CHEMI DOC | CCMB-Central facility | Biorad, USA | Chemidoc MP |  | Government | CSIR | Cooled CCD camera (-50 deg) based imaging & analysis system , 25X26 cm 302/312 UV transilluminator, EPI white light | CSIR-CCMB |  |  |  | Analytical measuring equipment | Up