## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
High Temperature Hydrogen Furnace I | MWD-1.01 | Cathode Laboratory | Naskar & Co. Kolkata | EN160VCF |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Induction Heater I | MWD-1.03 | Old Furnace Laboratory | LEPEL, New York | T-20-3-KC-TL |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Induction Heater II | MWD-1.04 | New Furnace Laboratory, Hall A | Boss Engineers | RF 55 |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Muffle Furnace I (3") | MWD-1.05 | Old Furnace Laboratory | Watkins-Johnson, California | 3E-24 S/N 1881 |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Muffle Furnace II (5") | MWD-1.06 | Old Furnace Laboratory | Watkins-Johnson, California | 5e-42 |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Muffle Furnace III (8") | MWD-1.07 | Old Furnace Laboratory | Watkins-Johnson, California | 8E60 S/N 1673 |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Muffle Furnace IV (8") | MWD-1.08 | New Furnace Laboratory, Hall A | Therelek Engineers Pvt. Ltd. Banglore | TE-4425 |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Vertical Retort Hydrogen Furnace I | MWD-1.09 | Klystron Lab | Wellmake |  |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Vertical Retort Hydrogen Furnace II | MWD-1.10 | Old Furnace Laboratory | Therelek Engineers Pvt. Ltd. Banglore | 70-71, III Phase |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Vacuum/Hydrogen Furnace | MWD-1.11 | New Furnace Laboratory, Hall A | HHV |  |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Under Maintenance
Vacuum Furnace | MWD-1.12 | New Furnace Laboratory, Hall C | HHV |  |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Bell- Jar Hydrogen Furnace | MWD-1.13 | New Furnace Laboratory, Hall A | CSIR-CEERI Pilani |  |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Vertical Retort Hydrogen Furnace III | MWD-1.14 | Old Furnace Laboratory | WATKINS-JOHANSON | 10VR-24 (SS) |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
Muffle Furnace V (3") | MWD-1.15 | Old Furnace Laboratory | Watkins-Johnson, California | 3D-24 S/N 3585 |  | Government | CSIR | Furnace for brazing, sintering | MWD Area |  |  |  | Research Equipment | Up
TIG Welding Machine I | MWD-2.01 | Klystron Laboratory | LINCOLN Electric | INVERTEC V310-T AC/DC |  | Government | CSIR | Welding | MWD Area |  |  |  | Research Equipment | Up
TIG Welding machine II | MWD-2.02 | Gyrotron Laboratory | LINCOLN Electric | Precision TIG 375 |  | Government | CSIR | Welding | MWD Area |  |  |  | Research Equipment | Up
Laser Welding Machine | MWD-2.03 | TWT Laboratory | Optilase | JK 300 HPS Nd-YAG |  | Government | CSIR | Precise welding | MWD Area |  |  |  | Research Equipment | Up
Ultra High Vacuum Processing Station I | MWD-3.01 | New Furnace Laboratory, Hall A | HHV, India |  |  | Government | CSIR | Pump station | MWD Area |  |  |  | Research Equipment | Up
Ultra High Vacuum Processing Station II | MWD-3.02 | Room No. 14 | Varian, Italy |  |  | Government | CSIR | Pump station | MWD Area |  |  |  | Research Equipment | Up
Ultra High Vacuum Processing Station III | MWD-3.03 | New Furnace Laboratory, Hall C | HHV, India |  |  | Government | CSIR | Pump station | MWD Area |  |  |  | Research Equipment | Up
Ultra High Vacuum Processing Station IV | MWD-3.04 | Plasma Laboratory | Vacuum Techniques |  |  | Government | CSIR | Pump station | MWD Area |  |  |  | Research Equipment | Up
Auger Electron Spectroscopy | MWD-4.01 | Cathode Laboratory | Varian, Italy | F |  | Government | CSIR | Surface analytical tool | MWD Area |  |  |  | Research Equipment | Down
Spectro Photometer I | MWD-4.02 | Cathode Laboratory | Agilent | CARY UV VIS 100 |  | Government | CSIR | Spectroscopy | MWD Area |  |  |  | Research Equipment | Up
VUV Spectrometer | MWD-4.03 | Plasma Laboratory | Mc PHERSON | 302 |  | Government | BRFST, CSIR | Spectroscopy | SSA Area |  |  |  | Research Equipment | Up
UV/visible Spectrometer with PMT &CCD | MWD-4.04 | Plasma Laboratory | Princeton Instruments | SP-2500A |  | Government | BRFST, CSIR | Spectroscopy | SSA Area |  |  |  | Research Equipment | Up
VUV Monochromator | MWD-4.05 | Plasma Laboratory | Mc PHERSON |  |  | Government | CSIR | Spectroscopy | SSA Area |  |  |  | Research Equipment | Up
RF Power meter | MWD-5.01 | Klystron Lab | Rohde and Schwarz | NRP2 |  | Government | DRDO | RF Power measuring Equipment | SSA Area |  |  |  | Research Equipment | Up
Vector Network Analyzer (VNA) I | MWD-5.02 | Klystron Lab | Agilent technologies | E8364B |  | Government | CSIR | RF Power and phase measurement | SSA Area |  |  |  | Research Equipment | Up
Vector Network Analyzer (VNA) II | MWD-5.03 | Magnetron Laboratory | Rohde and Schwarz | ZVCE |  | Government | RRCAT | RF Power and phase measurement | SSA Area |  |  |  | Research Equipment | Up
Portable VNA | MWD-5.04 | Klystron Lab | Anritsu | MS2038C |  | Government | CSIR | RF Power and phase measurement | SSA Area |  |  |  | Research Equipment | Up
Spectrum Analyzer I | MWD-5.05 | Klystron Lab | Agilent technologies | E4448A |  | Government | CSIR | RF Frequency measurement | SSA Area |  |  |  | Research Equipment | Up
Spectrum Analyzer II | MWD-5.06 | Magnetron Laboratory | Rohde and Schwarz | FSP13 |  | Government | RRCAT | RF Frequency measurement | SSA Area |  |  |  | Research Equipment | Up
Spectrum Analyzer III | MWD-5.07 | TWT Laboratory | Agilent technologies | N9030B-EXM |  | Government | CSIR | RF Frequency measurement | SSA Area |  |  |  | Research Equipment | Up
Spectrum Analyzer IV | MWD-5.08 | TWT Laboratory | Agilent technologies | N9010A |  | Government | CSIR | RF Frequency measurement | SSA Area |  |  |  | Research Equipment | Up
4 Channel digital oscilloscope | MWD-5.09 | Klystron Lab | Agilent technologies | DS071048 |  | Government | CSIR | Measurement of AC signal | SSA Area |  |  |  | Research Equipment | Up
Peak power meter | MWD-5.10 | Klystron Lab | Boontoon | 4500B |  | Government | BARC | RF Power measuring Equipment | SSA Area |  |  |  | Research Equipment | Up
Signal Generator I | MWD-5.11 | Klystron Lab | Agilent technologies | E8257D |  | Government | CSIR | RF Source | SSA Area |  |  |  | Research Equipment | Up
Signal Generator II | MWD-5.12 | Klystron Lab | Agilent technologies | E8247D |  | Government | CSIR | RF Source | SSA Area |  |  |  | Research Equipment | Up
Signal Generator III | MWD-5.13 | TWT Laboratory | Agilent technologies | E8257D |  | Government | CSIR | RF Source | SSA Area |  |  |  | Research Equipment | Up
Signal Generator IV | MWD-5.14 | TWT Laboratory | Agilent technologies | N5183A |  | Government | ISRO | RF Source | SSA Area |  |  |  | Research Equipment | Up
Real Time X-Ray Imazing System | MWD-5.15 | X-Ray Room | GE Inspection Technology | ISOVOLT |  | Government | CSIR | X-Ray Imaging | SSA Area |  |  |  | Research Equipment | Up
ICCD Camera | MWD-5.16 | Plasma Laboratory | Stanford Computer | 4Quick Edig |  | Government | CSIR | Camera | SSA Area |  |  |  | Research Equipment | Up
Helium Leak Detector I | MWD-5.17 | New Furnace Laboratory, Hall B | Varian | VSMD 302 s.n. LL 0904L394 |  | Government | CSIR | Leak detecting equipment | SSA Area |  |  |  | Research Equipment | Up
Helium Leak Detector II | MWD-5.18 | New Furnace Laboratory, Hall B | Pfeiffer | HLT550 |  | Government | CSIR | Leak detecting equipment | SSA Area |  |  |  | Research Equipment | Up
Shielded Anechoic Chamber | MWD-5.19 | Plasma Laboratory | Sahzanand LASER TECHNOLOGY LTD |  |  | Government | CSIR | Chamber for noise free RF measurement | SSA Area |  |  |  | Research Equipment | Up
High Voltage Insulation tester | MWD-5.20 | TWT Laboratory | Megger | MIT 30 |  | Government | ISRO | Breakdown measurement | SSA Area |  |  |  | Research Equipment | Up
Breakdown Tester | MWD-5.21 | Gyrotron Laboratory | Megger |  |  | Government | DST | Breakdown measurement | SSA Area |  |  |  | Research Equipment | Up
Profile projector | MWD-5.22 | TWT Laboratory | Nikon | V20B |  | Government | ISRO | Microscope | SSA Area |  |  |  | Research Equipment | Up
Vector Network Analyzer (VNA) III | MWD-5.23 | Gyrotron Laboratory | Agilent technologies | E8364C |  | Government | CSIR | RF Power and phase measurement | SSA Area |  |  |  | Research Equipment | Up
High voltage pulse modulator I | MWD-6.01 | Klystron Lab | SCANDINOVA | K2 |  | Government | BARC | Power supply | SSA Area |  |  |  | Research Equipment | Up
High voltage pulse modulator II | MWD-6.02 | Magnetron Laboratory | SAMEER, Mumbai |  |  | Government | SAMEER | Power supply | SSA Area |  |  |  | Research Equipment | Up
High voltage pulse modulator III | MWD-6.03 | Magnetron Laboratory | BARC, Mumbai |  |  | Government | BARC | Power supply | SSA Area |  |  |  | Research Equipment | Up
Microwave Generator | MWD-6.04 | Magnetron Laboratory | MKS Instruments Pte Limited, Italy | 90C150T |  | Government | CSIR | Power supply | SSA Area |  |  |  | Research Equipment | Up
Capacitor Charging Power Supply | MWD-6.05 | Plasma Laboratory | TECHNIX | CCR40kV-20J |  | Government | CSIR | Power supply | SSA Area |  |  |  | Research Equipment | Up
Pulsed Magnetizer | MWD-6.06 | TWT Laboratory | Frrites India |  |  | Government | CSIR | Power supply | SSA Area |  |  |  | Research Equipment | Up
Pulsed DC Power Supply | MWD-6.07 | Plasma Laboratory | Growcontrols | GCBDPULSE104 |  | Government | CSIR | Power supply | SSA Area |  |  |  | Research Equipment | Up
RF Power Supply | MWD-6.08 | Plasma Laboratory | Huttinger | TIG10/100PSC |  | Government | CSIR | Power supply | SSA Area |  |  |  | Research Equipment | Up
RF/DC reactive sputtering system | MWD-7.08 | Plasma Laboratory | Advanced Process Technology Pvt. Ltd. | APT/CEERI/25062013 |  | Government | CSIR, DST | Power supply | SSA Area |  |  |  | Research Equipment | Up
Noble metal sputtering TFSP-840 | SSA-1 | Smart Sensor Area-South Block | VST, Israel |  |  | Government | CSIR | Sputter deposition of Ti, Cr, Au, Pt, Ag | SSA Area |  |  |  | Research Equipment | Up
Plasma asher TETRA-30 | SSA-2 | Smart Sensor Area-South Block | Diener, Germany |  |  | Government | CSIR | Ashing of positive resist, SU8 stripping | SSA Area |  |  |  | Research Equipment | Up
Mask aligner MA6 | SSA-3 | Smart Sensor Area-South Block | SUUS Microtec |  |  | Government | CSIR | Photolithography upto 6" wafers | SSA Area |  |  |  | Research Equipment | Up
Dicining Machine (DFD 6450) | SSA-4 | Smart Sensor Area-South Block | DISCO Corporation, Japan |  |  | Government | CSIR | Dual Spindle dicing machine is used for cutting the Si and Glass wafers of different sizes. The machine also has the capability to cut the bonded silicon-glass wafer and other materials such as thin ( up to 1.0 mm) alumina. The details description are given as follows: 1. Sample/Wafer Size: 1 to 6 Inch. 2. Sample Shape : Circle or Square or any other 3. Cutting Materials: Silicon up to 700 µm, Glass up to 1.0 mm, glass-silicon bonded wafer up to 1.7 mm only 4. Sample thickness: maximum 700 µm for Silicon & 1.0 mm for Glass 5. Chip Size: minimum 3X3 mm2 6. Scribe line: minimum 300 µm for Si & 500 µm for Glass 7. Surface Protection : Surface protection by Positive Photo-resist up to 3.0 µm-thick or depending on user 8. Process Time: One working day for one sample | SSA Area |  |  |  | Research Equipment | Up
OXIDATION AND DIFFUSION FURNACE SYSTEM 1 | SSA-5 | Smart Sensor Area-South Block | M/S SANDVIK THERMAL INC., USA. |  |  | Government | CSIR | THERMAL OXIDATION, PHOSPHOROUS DIFFUSION, METAL SINTERING | SSA Area |  |  |  | Research Equipment | Up
Align Bonder | SSA-6 | Smart Sensor Area-South Block | EVG, Austria |  |  | Government | CSIR | Wafer Bonding | SSA Area |  |  |  | Research Equipment | Up
Reactive Co-Sputtering | SSA-7 | Smart Sensor Area-South Block | VST, Israel |  |  | Government | CSIR | Metal Oxide and Nitride | SSA Area |  |  |  | Research Equipment | Up
LPCVD | SSA-8 | Smart Sensor Area-South Block | SEMCO |  |  | Government | CSIR | Polysilicon and Silicon Nitride | SSA Area |  |  |  | Fabrication | Down
Deep Reactive Ion Etching (DRIE) | SSA-9 | Smart Sensor Area-South Block | Alcatel,France |  |  | Government | CSIR | To create high-aspect ratio structure in silicon | SSA Area |  |  |  | Fabrication | Up
Wire Bonder 747677E | SSA-10 | Smart Sensor Area-South Block | West Bond,USA |  |  | Government | CSIR | Ball to wedge gold wire bonding | SSA Area |  |  |  | Research Equipment | Up
Micro system analyzer MSA-500 | SSA-11 | Smart Sensor Area-South Block | Polytec, Germany |  |  | Government | CSIR | Dynamic characterization of SDA/MEMS devices | SSA Area |  |  |  | Research Equipment | Up
DEKTAK 6M Surface Profiler | SSA-12 | Smart Sensor Area-South Block | VEECO |  |  | Government | CSIR | The Dektak 6M is an advanced thin and thick film step height measurement tool capable of measuring steps height. The tool can also be used for measuring surface roughness. The details equipment capabilities are given as follows: 1. Minimum Sample Size: 1x1cm2 or 1cm diameter 2. Minimum Feature size /Step width: 50 µm 3. Thickness Range: 100 Å to 1 mm 4. Process Time: 30 Min/5 points measurement. 5. Maximum sample thickness: 31.75 mm (1.25") | SSA Area |  |  |  | Research Equipment | Up
Film Stress Measurement System | SSA-13 | Smart Sensor Area-South Block | FSM Frontier Semiconductor, USA |  |  | Government | CSIR | Stress measurement of a thin film | SSA Area |  |  |  | Research Equipment | Up
Acoustic Imager | SSA-14 | Smart Sensor Area-South Block | Sonix |  |  | Government | CSIR | Acoustic Imaging | SSA Area |  |  |  | Research Equipment | Up
IV-CV Characterization System | SSA-15 | Smart Sensor Area-South Block | Cascade (USA) + Keithley (USA) |  |  | Government | CSIR | IV-CV measurements | SSA Area |  |  |  | Research Equipment | Up
Zeta 3D Profiler | SSA-16 | Smart Sensor Area-South Block | Zeta Instruments, USA |  |  | Government | CSIR | 2D-3D imaging of SDA/MEMS structures, Thin film thickness mesurement, Step measurement | SSA Area |  |  |  | Research Equipment | Up
Lapping and Polishing Machine AM-15 | SSA-17 | Smart Sensor Area-North Block | Engis Corporation Ltd., USA |  |  | Government | CSIR | Lapping Machine is capable to thinning and polishing of sapphire wafer. Diamond slurry used for thinning the wafer. | SSA Area |  |  |  | Research Equipment | Up
Electron Beam and Thermal Evaporation System | SSA-18 | Smart Sensor Area-North Block | VST, Israel |  |  | Government | CSIR | Metallization system used for deposition of different metal layers. System is capable to deposit the thin layers of following metals: Al, Ni, Ti,Au, Pt,Ag,Pd etc. | SSA Area |  |  |  | Research Equipment | Up
Metalo Organic Chemical Vapor Deposition (MOCVD) | SSA-19 | Smart Sensor Area-North Block | Thomas Swan, UK(Aixtron) |  |  | Government | CSIR | MOCVD system is capable to growth the GaN,AlGaN,InGaN material on Sapphire for LED fabrication | SSA Area |  |  |  | Research Equipment | Up
Mask Aligner MJB4 | SSA-20 | Smart Sensor Area-North Block | Suss MicroTech,Germany |  |  | Government | CSIR | System is capable to expose the 3 Inch wafer | SSA Area |  |  |  | Research Equipment | Up
Rapid Thermal Annealing (RTA AS100) | SSA-21 | Smart Sensor Area-North Block | Anneal Sys ,France |  |  | Government | CSIR | System is capable to fast anneal the GaN based sample. maximum temp is 1100 degree Celsius | SSA Area |  |  |  | Research Equipment | Up
Reactive Ion Etching (RIE) | SSA-22 | Smart Sensor Area-North Block | Sentech, Germany |  |  | Government | CSIR | System is capable to etch the thin layer of GaN and GaAs based compound material. | SSA Area |  |  |  | Fabrication | Up
RF Magnetron Sputtering System | SSA-23 | Smart Sensor Area-North Block | Eletrorrava, Italy |  |  | Government | CSIR | System is capable to deposit the Al2O3, Si . | SSA Area |  |  |  | Research Equipment | Up
Dicing machine (DAD 321) | SSA-24 | Smart Sensor Area-North Block | Disco Dicing, Japan |  |  | Government | CSIR | System is capable dice the fabricated chips and substrate. Material: Si, Al2O3, Sapphire, Quartz etc | SSA Area |  |  |  | Research Equipment | Up
Wire Bonding | SSA-25 | Smart Sensor Area-North Block | West Bond,USA |  |  | Government | CSIR | Tool is capable to wedge to wedge bonding chip to package | SSA Area |  |  |  | Research Equipment | Up
Plasma Enhanced Chemical Vapor Deposition System (PECVD) | SSA-26 | Smart Sensor Area-North Block | STS UK |  |  | Government | CSIR | System used for thick silicon dioxide film over silicon. This system is ideal for lightwave applications. Core and cladding layer for waveguides can be fabricated. | SSA Area |  |  |  | Fabrication | Up
Laser Lift-Off (LLO) System | SSA-27 | Smart Sensor Area-North Block | Optec S A, Belgium |  |  | Government | CSIR | Removal of sapphire substrate from GaN/InGaN grown epiwafers | SSA Area |  |  |  | Research Equipment | Up
Photoluminescence Mapping System (PL) | SSA-28 | Smart Sensor Area-North Block | ACCENT Corporation , USA |  |  | Government | CSIR | PL system used in the optical mapping of the wafers. System is intended for direct band gap semiconductor due Laser power limitation. | SSA Area |  |  |  | Research Equipment | Up
Prism Coupler | SSA-29 | Smart Sensor Area-North Block | Metricon USA |  |  | Government | CSIR | System used for measurement of refractive index and thickness of silicon dioxide,silicon nitirde etc. | SSA Area |  |  |  | Research Equipment | Up
Hall Effect Measurement System | SSA-30 | Smart Sensor Area-North Block | Nano metrics, USA |  |  | Government | CSIR | System determine the type semiconductor and also measures the mobility of electrons and holes in semiconductor | SSA Area |  |  |  | Research Equipment | Up
Solar Simulator | SSA-31 | Smart Sensor Area-North Block | Sciencetech Inc., Canada |  |  | Government | CSIR | Measurement of solar cell I-V characteristics under AM 1.5G 1SUN | SSA Area |  |  |  | Characterization | Up
Thermal Imaging Microscope | SSA-32 | Smart Sensor Area-North Block | Opto Therm Inc, USA |  |  | Government | CSIR | System is capable to measure the temperature distribution across the chip | SSA Area |  |  |  | Research Equipment | Up
LED Characterization System | SSA-33 | Smart Sensor Area-North Block | Labsphere Inc., USA |  |  | Government | CSIR | Optical spectral characterization of packaged LEDs (visible) | SSA Area |  |  |  | Research Equipment | Up
Probe Station with EL Spectra | SSA-34 | Smart Sensor Area-North Block | Ecopia Korea |  |  | Government | CSIR | IV and EL Spectra | SSA Area |  |  |  | Characterization | Up
MA-6 Mask Aligner | SSA-35 | Smart Sensor Area-North Block | Suess Microtech Germany |  |  | Government | CSIR | TSA + BSA alignment up to 4" diameter wafer and NIL attachement | SSA Area |  |  |  | Research Equipment | Up
Reactive Sputtering System | SSA-36 | Smart Sensor Area-North Block | VST Israel |  |  | Government | CSIR | Magnetic Thin film and their nano composites ( Fe-Ni, Co-Zr) | SSA Area |  |  |  | Research Equipment | Up
Critical Point Drier | SSA-37 | Smart Sensor Area-North Block | TOUSIMIS Research Corporation, USA |  |  | Government | CSIR | CPD is used for the wet release of SDA/MEMS suspended devices | SSA Area |  |  |  | Fabrication | Up
Dip Pen Nanowriter (DPN) Nscriptor | SSA-38 | Smart Sensor Area-North Block | M/s NanoInk, USA |  |  | Government | CSIR | -Writing of nano-features of 16-MHA on gold substrate for various biosensors applications -Patterning of sub-um size features of gold for nano-electronics and photonics applications | SSA Area |  |  |  | Research Equipment | Up
Centrifuge R-24 | SSA-39 | Smart Sensor Area-North Block | M/s Remi Electrotechnik, Thane |  |  | Government | CSIR | Centrifuge is being used for sedimentation of heterogeneous mixtures like separation of bundled CNTs from individuals. Max speed 17000 rpm (with 1.5 ml tubes), other rotors for 15 ml and 25 ml tubes are also available. | SSA Area |  |  |  | Research Equipment | Up
Plasma Cleaner | SSA-40 | Smart Sensor Area-North Block | M/s Glow Research, USA |  |  | Government | CSIR | System is capable to clean DPN probes and micro-wells and for functionalization of CNTs. | SSA Area |  |  |  | Research Equipment | Up
Laser Pattern Generator (Mask Fabrication) | SSA-41 | Smart Sensor Area-North Block | M/s Heidelberg Instruments Germany |  |  | Government | CSIR | Resolve dimension up to 1 micron and can expose plate area from 3" X 3" to 8” x 8”. | SSA Area |  |  |  | Fabrication | Up
320PC Reactive Ion Etching System | SSA-42 | Smart Sensor Area-North Block | STS UK |  |  | Government | CSIR | For poly silicon and silicon dioxide ,silicon nitride etching using CF4, SF6 chemistry | SSA Area |  |  |  | Fabrication | Up
Annelva Reactive Ion Etching System | SSA-43 | Smart Sensor Area-North Block | Annelva Corporation Japan |  |  | Government | CSIR | For poly silicon and silicon dioxide ,silicon nitride etching using CF4, SF6 chemistry | SSA Area |  |  |  | Fabrication | Up
ION IMPLANTATION | SSA-44 | Smart Sensor Area-North Block | EATON Semiconductor Equipment Corp U.S.A. |  |  | Government | CSIR | Doping of the Semiconductor. Energy: 20 - 200 KeV, Dose: 10E11 - 10E16, Dopants: Boron,Phosphorous,Nitrogen,Argon,Silicon. | SSA Area |  |  |  | Research Equipment | Up
LPCVD | SSA-45 | Smart Sensor Area-North Block | Thermco |  |  | Government | CSIR | Deposition of Silicon Nitride and Polyslicon film | SSA Area |  |  |  | Fabrication | Up
PECVD | SSA-46 | Smart Sensor Area-North Block | PlasmaLab |  |  | Government | CSIR | Low temperature Deposition of Silicon Nitride and Silicon Oxide Film. | SSA Area |  |  |  | Fabrication | Up
FTIR | SSA-47 | Smart Sensor Area-North Block | Bruker Optik |  |  | Government | CSIR | to obtain IR spectra of thin film onto silicon substrate. | SSA Area |  |  |  | Characterization | Up
OXIDATION AND DIFFUSION FURNACE SYSTEM 2 | SSA-48 | Smart Sensor Area-North Block | Thermco |  |  | Government | CSIR | Dry And Wet Oxidation of up-to 3 inch silicon wafer. | SSA Area |  |  |  | Research Equipment | Up
Laser Dicing Machine | SSA-49 | Smart Sensor Area-Middle Block | SLTL Gandihnagar |  |  | Government | CSIR | Dicing of Si and glass wafers | SSA Area |  |  |  | Research Equipment | Up
ZnO Sputter Deposition | SSA-50 | Smart Sensor Area-Middle Block | HHV Bangalore |  |  | Government | CSIR | Deposition ZnO thin films up to ~3um thickness | SSA Area |  |  |  | Research Equipment | Up
Scanning Electron Microscope with Energy Dispersive Spectroscopy | SSA-51 | Smart Sensor Area-Middle Block | JEOL Japan |  |  | Government | CSIR | SEM is used for the topographical analysis and surface measurements of the samples by magnifying the image. JEOL SEM can magnify upto 3 lakh times. Standard samples can be measured with a minimum resolution of 2.5 nm. An attachment with SEM, called as EDS is used to detect the composition of the sample. | SSA Area |  |  |  | Research Equipment | Up
Low level IV/CV Measurement System (SCS 4200 analyser and PM-8 shielded probe station) | SSA-52 | Smart Sensor Area-Middle Block | M/s Keithley, USA and M/s Suss Microtek, Germany |  |  | Government | CSIR | Current-voltage and capacitance-voltage measurements of 2 and3 terminal semiconductor devices at wafer level at -40 to 200 degree Celsius. Current range: 1pA to 1 A Voltage range: 200 mV to 200 V Capacitance range:10 fF-20 nF | SSA Area |  |  |  | Research Equipment | Up
Santech Single Wavelength Ellipsometer | SSA-53 | Smart Sensor Area-Middle Block | Santech |  |  | Government | CSIR | Measuring thin dielectric film Thickness. | SSA Area |  |  |  | Fabrication | Up
Four Point Probe | SSA-54 | Smart Sensor Area-North Block | Signatone |  |  | Government | CSIR | For Measuring sheet resistance of thin film. | SSA Area |  |  |  | Research Equipment | Up
Vibrating Sample Magnetometer | SSA-55 | Smart Sensor Area-Middle Block | MicroSense, USA |  |  | Government | CSIR | M-H Hystresis Loop, Permeability, Magneto-resistance | SSA Area |  |  |  | Research Equipment | Up
Nanospec 6100 | SSA-56 | Smart Sensor Area-North Block | Nanometrics |  |  | Government | CSIR | Optical thin film thickness measurement system for transparent materials | SSA Area |  |  |  | Research Equipment | Up