## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Spray Dryer - Nozzle |  | CSIR-CFTRI, MYSURU | BOWEN ENGINEERING INC, USA | BE-1216 |  | Government | CSIR | Drying of liquid formulations. Capacity : 4L/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Spray Dryer - Disc Type Nozzle |  | CSIR-CFTRI, MYSURU |  |  |  | UNICEF | UNICEF | Drying of liquid formulations. Capacity : 20L/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Water Immersion Retort |  | CSIR-CFTRI, MYSURU | LAXMI ENGINEERING, CHENNAI |  |  | Government | CSIR | 100 pouches/batch | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Blast Freezer |  | CSIR-CFTRI, MYSURU | BLUE STAR | WF1083SP |  | Government | CSIR | Blast freeze materials to -20°C . Capacity : 60kg | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Evaporator - Scraped Surface Type |  | CSIR-CFTRI, MYSURU | ALPHA LAVAL, Pune |  |  | MFPI | MFPI | Concentration of liquid dfoods. Capacity : 150 kg of water per hour | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Evaporator - Plate Heat Type |  | CSIR-CFTRI, MYSURU | APV, Kolkata |  |  | Government | CSIR | Concentration of liquid foods. Capacity : 300 L/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Evaporator - Tubular Single & Double Effect |  | CSIR-CFTRI, MYSURU | CFTRI DESIGN |  |  | Government | CSIR | Concentration of liquid foods. Capacity : 150L/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Extruder - Twin Screw |  | CSIR-CFTRI, MYSURU | WERNER & PF LEIDERER, USA | 1994 |  | Government | CSIR | For hot extrusion. Capacity : 60 kg/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
RF Dryer |  | CSIR-CFTRI, MYSURU | MECORD | TARANG |  | Government | CSIR | Combined RF and hot air drier. Capacity : 3-4 kg/batch | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Super Critical CO2 Extractor |  | CSIR-CFTRI, MYSURU | NOVA SWISS | EX1000-1 |  | Government | CSIR | For extraction of using CO2 as the medium. Capacity : 2L/batch, Min. Quantity : 200mL | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Double Drum Dryer |  | CSIR-CFTRI, MYSURU | PIV ANTRIEB, Germany | MASC 231 |  | Government | CSIR | Cooking and Drying of food formulations that are in flowable, semi solid form. Drum size : 350 dia X 600 mm length | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Bottling Line [Chiller,CO2 Mixture & Counter Pressure Filler] |  | CSIR-CFTRI, MYSURU | COMPOT TECH, Chennai | CTWC 6000 |  | Government | CSIR | For filling areated drinks in bottles. Capacity : 50 Bottles/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Canning Line Can Reformer |  | CSIR-CFTRI, MYSURU | THE METAL BOX COMPANY OF INDIA LTD | 166A |  | Government | CSIR | Reforming of Cans. Capacity : 50 cans/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Canning Line Flanger |  | CSIR-CFTRI, MYSURU | THE METAL BOX COMPANY OF INDIA LTD | CR 1885 |  | Government | CSIR | For flanging cans. Capacity : 50 cans/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Canning Line Filler |  | CSIR-CFTRI, MYSURU | THE METAL BOX COMPANY OF INDIA LTD | IND 248 |  | Government | CSIR | Can filler. Capacity : 50 cans/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Canning Line Seamer |  | CSIR-CFTRI, MYSURU | THE METAL BOX COMPANY OF INDIA LTD |  |  | Government | CSIR | Can seaming machine. Capacity : 50 cans/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Canning Line Exhaust Box |  | CSIR-CFTRI, MYSURU | THE METAL BOX COMPANY OF INDIA LTD |  |  | Government | CSIR | Exhaust box for heating filled cans | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Canning Line Sterilizer |  | CSIR-CFTRI, MYSURU | THE METAL BOX COMPANY OF INDIA LTD |  |  | Government | CSIR | Sterelizing of Cans. Capacity : 50cans | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Centrifuge - Tubular |  | CSIR-CFTRI, MYSURU | SHARPLES SUPER-CENTRIFUGE, UK | 2000 |  | Government | CSIR | High speed centrifuge for liquid-liquid and solid-liquid separation. Capacity : min 50 L | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Solvent Extraction Unit |  | CSIR-CFTRI, MYSURU | Armfield, UK | FT-29-C |  | Government | CSIR | For defatting and oil Extraction using solvent. Capacity : 15Kg, Min. Quantity : 0.5Kg | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Solvent Distillation Unit |  | CSIR-CFTRI, MYSURU | Local Manufacturer |  |  | Government | CSIR | For distillation of solvent used for oil extraction. Capacity : 20L Min. Quantity : 1L | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Vacuum Shelf Dryer |  | CSIR-CFTRI, MYSURU | GROUVERS, MUMBAI |  |  | Government | CSIR | Drying of liquid/solid food materials under vacuum. Capacity : 12 Trays | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Vacuum Frying System |  | CSIR-CFTRI, MYSURU | CFTRI DESIGN |  |  | Government | DST | Frying of food materials under vacuum | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Reverse Osmosis/ Ultra Filtration Unit |  | CSIR-CFTRI, MYSURU | PCI Membrane Systems LTD, UK | ROP-1393 |  | Government | CSIR | Concentration / filteration of liquid foods. Capacity : 10 LPH | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Fermentor (Lab Scale) |  | CSIR-CFTRI, MYSURU | NEW BRUNSWICK SCIENTIFIC |  |  | DBT | DBT | To culture micro organisms under controlled conditions. Capacity : 20L | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Fermentor (Pilot Scale) |  | CSIR-CFTRI, MYSURU | SARTORIUS |  |  | DBT | DBT | To culture micro organisms under controlled conditions. Capacity : 150L | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Pasteuriser- Tubular with HPE |  | CSIR-CFTRI, MYSURU | VED Engineering, INDIA | VE-PJ-0.25KPH |  | Government | CSIR | To pasteurize liquid foods. Inculdes, heating, holding and cooling sections | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Membrane Filtration Unit |  | CSIR-CFTRI, MYSURU | TECHNIQUES INDUSTRIELIES APPLIQUEES, FRANCE | B-20-12 |  | Government | CSIR | For microfiltration of fruit juices | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Cross Flow Cabinet Dryer |  | CSIR-CFTRI, MYSURU | Precision Products, Vatva, India |  |  | Government | CSIR | Hot air drier for semi-colid/sold foods. Capacity : 48 trays | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Fluidized Bed Dryer |  | CSIR-CFTRI, MYSURU | ALTEK Industrial Corporation, Bombay | TRF-30-395 |  | Government | DST | Hot air fluidized bed dryer for granular materials . Capacity : 10 kg/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Hot Air Roaster |  | CSIR-CFTRI, MYSURU | CFTRI DESIGN |  |  | Government | DST | Hot air roaster for cereals, pulses and oilseeds. Capacity : 5 kg/batch | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Spouter Bed Roaster |  | CSIR-CFTRI, MYSURU | CFTRI DESIGN |  |  | Government | DST | Spouted bed roaster for roasting of beans/grains/nuts. Capacity : 5 kg /batch | Department of Technology Scale-Up |  |  |  | Research Equipment | Up
Oil Expeller |  | CSIR-CFTRI, MYSURU | GURU TEG Engineering Company, Ludhiana |  |  | Government | CSIR | For oil extraction for oilseeds. Capacity : 100 Kg/h | Department of Technology Scale-Up |  |  |  | Research Equipment | Up