## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Double Beam Atomic Absorption Spectrophotometer (AAS) | AAS | Bhagwant Singh Advanced Mining Research Centre | Thermo Fisher | M5 Series |  | Government | GAP | Elements analysis in liquid samples | NREM |  |  |  | Analytical | Up
Condition Monitoring Instrument | CBPM | Bhagwant Singh Advanced Mining Research Centre | Emerson | AMS-2140 |  | Government | CSIR | The equipment is vibration based health minitoring of equipments. It can be used for surface and underground working machines. | MMTD |  |  |  | Research Equipment | Up
Global Navigation Satellite System (GNSS) | GNSS | Bhagwant Singh Advanced Mining Research Centre | AIMIL | R-4 |  | Government | CSIR | The system has one base and two rovers for field surveying. | MMTD |  |  |  | Research Equipment | Up
High Performance Computing (HPC) System | HPC | Bhagwant Singh Advanced Mining Research Centre | M/s Fujitsu Technology Solutions, GmbH, Mies-van-der-Rohe-Street 8, Munich, Germany 80807 | Fujitsu |  | Government | CSIR | 32 nodes, 512 processors with a computational power of 10.3 Terra FLOPS | Mine Mechanisation & Technology Development Research Group |  |  |  | Research Equipment | Up
Inductively Coupled Plasma Mass Spectrometry (ICPMS) | ICP-MS | Bhagwant Singh Advanced Mining Research Centre | Perkin Elmer | DRCe |  | Government | CSIR | Used for elemental analysis in geological and environmnetal samples at very low concentration levels | NREM |  |  |  | Research Equipment | Up
Atomic Absorption Spectrophotometer (AAS) | AAS | Bhagwant Singh Advanced Mining Research Centre | Varian (Agilent) | 280FS/240Z |  | Government | CSIR | Used for elemental analysis in geological and environmnetal samples | NREM |  |  |  | Research Equipment | Up
Ion Chromatograph (IC) | IC | Bhagwant Singh Advanced Mining Research Centre | Dionex | IC 900 |  | Government | CSIR | Analysis of cations and anions in water samples | NREM |  |  |  | Research Equipment | Up
Microwave Digestion System (MDS) | MDS | Bhagwant Singh Advanced Mining Research Centre | Anton Paar | Multiwave 3000 |  | Government | CSIR | Digestion of rock, soil and sediment samples for geochemical analysis | NREM |  |  |  | Research Equipment | Up
Gas Chromatograph (GC) | GC | Bhagwant Singh Advanced Mining Building | Bruker | 450 |  | Government | GAP | This GC is dedicated to gaseous analysis only having TCD and FID combination | NREM |  |  |  | Analytical | Under AMC
TOC analyzer | TOC | Bhagwant Singh Advanced Mining Building | Elementar | LiquiTOC |  | Government | 12th FYP | It can be used fo rthe analysis of solid and liquid samples at high temperature combustion and detection by an inbuilt IRGA | NREM |  |  |  | Analytical | Down
Gas Chromatograph (GC) | GCMS | Bhagwant Singh Advanced Mining Building | Varian | 450 / 240 |  | Government | CSIR | It can be used for the analysis of selected pesticides in water | NREM |  |  |  | Analytical | Up
Optical Emission Spectrometer (OES) | OES | Bhagwant Singh Advanced Mining Research Centre | Bruker | Q4 TASMAN |  | Government | CSIR | It detects the elements present in Ferrous base alloy, Copper base alloys and Aluminium base alloy | Metallurgy, MHM |  |  |  | Research Equipment | Up
DM 4500P Microscope |  | Bhagwant Singh Advanced Mining Research Centre | Leica | DM 4500P |  | Government | CSIR | Petrographic and reflectance study of Coal/Coke/Char | Nonconventional Gases |  |  |  | Research Equipment | Up
Elementar varioMacro Cube Elemental Analyser |  | Bhagwant Singh Advanced Mining Research Centre | Elementar | varioMacro Cube |  | Government | CSIR | Elemental analysis of Coal/Coke/Char | Nonconventional Gases |  |  |  | Research Equipment | Up
FE-SEM with EDS | FE-SEM with EDS | Ground Floor, BSAMRC, Barwa Road | Carl ZEISS and EDAX | Merlin Vp Compact and Octane Super |  | Government | GAP Project, S &T project | Voltage: 20V To 30 KV, Beam Current: ≤100 nA; Magnification: 12 X 20,00000 ; EDS Octane Super SDD, 60mm2 sensor size, Liquid Nitrogen free Detector Resolution 129.4 eV | Coal Preparation |  |  |  | Characterization | Up
STA-8000 with online and off lineÂ FT-IR and GC-MS Hyphaneted system | EGA Evolved Gas Analysis (STA and FT-IR and GC-MS) | Ground Floor, BSAMRC, Barwa Road | M/S Perkinelemer | STA - 8000, Frontier FT-IR, Clarus 680 GC and SQ 8T MS |  | Government | GAP Project, S &T project | The instrument is a hyphenated system which can be used for In-situ analysis of evolved gas of solid material. The instrument can be used individually for the STA FTIR and GC-MS analysis. | Coal Preparation |  |  |  | Characterization | Up
Fourier Transform Infrared Spectroscopy (FTIR) | FTIR | Bhagwant Singh Advanced Mining Building | Make: PerkinElmer | Model: Spectrum 100 |  | Government | GAP | Research Grade, Lab Model, Resolution better than 1 cm-1 Optics: CSI | Miner's Health & Safety |  |  |  | Characterization | Up
Coal, Shale and Rock Petrography |  | Bhagwant Singh Advanced Mining Building | Carl Zeiss and Leica | Axio Imager M2M and MPV4500 with reflectance attachment |  | Government | MoC, Niti Ayog | Reflected, transmittede and UV light and reflectance attachment | Nonconventional Gases |  |  |  | Research Equipment | Up
BET Surface Area and Particle Size Analysis | BET | Bhagwant Singh Advanced Mining Building | Quantachrome | Quantachrome Autosorb |  | Government | MoC | Nitrogen, Krypton and other gases for surface area, pore size and pore volume determination | Nonconventional Gases |  |  |  | Research Equipment | Up
X-Ray Diffractometer (XRD) | XRD | Bhagwant Singh Advanced Mining Building | Make: Rigaku, Japan | Model: Ultima IV |  | Government | GAP | Detectors: Solid State and Scintillation Counters with supporting software for adjustments and recording of XRD | Miner's Health & Safety |  |  |  | Characterization | Up