## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Automated Gas Sorption Analyzer | Surface analyzer | CMERI-Durgapur | Quantacrome instrument, USA | Autosorb iQ |  | Government | CSIR | Analysis of surface area | CMERI - Central for Advanced Materials Processing |  |  |  | Characterization | Up
Thermal Analyzer | TGA-DTA | CMERI-Durgapur | Netzsch, Germany | STA449 F1 Jupiter |  | Government | CSIR | Measurement of thermal decomposition and thermodynamic nature of materials | CMERI - Central for Advanced Materials Processing |  |  |  | Characterization | Up
Quantum Efficiency Measurement System | Solar quantum Efficiency | CMERI-Durgapur | Sciencetech Inc, USA |  |  | Government | CSIR | Solar conversion efficiency measurement | CMERI - Central for Advanced Materials Processing |  |  |  | Analytical Measurement | Up
Laser based 3D Scanner: 7-Axis portable ARM-CMM & s/w | NIKON 3D Scanner | CSIR-CMERI CoEFM, Ludhiana | NIKON | MCAx 20+ with MMDx100 |  | Government | SERB | This equipment helps in the 3D scanning of complex parts and sheet metal parts. Also, it may used for insepction of manufacturerd parts and comapre with the original CAD files. | CSIR-CMERI CoEFM, Ludhiana |  |  |  | Analytical Measurement | Up
Spectra Quest Machinery Fault Simulator | Spectra Quest | CMERI-Durgapur | Spectra Quest |  |  | Government | CSIR | Fault simulation of rotating machine | CMERI-Condition Monitoring and Structural Analysis Group |  |  |  | Characterization | Up
OPAL-RT Real Time Simulator | OPAL-RT | CMERI-Durgapur | OPAL-RT |  |  | Government | CSIR | Real time electrical system simulation | CMERI-DRIVES & Control System Technology Group |  |  |  | Characterization | Up
Thermogravinetric Analyzer (TGA) | TGA | CMERI-Durgapur | Netzsch, Germany | TG 209 F3 Tarsus |  | Government | CSIR | Temperature range: RT to 1000 oC Heating Rate: 0.001 K/min to 200 K/min Maximum sample weight: 2 g Resolution: 1 µg | CMERI-Energy Research And Technology Group |  |  |  | Characterization | Up
RAMAN Spectroscopy with AFM | Raman | CMERI-Durgapur | Witec | Alpha 300 |  | Government | CSIR | Combined Raman and AFM | CMERI-Surface Engineering And Tribology |  |  |  | Characterization | Up
Micro and Macro pin/ball on disc tribometer | Tribometer | CMERI-Durgapur | Bruker | UMT2 |  | Government | CSIR | Friction and wear measurements of oil, lubricants, coatings. | CMERI-Surface Engineering And Tribology |  |  |  | Analytical Measurement | Up
Advion expression CMS (CMS-3013-0140) (ESI-MS) | ESI-MS | CMERI-Durgapur | Advion expression CMS (ESI-MS) | CMS-3013-0140 |  | Government | CSIR | For determination of molecular ion peak of a compound, tentative binding mode of the compound with the incoming analytes | CMERI-Surface Engineering And Tribology |  |  |  | Characterization | Up
Surface Analyzer |  | CMERI-Durgapur | QUANTACHROME (Autosorb iQ2) | ASIQCUTVOOUT |  | Government | CSIR | For determination of BET, Pore volume, Pore size, Adsorption-Desorption isotherm. | CMERI-Surface Engineering And Tribology |  |  |  | Characterization | Up
UV-Vis(200-900nm) Spectrophotometer | UV-Vis | CMERI-Durgapur | Agilent Technologies | MY13460028 |  | Government | DST | For determination absorption maxima of conjugated organic compounds, interaction with the incoming analytes. | CMERI-Surface Engineering And Tribology |  |  |  | Characterization | Up
FE-SEM with EDX | FESEM | CMERI-Durgapur | Carl-Zeiss | Sigma HD |  | Government | CSIR | 1 nm at 15 kV | CMERI-Surface Engineering And Tribology |  |  |  | Characterization | Up
Rheometer (with Ar Gas) |  | CMERI-Durgapur | Anton Parr (Austria) | MCR501 No: 80896098 |  | Government | CSIR | For determination of the rheological properties of the material. | CMERI-Surface Engineering And Tribology |  |  |  | Characterization | Up
Servo Hydraulic Controlled UTM |  | CMERI-Durgapur | Instron | 8801 |  | Government | CSIR | Measurementr of mechanical and fatigue properties of materials | CMERI-Material & Structural Evaluation Group |  |  |  | Analytical Measurement | Under Maintenance
Scanning Electron Microscope (SEM) | SEM | CMERI-Durgapur | Hitachi | Model : S300N |  | Government | CSIR | 50 nm resolution | CMERI-NDT & Metallurgy Group |  |  |  | Characterization | Up
Coordinate Measuring Machine (CMM) | CMM | CMERI-Durgapur | Accurate | Spectra |  | Government | CSIR | Resolution : 0.0001 mm X: 600, Y: 800, Z: 500 | CMERI-Precision Engineering and Metrology |  |  |  | Analytical Measurement | Up
3D Non-Contact Surface Profiler | Non-Contact Surface Profiler | CMERI-Durgapur | Taylor - Hobson | Talysurf CCI LITE |  | Government | CSIR | Resolution : 0.1 Angstrom | CMERI-Precision Engineering and Metrology |  |  |  | Analytical Measurement | Up
Horizontal Length Measuring (HLM) Machine | HLM | CMERI-Durgapur | Trimos | Labconcept 1000 |  | Government | CSIR | Range: 1000 mm, Resolution : 0.00001 mm | CMERI-Precision Engineering and Metrology |  |  |  | Analytical Measurement | Up
Seven Degrees of Freedom Whole Arm Manipulator |  | CMERI-Durgapur | Barrett | WAMTM |  | Government | CSIR | Laboratory based manipulator for testing and validation of control, tracking algorithms | CMERI |  |  |  | Characterization | Up
SARIX Micro-EDM Machine |  | CMERI-Durgapur | SARIX | SX-100-HPM |  | Government | CSIR | A micro EDM machine capable of machining features upto 25micro meter | CMERI |  |  |  | Fabrication | Under Maintenance
DT-110 Micro Machining Centre |  | CMERI-Durgapur | Mikrotools | DT-110 |  | Government | CSIR | A micro machining centre capable of micro-drilling, micro-milling, micro edm and micro turning | CMERI |  |  |  | Fabrication | Under Maintenance
Atomic Force Microscope (AFM) | AFM | CMERI-Durgapur | Nanosurf | Nanosurf C-3000 |  | Government | DST | A high resolution type scanning probe microbe | CMERI |  |  |  | Characterization | Up