## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Nuclear Magnetic Resonance (NMR) Spectrometer (500 MHz) | FT-NMR (500 MHz) | CSMCRI, Bhavnagar | Bruker | Avance II |  | Government | CSIR | BBI and BBO probe for liquid, probe for solid (CP-MAS) and Microimaging facility | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Nuclear Magnetic Resonance (NMR) Spectrometer (600 MHz) | FT-NMR (600 MHz) | CSMCRI, Bhavnagar | JEOL | ECZR 600 |  | Government | CSIR | FG/RO Digital Auto tune Probe for liquid, probe for solid state (CP-MAS), temp. -50 to 150 deg C | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Single Crystal X-Ray Diffractometer (Single Crystal XRD) | Single Crystal XRD | CSMCRI, Bhavnagar | Bruker | D8 QUESTX |  | Government | CSIR | For molecular structure determination at room temp and liquid nitrogen temp | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Characterization | Installation in June, 2018
Powder X-Ray Diffractometer (PXRD) | Powder-XRD | CSMCRI, Bhavnagar | PANalytical | Empyrean |  | Government | CSIR | 2 Theta range: 0.7 to 165 deg, temperature range: room temp to 1400 deg. C | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Characterization | Up
High Resolution Transmission Electron Microscope (HRTEM) | HRTEM | CSMCRI, Bhavnagar | JEOL | JEM 2100 |  | Government | CSIR | 200 KV, Mag – 50 X to 1.5 MX, Resolution-0.14 nm, CCD Camera, EDX STEM, Electron Diffraction. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Characterization | Up
Field Emission Scanning Electron Microscope (FESEM) | FE-SEM | CSMCRI, Bhavnagar | JEOL | JSM 7100F |  | Government | CSIR | Mag.: 800K, BSE detector, SE detector EDX and Cryo attachment | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Characterization | Up
Atomic Force Microscope (AFM) Scanning Probe Microscope (SPM) | AFM (SPM) | CSMCRI, Bhavnagar | NT-MDT | Ntegra Aura |  | Government | CSIR | Contact and Semi contact mode, Contact SRI, SKM, STM. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Characterization | Up
Mass Spectrometer, (MALDI TOF/TOF) | MALDI MS (TOF/TOF) | CSMCRI, Bhavnagar | ABSCIEX | 4800 plus |  | Government | CSIR | For mass analysis of protein, polymers, poly-saccharides etc., Mass range: 300K Dalton | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Liquid Chromatography Mass spectrometry (LCMS) | LC-MS | CSMCRI, Bhavnagar | Agilent | Model: 6545 |  | Government | CSIR | Q-TOFF, Mass range: 4000 Dalton, HPLC: UV and FLD detector | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Gas Chromatography Mass spectrometry (GCMS) with head space analyser | GC-MS (with head space analyser) | CSMCRI, Bhavnagar | Shimadzu | TQ 8040 |  | Government | CSIR | Triple quadrupole, Mass range: 1090 amu, Head-space Anlyser for gas analysis | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
High Pressure Liquid Choromatography with Gas Permiable Chromatography (HPLC with GPC) | HPLC with GPC | CSMCRI, Bhavnagar | Waters | Allience |  | Government | CSIR | RI and PDA detector, GPC, solvent: water, THF, DMF | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Ion Chromatography (IC) | IC | CSMCRI, Bhavnagar | Thermo | ICS – 5000+ DC |  | Government | CSIR | Electrochemical, UV and conductivity detector. Analysis up to ppb level. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Inductively Coupled Plasma (ICP) Spectrometer | ICP-OES | CSMCRI, Bhavnagar | Perkin Elmer | Optima 2000 DV |  | Government | CSIR | For analysis of wide range of metal ions in ppm/ppb level in solution state | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Inductively Coupled Plasma Mass Spectrometer (ICPMS) | ICP-MS | CSMCRI, Bhavnagar | Thermo | iCAP RQ |  | Government | CSIR | For analysis of wide range of metal ions in ppb level in solution state | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Installation in July 2018
Elemental Anlyser | CHNS Analyser | CSMCRI, Bhavnagar | Elementar | Vario Micro Cube |  | Government | CSIR | Solid and liquid samples, Combustion temperature 800 deg C | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Total Organic Carbon Analyser | Total Organic Carbon Analyzer | TOC | Elementar | Liqui TOC |  | Government | CSIR | It analyses total & organic carbon of solid, soil, sediment, water, industrial waste etc. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
FT-Infrared Spectrometer (FTIR) with ATR and Imaging Microscopy | FT-IR | CSMCRI, Bhavnagar | Agilent | Carry 680 |  | Government | CSIR | IR with facility to analyse coating defects and ATR imaging of polymeric films | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Raman Spectrometer | Raman | CSMCRI, Bhavnagar | Horiba | LabRAM HR Evolution |  | Government | CSIR | It has Red laser, 785 nm; Blue laser, 532 nm Argon laser, 457 to 514 nm. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Characterization | Up
Thermal Analysers with Mass Spectrometer | TGA, DSC, DMA | CSMCRI, Bhavnagar | Netzsch | TGA: TG 209 F1, Mass: QMS 403D; DSC: 204 F1; DMA: 242 |  | Government | CSIR | TGA: Temp.: room temp. to 1000 deg C. Mass: 300 amu; DSC: Temp.: -150 to +600 deg C; DMA: -150 to +500 deg C | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Under Maintenance
BET Surface Area and Porosity Analyser | BET Surface Area Analyser | CSMCRI, Bhavnagar | Micromeritics | 3Flex 3500 |  | Government | CSIR | It is for measurement of surface area, pore distribution, pore size, pore volume etc. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Particle Size Analyser (PSA) | PSA | CSMCRI, Bhavnagar | Malvern | Mastersizer 2000 |  | Government | CSIR | Dry and wet samples can be analysed. Size range: 0.02 to 2000 µm. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Rheometer | Rheometer | CSMCRI, Bhavnagar | Anton Paar | Physica-MCR-301 |  | Government | CSIR | Plate/plate, Plate/cone, Concentric cylindrical, Temp.:120 deg. C | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Spectrophotometer | UV-VIS-NIR | CSMCRI, Bhavnagar | Shimadzu | UV-3600 |  | Government | CSIR | 185nm - 3300nm, Resolution 0.1nm, Photometric range: -6 to 6 Abs | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Spectrofluorometer | Spectrofluorometer | CSMCRI, Bhavnagar | Edinburgh Inst. | FLS920-sm |  | Government | CSIR | Steady State Lifetime, Phosphorescence measurement, 230 to 2600 nm. | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Circular Dichroism Polarimeter | CD Polarimeter | CSMCRI, Bhavnagar | Jasco | J-815 |  | Government | CSIR | Air cooled 150W Xenon lamp. 163 - 900 nm, Scanning modes: auto response, continuous, step | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Gas Chromatography (GC) | GC | CSMCRI, Bhavnagar | Thermo | Trace GC-Ultra |  | Government | CSIR | FID and TCD detectors | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Biodiesel Rancimat | Rancimat | CSMCRI, Bhavnagar | Metrohm | Rancimat - 873 |  | Government | CSIR | It uses to study oxidative stability of biodiesel at a fixed temperature (110 deg. C) | Analytical and Environmental Science Division & Centralized Instrument Facility (AESD&CIF) |  |  |  | Research Equipment | Up
Benchtop X-Ray Diffractometer (XRD) | XRD | CSMCRI, Bhavnagar | Rigaku | MiniFlex II |  | Government | CSIR | Powder x-ray diffracto meter 2-100 degree (2 theta) | Inorganic Material and Catalysis Division |  |  |  | Characterization | Up
Zetasizer | Zetasizer | CSMCRI, Bhavnagar | Malvern | ZS90 |  | Government | CSIR | For Particle size and Zetapotential analysis | Inorganic Material and Catalysis Division |  |  |  | Research Equipment | Up