## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Fluromax Spectroflourometer |  | CSIR-IGIB, Mathura Road Campus | Jovin | FluoroMax |  | Government | CSIR | This is used for characterisation of biomolecules and molecular interactions. It can be used to determine conformational dynamics of proteins or to measure biomolecular interactions. It can be used to measure distances between two fluorescent molecules (FRET) and also to measure mobility of lipids and proteins in membranes (photobleaching) among other applications. | CSIR; Council for Scientific and Industrial Research |  |  |  | Research Equipment | Up
BD FACS Melody | FACS Melody | 1st Floor, CSIR-IGIB, Mathura Road Cmapus | Beckton Dickinson | 661759 |  | Government | CSIR | Bench top Cell Sorter required with Blue and Yellow-green Lasers.System capable of doing 2 way sorting. The system has a cuvette based cell sorter with fixed aligned optics and 6 fluorescence/color (8 parameters) measurement capabilities simultaneously.System has minimum 3 beam spots without any customization with the base instrument for future upgrade.The system has automatic daily QC & tracking feature to ensure consistent day-to-day performance and a nozzle of size of 100 microns. |  |  |  |  | Research Equipment | Up
Scanning Electron Microscope (SEM) | SEM | Room 007,CSIR- IGIB, Mathura road campus | Zeiss | Evo LS 15 |  | Government | CSIR | SE, BSD, STEM and VPSE detectors |  |  |  |  | Characterization | Under Maintenance
Leica SP8; Confocal Microscope |  | IGIB Mathura Road (confocal microscopy room) | Leica | SP8 |  | Government | CSIR | Confocal microscope with Hybrid and PMT detectors, 4 lasers, heated stage with CO2, 2.5X-100X objectives |  |  |  |  | Research Equipment | Up
Transmission Electron Microscope (TEM) | TEM | Room 002, IGIB, Mathura road campus | FEI | Tecnai Twin 20 |  | Government | CSIR | 200KVA HR-TEM |  |  |  |  | Characterization | Under Maintenance
Isothermal Titration Calorimeter (ITC) | ITC | IGIB Mathura Road Campus | Malvern | VP-ITC |  | Government | CSIR | Measure binding affinity and heat of interaction |  |  |  |  | Research Equipment | Up
Imaging Cytometer |  | Mathura Road Campus, ground floor imaging facility | AMNIS, MERCK | IMageStreamX MarkII |  | Government | CSIR | Imaging System Multi Mag 60X40X20 |  |  |  |  | Research Equipment | Under Maintenance
Optima XPN-100 Ultra Centrifuge with Rotor & Accessories |  | IGIB, Mathura Road Campus | Becton Coulter | Optima XPN-100 Ultra Centrifuge with Rotor & Accessories |  | Government | CSIR | Preparative ultracentrifuge for high speed centrifugation and separation of organelles and fractions |  |  |  |  | Research Equipment | Up
Accuri C6 System Flow Cytometer and Data Management System | FACS | CSIR IGIB, Mathura Road campus | Beckton Dickinson | Accuri C6 System Flow Cytometer + data management System |  | Government | CSIR | Used routinely for cytometry Cell cycle, DNA content, RNA content Cell Surface Markers Detection of GFP positive cells from a mixture (no sorting) |  |  |  |  | Research Equipment | Up
Miseq | Miseq | CSIR IGIB, Mathura Road campus | Illumina Inc, USA | Miseq |  | Government | CSIR | Next Generation Sequencing Platform |  |  |  |  | Research Equipment | Up
NovaSeq 6000 sequencing system | Novaseq | CSIR IGIB, Mathura Road campus | Illumina Inc, USA | Novaseq 6000 |  | Government | CSIR | Next Generation Sequencing Platform |  |  |  |  | Research Equipment | Up
Mass Spectrometry (MS) | MS/MS | CSIR IGIB, Mathura Road campus | SCIEX |  |  | Government | CSIR | MALDI TOF/TOF™ 5800 This is a Matrix Assisted Laser Desorption Ionisation system, suitable for MS and MS/MS. This System is used for determining the molecular mass of a protein, biomarker discovery, identification of proteins and relative quantitation of proteins (in complex samples). |  |  |  |  | Research Equipment | Under Maintenance
High Resolution Mass Spectrometry | LC-MS | CSIR IGIB, Mathura Road campus | SCIEX | QTOF |  | Government | CSIR | Triple TOF 6600 systemiis a Quadrupole Time of Flight (QTOF) Mass analyser similar to triple TOF 5600.It can be operated in high resolution and high sensitivity mode. This instrument has high Sensitivity and resolution at MS and MS/MS levels and is used for protein identification (IDA) and quantification studies. As it provides large mass range and high resolution at MS and MS/MS levels It can be used for both Data Independent Acquisition (IDA) and SWATH study with Fixed or variable Q1 acquisition window proteomics studies. |  |  |  |  | Research Equipment | Up