## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Atomic Force Microscope (AFM) | AFM | ROOM NO. 17A | KEY SIGHT TECHNOLOGIES | SPM 5500 ILM |  | Government | CSIR | Used for mapping the topography of a sample with a max roughness on the order of a few microns. Possible modes of operation: contact mode, tapping mode | CIF / CSIR-IICB Kolkata |  |  |  | Characterization | Up
Matrix Assisted Laser Desportion Ionization Time of Flight / Time of Flight (MALDI TOF TOF) | MALDI TOF TOF | ROOM NO. 33 | APPLIED BIOSYSTEMS INCORPORATION | 4800 |  | Government | CSIR | Mass spetrometric analysis of protein, peptides, small molecules and etc., | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
ESI Mass | QTOF MICRO MASS | ROOM NO. 33 | WATERS INDIA PRIVATE LIMITED |  |  | Government | CSIR | Small peptides, organic molecules, organo mettalic compound, sugar molecules etc., can be analyzed (Molecular weight 100 - 20000 Dalton) | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Under Maintenance
Nuclear Magnetic Resonance (NMR) Spectrometer 600 MHz | 600 MHz NMR | ROOM NO. 33 A | BRUKER BIO SPIN, SWITZERLAND | AVANCE 600 |  | Government | CSIR | Equiped with TCI cryo probe / RT probe. Chemical, Biological sample can be analyzed | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Nuclear Magnetic Resonance (NMR) Spectrometer 400 MHz | 400 MHz NMR | ROOM NO. 33A | JEOL INDIA PVT LIMITED | ECZS 400 |  | Government | CSIR | Euipted with VT capabled room temperature RT royal HFX probe | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Small Molecule X-Ray Diffractrometer (XRD)- Single Crystal | SMALL MOLECULE SC XRD | ROOM NO. | BRUKER SCIENTIFIC PVT LIMITED | KAPPA-APEX-II |  | Government | CSIR | Equiped with liquid nitrogen for low temperature experiment. Synthesized or extracted chemical substances only single crystal can be analyzed | CIF / CSIR-IICB Kolkata |  |  |  | Characterization | Up
Nuclear Magnetic Resonance (NMR) Spectrometer 300 MHz | 300 MHz NMR | ROOM NO. 35A | BRUKER INDIA SCITNFIC PVT LIMITED | DPX 300 |  | Government | CSIR | Equiped with room temperature probe. Synthesized and extracted chemical molecules can be analyzed | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Scanning Electron Microscope (SEM) | SEM | ROOM NO. 20 | TESCAN | VEGA II LSU |  | Government | CSIR | Mainly used to know the sample surface topography and composition of biological smaples like cell, tissues, peptides, proteins. Chemical samples like nano particles | CIF / CSIR-IICB Kolkata |  |  |  | Characterization | Under Maintenance
Whole Animal Imaging System | WHOLE ANIMAL IMAGER | ROOM NO. | XENOGEN IVIS SPECTRUM |  |  | Government | CSIR | Whole animal imaging can be done | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Down
Fluorescence Activated Cell Sorter (FACS) | FACS | ROOM NO. 17 A | BD BIOSCIENCES |  |  | Government | CSIR | All types of biological cells can be analyzer using fluoroscence activation | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Iso Thermal Titration Calorimetry (ITC) | ITC | ROOM NO. 309 | MALVERN INSTRUMENTS | VP-ITC |  | Government | CSIR | Bio molecule and small molecule interacation can be studied | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Differential Scanning Calorimetry (DSC) | DSC | ROOM NO. 309 | MALVERN INSTRUMENTS | VP-DSC |  | Government | CSIR | Transition of macro molecules, macro molecules and ligand complex transition Study | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Circular Dichroism (CD) Spectro Polarimeter | CD SPECTRO POLARIMETER | ROOM NO. 309 | JASCO CORPORATION | J-815 |  | Government | CSIR | Rapid structure determination of small and macro molecules | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Under Maintenance
Surface Plasmon Resonance (SPR) Spectrometer | SPR | ROOM NO. 201 A | WIPRO GE HEALTH CARE | BIACORE 3000 |  | Government | CSIR | Powerful label free method widely used to study binding between two macromocules like protein-protein, protein-small molecules etc., | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Under Maintenance
Fab Mass Spectrometer | FAB MASS | ROOM NO. 16 | JEOL , JAPAN | JMS 700 |  | Government | CSIR | Chemical sample can be analyzed by different modes like FAB, EI, CI, HRMS | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Down
Carbon Nitrogen Sulphur / Oxygen Analyzer (CHN Analyzer) | CHN ANALYZER | ROOM NO. 16 | 2400 SERIES II | PERMIN ELMER |  | Government | CSIR | Quantitative determination of Carbon, Nitrogen, Hydrogen and Sulphur in chemical samples | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Down
Fluorescence Activated Cell Sorter | FLOW CYTOMETER | ROOM NO. 35A | BECTON DICKINSON | BD LSR FORTESSA |  | Government | CSIR | Cells can be analyzer using fluoroscence activation | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Cryo Transmission Electron Microscope (Cryo TEM) | CRYO TEM | ROOM NO. 39 | I-CON ANALYTICAL (FEI) | TECHNAI POLARA D357 |  | Government | CSIR | All types of biological samples can be analyzed in cryogenic condition for fine structure | CIF / CSIR-IICB Kolkata |  |  |  | Characterization | Up
Transmission Electron Microscope (TEM) | TEM | ROOM NO. 30 | I-CON ANALYTICAL (FEI) | TECHNAI T12 |  | Government | CSIR | All types of biological and chemical samples can be analyzed for fine structure | CIF / CSIR-IICB Kolkata |  |  |  | Characterization | Down
Confocal Microscope | CONFOCAL MICROSCOPE-1 | ROOM NO 235 | NICON, JAPAN | NICON A1R |  | Government | CSIR | Macro imaging of biological samples like cells, tissues with fluoroscence tag | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Confocal Microscope | COFOCAL MICROSCOPE-2 | ROOM NO. 235 | OLYMPUS JAPAN | OLYMPUS FLUO VIEW FB 10 I |  | Government | CSIR | Macro imaging of biological samples like cells, tissues with fluoroscence tag | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Fourier Transform Infrared Spectroscopy (FTIR) | FT IR | ROOM NO. 126 | BRUKER | TENS OR 27 |  | Government | CSIR | Synthesized, extracted chemical samples can be analyzer | CIF / CSIR-IICB Kolkata |  |  |  | Characterization | Up
Stimulated Emission Depletion Microscopy | SUPER RESOLUTION MICROSCOPE (STED) | ROOM NO. 107 | LEICA | LEICA TCS SP8 STED |  | Government | CSIR | Biological samples for microstructure analysis | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Orbitrap Mass Spectrometer | LTQ ORBITRAP XL | ROOM NO. | THERMO SCIENTIFIC | LTQ ORBITRAP XL |  | Government | CSIR | Both biological samples and chemical samples can be analyzed for Mass analysis | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up
Flux Analyzer | EXTRA CELLULAR FLUX ANALYZER | ROOM NO 201-B | Sea Horse (Agilent) | Xfe 24 |  | Government | CSIR | Cellular Bioenergetics are analyzed | CIF / CSIR-IICB Kolkata |  |  |  | Research Equipment | Up