## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Scanning Electron Microscope (SEM) | SEM | Main Building ,Gr Floor | Hitach | S-3000N |  | Government | CSIR | Surface morphology and particle size | Department of Analytical |  |  |  | Characterization | Up
Femto second laser set up | Ultrafast Laser spectroscopy | Main building ,1st Floor | Custom Desigen Instrument, Oscillator/Amplifier/OPA from Spectra Physics, Fluorescence UP conversion and Transient absorption Spectrometer fromCDP System | Oscillator:MAITAI, Amplifier: Spitfire ACE, OPA: TOPAS Prime, Fluorescence Up-Conversion spectrometer :FOG System, Transient Absorption Spectrometer: Excipro System |  | Government | CSIR | Femtosecond time resolved fluorescence and transient absorption measurement | Department of Analytical |  |  |  | Analytical Measurement | Up
Powder X-Ray Diffractometer (PXRD) | PXRD | Centre for X-ray Crystallography, CSIR-IICT | Bruker, Germany | D8 Advance |  | Government | CSIR | Reflection geometry, LynxEye Detector | Department of Analytical |  |  |  | Research Equipment | Up
Powder X-Ray Diffractometer (PXRD) | PXRD | Centre for X-ray Crystallography, CSIR-IICT | Siemens, Germany | D5000 |  | Government | CSIR | Reflection geometry, Scintillation counter | Department of Analytical |  |  |  | Research Equipment | Up
Wavelength Dispersive X-Ray Fluorescence Spectrometer (WD-XRF) | WD-XRF | Centre for X-ray Crystallography, CSIR-IICT | Bruker, Germany | S4 Pioneer |  | Government | CSIR | Wavelength Dispersive, AgRh 4KW source | Department of Analytical |  |  |  | Research Equipment | Up
Single Crystal X-Ray Diffractometer (SC-XRD) | SC-XRD | Centre for X-ray Crystallography, CSIR-IICT | Bruker, Germany | D8 Quest |  | Government | CSIR | Microfocus source (Mo), Photon 100 detector, LT | Department of Analytical |  |  |  | Research Equipment | Up
Matrix Assisted Laser Desorption Ionization Time-of-Flight Mass Spectrometer (MALDI-TOF/TOF) | MALDI-TOF/TOF | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Bruker Daltonics | Ultraflextreme |  | Government | CSIR | TOF-MS or TOF MS/MS Analysis of proteins, peptides, polymers, Proteomics, Organometallics, nonvolatile small molecules, and natural products | Department of Analytical |  |  |  | Characterization | Up
Matrix Assisted Laser Desorption Ionization Time-of-Flight Mass Spectrometer (MALDI-TOF/TOF) | MALDI-TOF/TOF | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Shimadzu Biotech | Axima Performance |  | Government | CSIR | TOF-MS Analysis of proteins, peptides, polymers, organometallics, non-volatile small molecules | Department of Analytical |  |  |  | Characterization | Up
Liquid Chromatography-Quadrupole Time-of-Flight Mass Spectrometer (LC-QTOF) | LC-QTOF | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Agilent Technologies | 6545 QTOF with 1290 UHPLC |  | Government | CSIR | High resolution LC/MS and MS/MS analysis of polar and semi-polar analytes, biological samples; metabolite analysis; | Department of Analytical |  |  |  | Characterization | Up
Liquid Chromatography-Orbitrap Mass Spectrometer | LC/Orbitrap | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Thermo Scientific | Exactive Orbitrap |  | Government | CSIR | High resolution LC/MS Analysis of polar, semi-polar and non-polar analytes, metabolites; elemental composition; qualitative and quantitative analysis | Department of Analytical |  |  |  | Characterization | Up
Liquid Chromatography-Triple Quadrupole Mass Spectrometer | LC/Triple Quad | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Thermo Scientific | TSQ Altis (Triple Quad) |  | Government | CSIR | LC/MS and LC/MS/MS (low-resolution) analysis of non-volatile, and thermally labile mixtures; pharmacokinetic studies; impurity profiling: quantification by SRM | Department of Analytical |  |  |  | Characterization and Measurement | Up
Liquid Chromatography-Triple Quadrupole Mass Spectrometer | LC/Triple Quad | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Agilent Technologies | 6420 Tripl quad with 1260 UHPLC |  | Government | CSIR | LC/MS and LC/MS/MS (low-resolution) analysis of non-volatile, and thermally labile mixtures; pharmacokinetic studies; impurity profiling: quantification by SRM | Department of Analytical |  |  |  | Characterization and Measurement | Up
Gas Chromatography-Time-of-Flight Mass Spectrometer | GC/AccuTOF | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Jeol | GC-AccuTOF |  | Government | CSIR | Direct (DIP) EI-MS or HRMS analysis of volatile and semi-volatile pure compounds; GC-HRMS analysis of volatile mixtures, elemental composition | Department of Analytical |  |  |  | Characterization | Up
Gas Chromatography-Single Quadrupole Mass Spectrometer | GC/MSD | Mass Spectrometry centre, Mainbuilding extension, CSIR-IICT | M/s Agilent Technologies | 7890B GC with 5977A MSD |  | DBT, New Delhi | CSIR | GC/MS analysis of volatile and semi-volatile mixtures e.g., drugs, pharmaceuticals, metabolites, natural products, hydrocarbons, environmental samples, forensic samples; CWC related chemicals, quantification by GC/MS (SIM) | Department of Analytical |  |  |  | Characterization and Measurement | Up
300 MHz NMR Spectrometer | AV-II 300 MHz | Centre for NMR & SC | M/S Bruker BIOSPIN, Switzerland | AVANCE II |  | Government | CSIR | Bruker AVANCE I 300 MHz NMR spectrometer with a 60 autosampler equipped with a 1H, 13C dual probe capable of doing routine 1H and 13C NMR experiments | Department of Analytical |  |  |  | Characterization | Up
400 MHz NMR Spectrometer | AV-III HD 400 MHz | Centre for NMR & SC | M/S Bruker BIOSPIN, Switzerland | AVANCE III HD |  | Government | CSIR | Bruker AVANCE III HD 400 MHz NMR spectrometer with a 60 autosampler equipped with a 5 mm dual broad band multinuclear room temperature probe with Z-gradient and ATM. The spectrometer is also equipped with a 1H, 13C dual probe with ATM capable of performing all 1D and 2D experiments related to 1H and 13C nuclei | Department of Analytical |  |  |  | Characterization | Up
500 MHz NMR Spectrometer | AV-III HD 500 MHz | Centre for NMR & SC | M/S Bruker BIOSPIN, Switzerland | AVANCE III HD |  | Government | CSIR | Bruker AVANCE III HD 500 MHz NMR spectrometer with a 60 autosampler equipped with a 5 mm dual broad band multinuclear room temperature probe with a Z-gradient and ATM. | Department of Analytical |  |  |  | Characterization | Up
700 MHz NMR Spectrometer | AV-III700 MHz | Centre for NMR & SC | M/S Bruker BIOSPIN, Switzerland | AVANCE III |  | Government | CSIR | Bruker AVANCE III NMR spectrometer equipped with a 5mm triple resonance cryoprobe with Z-gradient capable of producing high signal to noise ratio | Department of Analytical |  |  |  | Characterization | Up
Confocal Micro- Raman Spectrometer | Raman Spectroscopy | Genetic Chemistry Laboratory Building, Ground Floor, CSIR-IICT | M/s Horiba Jobin Yvon | HR 800UV |  | Government | CSIR | Identification of Chemical Functionalities and Polymorphism | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Vibrating Sample Magnetometer (VSM) | VSM | Main Building Ground Floor, Room No. 109, CSIR-IICT | M/s Microsense | Microsense EV9 |  | Government | CSIR | Magnetization vs Magnetic field (B-H curve) | Department of Polymers & Functional Materials |  |  |  | Characterization and Measurement | Up
Field Emission Scanning Electron Microscope (FE-SEM) | FE-SEM | Genetic Chemistry Laboratory Building, Ground Floor, CSIR-IICT | M/s Jeol | JSM-7610F |  | Government | CSIR | Morphological, Phase contrast and Elemental analysis of solid samples (Inorganic, organic, composites) | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
X-Ray Diffractometer (XRD) | XRD | Genetic Chemistry Laboratory Building, Ground Floor, CSIR-IICT | M/s PANalytical | Empyrean |  | Government | CSIR | Non-destructive solid- state analytical technique | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
High Resolution Transmission Electron Microscope (HRTEM) | HR TEM | Discovery Building, Ground Floor | M/s FEI | F 200X |  | Government | CSIR | Morphological and structural analysis of materials(Inorganic, Organic, Composites) | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
X-Ray Photoelectron Spectrometer (XPS) | XPS | Discovery Building, Ground Floor | M/s Kratos Analytical | Axis SUPRA |  | Government | CSIR | Chemical oxidation states, Elemental composition | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Protein crystallography facility | P-XRD | Chemical Biology Building | Rigaku | Micromax-007 with R-axis-IV++ |  | Government | CSIR | Protein crystallization | Department of Applied Biology |  |  |  | Characterization | Up
Protein Crystallization Robort | crystallization report | Chemical Biology Building | TTP | Mosquito two plate |  | Government | CSIR |  | Department of Applied Biology |  |  |  | Characterization | Up
Confocal Microscope | Confocal Microscope | Chemical Biology building, CSIR-IICT | M/S Olympus India | FV1000 |  | Wellcome Trust | CSIR | 1. Imaging of cells with fluorescent dyes 2. Imaging of fluorescent tagged animal tissue sections 3. Imaging of small developing organs of an organism 4. Co-localization study 4. Z-sectioning for comparatively thicker tissue section (or small developing organs) | Department of Applied Biology |  |  |  | Imaging | Up
Ultra Centrifuge | Ultra Centrifuge | Chemical Biology building, CSIR-IICT | M/S Thermofisher | WXUltra 100 |  | Government | CSIR | Separation of small particles such as Viruses, Virus particles, proteins or protein complexes, Lipo proteins, RNA and Plasmid DNA | Department of Applied Biology |  |  |  | Research Equipment | Up
Bench Top Advanced Confocal Microscope | Confocal Microscope | Chemical Biology building, CSIR-IICT | M/S Olympus India | FV10i |  | Government | CSIR | 1. Imaging of cells with fluorescent dyes 2. Imaging of fluorescent tagged animal tissue sections 3. Imaging of small developing organs of an organism 4. Co-localization study 4. Z-sectioning for comparatively thicker tissue section (or small developing organs) | Department of Applied Biology |  |  |  | Imaging | Up
Confocal & Livecell Imaging Microscope |  | Main Building 2nd Floor | Nikon | Eclipse Ti |  | Government | CSIR | Confocal Laser scanning & Live cell Imaging Microscope | Department of Applied Biology |  |  |  | Research Equipment | Up
Flow Cytometer |  | Main Building 2nd Floor | BD | Canto II |  | Government | CSIR | Flow cytometry, detection and analysis for animal cells | Department of Applied Biology |  |  |  | Research Equipment | Up
DLS | DLS | Main Building 2nd Floor | Anton Parr | Litesizer 500 DLS |  | Government | CSIR | size measurement of particles | Department of Applied Biology |  |  |  | Research Equipment | Up
High Pressure Liquid Chromatograph (HPLC) | HPLC | REACTION ENGINEERING LAB | SHIMADZU | LC-20 A |  | Government | CSIR | HPLC WITH GRADIENT SYSTEM OF PUMPS AND PDA DETECTOR, SIL 20AD AUTO INJECTOR | Department of Organic Synthesis & Process Chemistry |  |  |  | Research Equipment | Under Maintenance
Atomic Absorption Spectroscopy (AAS) | AAS | Centre for Lipid Science & Technology, CSIR-IICT | M/s Analytik Jena | Zeenit 700P |  | FSSAI, India | FSSAI, India | Quantitative determination of metals using the absorption of optical radiation by free atoms in the gaseous state. AAS can analyze metals in biological fluids; in some pharmaceutical manufacturing processes, minute quantities of a catalyst that remain in the final drug product, and analyzing water for its metal content. | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Inductively Coupled Plasma-Optical Emission Spectroscopy (ICP-OES) | ICP-OES | Pilot Plant, Centre for Lipid Science & Technology, CSIR-IICT | M/s Varian | Varian 725 ES |  | Government | CSIR | useful in detection of elements (Normal & Heavy metals)in biological fluids; in some pharmaceutical manufacturing processes, minute quantities of a catalyst that remain in the final drug product, and analyzing water for its metal content. | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
High Pressure Liquid Chromatograph with FLD & DAD Detectors | HPLC-FLD/DAD | Centre for Lipid Science & Technology, CSIR-IICT | M/s Agilent Technologies | HP1260 |  | Government | CSIR | Quatitative analysis of tocopherols and other minor constituents present in oils, fats & allied products ect., | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Semi Prep High Pressure Liquid Chromatograph - Ultra violet / Evoporative Light Scattaring Detector | Semi Prep HPLC-UV / ELSD | Centre for Lipid Science & Technology, CSIR-IICTT | M/s Waters | UV-2489; ELSD-2424 |  | Government | CSIR | Quatitative analysis of molecular species, phospholipids and other minor constituents present in oils, fats & allied products ect., | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
High Pressure Liquid Chromatograph - Flouroscence Detector | HPLC-FLD | Centre for Lipid Science & Technology, CSIR-IICT | M/s Agilent Technologies | G1354A HP1100 series, FLD G1321t |  | Government | CSIR | Quatitative analysis of tocopherols and other minor constituents present in oils, fats & allied products ect., | Department of Polymers & Functional Materials |  |  |  | Characterization and Measurement | Up
Liquid Chromatograph - Mass Spectrometry Detector (LC-MS) | LC-MS | Centre for Lipid Science & Technology, CSIR-IICT | M/s Waters | Alliance-e2695 LC coupled with Quattro Micro MSD |  | Government | CSIR | Qualitative analysis for the identification of minor constituents like tocopherols, phytosterols, squalene etc., present in oils, fats & allied products, quantitative analysis of pesticide residues in food matrix, | Department of Polymers & Functional Materials |  |  |  | Characterization and Measurement | Up
Gas Chromatograph-Flame Ionization Detector (GC-FID) | GC-FID | Centre for Lipid Science & Technology, CSIR-IICT | M/s Perkin Elmer | Clarus 500 |  | DBT, India | DBT, India | Biodiesel analysis | Department of Polymers & Functional Materials |  |  |  | Characterization and Measurement | Up
Gas Chromatograph- Mass Spectrometer (GC-MS) | GC-MS | Centre for Lipid Science & Technology, CSIR-IICT | M/s Agilent Technologies | 6890N GC coupled with 5973N MSD |  | Government | CSIR | GC/MS- Qualitative analysis for the identification of minor constituents like tocopherols, phytosterols, squalene etc., present in oils, fats & allied products, quantitative analysis of pesticide residues in food matrix, by GC/MS (SIM) | Department of Polymers & Functional Materials |  |  |  | Characterization and Measurement | Up
Gas Chromatograph- Mass Spectrometer (GC-MS) | GC-MS | Centre for Lipid Science & Technology, CSIR-IICT | M/sAgilent Technologies | 7890B GC coupled with 5977B MSD |  | FSSAI, India | FSSAI, India | GC/MS- Qualitative analysis for the identification of minor constituents like tocopherols, phytosterols, squalene etc., present in oils, fats & allied products, quantitative analysis of pesticide residues in food matrix, by GC/MS (SIM) | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Gas Chromatography-Triple Quadrupole Mass Spectrometer | GC-QQQ (GC-MS-MS) | Centre for Lipid Science & Technology, CSIR-IICT | M/sAgilent Technologies | 7890B GC coupled with 7000B Triple Quadrupole MSD |  | Government | CSIR | GC/MS-MS- Quatitative analysis of minor constituents present in oils, fats & allied products, bioactives, karanjin, MCPD, pesticide residues ect., | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
High Pressure Differential Scanning Calorimeter (HPDSC) | HP-DSC | Centre for Lipid Science & Technology, CSIR-IICT | M/s TA Instruments | TA DSC Q 2000 |  | Government | DST | Determination of Oxidation stability of lubricating oils under isothermal and dynamic conditions | Department of Polymers & Functional Materials |  |  |  | Characterization and Measurement | Up
Oxidation Stability Tester (RBOT) | RBOT | Centre for Lipid Science & Technology, CSIR-IICT | M/sKoehler | K 288-115-004 |  | Government | DST | Determination of Oxidation stability of lubricating oils in presence of water and copper catalyst | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Timken OK Load Tester | Timken | Centre for Lipid Science & Technology, CSIR-IICT | M/s Falex | Timken 9-002-000-0595-8 |  | Government | CSIR | Determination of load carrying capacity of lubricating oils and greases by means of Timken Tester | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Oxidation Stability Analyser | Oxidation Stability (IP 48) | Centre for Lipid Science & Technology, CSIR-IICT | M/sPetrotest Instuments | 254082601 |  | Government | CSIR | Determination of Oxidation stability of lubricating oils under specified conditions by measuring the deteriation of lubricating oils | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Auto Ignition Temperature Analyser (AIT) | AIT | Centre for Lipid Science & Technology, CSIR-IICT | M/s Koehler | 47000 |  | Government | DST | Determination ofauto ignition temperature of lubricating oils | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Hydrolytic Stability Analyser (HAS) | HSA | Centre for Lipid Science & Technology, CSIR-IICT | M/s Scavani | Scavini 80752 |  | Government | DST | Determination of hydrolic stability of lubricating oils | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
4-Ball Tester | 4-Ball Tester | Centre for Lipid Science & Technology, CSIR-IICT | M/s Stanhopeseta | 198006-T |  | Government | CSIR | Determination of wear and load of lubricating oils and greases | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Rust Prevention Characteristics Analyser (RPCA) | RPCA | Centre for Lipid Science & Technology, CSIR-IICT | M/s Koehler | K 30165 |  | Government | DST | Determination of rust prevention charecteristics of lubricating oils | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Thermo Gravimetric Analysis (TGA) | TGA | Centre for Lipid Science & Technology, CSIR-IICT | M/s TA Instruments | TA TGA Q 5000 |  | Government | CSIR | Determination of thermal stability of lubricating oils | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Gas Chromatograph with Mass Spetrometer (GCMS) | GCMS | Department of Catalysis & Fine Chemicals | Shimadzu | Ultra QP 2010 |  | Government | DST | GVMS with EI | Department of Catalysis & Fine Chemicals |  |  |  | R&D | Up
Digital Polarimeter | Polarimeter | Catalysis Lab | Rudolph Research Analytical | Autopol III |  | Government | CSIR | AUTOPOL III Polarimeter | Department of Catalysis & Fine Chemicals |  |  |  | R&D | Up
Isothermal Titration Calorimeter (ITC) | ITC | Catalysis Lab | Malvern pAnalytical | Microcal iTC200 |  | Government | CSIR |  | Department of Catalysis & Fine Chemicals |  |  |  | R&D | Up
Temperature Programmed Reduction/Desorption unit (TPR/TPD) | TPR/TPD | Catalysis Lab | Belsorp | 2015 |  | Government | CSIR | TPR | Department of Catalysis & Fine Chemicals |  |  |  | R&D | Up
Surface area analyzer | BET | Catalysis Lab | Belsorp | 2016 |  | Government | CSIR | BET surface area measurement | Department of Catalysis & Fine Chemicals |  |  |  | R&D | Up
UV-DRS | UV-DRS | Catalysis Lab | Shimadzu | UV-2600/2013 |  | Government | CSIR | Band gap measurements | Department of Catalysis & Fine Chemicals |  |  |  | Characterization | Up
TOC | TOC | Catalysis Lab | Shimadzu | TOC-L CPH E200/2014 |  | Government | CSIR | Effluent analysis | Department of Catalysis & Fine Chemicals |  |  |  | Characterization | Up
Surface area analyzer | Surface area analyzer | Catalysis Lab | Quantachrome | Autosorb-I /2003 |  | Government | CSIR | Surface area and pore size distribution analysis | Department of Catalysis & Fine Chemicals |  |  |  | Characterization | Up
Gas Chromatograph with Mass Spetrometer (GCMS) | GCMS | Catalysis Lab | Shimadzu | Ultra QP 2010 |  | Government | DST | GCMS with EI | Department of Catalysis & Fine Chemicals |  |  |  | R&D | Up
Powder X-Ray Diffractometer (PXRD) | Powder X-ray diffractometer | Catalysis Lab | Rigaku Corporation | Altima 4 |  | Government | CSIR | Cystallanity and unit cell dimenssion | Department of Catalysis & Fine Chemicals |  |  |  | Characterization | Up
High Performance Liquid Chromatography (HPLC) | HPLC | BEES building | Shimadzu | LC-10AT VP |  | Lab funds | MLP | Dual pump with UV and RI detectors | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
High Performance Liquid Chromatography (HPLC) | HPLC | BEES building | Shimadzu | LC-20AD |  | Network | Nimitli | Dual Pump with PDA and RI detector | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Dynamic Mechanical Analyser (DMA) | DMA | Instrumentation Room 1 2nd Floor Main building | M/s TA Instruments | Q800 |  | CSIR, India | Intelcoat XII Plan | Dynamic Mechanical Properties Glass transition Temeperature, a small deformation is applied to a sample in a cyclic manner. This allows the materials response to stress, temperature, frequency and other values | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Differential Scanning Calorimeter (DSC) | DSC | Instrumentation Room 1 2nd Floor Main building | M/s TA Instruments | Q100 |  | CSIR, India | Taskforce Project, | to measure melting temperature, heat of fusion, latent heat of melting, reaction energy and temperature, glass transition temperature, crystalline phase transition temperature and energy, precipitation energy and temperature, denaturization temperatures, oxidation induction times, and specific heat or heat capacity | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Thermo Gravimetric Analyzer (TGA) | TGA | Instrumentation Room 1 2nd Floor Main building | M/s TA Instruments | Q500 |  | CSIR, India | Taskforce Project | TGA analysis measures the amount of weight change of a material, either as a function of increasing temperature, or isothermally as a function of time | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Gel Permeation Chromatography (GPC) | GPC | Discovery First Floor RN 224 | M/s Waters | Waters 2998 Series |  | CSIR, India | Network | To measure Polymer Molecular Weight and polydispersity | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Particle Size Analyser | Nanosizer | Instrumentation Room 1, 2nd Floor Main building | M/s Malvern | Nano-ZS |  | CSIR, India | Intelcoat | Particle Size Analysis , Zeta Potential | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Contact Angle Measuring System | WCA | Instrumentation Room 1, 2nd Floor Main building | M/s KRUSS | IL4201 |  | CSIR | INTELCOAT | A quantitative measure of the wetting of a solid by a liquid | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | Instrumentation Room 1 2nd Floor Main building | M/s Perkin Elmer | Spectrum 100 |  | CSIR, India | NETWORK | Technique to obtain an infrared spectrum of absorption or emission of a solid, liquid or gas | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Thermal Conductivity Analyser (TCA) | TCA | Instrumentation Room 1, 2nd Floor Main building | M/s TA Instruments | FOX 200 |  | MoEF | MoEF | Measuring thermal conductivity | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
ABBE Refractometer | REF | Instrumentation Room 1, 2nd Floor Main building | M/s ATAGO | DR-M2 |  | DST | SERB, New Delhi | Measuring RI, Abbe Number | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
UV-Visible Spectrophotometer | UV-vis | Instrumentation Room 1, 2nd Floor Main building | M/s Labomed Inc | 8 Scanning Auto cell |  | DST | DST | Absorption/Reflectance in UV vis Range | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Multichannel Electrochemical Workstation | WORK STATION | Instrumentation Room 1, 2nd Floor Main building | M/s Zive Labs | MP5 |  | CSIR, India | TAPSUN | Electrochemical workstation providesseveral techniques (cyclic voltammetry, linear sweep voltammetry, differential pulse voltammetry, square wave voltammetry, chronoamperometry, impedance spectroscopy, etc | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Electrochemical Workstation | WORK STATION | Instrumentation Room 1, 2nd Floor Main building | M/s Auto Lab | 320 |  | CSIR, India | Intelcoat | Electrochemical workstation providesseveral techniques (cyclic voltammetry, linear sweep voltammetry, differential pulse voltammetry, square wave voltammetry, chronoamperometry, impedance spectroscopy, etc | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
BET analyser | BET | Instrumentation Room 1, 2nd Floor Main building | M/s Microtrac BEL Corp. | Bel Sorpmini II |  | CSIR, India | NETWORK | Surface Area, Pore Size | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Rheometer | RHEO | Instrumentation Room 2, 2nd Floor Main building | M/s Anton Paar | MCR 102 |  | CSIR, India | Intelcoat | Rhelogical Profile | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Universal Tensile Testing machine (UTM) | UTM | Instrumentation Room 2, 2nd Floor Main building | M/s DAK Instruments | 50kNG |  | CSIR, India | NETWORK | Tensile Prperties/Strength/Elongation | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Salt Spray | SALT SPRAY | Process Weathering Station of PFM Division | M/s Komal Scientifics |  |  | CSIR, India | Intelcoat | Corrosion Reistance | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Accelerated Weathering Tester | QUV | Process Weathering Station of PFM Division | M/s Venture Technologies | Basic |  | CSIR, India | NETWORK | Weatheing Properties | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Automatic Density Analyzer (ADA) | ADA | Instrumentation Room 1, 2nd Floor Main building | M/s Quantachrome Instruments | ULTRAPYC 1200e |  | CSIR, India | MoEF | Volume and density measurement of porous solids and powders | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Automated Particle Characterization (APC) | APC | Instrumentation Room 1, 2nd Floor Main building | M/s Malvern Panalytical | Morphologi G3 |  | CSIR, India | FTT | Particle Imazing dvanced particle characterization tool for measuring the size and shape of particles, with sizes ranging from 0.5µ to several millimeter | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
High Performance Liquid Chromatography- Photodiode Array Detector (HPLC-PDA) | HPLC-PDA | Department of Applied Biology, Instrumentation Room, CSIR-IICT | M/s Waters, USA | Alliance-2695 |  | Government | CSIR | Validation of Analytical and Bio-analytical methods for active pharmaceutical ingredients. | Department of Applied Biology |  |  |  | Analytical and Bio-analytical | Up
Particle Size Analyzer | Zeta Sizer | Department of Applied Biology, Instrumentation Room, CSIR-IICT | M/s Malvern, UK | NANO-ZS |  | Government | CSIR | Analysis of particle size and zeta potential of colloidal suspensions. | Department of Applied Biology |  |  |  | Characterization | Up
Deferential Scanning Calorimeter (DSC) | DSC | Department of Applied Biology, Instrumentation Room, CSIR-IICT | M/s Mettler Toledo, UK | DSC-1 |  | Government | CSIR | Analysis of Melting temperature and crystalline phase transition temperature of compounds | Department of Applied Biology |  |  |  | Characterization | Up
In-Vivo Live Imaging System (IVIS) | IVIS® | Department of Applied Biology, Animal House, CSIR-IICT | M/s Perkin Elmer, USA | SPECTRUM |  | Government | CSIR | The IVIS® Spectrum in vivo imaging system uses a novel patented optical imaging technology to facilitate non-invasive longitudinal monitoring of disease progression, cell trafficking and gene expression patterns in living animals. High animal throughput is available IVIS system, where up to 5 animals can be imaged in 2D and 3D simultaneously analyzing the bioluminescent or fluorescent markers in a well plate or petridishes. | Department of Applied Biology |  |  |  | In-vivo | Up
Auto Blood Analyzer (ABA) | ABA | Department of Applied Biology, Biochemistry Room, CSIR-IICT | M/s Siemens, Germany | Dimension Xpand Plus |  | Government | CSIR | Auto Blood Analyzer is used to measure the different biochemical parameters in blood and urine samples. | Department of Applied Biology |  |  |  | Biochemical | Up
Hematology System (HS) | HS | Department of Applied Biology, Biochemistry Room, CSIR-IICT | M/s Siemens, Germany | ADVIA-2120i |  | Government | CSIR | Hematology analyzer is used to analyze the haematological components in whole blood samples of different species. ADVIA technology utilizes Peroxidase staining the gold-standard in differential testing. | Department of Applied Biology |  |  |  | Hematology | Up
Seahorse flux analyzer | seahorse | chemical biology first floor | seahorse bio | xfe24 |  | csir | csc0111 | measures mitochondrial bioenergetics, glycolysis and beta oxidation of fatty acids in cells | Department of Applied Biology |  |  |  | R and D | Up
Gas Chromatography-Mass Spectrometry (GCMS) | Gas Chromatography-Mass Spectrometry | GCL 1st Floor | Shimadzu | GCMS-QP2010/HT3 Teledyne TEKMAR |  | Government | CSIR | Synthetic/Natural Organic Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation and Characterisation | Up
Preparative High Performance Liquid Chromatography (Prep HPLC) | Preparative High Performance Liquid Chromatography | GCL 1st Floor | Gilson | LC-321/LH-GX-281/UV-155/PDA-171 |  | Government | CSIR | Synthetic/Natural Organic Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation | Up
High Performance Liquid Chromatography (HPLC) | High Performance Liquid Chromatography | GCL 1st Floor | Shimadzu | Quaternary LC/SIL-20Ac/SPD-M20A |  | Government | CSIR | Synthetic/Natural Organic Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation | Up
High Performance Thin Layer Chromatography (HPTLC) | High Performance Thin Layer Chromatography | GCL 1st Floor | Camag | ATS-IV/ADC-2/TLC Visualiser/Scanner/MS Interface |  | Government | CSIR | Natural Products Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Separartion and Identification | Up
Liquid Chromatography-High Resolution Mass Spectrometry (LC-Qtof-MS) | Liquid Chromatography-High Resolution Mass Spectrometry | GCL Ground Floor | Waters | Xevo G2-XS Qtof-MS with H-Class Inlet |  | Government | CSIR | Synthetic/Natural/Biological Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation and Characterisation | Up
Fourier Transform Infrared Spectroscopy (FTIR) | Fourier Transform-Infrared Spectroscopy | GCL 1st Floor | Bruker | Alpha ECO-ATR |  | Government | CSIR | Synthetic/Natural Organic Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Characterisation | Up
Polarimeter | Polarimetry | GCL 1st Floor | Anton Paar | MCP-200 |  | Government | CSIR | Synthetic/Natural Organic Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Specific Optical Rotation (SOR) | Up
Polarimeter | Polarimetry | GCL 1st Floor | Anton Paar | MCP-200 |  | Government | CSIR | Synthetic/Natural Organic Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Specific Optical Rotation (SOR) | Up
Flash Chromatography | Flash Chromatography | GCL 1st Floor | Yamazen | Akros RE-X10 |  | Government | CSIR | Synthetic/Natural Organic Samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation | Up
Liquid Chromatography-Mass Spectrometry (LCMS) | Liquid Chromatography-Mass Spectrometry | FCL-1st Floor | Shimadzu | LCMS2020 |  | CSIR | 11 FYP | Liquid Chromatography | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation and Characterisation | Up
Circular Dichoism (CD) | Circular Dichoism | FCL-2nd Floor | Jasco | J-810 |  | CSIR | 10 FYP | Analysis of secondaru structure of protein | Department of Organic Synthesis & Process Chemistry |  |  |  | Characterization | Up
Ultra Performance Liquid Chromatography (UPLC) | Ultra Performance Liquid Chromatography | Discovery-D227 | Waters | H-Class with RI |  | JCERDC(Indo-US) | JCERDC | Liquid Chromatography | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation | Up
High Performance Liquid Chromatography (HPLC) | High Performance Liquid Chromatography | Discovery-D227 | Shimadzu | LC-10 ATVP with PDA |  | Indo-French | Indo-French | Liquid Chromatography | Department of Organic Synthesis & Process Chemistry |  |  |  | Separation | Up
Thermogravimetric Analysis coupled to MS (TGA/DTA/DSC Coupled MS) | TGA/DTA/DSC | Genetic Chemistry Laboratory - Ground Floor; CSIR-IICT | TA Instrument, USA | SDT Q600 coupled MS |  | Government | CSIR | Simultaneous measurement of heat flow, transition temperature and weight changes coupled to MS. Temperature range is ambient to 1500°C. | Department of Analytical |  |  |  | Industrial and Academic Research Institute | Up
Differential Scanning Calorimetry (DSC) | DSC | Genetic Chemistry Laboratory - Ground Floor; CSIR-IICT | TA Instrument, USA | Discovery 250 |  | Government | CSIR | Reliable linear autosampler with programmable tray positions. Temperature range -90 °C to 700 °C. | Department of Analytical |  |  |  | Industrial and Academic Research Institute | Up
Particle Size Analyzer (PSA) - Wet and Dry | PSA | Genetic Chemistry Laboratory - Ground Floor; CSIR-IICT | Malvern, USA | Mastersizer 2000 |  | Government | CSIR | Both Dry and Wet Mode | Department of Analytical |  |  |  | Industrial and Academic Research Institute | Up
Desktop energy-dispersive X-ray fluorescence - EDXRF - Shimadzu | EDXRF | Genetic Chemistry Laboratory - Ground Floor; CSIR-IICT | Shimadzu, Japan | EDX-8000 |  | Government | CSIR | Solids and Liquids samples can be analyzed from Carbon to Uranium | Department of Analytical |  |  |  | Industrial and Academic Research Institute | Up
High Pressure Thin Layer Chromatograph (HPTLC) | HPTLC | GCL Building | CAMAG |  |  | Government | CSIR |  | IICT |  |  |  | Research Equipment | Up
High Pressure Thin Layer Chromatograph (HPTLC) | HPTLC | GCL Building | CAMAG | 2009 |  | Government | CSIR | HPTLC automated system with MS interface | Department of Organic Synthesis & Process Chemistry |  |  |  | Research Equipment | Up
UV- VIS SPECTROPHOTOMETER | UV-VIS | Applied Biology building | Bio-Tek | 2010 |  | Government | CSIR | Chromophore and conjugation Analysis | Department of Organic Synthesis & Process Chemistry |  |  |  | Research Equipment | Up
Fourier Transform Infrared Spectroscopy (FTIR) | IR | FCL Building | Bruker | 2008 |  | Government | CSIR | Fundamental bands present in the liquid as well as solid samples | Department of Organic Synthesis & Process Chemistry |  |  |  | Research Equipment | Up
Inductively Coupled Plasma Optical Emission Specrometer (ICP-OES) | ICP-OES | Discovery Building,Ground Floor ,CSIR-IICT | M/s.Thermo Fisher Scientifics,UK | iCAP 6500 DUO |  | Government | CSIR | Used for estimation of metals at ppm / ppb levels quality assurance and environmental samples. Determination of metal content in alloys, steel, water, soil, ores, biological, pharmaceutical samples, etc. | Department of Analytical |  |  |  | Characterization | Up
Fourier Transformer Infra Red Spectrometer (FTIR) | FT-IR | Discovery Building,Ground Floor ,CSIR-IICT | M/s Thermo Nicolet | Nexus 670 |  | Government | CSIR | Analysis of organic and Inorganic Chemicals,Polymers,Bilogical samples etc., | Department of Analytical |  |  |  | Characterization | Up
High Performance Liquid Chromatography (HPLC Two Units , Auto and Manual) | HPLC | Discovery Building,1st Floor ,CSIR-IICT | M/s . Shimadzu | LC-20AD |  | Government | CSIR | Check the purity of the samples ,Sugar analysis in carbohydrates and Metabolamics studies | Department of Analytical |  |  |  | Characterization | Up
Ultra Performance Liquid Chromatography (UPLC) | UPLC | Discovery Building,1st Floor ,CSIR-IICT | M/s Agilent Technologies | G4226A |  | Government | CSIR | It reduces cost of operation & decrease run time.It reduces consuption of solvents | Department of Analytical |  |  |  | Characterization | Up
Gel Permation Chormatography (GPC) | GPC | Discovery Building,1st Floor ,CSIR-IICT | M/s Water | 515 |  | Government | CSIR | Molecules weight determination and calculate poly dispersive index | Department of Polymers & Functional Materials |  |  |  | Characterization | Up
Bomb Calorimetre | Bomb Calorimetre | Coal division | IKA | C 2000 |  | Government | CSIR | Used for Measuring the Calorific value of Fuel | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Furnace | Furnace | Coal Division | Carbolite | AAF 1100 |  | Government | CSIR | Used for measuring the Ash,Volatile Matter | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Hot Air Oven | Oven | Coal Division | MRLABMAT |  |  | Government | CSIR | Used for measuring the Moisture | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Humidity Chamber | Humidity Chamber | Coal Division | Votsch |  |  | Government | CSIR | Used for moisture at 60% RH and 40oC | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Liquid Scintillation Counter (LSC) | LSC | Department of Applied Biology | Perkin Elmer-Microbeta | 245-0010 |  | Government | CSIR | To count radioactivity of alpha and beta emitters | Department of Applied Biology |  |  |  | Characterization | Up
Liquid Handlin System (LHS) | LHS | Department of Applied Biology | Perkin Elmer-JANUS | AJV001 |  | Government | CSIR | To perform medium to high throughput assays to identify hits in drug development | Department of Applied Biology |  |  |  | Characterization | Up
High Performance Liquid Chromatography (HPLC) | HPLC | Room 233, Main Building | Agilent Technologies | 1260 Infinity |  | Government | CSIR | Chemical Analysis | Department of Fluoro-Agro Chemicals |  |  |  | Analytical Measurement | Up
High Performance Liquid Chromatography cum Gel Permation Chormatography (HPLC cum GPC) | HPLC cum GPC | Fluoro Chemicals | M/S SHIMADZU | M20A |  | Government | CSIR | SPD-M20A rid-10a cto-20ac | Department of Fluoro-Agro Chemicals |  |  |  | Analytical Measurement | Up
Gas Chromatography (GC) | GC | Fluoro Chemicals | Thermo-Scientific | Trace GC 700 |  | Government | CSIR | Trace GC 700 | Department of Fluoro-Agro Chemicals |  |  |  | Analytical Measurement | Up
Gas Chromatography (GC) | GC | Fluoro Chemicals | Agilent Technologies | 7820A |  | Government | CSIR | GC Analysis | Department of Fluoro-Agro Chemicals |  |  |  | Analytical Measurement | Up
Gas Chromatography (GC) | GC | Fluoro Chemicals | Agilent Technologies | 7820A |  | Government | CSIR | GC Analysis | Department of Fluoro-Agro Chemicals |  |  |  | Analytical Measurement | Up
High Performance Liqid Chromatography (HPLC) | HPLC | Room No-245, Mainbuilding, 1st floor | M/S SHIMADZU | UFLC-SPDM20A |  | Government | CSIR | Hplc Analysis-PDA Detector | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
High Performance Liqid Chromatography (HPLC) | HPLC | Room No-245, Mainbuilding, 1st floor | M/S SHIMADZU | UFLC-SPDM20A |  | Government | CSIR | Hplc Analysis-PDA Detector | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
Gas Chromatography (GC) | GC | Room No-245, Mainbuilding, 1st floor | M/S SHIMADZU | GC-17A |  | Government | CSIR | GC Analysis-FID Detector | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
Gas Chromatography (GC) | GC | Room No-245, Mainbuilding, 1st floor | M/S SHIMADZU | GC-17A |  | Government | CSIR | GC Analysis-FID Detector | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
Gas Chromatography (GC) | GC | Room No-245, Mainbuilding, 1st floor | AGILENT | 7890B |  | Government | CSIR | GC Analysis-FID/TCD Detector | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
Liquid Chromatography–Mass Spectrometry (LCMS) | LCMS | Room No-256, Mainbuilding, 1st floor | M/S SHIMADZU | LCMS-2020 |  | Government | CSIR | Mass analysis, LC-PDA Detector, Mass-ESI/APCI Detector | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
Liquid Chromatography-Mass Spectrometry-Mass Spectrometry (LC-MS-MS) | LC-MS-MS | CENTRE FOR SEMIOCHEMICALS | WATERS COMPANY | WATERS 2998 |  | Government | CSIR | CHARactisation of pheromone and organic compounds | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
Ultra Fast Liquid Chromatograph (UFLC) | UFLC | CENTRE FOR SEMIOCHEMICALS | SHIMADZU -SPD-M20A,LC-20AD | UFLC-SPDM20A |  | Government | CSIR | Qualification of natural copounda and organic copounds | Department of Fluoro-Agro Chemicals |  |  |  | Analytical Measurement | Up
Gas Chromatograph- Mass Spectrometer-Mass Spectrometer (GC-MS-MS) | GC-MS-MS | CENTRE FOR SEMIOCHEMICALS | VARIAN | 450-GC,240-MS |  | Government | CSIR | Charactisation of pheromone and organic compounds | Department of Fluoro-Agro Chemicals |  |  |  | Characterization | Up
VARIAN -PROSTAR | VARIAN-PROSTAR | CENTRE FOR SEMIOCHEMICALS | VARIAN | VARIA-704,VARIAN-410, |  | Government | CSIR | SEPARATION AND QULAIFACATION OF ORGANIC COMPOUNDS | Department of Fluoro-Agro Chemicals |  |  |  | Analytical Measurement | Up
Gas Chromatograph (GC) | GC | Process Dynamics and Control Laboratory | Shimadzu | GC - 2014ATF |  | Government | DST, New Delhi | Gas Chromatograph | Department of Process Engineering & Technology Transfer |  |  |  | Research Equipment | Up
High Performance Liquid Chromatograph (HPLC) | HPLC | Process Dynamics and Control Laboratory | Shimadzu | Shimadzu Prominance HPLC System |  | Government | CSIR | Liquid Chromatograph | Department of Process Engineering & Technology Transfer |  |  |  | Research Equipment | Up
High Pressure Liquid Chromatograph (HPLC) | HPLC | Chem Engg Laboratory and Pilot Plant | Shimadzu | CTO-10AS-VP Oven |  | TSD programme of DST | CSIR | HPLC with LC-20AT pumps and UV and RI detectors | Department of Process Engineering & Technology Transfer |  |  |  | Analytical Measurement | Up
Refractometer | RI | Chem Engg Laboratory and Pilot Plant | Schmidt + Haensch | DSR-λ, S/N-33027 |  | Government | CSIR | Refractive Index Detector at different wavelengths | Department of Process Engineering & Technology Transfer |  |  |  | Analytical Measurement | Up
Differential Scanning Calorimeter (DSC) | DSC | Chem Engg Laboratory and Pilot Plant | Perkin Elmer | Diamond DSC |  | Government | CSIR | Diamond DSC with Pyris software embedded | Department of Process Engineering & Technology Transfer |  |  |  | Characterization | Under Maintanance
UV Visible Spectophotometer | UV spec | Chem Engg Laboratory and Pilot Plant | Lab India | UV 3000 |  | INDUS MAGIC XII Five year PLAN | CSIR | Double beam UV- Visible spectrophotometer | Department of Process Engineering & Technology Transfer |  |  |  | Analytical Measurement | Up
Gas Chromatograph (GC) | GC | LTC Building | NUCON | 5765 |  | GAP0287 | CSIR | Analysis of gas samples from bioreactors | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Under Maintenance
High Performance Liquid Chromatograph (HPLC) | P­102/Vol.IVA/Electronics,Gr­30 (P195/103/Vol.XVIII) | LTC Building | Shimadzu | SPD-20A |  | GAP0287 | CSIR | Analysis of microbial metabolites from bioreactors | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
DGGE | P ­ 1 1 4 / 1 / V o l.X V I I (P ­22/167/Vol.XXVI­A) | LTC Building | BIORAD | Model 475, Cat NO: 1709042 |  | Government | CSIR | Analysis of microbiome from mixed cultures | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | UP
Microscope | P­16/1/Vol.XVII (P­113/52/Vol.XI) | LTC Building | NIKON |  |  | GAP­0017 | CSIR | FISH (Identification of dominance of bacterial species in bioreactor) | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Spectrophotometer | P­88/Vol.IX­C (P­117/77/Vol.XI) | LTC Building | Make Solomen sa France | Model Antelcticadvanced ­II |  | MLP­0223, | CSIR | Estimation of biomolecules and reaction kinetics | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Cyclic voltametry | P­57/1/Vol.XV (P­111/43/Vol.XI) | LTC Building | Metrohm | Autolab |  | Government | CSIR | Bioelectrochemistry of bioelectrochemical systems | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Under Maintenance
Data Acquistion System | P­174/1/Vol.V (P­113/25/Vol.VIII) | LTC Building | DMM/Data Acquisition System | Shielded GPIB, No. KE1121FB2 |  | Government | CSIR | For continous monitoring of bioelectrochemical systems | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | UP
Hydrogen Sensor | P ­ 1 1 8 / 2 / V o l.X (P ­202/129/Vol.XVIII) | LTC Building | MST Technology (GmbH) | Satellite 4­20Ma |  | GAP0287 | CSIR | To estimate biohydrogen during acidogenic reaction | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Nano Drop | P­144/Vol.XIX (P128/211/Vol.XXVIA) | LTC Building | Thermo | Model: 2000C; S.No: P959 |  | GAP 0442 | CSIR | To identify the concentration of DNA, RNA and Protein | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
PCR | P­130/1/Vol.XV | LTC Building | Eppendorf research channel W177906J |  |  | Government | CSIR | To amplify DNA | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
RT-PCR |  | LTC Building | Roche | Light cycler-96 |  | Government | CSIR | To understand the relative expression of genes | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
2D Gel Electrphorosis |  | LTC Building | GE |  |  | CSC-0116 | CSIR | To study the proteome | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Centrifuge | P­150/Mach/Vol.I (P­169/Vol.VI) | LTC Building | Sigma | e Sigma 3­18K |  | COR­0008 | CSIR | To separate biomolecules | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up
Cyclic voltametry (Multi channel) |  | LTC Building | Biologic | VMP3` |  | CSC-0113 | CSIR | Bioelectrochemistry of bioelectrochemical systems | Department of Environmental Engineering & Fossil Fuels |  |  |  | Research Equipment | Up