## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Atomic Absorption Spectrophotometer (AAS) | AAS | Acharya Vihar, Bhubaneswar | SHIMADZU | AA-6300 |  | Government | CSIR | Quantitative analysis of metal ions in solutions made out of various minerals, etc. in ppm level | Central Characterization Dept. |  |  |  | Analytical Equipment | Up
Electron Probe Micro Analyzer (EPMA) | EPMA | Acharya Vihar, Bhubaneswar | JEOL | JXA-8200 |  | Government | CSIR | 30 kV EPMA for quantitative analysis of elements in micrioscopic area and x-ray mapping with WDX | Central Characterization Dept. |  |  |  | Analytical Equipment | Under Maintenance
Field Emmission Scanning Electron Microscope (FESEM) | FESEM | Acharya Vihar, Bhubaneswar | CARL ZEISS | SUPRA-55 |  | Government | CSIR | 30kV FESEM with EDS | Central Characterization Dept. |  |  |  | Characterization | Up
Fourier Transform Infrared Spectrometer (FTIR) | FTIR | Acharya Vihar, Bhubaneswar | Perkin Elmer | Spectrum-GX |  | Government | CSIR | Study of functional group in MIR range | Central Characterization Dept. |  |  |  | Characterization | Up
Inductively Coupled Plasma Optical Emission Spectrometer (ICPOES) | ICP-OES | Acharya Vihar, Bhubaneswar | Perkin Elmer | 2100 DV |  | Government | CSIR | Quantitative analysis of metal ions in solutions made out of various minerals, etc. in ppm to sub-ppb level | Central Characterization Dept. |  |  |  | Analytical Equipment | Up
Micro Raman Spectrometer | Raman | Acharya Vihar, Bhubaneswar | Renishaw | inVia |  | Government | CSIR | With 3 types of lasers: 325nm, 532nm and 785nm wavelengths | Central Characterization Dept. |  |  |  | Characterization | Up
Scanning Electron Microscope (SEM) | SEM | Acharya Vihar, Bhubaneswar | JEOL | JSM-6510 |  | Government | CSIR | 20kV SEM for morphological and microstructural studies of minerals, materials, etc. | Central Characterization Dept. |  |  |  | Characterization | Up
Thermo Gravimetric Differential Scanning Calorimeter (TGDSC) | TG-DSC | Acharya Vihar, Bhubaneswar | NETZSCH | STA 449 F3 jupiter |  | Government | CSIR | TG-DSC analysis from room temperature to 1500 °C | Central Characterization Dept. |  |  |  | Analytical Equipment | Up
X-Ray Diffractometer (XRD) | XRD | Acharya Vihar, Bhubaneswar | Rigaku | Ultima IV |  | Government | CSIR | XRD with Cu target for phase analysis of powder/thin film samples | Central Characterization Dept. |  |  |  | Characterization | Up
X-Ray Diffractometer (XRD) | XRD | Acharya Vihar, Bhubaneswar | PANalytical | X'Pert Pro |  | Government | CSIR | XRD with Cu/Mo target for phase analysis of powder samples | Central Characterization Dept. |  |  |  | Characterization | Up