## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Confocal Laser Scanning Microscope (CLSM) | CLSM | CLSM facility lab, Ground floor, Main Building, CSIR-IMTECH | Nikon - Model | AI(R) |  | Government | CSIR | Biological | CLSM facility lab |  |  |  | Characterisation | Up
Scaning Electron Microscopes (SEM) | SEM | Eelctron Microscopy (EM) Lab, Ground Floor, Main Building, CSIR-IMTECH | Carl Zeiss | EVO 40XVP |  | Government | CSIR | Biological | Eelctron Microscopy (EM) Lab |  |  |  | Characterisation | Up
Tunneling Electron Microscopes (TEM) | TEM | Eelctron Microscopy (EM) Lab, Ground Floor, Main Building, CSIR-IMTECH | Jeol | JEM – 2100CR |  | Government | CSIR | Biological | Eelctron Microscopy (EM) Lab |  |  |  | Characterisation | Under Maintenance
Atomic Force and Scanning Tunneling Microscope (AFM/STM) | AFM/STM | Sophisticated Instrument Lab (SIL), Second floor, Main Building, CSIR-IMTECH | Veeco | XE100 |  | Government | CSIR | Biological | Sophisticated Instrument Lab (SIL) |  |  |  | Characterisation | Up
Fluorescence Activated Cell Sorter (FACS) | FACS | FACS facility Lab, Fourth Floor, Main Building, CSIR-IMTECH | BD | ARIA III |  | Government | CSIR | Biological | FACS facility Lab |  |  |  | Characterisation | Up
Fluorescence Activated Flow cytometer | FACS | FACS facility Lab, Fourth Floor, Main Building, CSIR-IMTECH | BD | Verse & Accuri |  | Government | CSIR | Biological | FACS facility Lab |  |  |  | Characterisation | Up
DNA Sequencer(s) |  | DNA Sequencer Lab, 3rd Floor, Main Building, CSIR-IMTECH | Applied Biosystem | 3130 |  | Government | CSIR | Biological | DNA Sequencer Lab |  |  |  | Characterisation | Up
Molecular Imaging Workstation |  | MIL-5, 5th Floor, Main Building, CSIR-IMTECH | GE Healthcare | FLA 9000 |  | Government | CSIR | Biological | MIL-5 |  |  |  | Characterisation | Up
Amino Acid Analyser |  | MIL-1, 1st Floor, Main Building, CSIR-IMTECH | Waters |  |  | Government | CSIR | Biological | MIL-1 |  |  |  | Characterisation | Up
Peptide/organic synthesis facility |  | Peptide synthesis lab, 3rd floor, GNR Protein Science building, CSIR-IMTECH | Protein Technologies | PS3-230 |  | Government | CSIR | Biological | Peptide synthesis lab |  |  |  | Characterisation | Up
Capillary Electrophoresis (CE) Workstation | CE | MIL-1, 1st Floor, Main Building, CSIR-IMTECH | Beckman Coulter | PACE MDQ |  | Government | CSIR | Biological | MIL-1 |  |  |  | Characterisation | Up
Gas Chromatorgam Mass Spectrometer (GCMS) | GC-MS | GCMS Lab, 2nd Floor, BERPDC building, CSIR-IMTECH | VARIAN | 450GC 320-MS |  | Government | CSIR | Pharmaceutical, Enviromental, Chemical and Biological | GCMS Lab |  |  |  | Characterisation | Up
Liquid Chromatogram Mass Spectrometer (LCMS) | LC-MS | Mass-Spec facility lab, Ground Floor, Main Building, CSIR-IMTECH | Agilent Technologies | 1290 UHPLC 6550 QTOF |  | Government | CSIR | Pharmaceutical, Enviromental, Chemical and Biological | Mass-Spec facility lab |  |  |  | Characterisation | Under Maintenance
Matrix Assisted Laser Desorption Ionization Time of Flight Mass Spectrometer (MALDITOF) | MALDI-TOF | Mass-Spec facility lab, Ground Floor, Main Building, CSIR-IMTECH | AB SCIEX | 5800 TOF/TOF |  | Government | CSIR | Biological | Mass-Spec facility lab |  |  |  | Characterisation | Up
Macromolecular Crystallography Unit |  | Molecular Crystallograph lab, Ground Floor, Main Building, CSIR-IMTECH | Rigaku | Micromax007 |  | Government | CSIR | Biological | Molecular Crystallograph lab |  |  |  | Characterisation | Up
Dynamic Light Scattering system (DLS) | DLS | Sophisticated Instrument Lab (SIL), Second floor, Main Building, CSIR-IMTECH | Malvern | Nano ZS |  | Government | CSIR | Biological | Sophisticated Instrument Lab (SIL) |  |  |  | Characterisation | Up
Nuclear Magnetic Resonance Spectrometer (NMR) | NMR | NMR Lab, Ground Floor, BERPDC building, CSIR-IMTECH | Jeol | ECX 300 |  |  |  | Biological | NMR Lab |  |  |  | Characterisation | Up
Isothermal Titration Colorimetry (ITC) | Auto-ITC | MIL, 3rd floor, GNR Protein Science building, CSIR-IMTECH | Malvern | Auto ITC 200 |  | Government | CSIR | Biological | MIL-PC3 |  |  |  | Characterisation | Up
Thermogravimetric Analysis (TGA) | TGA | Sophisticated Instrument Lab (SIL), Second floor, Main Building, CSIR-IMTECH | METTLER TOLEDO | TGA/DSC 1 |  | Government |  | Biological | Sophisticated Instrument Lab (SIL) |  |  |  | Characterisation | Up
Gas Chromatograph (GC) | GC | Sophisticated Instrument Lab (SIL), Second floor, Main Building, CSIR-IMTECH | Shimadzu | GC-2010 |  | Government | CSIR | Pharmaceutical, Enviromental, Chemical and Biological | Sophisticated Instrument Lab (SIL) |  |  |  | Characterisation | Up
Fourier Transform Infrared Spectrometry (FTIR) | FT-IR | Sophisticated Instrument Lab (SIL), Second floor, Main Building, CSIR-IMTECH | Brucker | Vertex-70 |  | Government | CSIR | Pharmaceutical, Chemical and Biological | Sophisticated Instrument Lab (SIL) |  |  |  | Characterisation | Up
Differential Scanning Calorimetry (DSC) | DSC | MIL, 3rd floor, GNR Protein Science building, CSIR-IMTECH | Malvern | Microcal VP DSC |  | Government | CSIR | Biological | MIL-PC3 |  |  |  | Characterisation | Up
Analytical Ultracentrifuge (AUC) | AUC | MIL, 3rd floor, GNR Protein Science building, CSIR-IMTECH | Beckman Coulter | ProteomeLab XL-A |  | Government | CSIR | Biological | MIL-PC3 |  |  |  | Characterisation | Up
Surface Plasma Resonance (SPR) | SPR | MIL-1, 1st Floor, Main Building, CSIR-IMTECH | GE Healthcare | BIACORE 3000 |  | Government | CSIR | Biological | MIL-1 |  |  |  | Characterisation | Up
Sophisticated Flourimeters |  | MIL, 3rd floor, GNR Protein Science building, CSIR-IMTECH | PTI | QM40 |  | Government | CSIR | Biological | MIL-PC3 |  |  |  | Characterisation | Up
Rapid kinetics Stopped Flow instrument |  | MIL, 3rd floor, GNR Protein Science building, CSIR-IMTECH | SFM Biologics | BioLogic SFM 400F/Q |  | Government | CSIR | Biological | MIL-PC3 |  |  |  | Characterisation | Up
Spectropolarimeter | CD | MIL, 3rd floor, GNR Protein Science building, CSIR-IMTECH | JASCO | J-815 |  | Government | CSIR | Biological | MIL-PC3 |  |  |  | Characterisation | Up
Akta Protein Purification System Fast Protein Liquid Chromatography (FPLC) | FPLC | MIL, 3rd floor, GNR Protein Science building, CSIR-IMTECH | GE Healthcare | AKTA Purifier |  | Government | CSIR | Biological | MIL-PC3 |  |  |  | Characterisation | Up
High Performace Liquid Chromatography (HPLC) | HPLC | MIL, Main Building, CSIR-IMTECH | Shimadzu | Prominence HPLC |  | Government | CSIR | Pharmaceutical, Enviromental, Chemical and Biological | MIL |  |  |  | Characterisation | Up
Preparative High Performace Liquid Chromatography (Prep HPLC) | Prep HPLC | Peptide Synthesis facility lab, 3rd floor, GNR Protein Science building, CSIR-IMTECH | Agilent Technologies | 1260 infinity |  | Government | CSIR | Pharmaceutical, Enviromental, Chemical and Biological | Peptide Synthesis facility lab |  |  |  | Characterisation | Up
Small Angle X-ray Scattering (SAXS) | SAXS | SAXS lab, Ground Floor, Main Building, CSIR-IMTECH | Anton Paar | SAXSPACE |  | Government | CSIR | Biological | SAXS lab |  |  |  | Characterisation | Up