## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
500 MHz FT-NMR Spectrometer | NMR | QMC | BRUKER, Switzerland | AVANCE III |  | Government | CSIR | 5mm Multipurpose Broad band Probe with Automatic Tuning and Matching, Observation of 19F with 1H decoupling or observation of any nucleus from 31P to 15N. | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Fluorescence Spectrophotometer (FS) | FS | Bhatnagar | Horiba | Fluorlolog-3 |  | Government | CSIR | 450W ozone free steady state and UV Xenon arc lamp and pulsed XE Lamp for phosphorimetry placed in the same housing and required power supplies. An additional port for laser excitation of sample to be provided in the sample chamber. | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Atomic Absorption Spectrometer | AAS | QMC | Perkin Elmer | Aanalyst-700 |  | Government | CSIR | AAnalyst-700 is equipped with three modes namely HGA furnace, flame and cold vapour generating flow injection FIAS system. It can detect metals in PPM and PPB levels. | Analytical Chemistry Group |  |  |  | Research Equipment | Up
CCD Based Single Crystal X-ray Diffractometer (XRD) | XRD | ANG | Rigaku | Saturn 724+CCD |  | Government | CSIR | (a) Useful to determine 3D- structure of small Molecule. (b) Equipped with CCD Based SATURN 724 camera and Low Temperature attachment. (c) Temperature programmable with seven ramps and eight levels settable from 0.1-120 degree/ min. (d) Oven cool –down 450-50ᵒC in under 250 seconds. Digital pressure and flow control with gas saver. Maximum oven temperature 450ᵒC. Liquid and headspace auto sampler. Oven cool –down 350 to 50ᵒC in 270 seconds. Maximum oven temperature 350 ᵒC. | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Trace DSQ GCMS | GCMS | QMC | Thermo Fisher | Trace DSQ |  | Government | CSIR | The instrument is useful for qualitative and quantitative evaluation of wide range of volatile organic chemicals such as petroleum products, biochemical, synthetic and natural organic chemicals, evaluation of residual pesticides. It is also a useful tool for quality evaluation of essential oils and other perfumery chemicals. | Analytical Chemistry Group |  |  |  | Research Equipment | Up
GC Chromatograph | GCMS | QMC | Chemito | 1000 |  | Government | CSIR | Capillary and packed column configurations with 4 injectors and detector ports. Temperature range from -99°C to 450°C | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Ultra High Performance Liquid Chromatography (UHPLC) | UHPLC | QMC | Thermofisher | 3000 |  | Government | CSIR | HPLC has contributed to analytical solutions in diverse fields such as pharmaceuticals, foods, life sciences, environment, forensics, etc. | Analytical Chemistry Group |  |  |  | Research Equipment | Up
UV-VIS Spectrometer | UV | QMC | Analytik Jena AG | SPECORD-200 |  | Government | CSIR | UV-Visible spectral analysis | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Fourier transform Infrared Spectroscopy (FTIR Instrument) | FTIR | QMC | Perkin Elmer | Spectrum 100 |  | Government | CSIR | FTIR, FT-NIR, and FT-MIR analysis | Analytical Chemistry Group |  |  |  | Research Equipment | Up
CHN Analyser | CHN | QMC | Perkin Elmer | PE 2400 Series II |  | Government | CSIR | Determination of the carbon, hydrogen, nitrogen, sulfur or oxygen content in organic and other types of materials. It has the capability of handling a wide variety of sample types in the field of pharmaceuticals, polymers, chemicals, environmental and energy, including solids, liquids, volatile and viscous samples. | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Optical Microscope (OM) | OM | QMC | Oympus | BX51P |  | Government | CSIR | The BX51P polarizing microscope is an investigative tool for the identification of isotropic and anisotropic materials, forensic analysis, thin film/polymer/crystal identification, and extraneous particulates | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Potentiostat/Galvanostat | CV | QMC | Gamry Instruments | Reference 3000 |  | Government | CSIR | High-performance potentiostat/galvanostat/ZRA recommended for battery, capacitor, or fuel cell development, as well as general electrochemical measurements requiring higher currents | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Langmuir Blodgett Trough Instrument (LB) | LB | QMC | Kibron | MicroThroughX |  | DBT | DBT | Surface chemistry experiments, Controlled deposition, tensiometric measurements | Analytical Chemistry Group |  |  |  | Research Equipment | Up
Digital (Electronic) Triaxial Shear Test Apparatus |  | Applied Civil Engg. Laboratory, CSIR-NEIST, Jorhat 785006, Assam | HEICO (Hydraulic & Engineering Instruments, New Delhi 110028) | HS26.35, HS28.05, HS28.35, HS28.118, HL102.05, HS28.140(Spl.), HS28.580 |  | In-House | CSIR-NEIST | Digital (Electronic) Triaxial Shear Test Apparatus is used for determination of shear strength parameters and stress path system for soil. | Applied Civil Engg. Laboratory |  |  |  | Research & Development | Up
Constant Stress Rheometer | Rotational Viscometer | AMG-MSTD;CSIR-NEIST Jorhat | Anton Paar | Rheolab QC |  | Government | NETWORK PROJECT-CSIR-N-DELHI | Used for determination of flow properties of liquids and dispersions | Advanced Materials Group |  |  |  | Analytical Equipment | Up
GAS CHROMATOGRAPH (GC) | GC | AMG-MSTD;CSIR-NEIST Jorhat | Chemito India | Chemito 1000 |  | Government | NETWORK PROJECT-CSIR-N-DELHI | Used for for carrying out analysis of toxic gases | Advanced Materials Group |  |  |  | Analytical Equipment | Up
DTA-TGA-DSC Equipment | Thermal Analyser | AMG-MSTD;CSIR-NEIST Jorhat | TA Instruments USA | Q 600 |  | Government | NETWORK PROJECT-CSIR-N-DELHI | Used for for carrying out thermal analysis of materials | Advanced Materials Group |  |  |  | Analytical Equipment | Up
X-ray Diffractometer (XRD) | XRD | AMG-MSTD;CSIR-NEIST Jorhat | Rigaku, Japan | ULTIMA IV |  | Government | NETWORK PROJECT-CSIR-N-DELHI | Maximum rated output 3 kW. Bragg-Brentano and parallel beam optics depsnding on the application and easy changeover from BB to PB. 2θ measuring range (-3 to 162° (maximum). XRD data acquisition software PDXL is included. Nanosolver software for the SAXS ananlysis | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Particle Size Analyzer (PSA) | PSA | AMG-MSTD;CSIR-NEIST Jorhat | Malvern UK | Mastersizer 2000 |  | Government | NETWORK PROJECT-CSIR-N-DELHI | Particle size range : 0.02 to 2000 µm, Dual Laser source: He-Ne Laser red light and solid blue light laser to cover total measurement range. Uses Fraunhoffer and Mie scattering. | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Planery Micro Mill | Ball Mill | AMG-MSTD;CSIR-NEIST Jorhat | Fritsch Germany | Pulverisette 7 Prmium |  | Government | NETWORK PROJECT-CSIR-N-DELHI | Plenery ball mil two two grinding station. Bowl size 45 mL capacity. Rotation speed from 200 to 2000 rpm. | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Centrifuge | HERMLE | AMG-MSTD;CSIR-NEIST Jorhat | Hermle, Germany | Z36HK, Hermle |  | Government | External Funded | Max Speed 30000 rpm, temp: -20 oC to +40 oC, Volume 6x250 mL | Advanced Materials Group |  |  |  | Analytical Equipment | Up
High Pressure Reactor | High Pressure Reactor | AMG-MSTD;CSIR-NEIST Jorhat | Parr Bench Top Micro Reactor | 20314 |  | Government | External Funded | Hydrogenation or carbonylation can be performed at 20 bar pressure | Advanced Materials Group |  |  |  | Analytical Equipment | Up
GAS CHROMATOGRAPH (GC) | GC | AMG-MSTD;CSIR-NEIST Jorhat | Thermo Fisher | Trace 1300 |  | Government | CSIR | Flame Ionization Detector, Capillary Column | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Fourier Transform Infrared Spectrophotometer (FTIR) | FTIR | AMG-MSTD;CSIR-NEIST Jorhat | Shimadzu, Japan | IR Affinity-1 |  | Government | CSIR | Obtaing high spetral resolution data | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Field Emission Scanning Electron Microscope (FESEM) | FE-SEM | AMG-MSTD;CSIR-NEIST Jorhat | Carl Zeiss | Sigma |  | Government | CSIR | Microstrutural Characterization | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Ultra Violet-Visible Spectrophotometer (UV-Vis) | UV-Vis | AMG-MSTD;CSIR-NEIST Jorhat | Shimadzu, Japan | UVPC-1800 |  | Government | CSIR | Absorption Measurement | Advanced Materials Group |  |  |  | Analytical Equipment | Under Maintenance
Surface Area Analyzer | BET and Pore Size Analyzer | AMG-MSTD;CSIR-NEIST Jorhat | Quantachrome, USA | Autosorb-IQ |  | Government | CSIR | Surface area and pore size determination | Advanced Materials Group |  |  |  | Analytical Equipment | Up
High Resolution Transmission Electron Microscope (HRTEM) | HRTEM | AMG-MSTD;CSIR-NEIST Jorhat | Jeol | JEM 7610F |  | Government | CSIR | Microstrutural Characterization | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Atomic Force Microscope (AFM) | AFM | AMG-MSTD;CSIR-NEIST Jorhat | Nanomagnetics | hpAFM |  | Government | CSIR | Microstrutural Characterization | Advanced Materials Group |  |  |  | Analytical Equipment | Up
Electrochemical Analyzer | CV | AMG-MSTD;CSIR-NEIST Jorhat | Gamry Instruments | Interface 1000 |  | Government | CSIR | Qualitative information about electrochemical processes | Advanced Materials Group CSIR-NEIST Jorhat |  |  |  | Analytical Equipment | Up
Gel Documentation System (DGS) | DGS | CSIR-NEIST Branch Itanagar | BioRad | XR+ |  | Government | DST-SERB | Gel Documentation System along with DeskTop Computer | Branch Laboratory-Itanagar |  |  |  | Biological Sciences | Up
Multiskan Go Thermo System | MultiGo | CSIR-NEiST Branch Ita Thermo fisher | Thermo Fisher | 51119200 |  | Government | DST-SERB | Multiskan Go Thermo System Rs.6,366/- | Branch Laboratory-Itanagar |  |  |  | Research Equipment | Up
U-High Performance Liquid Chromatoghraphy (UHPLC) | U-HPLC | NEAT Facility | Dionex Softron GmbH | U-3000 |  | FAC-0009 | FAC-0009 | U-HPLC | Chemical Science & technology Division |  |  |  | Research Equipment | Down
Ion Chromatoghraphy (IC) | IC | NEAT Facility | Metrohm | Ion Chromatoghraphy |  | FAC-0009 | FAC-0009 | Ion Chromatoghraphy | Chemical Science & technology Division |  |  |  | Research Equipment | Under Maintenance
Automated Solvent Extractor (ASE) | ASE-150 | NEAT Facility | Dionex Softron GmbH | ASE-150 |  | FAC-0009 | FAC-0009 | ASE-150 | Chemical Science & technology Division |  |  |  | Research Equipment | Up
Lyfolyzer |  | NEAT Facility | Labcono |  |  | BSc-105 | DBT | Lyfolyzer | Chemical Science & technology Division |  |  |  | Research Equipment | Under Maintenance
Polarimeter |  | NPCG/LAB-1 | Rudalph Research Analytical,USA | AP-I, S2 |  | P-5(3), P-07 | LAB FUND | Polarimeter | Chemical Science & technology Division |  |  |  | Research Equipment | Up
Combiflesh | Combiflesh Rf 200 | NPCG/LAB-1 | Teledyne ISCO |  |  | TLP-002 | NIMITLY | Teledyne | Chemical Science & technology Division |  |  |  | Research Equipment | Up
Orion Benchtop for analysis |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Ciras-2 Portable Differential CO2/H2O Gas Analyzer |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Micro Processor controlled Refrigerated High speed table top centrifuge |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
UV-VIS Spectro Photometer |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
2D Gel ElECTRO Phoresis with accessories |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Refrigerated High speed Table Top Centrifuge |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Olympus upright microscope along |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Double Spectrometer |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Liquid Chromatograph system |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Water quarterman Gradient HPLC system |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Liquid Chromatography system for Protein analysis |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
OLYMPUS TRINOCULAR RESEARCH MICROSCOPE |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Fourier Transform Infrared Spectroscopy (FT IR Spectrophotometer) |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Trinocular Research Microscope LICA |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Biospectrometer |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
SPECTROPHOTOMETER |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
Fluorescence Activated Cell Sorter(FACS) |  | Biotechnology |  |  |  | Government | CSIR |  | Biotechnology Division |  |  |  | Research Equipment | Up
High Temperature Gel Permeation Chromatography |  | PPCC GP | M/S Malvern Pvt Ltd | HT-GPCModule 350B |  | Government | CSIR | Molecular weight | PPCC GP |  |  |  | Research Equipment | Up
MCR Rheometer 302 |  | PPCC GP | M/S Anton Paar GmbH, Austria | MCR 302 |  | Government | CSIR | Viscosity | PPCC GP |  |  |  | Research Equipment | Up
MCR 500 Modular compact rheometer |  | PPCC GP | M/S PaarPhysica, Gemany | MCR 500 |  | Government | CSIR | Viscosity | NEIST |  |  |  | Research Equipment | Up
Thermo Gravimetric Analyzer (TGA) |  | PPCC GP | M/S TA Instruments | SDT Q600 |  | Government | CSIR | Thermal properties | PPCC GP |  |  |  | Research Equipment | Up
Micro carbon residue tester |  | PPCC GP | M/S Tanaka Pvt Ltd | ACR M3 |  | Government | CSIR | Carbon Residue | PPCC GP |  |  |  | Research Equipment | Up
Seta Copper Corrosion Bath |  |  | M/S Stanhope SETA, UK | 11365-2T |  | Government | CSIR | Copper Corrosion | NEIST |  |  |  | Research Equipment | Up
Rancimat Professional Biodiesel 893 |  | PPCC GP | M/S Metrohm ,Switzerland | - |  | Government | CSIR | Oxidation stability | PPCC GP |  |  |  | Research Equipment | Up
High Pressure High Temperature Reactor |  | PPCC GP | M/S Berghof Products GmbH, Germany | BR300 |  | Government | CSIR | Polymer reaction | PPCC GP |  |  |  | Research Equipment | Up
High Pressure High Temperature Reactor |  | PPCC GP | M/S AMAR Equipment PVT. Ltd | AUJ 1238 |  | Government | CSIR | Polymer reaction | PPCC GP |  |  |  | Research Equipment | Up
Seta Multiflash Flash Point Unit |  | PPCC GP | M/S Stanhope SETA,UK | 34000-0U |  | Government | CSIR | Flash point | PPCC GP |  |  |  | Research Equipment | Up
UV VIS-NIR Spectrophotometer |  | PPCC GP | M/S Perkin Elmer | Lamda 900 |  | Government | CSIR | UV Spectra | PPCC GP |  |  |  | Research Equipment | Up
Syncore Polyvap |  | PPCC GP | M/S High Tech Engineering, Germany |  |  | Government | CSIR | Polymerization | PPCC GP |  |  |  | Research Equipment | Up
Thermo Gravimetric Analyzer (TGA) |  |  | M/S Lecorp | TGA-701 |  | Government | CSIR |  | NEIST |  |  |  | Research Equipment | Up
Gas Chromatography (GC) |  |  | M/S CHEMITO | GC 8610 |  | Government | CSIR |  | NEIST |  |  |  | Research Equipment | Up
Simultaneous Thermal Analyzer |  |  | M/S Netzsch | STA449F3 |  | Government | CSIR |  | NEIST |  |  |  | Research Equipment | Up
Ion Chromatoghraphy |  |  | M/S Metrohn | 882 Compact IC-14103 |  | Government | CSIR |  | NEIST |  |  |  | Research Equipment | Up
Coal Based Gasifier |  |  | M/S Canon Exports ( Hi-tech Engineering) |  |  | Government | CSIR |  | NEIST |  |  |  | Research Equipment | Up
High Pressure Reactor |  |  | M/S PARKER HINNIFIN CORP |  |  | Government | CSIR |  | NEIST |  |  |  | Research Equipment | Up
Detector Meter for CO, CO2, H2S, NO2 and CH4 |  |  | M/S Testo | Testo 350 |  | Government | CSIR |  | NEIST |  |  |  | Research Equipment | Up
Confocal Laser Scanning Microscopy | CLSM | Central Instrumentation Facility, Bhatnagar Building, CSIR-NEIST Jorhat | Leica Microsystems, Germany | Leica TCS SP8 |  | Government | CSIR | Bright field, Fluorescence and differential interface contrast (DIC) illumination with facility for confocal scan head attachment. The detection unit is a combination of 2 PMT & 3 GaAsP/HyD. The scan head should be able to perform fast dynamic live cell time lapse imaging with ROI capability with a high speed of 100-300 fps or better @512X32 resolution OR scan speed should be 7-10fps or better @512X512 resolution. Lasers: Pre aligned Solid State/ Gas State laser module with laser lines of Multi-line Ar laser with 458/488/514nm; DPSS 561 nm; HeNe 633 nm; Blue Diode Laser 405/408nm. Microsocpe is equipped with either peizo stage or bidirectional galvo stage for fastest possible Z sections, with travel range of at least 100 microns or better for fast imaging in Confocal and SR mode. | CSIR-NEIST, Jorhat-785 006, Assam |  |  |  | R & D | Up
Emission Scanning Electron Microscopy (SEM) | FESEM | Central Instrumentation Facility, Bhatnagar Building | Carl ZEISS Microscopy, Germany | ZEISS, SIGMA |  | Government | CSIR | FESEM-IMAGE.EDX. Elemental Mapping | Materials Science and Technology Division |  |  |  | Research Equipment | Up
Fluorescence Activated Cell Sorter (FACS) & Flow Cytometry | FACS | Central Instrumentation Facility, Bhatnagar Building | Beckman Coulter, USA | MoFlo XDP&CytoFLEX S |  | Government | CSIR | Lasers - Lasers have fixed optical bench and lasers with wavelength ranges from minimum of 488nm to 633nm with 3 lasers such as 488nm Blue laser; 561 YG laser and 633 Red laser. System is capable of simultaneous operation of all the quoted lasers. The system has provision for future upgradability with more lasers. Parameters: - Provided with Forward Scatter, Side Scatter & simultaneous 09 or more colors/ fluorescence detectors. - Has got fixed align/ minimum align optical arrays of octagon and trigons, Jet in Air technology - Analysis speeds of up to 100,000 events / second - Exhibits sorting speeds of up to 70,000 events / second - Fluidics cart includes sheath, waste, and cleaning containers - ACDU module provided with automated sorting into 6, 24, 48, 96, and 384-well plates and slides - Contain sample injection chamber for various sample input tubes, including microtubes, 12 x 75-mm, and 15 ml tubes - Nozzle size in the range of 70, 85, 100, and 130-micron sizes - Purity: 98% post sorting | NEIST |  |  |  | Research Equipment | Up
Carbon – Sulphur Analyzer for solid sample |  | Central Instrumentation Facility, Bhatnagar Building | Bruker Elemental Gmbh, Germany | G4HF, Combustion Analyzer G4LRUS HF |  | Government | CSIR | (a) Measuring range: Carbon: 0.0001 - 6 % Sulphur: 0.0001 - 0.5 % (Depending on sample material and weight) (b) Nominal Sample Weight: 0.5 - 1.0 g (c) Analysis time:Approx. 40 s (Depending on sample material and weight ) (d) Resolution:0.1 ppm (e) Repeatability:Carbon: ± 2 ppm or 0.5 %RSD (whichever is greater) Sulphur: ± 2 ppm or 1. 0 %RSD (whichever is greater) Depending on purity of carrier gas, crucibles and accelerator (f) Carrier Gas: Oxygen 99.95 % purity, 3.5 bar (~50 psi) min. pressure (g) Compressed Air: 5 bar (~72.5 psi) min. pressure, must be oil-, water- and particle-free. (h) Dimensions & Weight: 630 x 640 x 480 mm (WxDxH); 75 kg 24.8 x 25.2 x 18.9 inches; 165.3 lbs. Height overall: 770 mm, 30.3 inches (incl. cleaning device). Depth overall: 770 mm, 30.3 inches (incl. HF furnace). | NEIST |  |  |  | Research Equipment | Up
Powder X-Ray Diffrctrometer (XRD) |  | Central Instrumentation Facility, Bhatnagar Building | Rigaku, Japan | ULTIMA IV |  | Government | CSIR | X-ray diffraction (XRD) is one of the most important non-destructive tools to analyze all kinds of matter—ranging from fluids, to powders and crystals. XRD is an indispensable method for materials characterization from basic lab scale research to production and engineering X-ray diffraction techniques are used for the identification of crystalline phases of various materials and the quantitative phase analysis subsequent to the identification. X-ray diffraction techniques are superior in elucidating the three-dimensional atomic structure of crystalline solids. The properties and functions of materials largely depend on the crystal structures. X-ray diffraction techniques have, therefore, been widely used as an indispensable means in materials research, development and production. The Bragg equation, nλ = 2dsinθ is one of the keystones in understanding X-ray diffraction. Where n is an integer, λ is the characteristic wavelength of the X-rays impinging on the crystallize sample, d is the interplanar spacing between rows of atoms, and θ is the angle of the X-ray beam with respect to these planes. When this equation is satisfied, X-rays scattered by the atoms in the plane of a periodic structure are in phase and diffraction occurs in the direction defined by the angle θ. In the simplest instance, an X-ray diffraction experiment consists of a set of diffracted intensities and the angles at which they are observed. This diffraction pattern can be thought of as a chemical fingerprint, and chemical identification can be performed by comparing this diffraction pattern to a database of known patterns. | NEIST |  |  |  | Research Equipment | Up