## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
X-Ray Diffractometer (XRD) | XRD | PMN Bldg., Gr. Flr., Room no. 04 | Rigaku Corp. Japan | Ultima IV |  | Government | CSIR | X-Ray Diffractometer is used for phase identification of minerals in Geology. The working principle is based on Bragg's relation: nλ=2d sin θ | Gelogical Oceanography Division, XRD Lab. |  |  |  | Analytical | Up
Alpha Spectrometer |  | Geological Oceanography Division, Ground floor, Room No. 145 | ORTEC | ALPHA-ENSEMBLE- 8 |  | Government | CSIR | ALPHA-ENSEMBLE-8, 8 Input benchtop spectrometer, ion implanted detectors, portable pump and software | Geological Oceanography Division/Geochronology lab |  |  |  | Analytical | Up
Laser Partilce Size Analyzer (LPSA) | LPSA | XB-2-04 | Malvern Instruments Ltd | Masersizer 2000 |  | Government | CSIR | for particle size determination | Geological Oceanography Division (GOD) |  |  |  | Sedimentology | Up
Isotope Ratio Mass Spectrometer (IRMS) | IRMS | Common Analytical Facility | Thermo | Delta V Plus and Kiel IV |  | Government | CSIR | used in measurement of O and C isotopes from carbonates | IRMS Lab |  |  |  | Analytical | Down
Inductively Coupled Plasma Optical Emission Spectrometry (ICPOES) | ICP-OES | Geochemistry lab | Perkin Elmer | OPTIMA 7300DV |  | External |  | MOES | GOD |  |  |  | Geochemistry | Down
Spinner Magnetometer | JR 6A- Spinner Magnetometer | CSIR-NIO Goa | AGICO | JR 6A |  | Government | CSIR | The spinner magnetometer is used for measuring the remanenent magnetization in sediments, soil and rock samples. The instruments operate by rotating a rock specimen at a constant angular speed in the pick-up unit inside a pair of Helmholtz coils. Inside the coils an AC voltage is induced whose amplitude and phase depend on the magnitude and direction of the remanent magnetization vector | Paleomagnetic Lab, PMN, GOD, NIO |  |  |  | Magnetic | Up
Multi Sensor Core Logger (MSCL) | MSCL | CSIR-NIO, Goa | GEO-TEK | MSCL-61 |  | Government | CSIR | MSCL is issued for measuring the physical properties (bulk density, porosity, p-wave velocity, magnetic susceptibility, resistivity of marine sediment cores through logging of whole round and split sediment cores upto 150 mm diameter. The system also enables colour imaging of sediment cores. This is suitable for logging of whole round and Split Cores upto 150 mm diameter. The System comes complete with the Automatic Core Measuring System using a laser Detector, the Complete windows based logging and processing software as well as a vibration limiting rack mounted Personal Computer. | MSCL Lab, PMN Building GOD, NIO |  |  |  | Measurement | Under Maintenance
Ion Chromatography System (IC) | IC | CSIR-NIO, Goa | DIONEX | DIONEX-ICS-5000 |  | Government | CSIR | The IC system is used to analyze cations, anions and trace metals in varity of samples e.g. aerosols, ground water, river and lake waters. | IC Lab |  |  |  | Analytical | Up
Micro Pulse Lidar System (MPL) | MPL |  | M/s Sigma Space Corp. USA: | MPL-4B-IDS-532-AT |  | Government | CSIR | Micro Pulse Lidar (MPL) is used to monitor the vertical profile of air column ( upto 25km). It operates at the wavelength of 532 nm with high pulse repletion frequency 2500 Hz with low pulse energy 6-8 µj and pulse length 9.3 ns. MPL consists of an optical transceiver unit, laser power supply and computer. The transceiver houses the laser transmitter, and the photon counting detection system. A telescope of 7-8 inches diameter with field of view 81.71 µrad is used for transmitting and receiving the laser pulses. The range resolved signal is collected and displayed in real time on the data acquisition computer. The transceiver is mounted on a swivel mechanism that is useful for the elevation adjustment for vertical or off-zenith measurements. | CSIR-NIO |  |  |  | Research Equipment | Down
Scanning Electron Microscopy (SEM) | SEM | GOD | JEOL | JSM-IT300 |  | Government | CSIR | SEM is used for a scans of a focused electron beam over a surface to create an image. Magnification x5 to 300,000 | GOD/ SEM LABORATORY - CSIR-NIO |  |  |  | Characterization | Up
Electron Probe Micro Analyser (EPMA) | EPMA | GOD | CAMECA | SX FIVE |  | Government | CSIR | Used for the in situ non-destructive chemical analysis of minute solid samples. | GOD/ EPMA LABORATORY - CSIR-NIO |  |  |  | Research Equipment | Up
Fourier Transform Infrared Spectroscopy (FTIR) | FTIR | CSIR-NIO | Shimadzu | IR tracer 100 |  | Government | MOES | Fourier spectra | GOD |  |  |  | Research Equipment | Up
Gas Chromatography Mass Spectroscopy (GCMSMS) | GC-MS-MS | CSIR-NIO | Shimadzu | TQ 8040 |  | Government | MOES | Organic compounds identification | GOD |  |  |  | Research Equipment | Up
Isotope Ratio Mass Spectrometry (IRMS) | IRMS | CSIR-NIO | Thermo | Delta V+ |  | Government | MOES | Isotope ratio determination | GOD |  |  |  | Research Equipment | Under Maintenance
Inductively Coupled Plasma Mass Spectrometry (ICPMS) | ICP-MS | CSIR-NIO | ICAP Q |  |  | Government | MOES | Elemental concentration measurements | GOD |  |  |  | Research Equipment | Up
Multi Collector Inductively Coupled Plasma Mass Spectrometry (MCICPMS) | MC-ICP-MS | CSIR-NIO | Nu plasm3 |  |  | Government | CSIR | Elemental ratio measurements | GOD |  |  |  | Research Equipment | Up
X-Ray Fluorescence Spectrometer (XRF) | XRF | Room No.3, Ground Floor, PMN Building | Malvern Panalytical | Axios |  | Government | CSIR | Determination of Major oxide concentrations in Geological samples | Geological Oceanography Division (GOD) |  |  |  | Geochemistry | Up
High Resolution Iinductively Coupled Plasma Mass Sepectrometer (HRICPMS) | HR-ICP-MS | CSIR-NIO | Nu Instruments | Attom ES |  | Government | CSIR | HR-ICP-MS with Laser ablation and SEAFAST accessories. | Central Analytical Facility |  |  |  | Analytical | Up
BD Jazz Flow Cytometer | BD FACS | NIO RC Kochi | Becton Dickinson | BD FACS JAZZ |  | Government | Ministry of Earth Sciences | Bench top cell sorter | CSIR-NIO RCK (Kochi Regional Centre) |  |  |  | Research Equipment | Up
Realtime PCR (RTPCR) | RT PCR | NIO Regional centre,Kochi | Roche Diagnostics | Light Cycler 96 |  | Government | Department of Biotechnology | System support applications including absolute quantitation, simultaneous analysis data for relative quantitation of 10 or more plates of 96 wells each, multiplex-PCR, allelic discrimination (SNP), dissociation curve analysis as well as pathogen detection and plus/minus assay using internal positive control. | CSIR-NIO RCK |  |  |  | Research Equipment | Up
Microbial Identification System (MIS) | MIS | NIO Regional centre,Kochi | Agilent | 6890N |  | Government | Minsitry of Earth Science(MoES) | Mircobial identification system using fatty acid profile of microorganism | CSIR-NIO RCK |  |  |  | Research Equipment | Up
Microplate Reader | Microplate Reader | NIO Regional centre,Kochi | BIOTEK instruments | Synergy Mx |  | Government | CSIR | A scanning type multimode Microplate detection system with in built cuvette ports and top- and bottom plate reading and nano drop reading capabilities. The system should include the detection modes such as absorbance (UV-Vis), Fluorescence intensity, Time resolved fluorescence (TRF) and Luminescence with Luminescence spectral scanning. | CSIR-NIO RCK |  |  |  | Research Equipment | Down
Epiflourescence Microscope | Epiflourescence Microscope | NIO Regional centre,Kochi | Olympus | B071 |  | Government | MOES | Upright microscope with UV lamp | CSIR-NIO RCK |  |  |  | Research Equipment | Up
Liquid Scintillation Counter System (LSC) | LSC | Radio-Isotope laboratory; Basement of the New Biology Wing | PERKINELMER SINGAPORE PTE. LTD | TRI-CARB 2910 TR/PERKINELMER |  | Government | MoES Project (SIBER-INDIA) | A scintillation counter is a device used for detecting and measuring ionizing radiation.Purpose of this laboratory is to carry out multi-disciplinary observations in the seas around India to understand oceanographic processes, some of which require the applications of isotopes technique(s) | Biological Oceanography Division |  |  |  | Research Equipment | Up
Flow Cytometer | FCM | Plankton Ecology Laboratory; Biology Department; Floor -1 | M/S BECTON DISCKINSON AND COMPANY, SINGAPORE | FACS-CALIBUR |  | Government | CSIR | FCM is an automated instruments that quantitate properties of single cells, one cell at a time. It can be used to enumerate, measure cell size, cell granularity, the amounts of cell components such as total DNA etc. This instrument is with low end cell sorter to sort cell(s) of interest into a separate containers based on the properties of each cell (NOTE: this sorting module is non-functional as of now). | Biological Oceanography Division |  |  |  | Research Equipment | Down
Gas Chromatograph (GC) | GC-MIDI | Room 55, BOD, CSIR_NIO | Agilent Technologies | 7890A |  | Government | CSIR | Gas Chromatograph with Autosampler and Flame Ionization Detector | Biological Oceanography Division |  |  |  | Research Equipment | Up
HPLC System | HPLC | NIO, Donapaula Goa | Agilent | G1311B |  | Government | CSIR | High Performance Liquid Chromatograph G1311B | Biological Oceanography Dept, NIO, Donapaula |  |  |  | Research Equipment | Up
Continuous Flow Analyzer | Auto-analyzer | NIO, Donapaula Goa | Skalar analytical (Netherlands) | 5000 |  | Government | CSIR | Fully automated Continuous Flow analyzer for wet chemistry (autoanalyzer) | Biological Oceanography Dept, NIO, Donapaula |  |  |  | Research Equipment | Up
Genetic Analyzer 3130XL | DNA Sequencer | BOD | Applied Biosystems | 3130xl |  | Government | CSIR | Applied Biosystems 3130xl Genetic Analyser (16 Capillary) with data collection and Sequence analysis softwares | BOD/CSIR-NIO |  |  |  | Research Equipment | Up
Flowcytometer | Flowcytometer | CSIR-NIO/BBD | BD | FACS ARIA II |  | Government | CSIR | Benchtop Flowcytometer with high speed sorter, equipped with three lasers, 11 parameters; forward and side scatter with fluorescence detectors. | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
Confocal Microscope | Confocal microscope | CSIR-NIO/BBD | OLYMPUS | FV1000 |  | Government | CSIR | Motorized FV1000 Olympus microscope, fluorescence attachment, scanning and detection channels, with lasers from 405 nm to 561nm | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
TOC Analyzer | TOC Analyzer | CSIR-NIO/BBD | SHIMDZU | TOC LCPH |  | Government | CSIR | Shimadzu make TOC analyser TOC LCPH: Analytes; TC, IC and TOC by subtraction method, high temperature combustion NDIR, Analyser range TC: 4 ppb to 25,000 ppm, automatic sample injection | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
MALDI-TOF | MALDI-TOF | CSIR-NIO/BBD | Bruker | Ultraflextreme |  | Government | CSIR | Mass spectrometer with smart beam II laser, TOF analysis for linear and reflection mode, up to 1 kHz data acquisition speed, Maldi perpetual ion source. | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
Portable Colour Fluid Imaging System | FlowCAM | CSIR-NIO/BBD | Fluid Imaging Technologies | FlowCAM |  | Government | CSIR | Portable FlowCAM for rapid particle detection and image capture, equipped with 532 nm solid state green laser | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
Auto Analyser | Auto analyser | CSIR-NIO/BBD | SKALAR | Analyse SKALAR |  | Government | CSIR | SKALAR continuous flow analyser for the analyses of Nitrate and Nitrite, Ammonia, orthophosphate, silicate, urea in seawater, UV module for analyses of UV nitrogen or total UV phosphate | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
High Performance Liquid Chromatography (HPLC) | HPLC | CSIR-NIO/BBD | AGILENT | G1354A |  | Government | CSIR | AGILENT make HPLC with 1200 quaternary pump with degasser, solvent cabinet, 1200 series DAD, 1200 series RID, auto sampler, thermostat for high performance auto sampler, HPLC 2D Chemstation | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
High Speed Cell Sorter | FlowCytometer | CSIR-NIO/BBD | BD | FACS ARIA Fusion |  | Government | CSIR | BD Facs Aria Fusion 3 laser high speed cell sorter, fixed optical bench with pre-aligned lasers, cuvette flow cell based sorter, 11 parameters, forward and side scatter; 9 colours, two and four way sorting | Biofouling and Bioinvasion Division |  |  |  | Research Equipment | Up
Mass Spectrometer | Aglient UHD LC MS QTOF | CSIR- NIO, Goa | AGILENT (Agilent Technologies) | G6538AA |  |  |  | Proteomics and small molecule analyzing platform | Biological Oceanography Division |  |  |  | Research Equipment | Under Maintenance
Photobioreactor |  | CSIR- NIO | Eppendorf | BioFlo 115 |  | Government | CSIR | Growing microbial cells and algae in controlled lab condition - 10 lit capacity | Biological Oceanography Division |  |  |  | Research Equipment | Up