## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Instrumented impact test facility |  | Advanced Seismic Testing and Research Laboratory | Instron, Italy | CEAST 9350 |  | Government | CSIR | Structural Components | Theoretical and Computational Mechanics Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±50 kN |  | Steel Structures Laboratory | Instron, UK | Servo‐controlled fatigue rated actuator |  | Government | CSIR | Structural Components | Steel Structures Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±50 kN |  | Fatigue & Fracture Laboratory | MTS, USA | Model 244.21, Linear actuator, Stroke ± 125 mm, Force ± 50 kN |  | Government | CSIR | Structural Components | Fatigue & Fracture Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±100 kN |  | Fatigue & Fracture Laboratory | MTS, USA | Model 244.22, Linear actuator, Stroke ± 125 mm, Force ± 100 kN |  | Government | CSIR | Structural Components | Fatigue & Fracture Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±250 kN |  | Special and Multi-functional Structures Laboratory | MTS, USA | 505.60 (HPU) FlexTest 60 (controller) |  | Government | CSIR | Structural Components | Special and Multi-functional Structures Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±500 kN |  | Special and Multi-functional Structures Laboratory | MTS, USA | 505.60 (HPU) FlexTest 60 (controller) |  | Government | CSIR | Structural Components | Special and Multi-functional Structures Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±500 kN |  | Fatigue & Fracture Laboratory | Instron, UK | Model 3375, Linear actuator, Stroke ± 50 mm |  | Government | CSIR | Structural Components | Fatigue & Fracture Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±1000 kN |  | Fatigue & Fracture Laboratory | Instron, UK | Model 3375, Linear actuator, Stroke ± 50 mm |  | Government | CSIR | Structural Components | Fatigue & Fracture Laboratory |  |  |  | Characterization | Up
Servo hydraulic actuator ±2000 kN |  | Fatigue & Fracture Laboratory | Saginomiya Seisakusho Inc., Japan | Model SLT-200, Linear actuator, Stroke ± 140 mm |  | Government | CSIR | Structural Components | Fatigue & Fracture Laboratory |  |  |  | Characterization | Up
Servo hydraulic Universal Testing Machine (UTM) 25 kN | UTM | Special and Multi-functional Structures Laboratory | Instron, UK | 8872 (controller) |  | Government | CSIR | Structural Components | Special and Multi-functional Structures Laboratory |  |  |  | Characterization | Up
Servo hydraulic Universal Testing Machine (UTM) 250 kN | UTM | Advanced Materials Laboratory | MTS, USA | Model 318.50, Linear actuator, Stroke ± 75 mm |  | Government | CSIR | Structural Components / Specimen | Advanced Materials Laboratory |  |  |  | Characterization | Up
Servo hydraulic Universal Testing Machine (UTM) 500 kN | UTM | Fatigue & Fracture Laboratory | MTS, USA | Model 801, Linear actuator, Stroke ± 75 mm |  | Government | CSIR | Structural Components / Specimen | Fatigue & Fracture Laboratory |  |  |  | Characterization | Up
Servo hydraulic Universal Testing Machine (UTM) 2500 kN | UTM | Advanced Materials Laboratory | MTS, USA | Model 311.41, Linear actuator, Stroke ± 75 mm |  | Government | CSIR | Structural Components / Specimen | Advanced Materials Laboratory |  |  |  | Characterization | Up
Compression Testing Machine (CTM) | CTM | Advanced Materials Laboratory | Hungta | HT-831PC |  | Government | CSIR | Structural Components | Advanced Materials Laboratory |  |  |  | Characterization | Up
Compression Testing Machine (CTM) | CTM | Special and Multi-functional Structures Laboratory | Microtest S.A. Spain | ECH/3000/FR/4c/SCM |  | Government | CSIR | Structural Components | Special and Multi-functional Structures Laboratory |  |  |  | Characterization | Up
Tower Testing Facility |  | Tower Testing & Research Station | Captronics Systems, India | RTDC |  | Government | UNDP, CSIR | Structural Components | Tower Testing & Research Station |  |  |  | Characterization, Project Mode | Up
Seismic testing facility consisting of (i) Tri-axial Shake Table Testing facility-30T, 4mx4m, & 5T, 2mx2m (ii) Pseudo-dynamic Testing facility |  | Advanced Seismic Testing and Research Laboratory | Saginomiya Seisakusho Inc., Japan | Dynamic Servo |  | Government | Department of Atomic Energy & CSIR | Structural Components | Advanced Seismic Testing and Research Laboratory |  |  |  | Performance Evaluation, Project Mode | Up
X-Ray Diffractometer (XRD) |  | Advanced Materials Laboratory | Bruker, India | D2 Phaser |  | Government | CSIR | Material | Advanced Materials Laboratory |  |  |  | Characterization | Up
Thermo Gravimetric Analyzer (TGA) | TGA | Advanced Materials Laboratory | Netzsch Geratebau GmbH, Germany | STA449 F3 Jupiter |  | Government | CSIR | Material | Advanced Materials Laboratory |  |  |  | Characterization | Up
Zeta Potential Analyzer |  | Advanced Materials Laboratory | Aimil , India | Zen 3600 |  | Government | CSIR | Material | Advanced Materials Laboratory |  |  |  | Characterization | Up
Particle Size Analyser (PSA) | PSA | Advanced Materials Laboratory | Microtech, India | S3500 |  | Government | CSIR | Material | Advanced Materials Laboratory |  |  |  | Characterization | Down
Steam Curing Chamber |  | Advanced Materials Laboratory | Ultra Thermo Scientific, India | Walk-In Type |  | Government | CSIR | Structural Components | Advanced Materials Laboratory |  |  |  | Characterization | Up
Carbonation Chamber |  | Advanced Materials Laboratory | Ultra Thermo Scientific, India |  |  | Government | CSIR | Specimen | Advanced Materials Laboratory |  |  |  | Characterization | Up
Vibration Velocity Transducer |  | Wind Engineering Laboratory | B&K, Denmark | Set Type 3544 |  | Government | CSIR | Structural Components | Wind Engineering Laboratory |  |  |  | Characterization | Up