## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
500 MHz FT Nuclear Magnetic Resonance (FT-NMR) | FTNMR | CIF, CUG, Sector 30, Gandhinagar | Bruker | AV III 500 MHz | NA |  |  |  | 1H, 13C & 2D NMR analysis | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Electron Spectroscopy for Chemical Analysis (ESCA) | ECCA | CIF, CUG, Sector 30, Gandhinagar | Omicron | B002961 ESCA + Base System | NA |  |  |  | Determination of oxidation states, surface compound identification, detection of elements, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Inductively Coupled Plasma Optical Emission Spectrometer (ICP-OES) | ICP-OES | CIF, CUG, Sector 30, Gandhinagar | Perkin Elmer | 7300 DV | NA |  |  |  | Multi Elemental Analysis | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Powder X-ray Diffraction (P- XRD) | PXRD | CIF, CUG, Sector 30, Gandhinagar | Bruker | Bruker AXS D8 Focus | NA |  |  |  | Analysis of nature Sample crystallinity | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Single Crystal X-ray Diffraction (SC-XRD) | AFM | CIF, CUG, Sector 30, Gandhinagar | Bruker | AXS D8 VENTURE | NA |  |  |  | Analysis of structure of single crystal compound | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Atomic Force Microscope (AFM) | AFM | CIF, CUG, Sector 30, Gandhinagar | Park System | XE-70 | NA |  |  |  |  | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Scanning Electron Microscope (SEM) | SEM | CIF, CUG, Sector 30, Gandhinagar | Carl Zeiss | EVO 18 | NA |  |  |  | Morphological study of surface | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Scanning Electrochemical Microscope (SECM) | SECM | CIF, CUG, Sector 30, Gandhinagar | CH Instrument | CHI920D | NA |  |  |  | To determine the electrochemical behavior of liquid/solid, liquid/gas and liquid/liquid interfaces, etc | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Spectroscopic Ellipsometer | Ellipsometer | CIF, CUG, Sector 30, Gandhinagar | Horiba Scientific | UVISEL 2 | NA |  |  |  | Determination of dielectric properties of thin films etc | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Real Time - PCR (RT-PCR) | PCR | CIF, CUG, Sector 30, Gandhinagar | Applied Bio-system | AB 7500 | NA |  |  |  | The RT-PCR is mainly used to provide quantitative measurements of gene transcription, detection of specific gene sequences within a complex mixture. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Confocal Laser Scanning Microscope (CLSM) | CLSM | CIF, CUG, Sector 30, Gandhinagar | Zeiss | LSM 780 | NA |  |  |  | Morphological studies of a wide spectrum of living cells and tissues, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Fast Protein Liquid Chromatography (FPLC) | FPLC | CIF, CUG, Sector 30, Gandhinagar | GE Healthcare Biosciences | Akta Purifier | NA |  |  |  | Separation of various proteins, purification of plasmid DNA and RNA, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Fluorescence Microscope | Microscope | CIF, CUG, Sector 30, Gandhinagar | Olympus | BX 53 | NA |  |  |  | Used for imaging structural components of small specimens such as cells, conducting viability studies on cell populations, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
DNA Sequencer | Sequencer | CIF, CUG, Sector 30, Gandhinagar | Applied Bio-system | AB 3500 | NA |  |  |  | To determine the precise order of nucleotides within a DNA, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
High Speed Centrifuge | Centrifuge | CIF, CUG, Sector 30, Gandhinagar | Hitachi | CR22GXIII | NA |  |  |  | Separate substances of greater/ smaller density, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Ultra-Centrifuge | Centrifuge | CIF, CUG, Sector 30, Gandhinagar | Hitachi | CS120GXII | NA |  |  |  | Determine sedimentation velocity, shape and mass of macromolecules, isolate viruses, organelles, membranes and biomolecules etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Dynamic Light Scattering (DLS) | DLS | CIF, CUG, Sector 30, Gandhinagar | Metrohm | NPA152-31A-0000-000-90M | NA |  |  |  | Determination of size and zeta potential of particles | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Thermogravimetric/Differential Thermal Analysis (TG/DTA) | DTA | CIF, CUG, Sector 30, Gandhinagar | EXSTAR | TG/DTA7300 | NA |  |  |  | Determination of thermal stability | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Elemental Analyser (CHNS/O) | CHNS | CIF, CUG, Sector 30, Gandhinagar | Euro-vector | EURO EA 3000 | NA |  |  |  | Elemental Analysis | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Atomic Absorption Spectrophotometer (AAS) | AAS | CIF, CUG, Sector 30, Gandhinagar | Thermo Scientific | ICE3300 | NA |  |  |  | Elemental Analysis | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Gas Chromatography (GC) | GC | CIF, CUG, Sector 30, Gandhinagar | Thermo Scientific | GC CERES 800 Plus | NA |  |  |  | Analysis of organic compounds. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
High Performance Liquid Chromatography (HPLC) | HPLC | CIF, CUG, Sector 30, Gandhinagar | Perkin Elmer | FX-6 | NA |  |  |  | Used to identify, quantify or purify the individual components of the mixture, etc | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Fourier Transform Infrared Spectroscopy (FTIR) | FTIR | CIF, CUG, Sector 30, Gandhinagar | Perkin Elmer | SP-65 | NA |  |  |  | Determination of structure | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Differential Scanning Calorimetry (DSC) | DSC | CIF, CUG, Sector 30, Gandhinagar | Perkin Elmer | DSC 6000 | NA |  |  |  | Determine the crystallization and melting temperatures and phase transition energies for compounds, etc | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
UV-Visible Spectrophotometer | Spectrophotometer | CIF, CUG, Sector 30, Gandhinagar | Analytical | 2060+ | NA |  |  |  | Determination of different analytes such as transition metal ions, highly conjugated organic compounds, biological macromolecules, etc | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Polorimeter | Polorimeter | CIF, CUG, Sector 30, Gandhinagar | Anton Par | MCP 200 | NA |  |  |  | Measurement of the optical activity | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Potentiostat | Potentiostat | CIF, CUG, Sector 30, Gandhinagar | Metrohm | 1.848.0010- Titrino plus | NA |  |  |  | Analysis of reaction mechanisms related to redox chemistry and other chemical phenomena, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Refractometer Index (RI) | RI | CIF, CUG, Sector 30, Gandhinagar | Model: J257 Serial. No: 13760G |  | NA |  |  |  | For the measurement of an index of refraction | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Liquid Chromatography/Mass Spectrometry (LC/MS-QTOF) | QTOF | CIF, CUG, Sector 30, Gandhinagar | Agilent | Advanced version LC/MS – QTOF, | NA |  |  |  | Moleculer with High resolution | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
High Resolution Transmission Electron Microscope (HRTEM) | HRTEM | CIF, CUG, Sector 30, Gandhinagar | JEOL | JEOL JEM 2100 TEM HR LaB6 Version, | NA |  |  |  |  | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Brunauer Emmett Teller (BET) Surface Area Analyzer | BET | CIF, CUG, Sector 30, Gandhinagar | Thermo Scientific | Surfer System-Standard | NA |  |  |  | Surface area measurement | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Porosimeter | Porosimeter | CIF, CUG, Sector 30, Gandhinagar | thermo scintific | Pascal 140 series | NA |  |  |  | pore area measurment | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Ozone enerator | enerator | CIF, CUG, Sector 30, Gandhinagar | Thales Nano | Ozone Module | NA |  |  |  | Used to cleavage of an alkene or alkyne with ozone to form organic compounds, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Gel Permission Chromatography (GPC) | GPC | CIF, CUG, Sector 30, Gandhinagar | Shimadzu | SPD-20aLC-20AD, | NA |  |  |  | To determine the poly dispersity index, molecular weight, etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Total Organic Carbon (TOC) | TOC | CIF, CUG, Sector 30, Gandhinagar | Analytikjena | Multi N/C 3100 | NA |  |  |  | To determine the amount of carbon found in organic compound and used as a non-specific indicator of water quality, etc | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Fluorescence Activated Cell Sorting (FACS) | FACS | CIF, CUG, Sector 30, Gandhinagar | BD Biosciences | BD- FACS Aria | NA |  |  |  | Used to study cell number size, and type of fluorescent markers etc. | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in
Matrix-Assisted Laser Desorption/Ionization (MALDI-TOF) | MALDI-TOF | CIF, CUG, Sector 30, Gandhinagar | Bruker | Autoflex speed | NA |  |  |  | Protein identification and sequencing, Polysaccharide sequencing, Molecular weight determination, etc | Central Instrumentation Facility |  |  |  | up | Characterization | [7 empty] | cif@cug.ac.in