## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Fully Automatic vertical Autoclave | Fully Automatic vertical Autoclave | M. Sc. Lab II | Smita | SAUV-3 | SAUV-3 | DST | DST-PURSE PHASE-II |  | Capacity : 52 Ltr, Dimension : 35 X 55cm, Double body construction single chamber for water & steam externally covered by outer shell, Pressure up to 22psi , Factory set at 15 psi | Department of Microbiology | Autoclaving of Media | Rs.70,410.00/- | None | Working | Lab Equipment |  |  |  | Lab line Instruments | Labline.ipl@gamil.com | Lab line Instruments | Labline.ipl@gamil.com | Labline.ipl@gamil.com, Microbiology@unishivaji.ac.in
Blade Server | Blade Server | University Server Room | LENOVO | 7X06VFS100 | 7X06VFS100 | DST | DST-PURSE PHASE-II |  | LENOVO Think system SR650 2way, 08 Bay,2U Rack server 1 X Xeon Silver 4214 12C 85W 2.2 Hz 16.5 MB L3 Cache Memory 16.5MB L3 Cache Memory 16Gb Tru DDR4 2933 MHz (2R X 81.2V) RDIMM 1X2.5” 1.2TB 10K SAS 12Gb Hot-Swap 512 n HDD RAID 0,1,,10,5,50(RAID 730-8i 1GB Cache PCle) 12Gb Adapter 2 port 10 Gbps PCle Ethernet Adapter 2X 750W (230/115V) Platinum Hot- Swap Power Supply X Clarity Controller Enterprise S/N=J30A7MMA | Department of Microbiology | Molecular Dynamic Simulations | Rs.3,22,140.00/- | None | Working | Blade Server |  |  |  | Master services | admin@masterservices.co.in | Master services | admin@masterservices.co.in | admin@masterservices.co.in, Microbiology@unishivaji.ac.in