## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
AOX Analyser | AOX | Instrumentation Lab | MITUSBISHI |  | CPCB / ZOB / LAB/ AOX-ANA/2015/1 | Internal | CPCB HO Delhi | - | To determine Organic halides in water samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Not- working | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Atomic Absorption Spectrophotometer | AAS | Instrumentation Lab | AVANTA | GBC | CPCB / ZOB / LAB/ AAS (2006)/1 | Internal | CPCB HO Delhi | - | Heavy Metal determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Under break-down | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Autoclave - 1 with Digital Temp. Controller | Autoclave | Microbiology - Lab | Sun SteriFaab ACMAS | Model No. ACM-32062A | CPCB / ZOB / LAB/ ACL(2010)/2 | Internal | CPCB HO Delhi | - | Bacteriological Lab use | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Autoclave - 2 with Digital Temp. Controller | Autoclave | Microbiology - Lab | KB India | Type: RT110PB | CPCB / ZOB / LAB/ ACL(2015)/3 | Internal | CPCB HO Delhi | - | Bacteriological Lab use | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Autoclave - 3 with Digital Temp. Controller | Autoclave | Microbiology - Lab | Sun SteriFaab | Model No.SS/VS/09&10 (Cap. 25 ltr. GEMC-51168778480-2626 | CPCB/RDB/LAB/ACL(2022)/9&10 | Internal | CPCB HO Delhi | - | Bacteriological Lab use | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Balance (Digit- 3) | Balance | Water Lab | Shida | NA | CPCB / ZOB/ LAB/ WB (2005) / 3 | Internal | CPCB HO Delhi | - | For weighing & measurements | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Balance (Digit-4) | Balance | Water Lab | Citizen | NA | CPCB/ZO/BPL/LAB/BAL(TEL)/2015/5-6 | Internal | CPCB HO Delhi | - | For weighing & measurements | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Balance (Digit-4 ) | Balance | Air Lab | Wenser | NA | CPCB/ZOB/ LAB/ WB (2014)/4 | Internal | CPCB HO Delhi | - | For weighing & measurements | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
B.O.D. Incubator (Capacity: ) | BOD Incubator | Water Lab | Make: Ferrotek | FE-113 | CPCB / ZOB / LAB/ BOD(2014)/3 | Internal | CPCB HO Delhi | - | BOD determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
B.O.D. Incubator (Capacity: 330 Ltr.) | BOD Incubator | Water Lab | Make: Ferrotek |  | CPCB / ZOB / LAB/BOD(2011)/2 | Internal | CPCB HO Delhi | - | BOD determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Bacteriological Incubator (Capacity: ) | Bacteriological Incubator | Microbiology - Lab | Make: Ferrotek | FE-112, Size: 450x450x450 mm | CPCB / ZOB / LAB/ BI(2014)/2 | Internal | CPCB HO Delhi | - | For microbiological paramters | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Bacteriological Incubator (Capacity: ) | Bacteriological Incubator | Microbiology - Lab | Make: Ferrotek | FE-112, Size: 605x910x605 mm | CPCB / ZOB / LAB/ BI(2014)/3 | Internal | CPCB HO Delhi | - | For microbiological paramters | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Bacteriological Incubator- LED | Bacteriological Incubator | Microbiology - Lab | AP Autoclave Shri durga scientific Industries | SDSI-006A, S. No. 2292&2293, GEMC- 511687714548174 | CPCB / ZOB / LAB/ BI(2022)/4&5 | Internal | CPCB HO Delhi | - | For microbiological paramters | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
C.O.D. Digestion Apparatus | COD apparatus | HOT Room | A K Trandz | 217DP15, SL. No.: 210257 | CPCB /RDB / LAB/COD (2021)/3 | Internal | CPCB HO Delhi | - | COD determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Conductivity Meter | Cond. Meter | Water Lab | Systronics | Model:306 | CPCB / ZOB / LAB / CM (2005) / 3 | Internal | CPCB HO Delhi | - | Conductivity determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Conductivity Meter | Cond. Meter | Water Lab | Systronics | ModeL: 308 | CPCB / ZOB / LAB / CM(2010) /4 | Internal | CPCB HO Delhi | - | Conductivity determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
DO meter with accessories | DO meter | Chemical Store Room-III | Thermo Electrone | Orion 3 Star | CPCB / ZOB / LAB / DOM(2006)/2 | Internal | CPCB HO Delhi | - | DO determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Flame Photometer-1 | F-Photometer | Water Lab | Systronics, | 218/126 | CPCB / ZOB / LAB/FPM (2014)/2 | Internal | CPCB HO Delhi | - | To dtermine metals in water samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Flame Photometer - 2 | F-Photometer | Water Lab | Systronics, | 1027 GEMC-511687748610553 | CPCB / ZOB / LAB/FPM (2022)/2 | Internal | CPCB HO Delhi | - | To dtermine metals in water samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Filteration Assembly with vaccum pump- 1 | Fileration unit | Water Lab | Millipore |  | CPCB / ZOB / LAB/ FAV(1998)/2 | Internal | CPCB HO Delhi | - | TSS/ TDS determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Filteration Assembly with vaccum pump- 2 | Fileration unit | Water Lab | Sartorius |  | CPCB / ZOB / LAB/ FAV(1998)/1 | Internal | CPCB HO Delhi | - | TSS/ TDS determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Filtration assembly- 3 (Multi Type) | Fileration unit | Microbiology - Lab | MACFLOW |  | CPCB/ZOB/LAB/MFA/ 2016/1 | Internal | CPCB HO Delhi | - | TSS/ TDS determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Flash Point Apparatus | Flash Point | Water Lab | GARBNER | MINI FLASH FLH | CPCB/ZOB/BPL/LAB/FPA (2015) / 1 | Internal | CPCB HO Delhi | - | Flash point determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
GAS CHROMATOGRAPH | GC | GC ROOM | Agilent |  | CPCB / ZOB / LAB/ GC(2012)/1 | Internal | CPCB HO Delhi | - | For pesticides analysis | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Under breakdown | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
GAS CHROMATOGRAPH- Mass Spectrograph | GC-MS-ECD | GC ROOM | Agilent | G3540A Agilent 8890 | CPCB / ZOB / LAB/GC-Comp (2013) /1 | Internal | CPCB HO Delhi | - | For pesticides analysis | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Under installation | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Hot Air Oven | HAO | Hot room-02 & Air Lab-01 | Make: Scientech | Model No. SE-127 | CPCB/RDB/LAB/HAO(2022)/4,5&6 | Internal | CPCB HO Delhi | - | TSS/ TDS determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
High Volume Sampler with gaseous assembly (02 nos.) | HVS | Field store room | Vayubodhan | APM 430 & VTG1 | CPCB / ZOB / LAB/HVS (2011)/ 3- 4 | Internal | CPCB HO Delhi | - | SPM determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Muffle furnace- 1 | MF | HOT Room | LABORATE | K-Type Kanthal wire | CPCB / RDB / LAB/MF (2021) / 2 | Internal | CPCB HO Delhi | - | For FDS determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Muffle furnace- 2 | MF | HOT Room | Sanjeev Scintific Vdyog |  | CPCB / RDB / LAB/MF (2021) / 3 | Internal | CPCB HO Delhi | - | For FDS determination | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Magnetic Stirrer with hotplate | Mag. Stirrer | Water Lab | Remi | 2MLH | CPCB / ZOB / LAB / MS(1999)/1 | Internal | CPCB HO Delhi | - | For analytical use | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Microscope (Compound) | Microscope | Microbiology - Lab | Radical | RXLr-5-50 | CPCB / ZOB / LAB/ MC(2015)/1 | Internal | CPCB HO Delhi | - | For Bacteriologival Lab use | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Microscope Digital Magnifier (USB) | Handy Microscope | BIO-Lab |  |  | CPCB / RDB / LAB/MDM(USB)/2021/1 | Internal | CPCB HO Delhi | - | For Bio-monitoring | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Meterological Station (AWS) | Wheather Station | Wheather Sattion | Roof Top | EME | CPCB / ZOB / LAB/ MS-AWS ( 2015) /1 | Internal | CPCB HO Delhi | - | Wheather parameters | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Moisture analyzer | Moisture analyzer | Water Lab | Citizen | MB 200 | CPCB / ZOB / LAB/ MOI.ANA / 2015) /1 | Internal | CPCB HO Delhi | - | To detemine moistuire content in samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Nox Apparatus without pump | Nox Apparatus | Field store room | Envirotech |  | CPCB / ZOB / LAB/ NOX(2014)/7-14 | Internal | CPCB HO Delhi | - | To determine NOX concentration | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Noise level Meter | Noise meter | Field store room | Delta Ohm, | Model: HD2110L | CPCB / ZOB / LAB/NLM (2014)/3-5 | Internal | CPCB HO Delhi | - | To measure noise levels | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Testing | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Nephelo-Turbidity Meter - Digital | Turbidity Meter | Water Lab | Systronics | Model No. : 132 | CPCB / ZOB / LAB/NTM (2008)/2 | Internal | CPCB HO Delhi | - | For turbidity determination in water samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Turbidity Meter | Turbidity Meter | Water Lab | Spectra Lab | TB-200 | CPCB / ZOB / LAB/NTM (2022)/ | Internal | CPCB HO Delhi | - | For turbidity determination in water samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
pH Meter- 1 | pH Meter | Water Lab | Systronics | 362M | CPCB / ZOB / LAB / PHM(2010) /5 | Internal | CPCB HO Delhi | - | To measure pH of samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
pH Meter- 2 | pH Meter | Water Lab | Systronics | 362 M | CPCB / ZOB / LAB / PHM(2014)/7 | Internal | CPCB HO Delhi | - | To measure pH of samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
pH Meter- 3 | pH Meter | Water Lab | Khera Instrument | KI-262-TS | CPCB / ZOB / LAB / pHM(2022)/ | Internal | CPCB HO Delhi | - | To measure pH of samples | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
PM 2.5 SAMPLER | PM 2.5 | Field store room | Thermo | 2000 FRM EXT 3-A | CPCB / ZOB / LAB/ PM2.5 (2012)/1 | Internal | CPCB HO Delhi | - | To monitor PM 2.5 in ambient air | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Monitoring | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
PM 2.5 | PM 2.5 | Field store room | MESA LAB | PQ 200 | CPCB / ZOB / LAB /PM2.5 2015)/1-5 | Internal | CPCB HO Delhi | - | To monitor PM 2.5 in ambient air | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Monitoring | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
PM-10 Sampler | PM-10 | Field store room | Envirotech | APM 541 MFC | CPCB/ZOB// LAB/PM-10(2014)/1-4 | Internal | CPCB HO Delhi | - | To monitor PM 10 in ambient air | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Monitoring | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Respirable Dust Sampler (05 nos.) | RDS | Field store room | Envirotech | APM-APM-460NL&411 | CPCB / ZOB / LAB/RDS-NL(2006)/7- 11 | Internal | CPCB HO Delhi | - | To monitor PM 10/ SPM in ambient air | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Monitoring | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Spectrophotometer (UV-Visible ) | UV-Visible photometer | Water Lab | Techcomp | UV2300-II | CPCB / ZOB / LAB/ UV(2011) / 1 /1-6 | Internal | CPCB HO Delhi | - | For analysis of photometric water parameters | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Monitoring | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Spectrophotometer | Visible photometer | Water Lab | Systronics | 1203/ 196 | CPCB / ZOB / LAB/SPM/2019 / 4 | Internal | CPCB HO Delhi | - | For analysis of photometric water parameters | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Monitoring | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Stack Monitoring Kit (03 nos.) | Stack kit | Field store room | Vayubodhan | VSS1 | CPCB / ZOB / LAB/SMK (2005)/2-6 | Internal | CPCB HO Delhi | - | For source monitoring at stakes | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Monitoring | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
TKN Assembly | TKN Analyser | Water Lab | VELP Scientific | VELP Scientific | CPCB / ZOB / LAB/TKN (2011)/2 / 1-5 | Internal | CPCB HO Delhi | - | To determine TKN | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Under breakdown | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in
Water Testing Kit (03 nos.) | Handy Water Meter | Water Lab | Hanna | H198194, 03360016101, 03490037101 | CPCB/ZO/BPL/LAB/WTK /2022/2-3 | Internal | CPCB HO Delhi | - | Handy instrument for filed water parameters- pH, DO, Cond., Temp. | CPCB RD Bhopal | Labotory Division |  | cpcb.nic.in | Working | Analytical | - | - | - | - | - | - | - | cpcb.bhopal@gov.in