## Sheet2
| Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
1 | CATHODE RAY OSCILLOSCOPE | CRO | Digital Electronics lab | APLAB | 25MHz/3802 | TIST/ECE/DEL/CRO/01 - TIST/ECE/DEL/CRO 03 |  |  |  | 25MHz,CRO is an electrical test device that measures, displays, and analyzes electrical phenomena and waveforms | Electronics and Communication | Lab Facility | 18771 | www.aplab.com | Working |  |  |  |  | APLAB | Email : response@aplab.com | APLAB | Email : response@aplab.com
2 | FUNCTION GENERATOR | FG | Digital Electronics lab | APLAB | 1MHz FG18 | TIST/ECE/DEL/FG/01 - TIST/ECE/DEL/FG 05 |  |  |  | 1MHz,An electronics device that produces various types of signals | Electronics and Communication | Lab Facility | 4229 | www.aplab.com | Working |  |  |  |  | APLAB | Email : response@aplab.com | APLAB | Email : response@aplab.com
3 | DIGITAL IC TRAINER KIT | ITK | Digital Electronics lab | Elmatics Enterprises | CDT1A | TIST/ECE/DEL/ITK/01 - TIST/ECE/DEL/ITK20 |  |  |  | It is very useful in digital laboratories for performing digital experiments in colleges and universities. it also useful in testing circuit and making projects related to digital electronics. | Electronics and Communication | Lab Facility | 5450 | scientificenterprises.in | Working |  |  |  |  | Scientific Enterprises | enquiries@scientificenterprises.in | Scientific Enterprises | enquiries@scientificenterprises.in
4 | POWER SUPPLY | PS | Digital Electronics lab | SCIENTECH | FD-1502 | TIST/ECE/DEL/PS/01 - TIST/ECE/DEL/PS/ 22 |  |  |  | A DC power supply converts AC power from a standard outlet into a stable DC power source. | Electronics and Communication | Lab Facility | 8627 | www.aplab.com | Working |  |  |  |  | APLAB | Email : response@aplab.com | APLAB | Email : response@aplab.com
5 | DIGITAL STORAGE OSCILLOSCOPE | DSO | Digital Electronics lab | GW-INSTEK | GDS-1023 | TIST/ECE/DEL/DSO/01 |  |  |  | DSO is an electronic instrument that measures and records electrical signals by converting them into digital data and storing them in digital memory. | Electronics and Communication | Lab Facility | 22999 | www.gwinstek.com/en-IN | Working |  |  |  |  | Engineering Combines | sales_india@goodwill.com.tw | Engineering Combines | services@goodwill.com.tw
6 | Personal Computer | PC | Signal Processing Lab | WIPRO | Intel Core i7 | TIST/ECE/SP/PC/01 - TIST/ECE/SP/PC/ 32 |  |  |  | Intel Core i7 | Electronics and Communication | Lab Facility | 87910 | www.wipro.com/en-IN | Working |  |  |  |  | Forerun | Email:info@forerunsystems.net | Forerun | Email:info@forerunsystems.net
7 | 8051 Micro controller Trainer kit | MCT | Signal Processing Lab | Vi micro Systems |  | TIST/ECE/SP/MCT/01 - TIST/ECE/SP/MCT/ 08 |  |  |  | 8 Bit | Electronics and Communication | Lab Facility | 10830 | /www.vimicrosystems.com | Working |  |  |  |  | Vi micro Systems | Email:sales@vimicrosystems.com | Vi micro Systems | service@vimicrosystems.com
8 | KLYSTRON BASED MICROWAVE TEST BENCH & ACCESSORIES | MTB | Communication lab | Kitek Technologies | KMW- 2000 | TIST/ECE/CML/MTB/01 - TIST/ECE/CML/MTB /03 |  |  |  | A microwave test bench is a controlled lab environment used to study microwave characteristics and practical implementation in microwave links. It can include a variety of components, such as Klystron mount Includes a klystron tube, magic tee, movable short, pick up horn, pin modulator, S.S. tuner, slotted section with probe carriage, tripod stand, tunable probe, and variable attenuator | Electronics and Communication | Lab Facility | 60000 | www.kitektechnologies.com | Working |  |  |  |  | Kitek Technologies | sales@kitektechnologies.com | Kitek Technologies | info@kitektechnologies.com
9 | DATA CONDITIONING & CARRIER MODULATION TRANSMITTER KIT | DMT | Communication lab | Vi micro Systems | VCT-34 | TIST/ECE/CML/DMT/01 |  |  |  | Digital communication | Electronics and Communication | Lab Facility | 10350 | /www.vimicrosystems.com | Working |  |  |  |  | Vi micro Systems | Email:sales@vimicrosystems.com | Vi micro Systems | service@vimicrosystems.com
10 | DATA RECONDITIONING & DEMODULATION RECEIVER | DRD | Communication lab | Vi micro Systems | VCT-49 | TIST/ECE/CML/DRD/01 |  |  |  | Digital communication | Electronics and Communication | Lab Facility | 12420 | /www.vimicrosystems.com | Working |  |  |  |  | Vi micro Systems | Email:sales@vimicrosystems.com | Vi micro Systems | service@vimicrosystems.com
11 | OPTICAL TRAINER KIT | OFC | Communication lab | Scien tech | ST-2501 | TIST/ECE/CML/OFC/01 - TIST/ECE/CML/OFC /02 |  |  |  | Digital communication | Electronics and Communication | Lab Facility | 16835 | scientificenterprises.in | Working |  |  |  |  | Scientific Enterprises | enquiries@scientificenterprises.in | Scientific Enterprises | enquiries@scientificenterprises.in
12 | DIGITAL STORAGE OSCILLOSCOPE | DSO | Communication lab | GW-INSTEK | GDS-1023 | TIST/ECE/CML/DSO/01 |  |  |  | DSO is an electronic instrument that measures and records electrical signals by converting them into digital data and storing them in digital memory. | Electronics and Communication | Lab Facility | 22999 | www.gwinstek.com/en-IN | Working |  |  |  |  | Engineering Combines | sales_india@goodwill.com.tw | Engineering Combines | services@goodwill.com.tw
13 | Software Defined Rradio | SDR | Communication lab | Silicon Systems | 500MHz- 6 GHz | TIST/ECE/CML/SDR/01 |  |  |  | SDR is a radio communication system that uses software to process signals instead of hardware components. | Electronics and Communication | Lab Facility | 115000 | www.siliconsystems.in | Working |  |  |  |  | Silicon Systems | info@siliconsystems.in | Silicon Systems | info@siliconsystems.in
14 | DIGITAL STORAGE OSCILLOSCOPE | DSO | Circuits Lab | GW-INSTEK | GDS-1023 | TIST/ECE/CKT/DSO/01 - TIST/ECE/CKT/DSO /06 |  |  |  | DSO is an electronic instrument that measures and records electrical signals by converting them into digital data and storing them in digital memory. | Electronics and Communication | Lab Facility |  | www.gwinstek.com/en-IN | Working |  |  |  |  | Engineering Combines | sales_india@goodwill.com.tw | Engineering Combines | services@goodwill.com.tw
15 | CATHODE RAY OSCILLOSCOPE | CRO | Circuits Lab | SCIENTECH | 20 MHz -201 | TIST/ECE/CKT/CRO/01 - TIST/ECE/CKT/CRO /16 |  |  |  | 25MHz,CRO is an electrical test device that measures, displays, and analyzes electrical phenomena and waveforms | Electronics and Communication | Lab Facility | 15450 | scientificenterprises.in | Working |  |  |  |  | Scientific Enterprises | enquiries@scientificenterprises.in | Scientific Enterprises | enquiries@scientificenterprises.in
16 | Function Generator | FG | Circuits Lab | SCIENTECH | 1MHz - ST 4060 | TIST/ECE/CKT/FG/01 - TIST/ECE/CKT/FG /16 |  |  |  | 1MHz,An electronics device that produces various types of signals | Electronics and Communication | Lab Facility | 6200 | scientificenterprises.in | Working |  |  |  |  | Scientific Enterprises | enquiries@scientificenterprises.in | Scientific Enterprises | enquiries@scientificenterprises.in
17 | Power Supply | PS | Circuits Lab | APLAB | FD-1502 | TIST/ECE/CKT/PS/01 - TIST/ECE/CKT/PS /26 |  |  |  | A DC power supply converts AC power from a standard outlet into a stable DC power source. | Electronics and Communication | Lab Facility | 4262 | www.aplab.com | Working |  |  |  |  | APLAB | Email : response@aplab.com | APLAB | Email : response@aplab.com
18 | Hot Air Soldering gun | SD | Electronics Workshop | Soldron | 878- D,50W | TIST/ECE/WS/SD/01 |  |  |  |  | Electronics and Communication | Lab Facility | 5141 | www.soldron.com | Working |  |  |  |  | Tomson Electronics | help@tomsonelectronics.com | Tomson Electronics | help@tomsonelectronics.com
19 | Personal Computer | PC | Advanced Communication Lab/Project lab | WIPRO | GT 430nvida | TIST/ECE/ACL/PC/01 - TIST/ECE/ACL/PC /08 |  |  |  |  | Electronics and Communication | Lab Facility | 29500 | www.wipro.com/en-IN | Working |  |  |  |  | Techstead Systems | info@tech-stead.com | Techstead Systems | info@tech-stead.com
20 | Mixed Signal Oscilloscope | MSO | Advanced Communication Lab | Agilent | MSOX2002A | TIST/ECE/ACL/MSO /01 |  |  |  | MSO is a type of digital storage oscilloscope that can display and compare analog and digital signals simultaneously. | Electronics and Communication | Lab Facility | 118294 | www.agilent.com | Working |  |  |  |  | Agilent | worldwide emails | Agilent | worldwide emails
21 | Function/Arbitrary waveform Generator | AwG | Advanced Communication Lab | Agilent | 33250A | TIST/ECE/ACL/AwG /01 |  |  |  | AWG can create more complex and custom waveforms based on user input. | Electronics and Communication | Lab Facility | 286467 | www.agilent.com | Working |  |  |  |  | Agilent | worldwide emails | Agilent | worldwide emails
22 | True RMS Multi meter, | TRM | Advanced Communication Lab | Agilent | 34401A | TIST/ECE/ACL/TRM/01 |  |  |  |  | Electronics and Communication | Lab Facility | 68474 | www.agilent.com | Working |  |  |  |  | Agilent | worldwide emails | Agilent | worldwide emails
23 | Personal Computer | PC | ROS lab | Assembled |  | TIST/ECE/ACL/PC/01 - TIST/ECE/ACL/PC /30 |  |  |  |  | Robotics and Automation | Lab Facility |  |  | Working
24 | Vertex 5 FPGA boards, | FPGA | ROS lab | Digilent | D410057 | TIST/ECE/ROS/FPGA/01 - TIST/ECE/ROS/FPGA /03 |  |  |  | Virtex5 Development Board is performs advanced prototype FPGA application. | Robotics and Automation | Lab Facility | 42654 | coreel.com | Working |  |  |  |  | Coreel Technologies | sales@coreel.com | Coreel Technologies | sales@coreel.com
25 | Spartan6 FPGA | SFPGA | ROS lab | Digilent | D216356 | TIST/ECE/ROSSFPGA/01 - TIST/ECE/ROS/SFPGA /15 |  |  |  | The Spartan6 FPGA Project Board is a digital system development board which features Xilinx Spartan6 FPGA, 4Mb of external non-volatile memory and enough I/O devices and external connector to interface variety of digital applications. | Robotics and Automation | Lab Facility | 19431 | coreel.com | Working |  |  |  |  | Coreel Technologies | sales@coreel.com | Coreel Technologies | sales@coreel.com
26 | Arbitrary function generator, | AFG | ROS lab | Tekronix | AFG 3021B | TIST/ECE/ROS/AFG /01 |  |  |  |  | Robotics and Automation | Lab Facility | 107244 | www.jesco-llc.com | Working |  |  |  |  | JESCOE SYSTEMS | matthew@jesco-llc.com | JESCOE SYSTEMS | matthew@jesco-llc.com
27 | Personal Computer | PC | Automation lab | Assembled |  | TIST/RA/Al/PC/01 - TIST/RA/AL/PC /02 |  |  |  |  | Robotics and Automation | Lab Facility | 39270 |  | Working
28 | Hydraulic Triner | HT | Automation lab | Hydac |  | TIST/RA/AL/HT/01 |  |  |  | Hydraulic trainer equipment is used to teach students about the construction and operation of hydraulic components, and how to design and build hydraulic circuits. | Robotics and Automation | Lab Facility | 295077 | www.hydac.com/en-in | Working |  |  |  |  | Hydac | sales@hydacindia.com | Hydac | sales@hydacindia.com
29 | Pneumatic Triner | PT | Automation lab | Hydac |  | TIST/RA/AL/PT/01 |  |  |  | Pneumatic trainers are used to help students and professionals learn the basics of pneumatics, which is the use of compressed air in industrial automation. | Robotics and Automation | Lab Facility | 79296 | www.hydac.com/en-in | Working |  |  |  |  | Hydac | sales@hydacindia.com | Hydac | sales@hydacindia.com
30 | Programmable Logic Controllers Triner kit | PLC | Automation lab/Project Lab | DELTA | MODEL AS218TX | TIST/RA/AL/PLC/01 |  |  |  | PLCs are industrial computers, with various inputs and outputs, used to control and monitor industrial equipment based on custom programming. | Robotics and Automation | Lab Facility | 100300 | https://deltasupplier.in/ | Working |  |  |  |  | Delta | sales@ipcsgroup.in | Delta | sales@ipcsgroup.in
31 | Variable Frequency Drives KIT | VFD | Automation lab/Project Lab | DELTA |  | TIST/RA/AL/VFD/01 |  |  |  | VFD are used for adjusting flow or pressure to the actual demand. They control the frequency of the electrical power supplied to pumps or fans. Significant power savings can be achieved when using a VFD pump | Robotics and Automation | Lab Facility | 82600 | https://deltasupplier.in/ | Working |  |  |  |  | Delta | sales@ipcsgroup.in | Delta | sales@ipcsgroup.in
32 | Personal Computer | PC | Automation lab/Project Lab | assambled | [6 empty] | Robotics and Automation | Lab Facility |  |  | Working
33 | DOBOTConveyor Kit | DCK | Automation lab/Project Lab | Autobot |  | TIST/RA/AL/DCK/01 |  |  |  | The powerful and programmable DOBOT Magician, when combined with a conveyor belt of adjustable speed, distance, and color sensor, is the ideal and perfect tool .. | Robotics and Automation | Lab Facility | 40000 | https://www.autobotsystems.com/ | Working |  |  |  |  | Autobot | sales.autobots@gmail.com | Autobot | sales.autobots@gmail.com
34 | Robotic Visional Kit | RVK | Automation lab/Project Lab | Autobot |  | TIST/RA/AL/RVK/02 |  |  |  | DOBOT Robot Vision Kit provides a basic software and hardware platform based on visual development. | Robotics and Automation | Lab Facility | 135000 | https://www.autobotsystems.com/ | Working |  |  |  |  | Autobot | sales.autobots@gmail.com | Autobot | sales.autobots@gmail.com