## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
BA Set Saviour Pro 45Min BA Set with Steel Cylinder RPSAV-PR | RPSAV-PR | FFI and Rescue Lab | Vyas Sales Corporation | SAE/517/EN854 | 23059003724 | IPS Academy, IES,Indore | NA |  | 4 No. | Fire Technology and Safety Engg | FFI and Rescue Lab | 571197 |  | Working
B.A. Set Refilling Machine | BASRM | FFI and Rescue Lab | Standard General Suppliers | SGS/2017-18/365 | 23470101460 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | FFI and Rescue Lab | 417145 |  | Working
B.A.Set (Gem) | BASG | FFI and Rescue Lab | From Alang | 3882 |  | IPS Academy, IES,Indore | NA |  | 3 | Fire Technology and Safety Engg | FFI and Rescue Lab | 166500 |  | Working
B.A.Set Complete (dragger) | BAS | FFI and Rescue Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 3 | Fire Technology and Safety Engg | FFI and Rescue Lab | 163500 |  | Working
Breathing Airpratus (MSA) | MSA | FFI and Rescue Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 2 | Fire Technology and Safety Engg | FFI and Rescue Lab | 127500 |  | Working
B.A.Set (Rescue) | BASR | FFI and Rescue Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | FFI and Rescue Lab | 67000 |  | Working
B.A.Set | BAS | FFI and Rescue Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | FFI and Rescue Lab | 66000 |  | Working
Automatic Fall Arrester Unit | AFAU | FFI and Rescue Lab | Qualityc Chemical | 246-A | 670890 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | FFI and Rescue Lab | 60000 |  | Working
Saviour Chlorine Kit | SCK | FFI and Rescue Lab | Safetyplus Protection PVT. LTD. | 16171035 | 23889050298 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | FFI and Rescue Lab | 38334 |  | Working
Thermal Imager Fluke-TI400 |  | Fire Service Equipment Lab | Digital Marketing System Pvt. Ltd. | FLK-1400 9HZ THERMAL | DMSL/1819/000872 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 395300 |  | Working
AFT Set with Auto Spare Compissed Air Cylender of 300 Bar |  | Fire Service Equipment Lab | Choudhary Traders Corporation | 2610/10 | 23920500125 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 231699 |  | Working
Fire Ball Launcher |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 96000 |  | Working
Hot Air Oven Thermostatic |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 74000 |  | Working
Fire Extinguishers(ABC & CO2) |  | Fire Service Equipment Lab | Sales Corporation | 476 | 593 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 72348 |  | Working
D C P Fire Ext. 5.Kg |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 20 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 59737 |  | Working
Hose Pipe 63 MM Dia With M-F Couppling |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 10 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 52650 |  | Working
Mechanical Foam type Fire Extinguisher 50litter capacity Trolley Mounted |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 2 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 50400 |  | Working
Electrical Alarm |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 50000 |  | Working
BC DCP type Fire Extinguisher 2kg capacity for Installation |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 20 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 47000 |  | Working
Bomb Caloriemeter |  | Fire Service Equipment Lab | M.K. Scientific Instruments | IS NO. 1350/1966 | 117/MKSI/15-16 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 41500 |  | Working
High Expansion Foam Generator |  | Fire Service Equipment Lab | Choudhary Traders Corporation | 1432/04 | C-757 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 38000 |  | Working
Synthetic hose pipe rubber lined |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 11 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 30800 |  | Working
Male female Coupling |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 11 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 24640 |  | Working
Water CO2 type Fire Extinguisher 50litter capacity Trolley Mounted |  | Fire Service Equipment Lab |  |  |  | IPS Academy, IES,Indore | NA |  | 2 | Fire Technology and Safety Engg | Fire Service Equipment Lab | 23500 |  | Working
Digital Horizontal Tensile Strength tester-5 ton with dummy |  | Research Lab (Fire and Safety Testing Lab) | Global Text Industries, Gaziabad U.P. | _ |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 410858 |  | Working
Shock Absorption Tester and Pentration test: Safety Helmet Testing Instrument |  | Research Lab (Fire and Safety Testing Lab) | Global Text Industries, Gaziabad U.P. | MILA 0301CH |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 257092 |  | Working
Hose pipe Testing Machine |  | Research Lab (Fire and Safety Testing Lab) | Pallavi Enterprises, Pune | _ |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 234820 |  | Working
TPEC: Controlling Panel Enabled MODBUS System Software Auto Pressure Control Unit for Controlling Pumps accourding to pressure |  | Research Lab (Fire and Safety Testing Lab) |  | 30KW SDS37KWDOL | 2018-18-25 | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 177118 |  | Working
Compression Resistance tester cum nail Pentration tester : Safety Shoes Testing Machine |  | Research Lab (Fire and Safety Testing Lab) | Global Text Industries, Gaziabad U.P |  |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 159152 |  | Working
Flammability Tester Machine |  | Research Lab (Fire and Safety Testing Lab) | Global Text Industries, Gaziabad U.P |  |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 62681 |  | Working
High Voltage Tester |  | Research Lab (Fire and Safety Testing Lab) | Global Text Industries, Gaziabad U.P |  |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 48480 |  | Working
Fire Extinguisher Hydrostatic Testing Machine |  | Research Lab (Fire and Safety Testing Lab) |  |  |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 37350 |  | Working
Fire Extinguisher Refilling Machine (ABC type ) |  | Research Lab (Fire and Safety Testing Lab) |  |  |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 31500 |  | Working
N2 Gas Cylinder Capacity 7 CuM |  | Research Lab (Fire and Safety Testing Lab) |  |  |  | IPS Academy, IES,Indore |  |  | 1 | Fire Technology and Safety Engg | Research Lab (Fire and Safety Testing Lab) | 15840 |  | Working
CPR Training Manikin With Indicator & Printer |  | Paramedics Lab | Elite Plus | GST-137 | 7304 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Paramedics Lab | 116230 |  | Working
Safety sign Boards & First aid box Fiber Complete |  | Paramedics Lab | Vyas Sales Corporation | CH NO. 410 | 415 | IPS Academy, IES,Indore | NA |  | 72 | Fire Technology and Safety Engg | Paramedics Lab | 83665 |  | Working
Integrated Sound Level -Cirrus Optimus Red Sound Level Meter |  | Industrial Hygiene & Occupational Health | instrumex, Eminenace Instruments, Mumbai | CR-162D | 17 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 138462 |  | Working
Single Pan Electronic Balance Meter - ATX224-220GM |  | Industrial Hygiene & Occupational Health | Kasliwal Brothers, Indore M.P. | ATX224-220GM | 4109/14-15 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 70964 |  | Working
Portable Cum PC Based Spirometer |  | Industrial Hygiene & Occupational Health | Geetanshu Enterprises, Bhopal | spirotech+ | 19/358 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 61600 |  | Working
Ammonia Detection Meter |  | Industrial Hygiene & Occupational Health |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 41950 |  | Working
Digital Bomb(Alorimeter with NABL Calibration |  | Industrial Hygiene & Occupational Health | K. Scientific Instrument, Dehli-110041 | 6988 | 80 | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 41500 |  | Working
Chlorine Detection Meter |  | Industrial Hygiene & Occupational Health |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 39120 |  | Working
ARPHI Audiometer 500 MK I-S |  | Industrial Hygiene & Occupational Health |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 33938 |  | Working
Ultra Sonic Digital Portable Meter |  | Industrial Hygiene & Occupational Health |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 32950 |  | Working
Portable Oxygen Meter Complete with Accessories Includes of CED |  | Industrial Hygiene & Occupational Health |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 32780 |  | Working
LPG Detection Meter |  | Industrial Hygiene & Occupational Health |  |  |  | IPS Academy, IES,Indore | NA |  | 1 | Fire Technology and Safety Engg | Industrial Hygiene & Occupational Health | 27500 |  | Working