## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Molecular Beam Epitaxy (MBE) | [8 empty] | MBE system from Omicron NanoTechnology | Materials Research Centre |  |  |  | Up | Research Equipment
Metal Organic Chemical Vapor Deposition (MOCVD) Reactor |  |  | CVD Corp. | [5 empty] | Reactor for growth of GaAs based solar cells heterostructures (SBK). | Materials Research Centre |  |  |  | Up | Research Equipment
RF Sputtering System | [8 empty] | SBK | Materials Research Centre |  |  |  | Up | Research Equipment
Multi Magnetron DC Sputtering System | [8 empty] | SBK | Materials Research Centre |  |  |  | Up | Research Equipment
Thermolyne High Temperature Furnace | [8 empty] | Muffle furnace with a maximum operating temperature of 1700°C. (KBR) | Materials Research Centre |  |  |  | Up | Research Equipment
Lenton Glass Melting Furnace | [8 empty] | Maximum operating temperature 1700°C. (KBR) | Materials Research Centre |  |  |  | Up | Research Equipment
Induction Furnace (KBR) | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Czochralski Single Crystal Puller (KBR) | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Atomic Layer Deposition System (ALD) | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Chemical Vapor Deposition (CVD) Systems | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Chemical Synthesis Laboratory | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Electro Deposition Systems | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Microwave Oven | [8 empty] | 800 watts | Materials Research Centre |  |  |  | Up | Research Equipment
Thermal Evaporator | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Hot Uniaxial Press (AMU) | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Vacuum Furnace | [8 empty] | Horizontal tube furnace capable of continuous operation at 1100°C and 10-3 Torr pressure (NR) | Materials Research Centre |  |  |  | Up | Research Equipment
High Temp Furnace | [8 empty] | Horizontal tube furnace with silicon carbide elements capable of continuous operation in air at 1600°C. (NR) | Materials Research Centre |  |  |  | Up | Research Equipment
Two Lenton Horizontal Tube Furnaces | [8 empty] | Capable of 1100°C and 1500°C maximum operating temperature. (KKN) | Materials Research Centre |  |  |  | Up | Research Equipment
Chemical Vapor Deposition (CVD) Reactor | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Ball Mill | [9 empty] | Materials Research Centre |  |  |  | Up | Research Equipment
Olympus Visible Light Microscope with CCD Camera Attachment | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Olympus Visible Light Microscope with CCD Camera Attachment | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Cambridge Scanning Electron Microscope (SEM) with EDAX attachment (CF) | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Transmission Electron Microscope (TEM) |  |  | Jeol | 200CX | [5 empty] | Materials Research Centre |  |  |  | Up | Characterization
Powder X-ray Diffractometer (XRD) |  |  | Phillips | [6 empty] | Materials Research Centre |  |  |  | Up | Characterization
Scintag High Temperature X-ray Diffractometer (XRD) | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Atomic Force Microscope (AFM) |  |  | Veeco | CP-II | [5 empty] | Materials Research Centre |  |  |  | Up | Characterization
Impedance Analyzer |  |  | Agilent Technologies | 4294A | [5 empty] | Materials Research Centre |  |  |  | Up | Characterization
Precision Workstation |  |  | Radiant Technologies | [6 empty] | Materials Research Centre |  |  |  | Up | Characterization
LCZ Meter |  |  | Keithley | 3330 | [5 empty] | Materials Research Centre |  |  |  | Up | Characterization
SMU |  |  | Keithley | Model 236 | [5 empty] | Materials Research Centre |  |  |  | Up | Characterization
Impedance Gain Phase Analyzer |  |  | HP | 4194A |  |  |  |  | Frequency range 100Hz-40MHz | Materials Research Centre |  |  |  | Up | Characterization
LCZ Meter |  |  | Keithley | 3330 | [5 empty] | Materials Research Centre |  |  |  | Up | Characterization
Automated Pyroelectric Measurement setup | [8 empty] | Automated Pyroelectric measurement setup used the find out the TSDC (Temperature Stimulated Depolarization current) and Pyroelectric current | Materials Research Centre |  |  |  | Up | Characterization
Picoammeter |  |  | Keithley | [6 empty] | Materials Research Centre |  |  |  | Up | Characterization
d33 Meter | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Sawyer Tower Ferroelectric Hysteresis Loop Measurement setup | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Low Temperature Photoluminescence Measurement System | [8 empty] | 8 K to 400 K | Materials Research Centre |  |  |  | Up | Characterization
Field Emission Testing setup | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Differential Scanning Calorimeter (DSC) |  |  | PerkinElmer | [5 empty] | Power compensating DSC capable of operating up to 700°C. | Materials Research Centre |  |  |  | Up | Characterization
Thermal Analysis Cluster | [8 empty] | Thermal analysis cluster consisting of a DTA/TGA and DSC | Materials Research Centre |  |  |  | Up | Characterization
High Temperature Thermal Conductivity Measurement setup | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
High Temperature Dilatometer | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization
Instron Universal Testing Machine (UTM) | [8 empty] | UTM machine designed for testing various materials like rubber, plastics, cables, leather, paper, plywood and metals. Tension, compression, bend and flexural tests can be performed with suitable grips and fixtures | Materials Research Centre |  |  |  | Up | Characterization
Vibration Sample Magnetometer (VSM) | [8 empty] | The VSM is used to measure the magnetic properties of material. | Materials Research Centre |  |  |  | Up | Characterization
Gas Sensing Apparatus | [9 empty] | Materials Research Centre |  |  |  | Up | Characterization