## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
[10 empty] | School of Biotechnology | Bioprocess lab
Thermal cycler | Q-PCR | 303A | Gene Atlas Astec | G02 | GG100069 | External | DST | Development of an extractive fermentation process for enhanced alkaline phosphatase production by recombinant Bacillus licheniformis in aqueous two-phase systems |  | School of Biotechnology | Bioprocess lab | 5,40,000 | ASTEC Thermal Cyclers Gene Atlas ¦ ASTEC (astec-bio.com) | Working | Analytical |  |  |  |  | astec-japan@astec-bio.com | National Institute of Technology Calicut | asanthiagu@nitc.ac.in | asanthiagu@nitc.ac.in
Humidity Cabinet |  | 307 D | Roteck plus | PHC-10A | 2104 | Internal | Plan fund |  |  | School of Biotechnology | Plant Biotechnology lab | 91166 | https://rotekplus.com/ | Working | Incubator and testing |  |  |  | M/S Akshaya Associates | akshayately@gmail.com | National Institute of Technology Calicut | bgnair@nitc.ac.in | bgnair@nitc.ac.in
Carbon dioxide incubator |  | 307 D | Being | BPN-190CH(UV) |  | Internal | Plan fund |  |  | School of Biotechnology | Plant Biotechnology lab | 3,23,749.52 | https://www.beinglab-usa.com/lab-equipment/product/air-jacketed-co2-incubator-24?category=5 | Working | Incubator |  |  |  | M/S Inkarp instruments Pvt. Ltd. | anu.sivan@inkarp.co.in | National Institute of Technology Calicut | bgnair@nitc.ac.in | bgnair@nitc.ac.in
Biosafety cabinet BSL-2 |  | 307 D | Ocean life science corporation | OLSC-114-3 | OL2419 | Internal | Faculty research seed grant (FRG)-2019 | Non-viral reprogramming of somatic cell to induce pluripotency |  | School of Biotechnology | Plant Biotechnology lab | 1,48,000.00 | https://olsc.us/ | Working | Aseptic workbench |  |  |  | Ocean life science corporation | olsc.lab@gmail.com | National Institute of Technology Calicut | bgnair@nitc.ac.in | bgnair@nitc.ac.in
Biosafety cabinet BSL-2 | BSC-Class 2A | 307A | Themoscientific | 1384 | 1300 series A2 | internal | Plan fund |  |  | School of Biotechnology | Microbiology |  |  | Working | Aseptic workbench |  |  |  | M/S Scientific enterprises |  | National Institute of Technology Calicut | drsuchithratv@nitc.ac.in | drsuchithratv@nitc.ac.in
Microplate reader |  | 307A | Themoscientific | 1550 | A51119600 | internal | planfund |  |  | School of Biotechnology | Microbiology |  |  | Working | Analytical |  |  |  | M/S Scientific enterprises |  | National Institute of Technology Calicut | drsuchithratv@nitc.ac.in | drsuchithratv@nitc.ac.in
Real Time Polymerase Chain Reaction Machine | RT-PCR | 303 | BIO-RAD | CFX96 Optics Module | 785BR13893 | Internal | Plan Fund |  |  | School of Biotechnology | Molecular Genetics Lab |  | https://www.gene-quantification.de/bio-rad-CFX96-bulletin-5589.pdf | Working | Analytical | [5 empty] | National Institute of Technology Calicut | anaulk@nitc.ac.in | anaulk@nitc.ac.in
Gel Documentation System | Gel-Doc | 303 | BIO-RAD | 1708169 | 9030241 | Internal | Plan Fund |  |  | School of Biotechnology | Molecular Genetics Lab |  | https://www.bio-rad.com/en-in/category/geldoc-go-gel-imaging-system?ID=O494SO15 | Working | Analytical | [5 empty] | National Institute of Technology Calicut | anaulk@nitc.ac.in | anaulk@nitc.ac.in
Ultra Low Temperature (ULT) Freezer | -80°C Deep Freezer | 303 | Haier | DW-86L388 | BE06R6E1T00B2D4R0012 | External | CSIR |  |  | School of Biotechnology | Molecular Genetics Lab |  |  | Working | Deep Freezer |  |  |  | Calgon scientific |  | National Institute of Technology Calicut | anaulk@nitc.ac.in | anaulk@nitc.ac.in
COOLING BENCH-TOP CENTRIFUGE | Cooling Centrifuge | 303 | Thermo Fisher Scientific | Sorvall ST 8R/75007204 | 43018510 | External | SERB-DST |  |  | School of Biotechnology | Molecular Genetics Lab |  |  | Working | Centrifuge |  |  |  | Fifty Plus Scientific Enterprises Pvt. Ltd. |  | National Institute of Technology Calicut | anaulk@nitc.ac.in | anaulk@nitc.ac.in
Contour-clamped homogeneous electric field machine | CHEF | 303 | BIO-RAD | 1703649 | 275BR 019135 | External | DST |  |  | School of Biotechnology | Molecular Genetics Lab |  |  | Working | Analytical | [5 empty] | National Institute of Technology Calicut | anaulk@nitc.ac.in | anaulk@nitc.ac.in
Thermo Cycler Machine | PCR | 303 | BIO-RAD | S1000 | SC005437 | Internal | Planf Fund |  |  | School of Biotechnology | Molecular Genetics Lab |  | https://www.bio-rad.com/en-in/category/thermal-cyclers-for-pcr?ID=75f1b406-3746-4580-a998-74245b094f56&WT_mc_id=200911029047&WT_srch=1&WT_knsh_id=7490611e-7ec3-491f-b544-bbcfa50e3a73&gclid=CjwKCAjwh4ObBhAzEiwAHzZYU_1Nv0hQq2z2P-fEVkukEF0i-KmcoE0kPaudHjq3N1-ZI__aK8SKNBoCAcAQAvD_BwE | Working | Analytical | [5 empty] | National Institute of Technology Calicut | anaulk@nitc.ac.in | anaulk@nitc.ac.in
WEE32 Thermal cycler | q-PCR | SBT, 307 | Himedia, India | LA1060 | LA10602003160069 | Internal | Plan fund | NA | Non gradient, 32 wells (8x4), 0.2ml PCr tubes, 0.2ml 8-PCR PCR tube | School of Biotechnology | Immunology Lab | 99000 | https://www.himedialabs.com/intl/en/products/Molecular-Biology/PCR-Thermal-Cyclers/Wee-32%E2%84%A2-Thermal-Cycler-LA1060 | Working | Analytical |  |  |  | Himedia Labs | basimk@himedialabs.com | National Institute of Technology Calicut | sureshps@nitc.ac.in, sanu_p190142bt@nitc.ac.in | sureshps@nitc.ac.in
Micro Controller Based UV-VIS Spectrophotometer 117 | UV-VIS spectrophotometer | SBT, 307 | Systronic, India | 117 | 1791 | Internal | Plan fund | NA | 200 – 1100 nm range, 1nm bandwidth, %T, ABS, CONC measuring modes, Single / Multi wavelength and Spectrum / Time Scan operating modes, Automatic 5- position sample changer. 500 µl sample in 1ml cuvette and 2 ml in 4 ml cuvette | School of Biotechnology | Immunology Lab | 1,65,670 | http://www.systronicsindia.com/ProductDetail/38/117/-Controller-Based-UV-VIS-Spectrophotometer | Working | Analytical |  |  |  | Systronic India | trivandrum@systronicsindia.com | National Institute of Technology Calicut | sureshps@nitc.ac.in, sanu_p190142bt@nitc.ac.in | sureshps@nitc.ac.in
GT sonic professional Ultrasonic cleaner | Bath sonicator | SBT, 307 | GT sonic, China | AN-SS-9L | 408191900138 | Internal | Plan fund | NA | 0-80℃ temperature adjustable, ultrasonic frequency: 33/40kHz, Time Setting:1-99minutes adjustable. | School of Biotechnology | Immunology Lab | 35910 | https://www.gtsonic.net/prod_view.aspx?TypeId=105&id=280&fid=t3:105:3 | Working | Analytical |  |  |  | Universal Agencies | uniage.sales@gmail.com | National Institute of Technology Calicut | sureshps@nitc.ac.in, sanu_p190142bt@nitc.ac.in | sureshps@nitc.ac.in
Pathological Research microscope | Binocular compound microscope | SBT, 307 | QUASMO | PZB-22 | 70790 | Internal | Plan fund | NA | Binocular, 40x to 1000x visual magnification, objective: 4X, 10X, 40X (S) and 100X Oil, (S) , LED Light source | School of Biotechnology | Immunology Lab | 10450 | https://quasmoindianmicroscope.com/product/pzb-22/ | Working | Analytical |  |  |  | Quality Scientific and mechanical works | info@quasmoindianmicroscope.com | National Institute of Technology Calicut | sureshps@nitc.ac.in, sanu_p190142bt@nitc.ac.in | sureshps@nitc.ac.in
Multi-mode plate reader | MMPR | 302 -3 | Tecan | M200 PRO | M200 PRO | External | DBT | Inhibition of mitochondrial Dynamin related protein-1 activity confers neuroprotection against ischemia | multimode platereader | School of Biotechnology | Biochemistry lab | 19,00,000 | https://www.tecan.com/ | Working | Analytical |  |  |  | Bioscreen Instruments Pvt. Ltd. | info@tecan.com | National Institute of Technology Calicut | rajanikant@nitc.ac.in | rajanikant@nitc.ac.in
Light Cycler 96 Instrument | qPCR | 302 -3 | Roche Diagnostics | LightCycler® 96 | 10256 | External | DBT | Design and In vitro evaluation of the neuroprotective effects of HIF-prolyl hydroxylase inhibitors against ischemic stroke | RT-PCR | School of Biotechnology | Biochemistry lab | 1194003 | https://diagnostics.roche.com/global/en/home.html | Working | Analytical |  |  |  | Roche | asc.support@roche.com | National Institute of Technology Calicut | rajanikant@nitc.ac.in | rajanikant@nitc.ac.in
CO2 Incubator |  | 307 B | Thermo Fisher Scientific | 381 | 300-194758 | Internal | Plan fund |  |  | School of Biotechnology | Biochemistry lab | 550000 | https://www.thermofisher.com/in/en/home.html | Working | Analytical |  |  |  | Fifty Plus Scientific Enterprises | fiftyplusscientificenterprises@gmail.com | National Institute of Technology Calicut rajanikant@nitc.ac.in |  | rajanikant@nitc.ac.in
Inverted Microscope |  | 307 B | Nikon | Eclipse Ti - S |  | Internal | Plan fund |  |  | School of Biotechnology | Biochemistry lab | 6,13,021 | https://www.microscope.healthcare.nikon.com/ | Working |  |  |  |  | Nikon Corporation | nikoninstruments.us@nikon.com | National Institute of Technology Calicut | rajanikant@nitc.ac.in | rajanikant@nitc.ac.in
Rotary evapoartor |  | 307 |  | ML/HB/G3 |  | Internal | Plan fund |  |  | School of Biotechnology | Downstream processing lab | 4,66,000 |  | Working |  |  |  |  | Heidolph Instruments |  | National Institute of Technology Calicut | rathin@nitc.ac.in | rathin@nitc.ac.in
Sonicator |  | 307 | Sonics & Materials Inc | VCX-130-220 |  | Internal | Plan fund |  |  | School of Biotechnology | Common Lab | 203251.02 |  | Working | [6 empty] | National Institute of Technology Calicut | rathin@nitc.ac.in | rathin@nitc.ac.in
Inverted Microscope |  | 307 | NIKON CORPORATION |  |  | Internal | Plan fund |  |  | School of Biotechnology | Downstream processing lab | 9,85,820.00 |  | Working |  |  |  |  | NIKON Corporation |  | National Institute of Technology Calicut | rathin@nitc.ac.in | rathin@nitc.ac.in
Vertical Thermal Cycler |  | 307 | Invitrogen Bioservices |  |  | Internal | Plan fund |  |  | School of Biotechnology | Downstream processing lab | 2,57,625.00 |  | Working |  |  |  |  | Invitrogen Bioservices |  | National Institute of Technology Calicut | rathin@nitc.ac.in | rathin@nitc.ac.in
-20 Vertical Deep freezer |  | 307 | Calgon Scientific Co. |  |  | Internal | Plan fund |  |  | School of Biotechnology | Downstream processing lab | 83700 |  | Working |  |  |  |  | Calgon scientific Co. |  | National Institute of Technology Calicut | rathin@nitc.ac.in | rathin@nitc.ac.in