## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Digital Fluxgate Magnetometer (DFM) | DFM | At all Magnetic observatories of IIG, i.e. Alibag,KSKGRL Allahabad,Gulmarg,Jaipur,Nagpur,Pondicherry,Port Blair,Rajkot,SGRC Shillong,Silchar,EGRL Tirunelveli,Visakhapatnam. At both Antarctica stations Maitri and Bharati | Danish Technical University.(DTU) | FGE |  | Institute | IIG | As variometer to measure changes in earth’s magnetic field in three orthogonal directions. | DST |  |  |  | Research Equipment | Up
Declination Inclination Magnetometer (DIM) | DIM | At all Magnetic observatories of IIG, i.e. Alibag,KSKGRL Allahabad,Gulmarg,Jaipur,Nagpur,Pondicherry,Port Blair,Rajkot,SGRC Shillong,Silchar,EGRL Tirunelveli,Visakhapatnam. | Bartington | Mag 01 |  | Institute | IIG | Absolute measurement of Declination and Inclination in magnetic observatories for correction of variometer's baseline. Declination and inclination mapping for field survey. Reference tool in calibration of rangefinders or compass roses | DST |  |  |  | Research Equipment | Up
Proton Precession Magnetometer (PPM) | PPM | At all Magnetic observatories of IIG, i.e. Alibag,KSKGRL Allahabad,Gulmarg,Jaipur,Nagpur,Pondicherry,Port Blair,Rajkot,SGRC Shillong,Silchar,EGRL Tirunelveli,Visakhapatnam. | Indigenously IIG Make | PM7 |  | Institute | IIG | For continuous geomagnetic filed variation studies carried out by Scientific Research Organizations, magnetic field surveys, to detect magnetic anomalies due to ferromagnetic objects in the environment, to calibrating low field magnetometers. | DST |  |  |  | Research Equipment | Up
Overhauser Magnetometer (OVM) | OVM | At all Magnetic observatories of IIG, i. e Jaipur,Pondicherry,Port Blair,SGRC Shillong,EGRL Tirunelveli, Alibag | GEM SYSTEMS, Canada | GSM 90 |  | Institute | IIG | For continuous geomagnetic field measurements, magnetic field surveys, to detect magnetic anomalies due to ferromagnetic objects in the environment, to calibrate low field magnetometers. | DST |  |  |  | Research Equipment | Up
Induction Coil Magenetometer (ICM) | ICM | Shillong, Jaipur, Silchar, Maitri, Bharati | Lviv Centre of Institute of Space Research, Ukraine | LEMI-30i |  |  |  | Schumann Resonance, Geomagneticulsations, Earthquake precursors in ULF/ELF range | DST |  |  |  | Research Equipment | Up
Helmholtz Coil System for Magnetometer Sensor Calibration |  | Alibag Magnetic Observatory |  | In-house developed |  | Institute | IIG | Typical applications include magnetometer calibration, magnetic compass calibration, satellite characterization and bio-magnetic studies. | DST |  |  |  | Research Equipment | Up
All Sky Airglow Imager |  | Magnetic Observatory Kolhapur, EGRL Tirunelveli, | Keo Scientific | Sentry 3 Imager |  | Institute | IIG | Wide field-of-view photometer with CCD as detector; Filters are tuned to monitor multiple airglow emissions between altitudes 80 and 100 km | DST |  |  |  | Research Equipment | Up
Imaging Riometer |  | Antarctica stations Maitri | Lancaster University, United Kingdom | IRIS |  | Institute | IIG | Radio Ionospheric Opacity Meter operating at 38.2 MHz, a radio receiver measuring the intensity of absorption of cosmic radio signal in the ionosphere; useful for auroral dynamics studies | DST |  |  |  | Research Equipment | Up
Global Navigation Satellite System (GNSS) Receiver | GNSS | IIG, HQ New Panvel | Trimble; Leica and Serpentrio etc. | Geodetic GNSS Receivers |  | Institute | IIG | • Precise Positioning, Velocity and Time, Measurement of Earth’s Lithospheric deformation, Ionospheric Total Electron Content (TEC) observation • Atmospheric Water Vapor Content measurement, In addition, GNSS data is also used to study Space Weather events and other such specialized applications using above basic observed parameters | DST |  |  |  | Research Equipment | Up
Broadband Seismograph |  | At all Magnetic observatories of IIG, i.e. Alibag,KSKGRL Allahabad,Gulmarg,Jaipur,Nagpur,Pondicherry,Port Blair,Rajkot,SGRC Shillong,Silchar,EGRL Tirunelveli,Visakhapatnam. | REFTEK (Trimble) | REFTEK 130S Digitizer with 151B Seismometer |  |  |  | · Measures ground motion including the seismic waves generated by an earthquake and other seismic sources along with the ambient noise. | DST |  |  |  | Research Equipment | Up
(a) Resistivity meter (b) Resistivity Imaging meter | SSR-MP-AT | IIG, HQ New Panvel | IGIS | SSR-MP-AT |  | Institute | IIG | 1) Ground Water Exploration, 2) Bed rock Investigation, 3) Delineation of Geological Structures, 4) Sand and Gravel Deposit Identification, 5) Mineral Investigations | DST |  |  |  | Research Equipment | Up
Magnetotellurics and Audio Frequency Magnetotellurics | MT | IIG, HQ New Panvel | Phoenix Geophysics, Canada | MTU-5A(P) |  | Institute | IIG | Data acquisition and sharing is mandated as per adopted IIG’s data policy. | DST |  |  |  | Research Equipment | Up
JR 6 Spinner Magnetometer | JR6 | IIG, HQ New Panvel | AGICO, Czech Republic | JR-6 upgraded to JR-6A |  |  |  | The changes of Earth’s magnetic field in geological history can be investigated through the measurement of sample’s remanent magnetization and its magnetic stability in: Environmental Magnetism, Archaeomagnetism, Paleomagnetism, Mineralogy | DST |  |  |  | Research Equipment | Up
MFK1-FA Multifunction Frequency Kappabridge | MFK1 | IIG, HQ | AGICO, Czech Republic | MFK1-FA |  | Institute | IIG | Measurement of Anisotropy of Magnetic Susceptibility (AMS) within rocks is widely used to investigate preferred orientation of magnetic minerals, such as magnetite to understand: | DST |  |  |  | Research Equipment | Up
KLY-4 Kappabridge | KLY4 | IIG, HQ New Panvel | AGICO, Czech Republic | KLY-4/CS-3/CS-L |  | Institute | IIG | Temperature dependence of magnetic susceptibility (χ−T) is used to determine changes in mineralogy of natural samples during heat treatment to delineate: Low and high temperature variation of susceptibility, Curie temperature, Rock magnetism | DST |  |  |  | Research Equipment | Up
MicroMag Alternating Gradient Magnetometer (AGM) | AGM | IIG, HQ New Panvel | PMC, USA | Micromag 2900 AGM |  | Institute | IIG | · Room temperature Hysteresis loop, DC demagnetization remanence, Isothermal remanent magnetization, Coercivity ,First order reversal curves (FORC) | DST |  |  |  | Research Equipment | Up
Particle Size Analyzer (PSA) | Particle Size Analyzer | IIG, HQ New Panvel | CILAS, France | 1064L |  | Institute | IIG | The CILAS 1064 is the ideal tool for sub-micron analysis in the fields of chemical industries, ceramics, PVC and pharmaceuticals. It is also very useful instrument for research laboratories and used in IIG to understand particle sizes in Sediments from lakes, rivers and oceans | DST |  |  |  | Research Equipment | Up
Scanning Electron Microscope (SEM) | SEM | IIG, HQ New Panvel | Tescan, Czech Republic | VEGA 3 SEM |  | Institute | IIG | Earth Sciences cover a wide range of scientific disciplines that conduct research on the detailed characterization of geological materials. SEM is a vital tool in this field and provides high resolving power as well as several analytical capabilities. | DST |  |  |  | Research Equipment | Up
X-Ray Fluorescence Spectrometer (XRF) | XRF | IIG, HQ New Panvel | Spectro Analytical Instruments | SPECTRO XEPOS III |  | Institute | IIG | Mining, Mineralogy and Geology, Environmental and waste monitoring | DST |  |  |  | Research Equipment | Up
X-Ray Diffraction Spectrometer (XRD) | XRD | IIG, HQ New Panvel | inXitu, USA | BTX -226 |  | Institute | IIG | Clay mineral identification, metal content, Magnetic mineralogy | DST |  |  |  | Research Equipment | Up
Elemental analyzer (CHNS) | CHNS | IIG, HQ New Panvel | Elementar Analysensysteme Gmbh, Germany | vario EL cube |  | Institute | IIG | Geological samples, Organic chemistry, Agriculture and environment, Sulphur trace analysis | DST |  |  |  | Research Equipment | Up
Magnetic Susceptibility Meter | MS2B | KSKGRL Allahabad. | Bartington instrument Ltd, Oxford. | MS-2B, |  | Institute | IIG | Geological and soil surveys, palaeomagnetics, palaeoclimatic studies, archaeological prospecting, sedimentology, core logging/correlation. | DST |  |  |  | Research Equipment | Up
MMTD Thermal Demagnetizer | MMTD | KSKGRL Allahabad. | Magnetic Measurements , UK | MMTD-80 |  | Institute | IIG | This instrument is used in palaeomagnetic investigations to demagnetize (Magnetic cleaning technique) the rock specimens and thus to remove the unwanted viscous and/or secondary components to obtain ChRM directions | DST |  |  |  | Research Equipment | Up
Alternating Field (AF) Demagnetizer | DEMAG | IIG, HQ New Panvel | Molspin Ltd, UK. | AF Demagnetizer |  | Institute | IIG | This instrument is used in palaeomagnetic investigations to demagnetize the rock specimens and thus to remove the unwanted viscous and/or secondary components to isolate the ChRM directions. | DST |  |  |  | Research Equipment | Up
Pulse Magnetizer |  | IIG, HQ New Panvel | Molspin Ltd, UK. | MMPM |  | Institute | IIG | Used in rock magnetic (environmental magnetism) studies to impart IRM and SIRM and thus to understand the magnetic mineralogy. | DST |  |  |  | Research Equipment | Up
Spinner Magnetometer Minispin |  | IIG, HQ New Panvel | Molspin Ltd, UK. | MMPM |  | Institute | IIG | Used in paleomagnetic and rock magnetic studies to measure remanence magnetizations (NRM, ARM and IRM) of rocks, sediments and soils. | DST |  |  |  | Research Equipment | Up
JR6 Spinner Magnetometer | JR6 | KSKGRL Allahabad. | AGICO, Czech Republic | JR6 |  | Institute | IIG | This instrument is used in palaeomagnetic applications, to measure Natural Remanent Magnetization (NRM) of the rock specimens with high precision. | DST |  |  |  | Research Equipment | Up
Anisotropy of magnetic susceptibility meter (KLY-2 Kappabridge) | KLY-2 | KSKGRL Allahabad. | Geofyzica n. p. Brno, Czechoslovakia | KLY-2 |  | Institute | IIG | To determine stress and strain ellipsoidal pattern, foliation plane and lineation direction to trace deformation path and tectonic movement. To measure preferred orientation fabrics of the magnetic minerals in the sedimentary rocks to reconstruct palaeo-flow directions. | DST |  |  |  | Research Equipment | Up
Vibrating Sample Magnetometer (VSM) | VSM | KSKGRL Allahabad. | MicroMag-3900 Princeton, USA | MicroMag 3900 |  | Institute | IIG | It is widely used to determine the domain sizes of the ferromagnetic minerals | DST |  |  |  | Research Equipment | Up
2G Enterprises SQUID Magnetometer | SQUID | KSKGRL Allahabad. | 2G Enterprises-, USA | SRM 755 |  | Institute | IIG | Using this kind of equipment we can measure: (a) The real and imaginary components of the AC magnetic susceptibility as a function of frequency, temperature, AC magnetic field amplitude and DC magnetic field value. | DST |  |  |  | Research Equipment | Up
High Performance Computing System (HPC) | HPC | IIG, HQ New Panvel | Fujitsu | 256 Core Computing Cluster integrated with the Intel(R) Xeon based 64-bit processors |  | Institute | IIG | This HPC system can be used for modeling the Earth-Space system processes. | DST |  |  |  | Research Equipment | Up