## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Atomic Force Microscope (AFM) | AFM |  | SPM SmartSPM™-1000 | NA | NA |  |  |  | Atomic force microscopy is arguably the most versatile and powerful microscopy technology for studying samples at Nano scale. It provides various types of surface measurements to the needs of scientists and engineers. It can generate images at atomic resolution with minimum sample preparation. source:https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=2 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=2 | Up | Characterization | [7 empty] | istem.india@gmail.com
Zetasizer Nano ZS90 | Zeta |  | Zetasizer Nano ZS90 | NA | NA |  |  |  | The Malvern Zetasizer series measures three characteristics of particles or molecules in a liquid medium (particle size, zeta potential and molecular weight​).source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=3 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=3 |  | Characterization | [7 empty] | istem.india@gmail.com
Vacuum FTIR | FTIR |  | Bruker Vertex 80 and Hyperion 2000 microscope | NA | NA |  |  |  | A spectrometer is an optical instrument used to measure properties of light over a specific portion of the electromagnetic spectrum, the FTIR (Fourier Transform Infrared) spectrometer obtains an infrared spectra by first collecting an interferogram of a sample signal using an interferometer, then performs a Fourier Transform on the interferogram to obtain the spectrum and the sample components.source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=6 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=6 |  | Characterization | [7 empty] | istem.india@gmail.com
Drop Shape Analyzer | Anayzer |  | Theta Lite | NA | NA |  |  |  | ​Is an advanced and versatile contact angle meter for highly accurate measurements using a monochromatic cold LED light source and a smooth lighting integration sphere to minimize sample evaporation. Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=7 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=7 |  | Characterization | [7 empty] | istem.india@gmail.com
High Out Power Solar Simulator | Simulator |  | ABET Technology Sun2000 | NA | NA |  |  |  | Also known as the artificial sun, it provides illumination that mimics the natural sunlight. The device equips the laboratories with the essential measuring facility for investigating the solar cells, plastics, novel materials, and sunscreens.Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=8 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=8 |  | Characterization | [7 empty] | istem.india@gmail.com
LED Selectable Wavelength Bands Solar Simulator | Simulator |  | Verasol 2-LED solar simulator | NA | NA |  |  |  | This solar simulator independently drives multiple wavelengths of LED's spaced over the spectrum of 400 nm to 1100 nm to ensure a spectral match of AM1.5G meeting Class A requirements. The independent control of each LED wavelength allows the user to tune the output to the specific requirements of their test.Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=9 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=9 |  | Characterization | [7 empty] | istem.india@gmail.com
Parameter Analyzer | Anayzer |  | Keithley 4200A | NA | NA |  |  |  | A fully- integrated parameter analyzer, which provides valuable and reliable analysis for MOSFET, BJT ​Transistors, Materials Characterization, Non-volatile Memory Devices, Resistivity & Hall Effect Measurements, NBTI/PBTI, III-V Devices, Failure Analysis, Nanoscale Devices, Diodes and pn Junctions, Solar Cells, Sensors, MEMS Devices, Electrochemistry, LED and OLED source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=10 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=10 |  | Characterization | [7 empty] | istem.india@gmail.com
Ellipsometery |  |  | NA | NA | NA |  |  |  | The most accurate and versatile ellipsometer for research on all types of materials: semiconductors, dielectrics, polymers, metals, multi-layers, and more. It combines high accuracy and precision with a wide spectral range - 193 to 2500nm. Variable wavelength and angle of incidence allow flexible measurement capabilities. Source:https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=11 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=11 |  | Characterization | [7 empty] | istem.india@gmail.com
Nano-Indenter |  |  | Bruker's Hysitron TI Premier Series | NA | NA |  |  |  | Bruker's Hysitron TI Premier Series was specifically designed to deliver industry-leading, quantitative nanomechanical characterization within a compact platform. Built upon proven Hysitron technology, the Hysitron TI Premier provides an essential toolkit for your nanoscale mechanical and tribological testing. Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=12 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=12 |  | Characterization | [7 empty] | istem.india@gmail.com
3D Optical Profilometer | The Profilm 3D |  | NA | NA | NA |  |  |  | Optical profilometer is interference microscopes, and is used to measure surface texture, finish, roughness, and topography​ on surfaces with great precision using the wavelength of light as the ruler. Optical interference profiling is a well-established method of obtaining accurate surface measurements.Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=13 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=13 |  | Characterization | [7 empty] | istem.india@gmail.com
UV-VIS-NIR Spectrophotometer | UVVIS |  | The Cary 5000 | NA | NA |  |  |  | The Cary 5000 is a high performance UV-Vis-NIR spectrophotometer with superb photometric performance in the (175-3300) nm range. Using a PbSmart detector, the Cary 5000 extends its NIR range to 3300 nm making it a powerful tool for materials science research. . Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=31 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=31 |  | Characterization | [7 empty] | istem.india@gmail.com
Reflective Light Microscope |  |  | OKN177 | NA | NA |  |  |  | Reflected light microscopy is often referred to as incident light, epi-illumination, or metallurgical microscopy, and is the method of choice for fluorescence and for imaging specimens that remain opaque even when ground to a thickness of few microns.. Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=33 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=33 |  | Characterization | [7 empty] | istem.india@gmail.com
Vibro Viscometer |  |  | Vibro SV-10 | NA | NA |  |  |  | The SV series has of 2 thin sensors plates that are driven with electromagnetic force at the same frequency by vibrating at constant sine-wave vibration in reverse phase like a tuning-fork.Source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=43 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=43 |  | Characterization | [7 empty] | istem.india@gmail.com
Potentiostat |  |  | PGSTAT302N | NA | NA |  |  |  | A Potentiostat is an electronic instrument that controls the voltage difference between a Working Electrode and a Reference Electrode. Both electrodes are contained in an electrochemical cell. The Potentiostat implements this control by injecting current into the cell through an Auxiliary, or Counter, electrode.source: https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=45 | Nanotechnology Institute | Characterization Lab |  | https://www.just.edu.jo/FacultiesandDepartments/nano/Pages/lab-device-details.aspx?LID=1&DID=45 |  | Characterization | [7 empty] | istem.india@gmail.com