## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Real Time PCR |  | MAL |  |  |  | Internal | NII |  | REAL TIME PCR | National Institute of Immunology | MAL |  |  | Up | Characterization |  |  |  | AGILENT TECHNOLOGIES INDIA PVT.LTD | genomics_india@agilent.com | AGILENT TECHNOLOGIES INDIA PVT.LTD | genomics_india@agilent.com | stores@nii.ac.in
Inverted Microscope |  | PDC-II |  |  |  | Internal | NII |  | INVERTED MICROSCOPE | National Institute of Immunology | PDC-II |  |  | Up | Characterization |  |  |  | OLYMPUS | vishal.sahu@olympus.com | OLYMPUS | vishal.sahu@olympus.com | stores@nii.ac.in
Lyophilizer |  | PDC-II |  |  |  | Internal | NII |  | Lypholizer | National Institute of Immunology | PDC-II |  |  | Up | Characterization |  |  |  | IISHIN Corporation(R.K.INSTRUMENT) |  | IISHIN Corporation(R.K.INSTRUMENT) |  | stores@nii.ac.in
Air Shower |  | SAF |  |  |  | Internal | NII |  | AIR SHOWER | National Institute of Immunology | SAF |  |  | Up | Fabrication |  |  |  | LABSOL ENTERPRISES | info@labsol.co.in | LABSOL ENTERPRISES | info@labsol.co.in | stores@nii.ac.in
Air Shower |  | SAF |  |  |  | Internal | NII |  | AIR SHOWER | National Institute of Immunology | SAF |  |  | Up | Fabrication |  |  |  | LABSOL ENTERPRISES | info@labsol.co.in | LABSOL ENTERPRISES | info@labsol.co.in | stores@nii.ac.in
IVC System |  | SAF |  |  |  | Internal | NII |  | IVC SYSTEM | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | CITIZEN INDUSTRIES | prithvi@citizenindia.com | CITIZEN INDUSTRIES | prithvi@citizenindia.com | stores@nii.ac.in
IVC System |  | SAF |  |  |  | Internal | NII |  | IVC SYSTEM | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | CITIZEN INDUSTRIES | prithvi@citizenindia.com | CITIZEN INDUSTRIES | prithvi@citizenindia.com | stores@nii.ac.in
IVC System |  | SAF |  |  |  | Internal | NII |  | IVC SYSTEM | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | CITIZEN INDUSTRIES | prithvi@citizenindia.com | CITIZEN INDUSTRIES | prithvi@citizenindia.com | stores@nii.ac.in
IVC System |  | SAF |  |  |  | Internal | NII |  | IVC SYSTEM | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | CITIZEN INDUSTRIES | prithvi@citizenindia.com | CITIZEN INDUSTRIES | prithvi@citizenindia.com | stores@nii.ac.in
IVC System |  | SAF |  |  |  | Internal | NII |  | IVC SYSTEM | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | CITIZEN INDUSTRIES | prithvi@citizenindia.com | CITIZEN INDUSTRIES | prithvi@citizenindia.com | stores@nii.ac.in
IVC System |  | SAF |  |  |  | Internal | NII |  | IVC SYSTEM | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | CITIZEN INDUSTRIES | prithvi@citizenindia.com | CITIZEN INDUSTRIES | prithvi@citizenindia.com | stores@nii.ac.in
Bead Beater |  | STL-II |  |  |  | Internal | NII |  | BEAD BEATER | National Institute of Immunology | STL-II |  |  | Up | Characterization |  |  |  | LINK BIOTECH | linkbiotech@gmail.com | LINK BIOTECH | linkbiotech@gmail.com | stores@nii.ac.in
Cryotome |  | MGL |  |  |  | External | RNAP |  | CRYOTOME | National Institute of Immunology | MGL |  |  | Up | Characterization |  |  |  | VISSION DIAGNOSTIC | shweta.kohli@vision-groups.com | VISSION DIAGNOSTIC | shweta.kohli@vision-groups.com | stores@nii.ac.in
Gel Doc Systems |  | STL-II |  |  |  | External | MHPA |  | GEL DOC SYSTEMS | National Institute of Immunology | STL-II |  |  | Up | Characterization |  |  |  | GE HEALTHCARE | Mita.Gupta@cytiva.com | GE HEALTHCARE | Mita.Gupta@cytiva.com | stores@nii.ac.in
Deep Freezer 80 |  | IEL |  |  |  | External | UPHI |  | 80 DEEP FREEZER | National Institute of Immunology | IEL |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | stores@nii.ac.in
Protein Purification System |  | PDC-II |  |  |  | Internal | NII |  | PROTEIN PURIFICATION SYSTEM | National Institute of Immunology | PDC-II |  |  | Up | Characterization |  |  |  | GE HEALTHCARE | Mita.Gupta@cytiva.com | GE HEALTHCARE | Mita.Gupta@cytiva.com | stores@nii.ac.in
Protein Purification System |  | EGE |  |  |  | Internal | NII |  | PROTEIN PURIFICATION SYSTEMS | National Institute of Immunology | EGE |  |  | Up | Characterization |  |  |  | GE HEALTHCARE | Mita.Gupta@cytiva.com | GE HEALTHCARE | Mita.Gupta@cytiva.com | stores@nii.ac.in
Microbiological incubator |  | STL-II |  |  |  | Internal | NII |  | MICROBIOLOGICAL INCUBATOR | National Institute of Immunology | STL-II |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | stores@nii.ac.in
Inhalation Exposure System |  | STL-II |  |  |  | Internal | NII |  | INHSLATION EXPOSUZER SYSTEM | National Institute of Immunology | STL-II |  |  | Up | Characterization |  |  |  | GLASS CAL LLC | rakesh@technoconcept.co.in | GLASS CAL LLC | rakesh@technoconcept.co.in | stores@nii.ac.in
Refrigerated Cabinet |  | MAL |  |  |  | External | GECU |  | REFRIGERATED CABINET | National Institute of Immunology | MAL |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | stores@nii.ac.in
Refrigerated Cabinet |  | MAL |  |  |  | External | GECU |  | REFRIGERATED CABINET | National Institute of Immunology | MAL |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | stores@nii.ac.in
Microvolume Spectrophotometer |  | SAF |  |  |  | Internal | NII |  | MICROVOLUME SPECTROPHOTOMETER | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | GENEMATE | office@genemate-tpl.com | GENEMATE | office@genemate-tpl.com | stores@nii.ac.in
Cold Cabinet |  | ERL |  |  |  | Internal | NII |  | COLD CABINET | National Institute of Immunology | ERL |  |  | Up | Characterization |  |  |  | BIOCHROM LTD | biochrominter@yahoo.com | BIOCHROM LTD | biochrominter@yahoo.com | stores@nii.ac.in
Upright Ultra Low Deep Freezer Minus 86 Degree C |  | IML | Seltis | ST-86V585 |  | Internal | NII |  | Minus 86°C UP-RIGHT ULTRA LOW DEEP FREEZER MAKE SELTIS, MODEL NO. ST-86V585, 220V/50Hz-01No., Storage Racks Stainless Steel-12No., Storage Box ("2") & Cell Divider (Paper Box)-64No., Storage Box ("2") & Cell Divider (Polycarbonate)-64No., Cryo Gloves-01No. | National Institute of Immunology | IML |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | stores@nii.ac.in
CFX96 Touch Real Time PCR |  | DRCCL |  |  |  | Internal | NII |  | CFX96 TOUCH REAL TIME-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL BACK PACK-2NOS, CANON IMAGE CLASS MF643 CDW A/O PRINTER-1NO | National Institute of Immunology | DRCCL |  |  | Up | Characterization |  |  |  | BIO RAD LABORATORIES | sales.india@bio-rad.com | BIO RAD LABORATORIES | sales.india@bio-rad.com | stores@nii.ac.in
TS Series Continuous Flow Models Benchtop TS Series Target |  | IEL |  |  |  | Internal | NII |  | TS Series Continuous Flow Models BENCH TOP TS Series 0.75KW-01No., Recirculating Chiller Model : SS8010-01No., Online 3KVA UPS with 20 minutes back up-01No., 40kpsi Inlet valve -01No., HP Seal Cylinder Package -01No., Jet-01No., O Ring Kit-01No., Target-01No. | National Institute of Immunology | IEL |  |  | Up | Characterization |  |  |  | LABINDIA INSTRUMENTS PVT .TD. | narangj@labindia.com | LABINDIA INSTRUMENTS PVT .TD. | narangj@labindia.com | stores@nii.ac.in
CFX96 Touch Real Time PCR |  | EGE |  |  |  | Internal | NII |  | CFX96 TOUCH REAL TIME-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL BACK PACK-2NOS, CANON IMAGE CLASS MF643 CDW A/O PRINTER-1NO | National Institute of Immunology | EGE |  |  | Up | Characterization |  |  |  | BIO-RAD | sales.india@bio-rad.com | BIO-RAD | sales.india@bio-rad.com | stores@nii.ac.in
CFX96 Touch Real Time PCR |  | SAF |  |  |  | Internal | NII |  | CFX96 TOUCH REAL TIME-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL BACK PACK-2NOS, CANON IMAGE CLASS MF643 CDW A/O PRINTER-1NO | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | BIO-RAD | sales.india@bio-rad.com | BIO-RAD | sales.india@bio-rad.com | stores@nii.ac.in
PCR Machine |  | DRG |  |  |  | Internal | NII |  | PCR Machine Proflex 3 x 32 well PCR system-01No., MicroAmp™ Optical 8-Tube Strip, 0.2MI, 125strips-08No., MicroAmp™ Optical 8-Cap Strips, 300 strips-08No., Tubes, 0.2mL, flat cap, 1000 tubes-05No. | National Institute of Immunology | DRG |  |  | Up | Characterization |  |  |  | NEXTGEN LIFE SCIENCES PVT LTD | sanjeev.singh@nextgenlife.com | NEXTGEN LIFE SCIENCES PVT LTD | sanjeev.singh@nextgenlife.com | stores@nii.ac.in
PCR Machine |  | ERL |  |  |  | Internal | NII |  | PCR Machine Proflex 3 x 32 well PCR system-01No., MicroAmp™ Optical 8-Tube Strip, 0.2MI, 125strips-08No., MicroAmp™ Optical 8-Cap Strips, 300 strips-08No., Tubes, 0.2mL, flat cap, 1000 tubes-05No. | National Institute of Immunology | ERL |  |  | Up | Characterization |  |  |  | NEXTGEN LIFE SCIENCES PVT LTD | sanjeev.singh@nextgenlife.com | NEXTGEN LIFE SCIENCES PVT LTD | sanjeev.singh@nextgenlife.com | stores@nii.ac.in
Individually Ventilated Caging System |  | SAF |  |  |  | Internal | NII |  | INDIVIDUAL VENTILATED CAGING-1Lot, Supply/Exhaust HEPA Filter-10Nos. 200 ml Water botttles with all accessories-250Nos. | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | CITIZEN INDUSTRIES | prithvi@citizenindia.com | CITIZEN INDUSTRIES | prithvi@citizenindia.com | stores@nii.ac.in
CFX96 Touch Real Time PCR |  | DRCCL |  |  |  | Internal | NII |  | CFX96 TOUCH REAL TIME-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL LATITUDE 3400 SERIES LAPTOP-1NO, DELL BACK PACK-2NOS, CANON IMAGE CLASS MF643 CDW A/O PRINTER-1NO | National Institute of Immunology | DRCCL |  |  | Up | Characterization |  |  |  | BIO-RAD | sales.india@bio-rad.com | BIO-RAD | sales.india@bio-rad.com | stores@nii.ac.in
nanoString nCounter Flex Analysis System |  | CF |  |  |  | Internal | NII |  | nanoString nCounter® Flex Analysis System-01No., nCounter Training Kit-01No., 48 custom target assay with 48 samples for Human-01No., 48 custom target assay with 48 samples for Mouse-01No., 48 custom target assay with 48 samples C. elegans-01No., 48 genes and 48 samples-7Nos., Branded 2KVA online UPS with 30 mins backup to run the system-01No., | National Institute of Immunology | CF |  |  | Up | Characterization |  |  |  | IMPERIAL LIFE SCINECE PVT. LTD. | bk.poddar@imperialls.com | IMPERIAL LIFE SCINECE PVT. LTD. | bk.poddar@imperialls.com | stores@nii.ac.in
High Throughput Single Cell Genomics |  | CF |  |  |  | Internal | NII |  | HIGHTHROUGHPUT SINGLE CELL GENOMICS | National Institute of Immunology | CF |  |  | Up | Characterization |  |  |  | PRAMAS LIFE SCIENES PVT. LTD. | sunita.sharma@biodigitalindia.com | PRAMAS LIFE SCIENES PVT. LTD. | sunita.sharma@biodigitalindia.com | stores@nii.ac.in
Biological Safety Cabinets SterilGARD e3 Class II Type A2 |  | CGB |  |  |  | External | MNMG |  | SterilGARD® e3 Class II Type A2 Biological Safety Cabinets-01No., Channel Stand SG404-01No., UV Light 4-01No., ULPA Filter 99.999%-01No., Canopy-01No., IQ, OQ, PQ-01No. | National Institute of Immunology | CGB |  |  | Up | Characterization |  |  |  | THE BAKER COMPANY | neha@aegisbioconsulting.com | THE BAKER COMPANY | neha@aegisbioconsulting.com | stores@nii.ac.in
Refrigerated CentriVap Benchtop Concentrator with Glass LID |  | CGB |  |  |  | External | MNMG |  | Refrigerated CentriVap Benchtop Concentrator with Glass Lid, 230V, 50/60Hz, British (UK) Plug & receptacle -01No., CentriVap 12-13 mm Acid-Resistant Rotor-01No., CentriVap Ultra-Low Cold Trap, -85° C, 230V, 50Hz, British (UK) Plug & Receptacle-01No., Glass Insert for a 4 Liter Cold Trap-01No., Vacuum Pump with Filter Exhaust, 117 liters/min., 230V, 50/60Hz with IEC plug-01No., Strobe light -01No., Portable system, two shelf cart-01No. | National Institute of Immunology | CGB |  |  | Up | Fabrication |  |  |  | LABCONCO CORPORATION | biogentekbg@gmail.com | LABCONCO CORPORATION | biogentekbg@gmail.com | stores@nii.ac.in
Sorvall ST 8 Compact Centrifuge Series |  | STL-II | Thermo Scientific | Sorvall ST 8R |  | External | CRIS |  | Thermo Scientific™ Sorvall™ ST 8 compact centrifuge series Model: Sorvall ST 8R-01No., Microclick Fixed agnle rotor 24x1.5/2ml tubes-01NO., TX-150 Swinging Bucket Rotor, 90°, Rmax 144 mm-01No. | National Institute of Immunology | STL-II |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | stores@nii.ac.in
OCEANUS Cabinet Washer Single Door Automatic Cage and Bottle Washing Machine Overall Dimensions |  | PN |  |  |  | Internal | NII |  | OCEANUS Cabinet Washer (Single door) Automatic cage and Bottle Washing Machine. Overall dimensions: 2050 x 850 x 2050 h mm (80.7" x 33.5" x 80.7") Max height: 2500 mm (94.5")-01No., Power suppplied: 440V - 50Hz (three-phases+neutral+earth)-01No., On board exhaust fan-01No., Electrically heated unit kit (hot water supply required)-01No., Electrically driven unit upgrade (valves and arms movement). No compressed air required-01No. | National Institute of Immunology | PN |  |  | Up | Characterization |  |  |  | IWT S.R.L | sales@samitekinstruments.com | IWT S.R.L | sales@samitekinstruments.com | stores@nii.ac.in
ARIA CS48 Cage Change Station with Support Stand Airflow Control and LED Dimmer Light |  | PN |  |  |  | Internal | NII |  | ARIA CS48 Cage Change Station with electronic adjustable support stand and electronic automatic adjustale airflow control, LED Dimmer light-03No. | National Institute of Immunology | PN |  |  | Up | Characterization |  |  |  | TECHNIPLAST S.P.A |  | TECHNIPLAST S.P.A |  | stores@nii.ac.in
ARIA CS48 Cage Change Station with Support Stand Airflow Control and LED Dimmer Light |  | PN |  |  |  | Internal | NII |  | ARIA CS48 Cage Change Station with electronic adjustable support stand and electronic automatic adjustale airflow control, LED Dimmer light-03No. | National Institute of Immunology | PN |  |  | Up | Characterization |  |  |  | TECHNIPLAST S.P.A |  | TECHNIPLAST S.P.A |  | stores@nii.ac.in
ARIA CS48 Cage Change Station with Support Stand Airflow Control and LED Dimmer Light |  | PN |  |  |  | Internal | NII |  | ARIA CS48 Cage Change Station with electronic adjustable support stand and electronic automatic adjustale airflow control, LED Dimmer light-03No. | National Institute of Immunology | PN |  |  | Up | Characterization |  |  |  | TECHNIPLAST S.P.A |  | TECHNIPLAST S.P.A |  | stores@nii.ac.in
Forma Steri Cycle i160 CO2 Incubators with Stainless Steel Chambers |  | MGL | Thermo Scientific |  |  | External | RGMP |  | Thermo Scientific™ Forma™ Steri-Cycle™ i160 CO2 Incubators with Stainless-Steel Chambers-01No., Shakers for Co2 incubators-01No., Universal aluminium platform-01No., Sticky mat 140 X 140 mm-01No. | National Institute of Immunology | MGL |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC | deepa.khati@thermofisher.com | stores@nii.ac.in
Freezer -80 Degree C |  | AK |  |  |  | External | RGMP |  | -80C FREEZER | National Institute of Immunology | AK |  |  | Up | Characterization |  |  |  | THERMO FISHER(HONGKONG) | deepa.khati@thermofisher.com | THERMO FISHER(HONGKONG) | deepa.khati@thermofisher.com | stores@nii.ac.in
AKTA Flux 6 with Tubing Kit |  | PDC-II |  |  |  | External | PPIP |  | AKTA FLUX 6 with tubing kit-01NO., Tubing Kit (Cat#29094681, Qty=1), Transfer PUMP (Cat#29094019, Qty=1), Pump tubing (Cat# 29136668, Qty=1), 50 KDA cartridge, 420cm2 (Cat# UFP-50-E-4MA, Qty=1), 30 KDA cartridge, 420cm2 (Cat# UFP-30-E-4MA, Qty=1), 5 KDA cartridge, 650cm2 (Cat# UFP-5-C-4MA, Qty=1), 10 KDA cartridge, 650cm2 (Cat# UFP-10-C-4MA, Qty=1), 50 KDA cartridge, 650cm2 (Cat# UFP-50-C-4MA, Qty=1), 500 KDA cartridge, 650cm2 (Cat# UFP-500-C-4MA, Qty=1), 0.2 Micron cartridge (Cat# CFP-2-E-4MA, Qty=1), ULTA Pure SG 0.2 μm 2" Capsule Filter, 0.5"HB connections, gamma sterilized (3/pk) (Cat# KMPHSG9202HH, Qty=7), Permeate control pump (Cat# 29094675, Qty=1), Sample pump S9 (Cat# 29027745, Qty=1), Sample inlet valve kit (Cat# 29027746, Qty=1), PEEK TUBING ID 0,75MM (1/16in) (Cat# 18111253, Qty=1), Tubing Connector Flangeless/M6 Female (2/pk) (Cat# 18100368, Qty=1), Tubing Kit (Cat# 29094681, Qty=1), Compatible computer (Locally supplied)-01No. | National Institute of Immunology | PDC |  |  | Up | Characterization |  |  |  | GE HEALTHCARE | Mita.Gupta@cytiva.com | GE HEALTHCARE | Mita.Gupta@cytiva.com | stores@nii.ac.in
Forma FDE Series Ultra Low Temperature Freezer Field Installed Co2 Backup System with Stainless Steel Interior Option for Peek |  | ERL | Thermo Scientific |  |  | Internal | NII |  | Thermo Scientific™ Forma™ FDE Series Ultra-Low temperature Freezer-01No., Field installed Co2 Backup system-01No. Stainless Steel interior option for peek-01No. | National Institute of Immunology | ERL |  |  | Up | Characterization |  |  |  | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | stores@nii.ac.in
Forma FDE Series Ultra Low Temperature Freezer with Field installed Co2 Backup System and Stainless Steel Interior Option for Peek |  | VSP | Thermo Scientific |  |  | Internal | NII |  | Thermo Scientific™ Forma™ FDE Series Ultra-Low temperature Freezer-01No., Field installed Co2 Backup system-01No. Stainless Steel interior option for peek-01No. | National Institute of Immunology | VSP |  |  | Up | Characterization |  |  |  | THERMO FISHER | deepa.khati@thermofisher.com | THERMO FISHER | deepa.khati@thermofisher.com | stores@nii.ac.in
Confocal Microscope with Deep Tissue Imaging Capability |  | STL-II |  |  |  | Internal | NII |  | Confocal Microscope (Axio Observer 7 RP stand LSM 980 NLO with Definite Focus 2 ) with Deep tissue Imaging Capability -01NO., FOC-Objective W plan-Apochromat 40x/1.0 & Airyscan multiplex mode 8Y both hardware and software., Localy Supply - Online UPS system ( 6KVA + 3kVA) with battery backup for the complete system free of cost at the time of installation. | National Institute of Immunology | STL-II |  |  | Up |  |  |  |  | CARL ZEISS | anil.srivastava@zeiss.com | CARL ZEISS | anil.srivastava@zeiss.com | stores@nii.ac.in
Multiskan Sky with touchscreen cuvette and µDrop Plate |  | STL-II |  |  |  | External | MMTP |  | Multiskan Sky with touchscreen, cuvette and µDrop Plate-01No. | National Institute of Immunology | STL-II |  |  | Up | Characterization |  |  |  | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | stores@nii.ac.in
Multiskan Sky with touchscreen cuvette µDrop Plate with Desktop Laptop Computer |  | AG |  |  |  | Internal | NII |  | Multiskan Sky with touchscreen, cuvette and µDrop Plate-01No. Desktop/laptop computer-01No. | National Institute of Immunology | AG |  |  | Up | Characterization |  |  |  | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | stores@nii.ac.in
CO2 Incubator |  | STL-II |  |  |  | External | MMTP |  | CO2 INCUBATOR | National Institute of Immunology | STL-II |  |  | Up | Characterization |  |  |  | THERMO FISHER | deepa.khati@thermofisher.com | THERMO FISHER | deepa.khati@thermofisher.com | stores@nii.ac.in
Liquid Chromatography System |  | PDC-II |  |  |  | External | PPIP |  | LIQUID CHROMATOGRAPHY SYSTEM | National Institute of Immunology | AKP |  |  | Up | Characterization |  |  |  | GE HEALTHCARE | Mita.Gupta@cytiva.com | GE HEALTHCARE | Mita.Gupta@cytiva.com | stores@nii.ac.in
FPLC Protein Purification |  | PDC-II |  |  |  | Internal | NII |  | FPLC PROTEIN PURIFICATION | National Institute of Immunology | AKP |  |  | Up | Characterization |  |  |  | GE HEALTHCARE | Mita.Gupta@cytiva.com | GE HEALTHCARE | Mita.Gupta@cytiva.com | stores@nii.ac.in
Centrifuge 5810 R 230 V/50-60 Hz incl Rotor S-4-104 and 15/50 mL Adapters for conical tubes |  | MIL |  |  |  | Internal | NII |  | Centrifuge 5810 R, 230 V/50-60 Hz, incl. rotor S-4-104 and 15/50 mL adapters for conical tubes-01No., Plate buckets (aerosol-tight capable), Rotor S-4-104, Set of 4-01No., Fixed-angle rotor F-34-6-38, 6 x 85 ml incl. lid -01No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 50 ml falcon, 2 pcs.-03No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 15 ml falcon, 2 pcs.-03No. | National Institute of Immunology | MIL |  |  | Up | Characterization |  |  |  | EPPENDORF AG | patel.t@eppendorf.co.in | EPPENDORF AG | patel.t@eppendorf.co.in | stores@nii.ac.in
Multiskan Sky with touchscreen cuvette and µDrop Plate with Desktop Laptop Computer |  | GRL |  |  |  | Internal | NII |  | Multiskan Sky with touchscreen, cuvette and µDrop Plate-01No. Desktop/laptop computer-01No. | National Institute of Immunology | GRL |  |  | Up | Characterization |  |  |  | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | stores@nii.ac.in
BD FACSAria Fusion Cell Sorter System with five Laser |  | CF | Becton Dickinson USA |  |  | Internal | NII |  | BD FACSAria Fusion 5 Laser Cell Sorter System Make: Becton Dickinson USA with 5 Laser configuration i. 405 NM: Violet Laser ii. 488 NM: Blue Laser iii. 640 NM: Red Laser iv. 561 NM: Yellow Green Laser v. 355 NM: UV Laser -01No., 5 KVA UPS with 30 min back up will be provided locally, Start-up kits including CST Beads, Accudrop Beads, Rainbow Beads, 3000 liters of sheath fluid (1000 liters/Year for three years) & sample acquisition tubes (20000 tubes)., A Branded Color Laserjet Printer., Two times (as and when required) post installation training session for the system and software will be provided by Application Specialist from BD Insdia., Start-up reagents/Consumables will be provided locally., External Data storage drive (Terastation) along with two laserjet color printer with two additional cartridges will be provided One standalone desktop computer will be provided., One 2-Ton split air conditioner will be provided., Two license of Flow Jo software (Dongle) will be provided., BD India will provided trained personnel for the handling of high efficiency cell sorter machine for 5 years from the date of Installation. | National Institute of Immunology | CF |  |  | Up | Characterization |  |  |  | BECTON DICKINSON | sumit_khurana@bd.com | BECTON DICKINSON | sumit_khurana@bd.com | stores@nii.ac.in
Centrifuge 5810 R 230 V/50-60 Hz incl Rotor S-4-104 and 15/50 mL Adapters for Conical Tubes |  | IEL |  |  |  | Internal | NII |  | Centrifuge 5810 R, 230 V/50-60 Hz, incl. rotor S-4-104 and 15/50 mL adapters for conical tubes-01No., Plate buckets (aerosol-tight capable), Rotor S-4-104, Set of 4-01No., Fixed-angle rotor F-34-6-38, 6 x 85 ml incl. lid -01No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 50 ml falcon, 2 pcs.-03No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 15 ml falcon, 2 pcs.-03No. | National Institute of Immunology | IEL |  |  | Up | Characterization |  |  |  | EPPENDORF AG | patel.t@eppendorf.co.in | EPPENDORF AG | patel.t@eppendorf.co.in | stores@nii.ac.in
Multiskan Sky with Touchscreen Cuvette and µDrop Plate |  | SAF |  |  |  | Internal | NII |  | Multiskan Sky with touchscreen, cuvette and µDrop Plate-01No. | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | stores@nii.ac.in
Forma FDE Series Ultra Low Temperature Freezer |  | IBL | Thermo Scientific |  |  | Internal | NII |  | Thermo Scientific™ Forma™ FDE Series Ultra-Low temperature Freezer-01No., Field installed Co2 Backup system-01No. Stainless Steel interior option for peek-01No. | National Institute of Immunology | IBL |  |  | Up | Characterization |  |  |  | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | stores@nii.ac.in
Centrifuge 5810 R 230 V/50-60 Hz incl Rotor S-4-104 and 15/50 mL Adapters for Conical Tubes |  | CEL |  |  |  | Internal | NII |  | Centrifuge 5810 R, 230 V/50-60 Hz, incl. rotor S-4-104 and 15/50 mL adapters for conical tubes-01No., Plate buckets (aerosol-tight capable), Rotor S-4-104, Set of 4-01No., Fixed-angle rotor F-34-6-38, 6 x 85 ml incl. lid -01No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 50 ml falcon, 2 pcs.-03No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 15 ml falcon, 2 pcs.-03No. | National Institute of Immunology | CEL |  |  | Up | Characterization |  |  |  | EPPENDORF AG | patel.t@eppendorf.co.in | EPPENDORF AG | patel.t@eppendorf.co.in | stores@nii.ac.in
Neon Transfection |  | VSP |  |  |  | Internal | NII |  | NEON TRANSFECTION | National Institute of Immunology | VSP |  |  | Up | Characterization |  |  |  | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | stores@nii.ac.in
ARIA CS48 Cage Change Station with Electronic adjustable |  | PN |  |  |  | Internal | NII |  | ARIA CS48 CAGE CHANGE STATION WITH ELECTRONIC ADJUSTABLE | National Institute of Immunology | PN |  |  | Up | Characterization |  |  |  | TECHNIPLAST S.P.A |  | TECHNIPLAST S.P.A |  | stores@nii.ac.in
Forma FDE Series Ultra Low Temperature Freezer |  | MSL | Thermo Scientific |  |  | Internal | NII |  | Thermo Scientific™ Forma™ FDE Series Ultra-Low temperature Freezer-01No., Field installed Co2 Backup system-01No. Stainless Steel interior option for peek-01No. | National Institute of Immunology | MSL |  |  | Up | Characterization |  |  |  | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | stores@nii.ac.in
Sorvall LYNX 4000 Superspeed centrifuge with Fiberlite F10-4x1000 LEX |  | PDC-I |  |  |  | Internal | NII |  | Sorvall LYNX 4000 Superspeed centrifuge-01No., Fiberlite F10-4x 1000 LEX-01No., BIOFlex HS Swinging Bucket Rotor-01No., Adpt 400mL to 175-250mL Cn PK 4-01No., A27-6x50mL Fixed-Angle Rotor-01No., Fiberlite F14-6x250y-01No., Adpt 50mL to 16mL OR PK2-03No., CENT TUBE OAKRG W/SC PPCO: 16ML (50/pack)-01No., CENT TUBE OAKRG W/SC PPCO:50ML (50/pack)-01No. | National Institute of Immunology | Sangeeta Bhaskar |  |  | Up | Characterization |  |  |  | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | THERMOFISHER (HONGKONG) | deepa.khati@thermofisher.com | stores@nii.ac.in
Centrifuge 5810 R 230 V/50-60 Hz incl Rotor S-4-104 and 15/50 mL Adapters for Conical Tubes |  | CBL-2 THIS EQUIPMENT TRANSFER TO DR. GOKHALE LAB(IML) |  |  |  | Internal | NII |  | Centrifuge 5810 R, 230 V/50-60 Hz, incl. rotor S-4-104 and 15/50 mL adapters for conical tubes-01No., Plate buckets (aerosol-tight capable), Rotor S-4-104, Set of 4-01No., Fixed-angle rotor F-34-6-38, 6 x 85 ml incl. lid -01No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 50 ml falcon, 2 pcs.-03No., Adapter for fixed-angle-rotor 6 x 85ml, for use with 1 tube 15 ml falcon, 2 pcs.-03No. | National Institute of Immunology | IML |  |  | Up | Characterization |  |  |  | EPPENDORF AG | patel.t@eppendorf.co.in | EPPENDORF AG | patel.t@eppendorf.co.in | stores@nii.ac.in
Liquid Chromatography System with Cold Cabinet |  | BKB |  |  |  | Internal | NII |  | LIQUID CHROMATOGRAPHY SYSTEM WITH COLD CABINET | National Institute of Immunology | BKB |  |  | Up | Characterization |  |  |  | GLOBAL LIFE SCIENCES SOLUTIONS SINGAPORE | Mita.Gupta@cytiva.com | GLOBAL LIFE SCIENCES SOLUTIONS SINGAPORE | Mita.Gupta@cytiva.com | stores@nii.ac.in
Zetasizer Nano ZS |  | BKB |  |  |  | External | SMPT |  | Zetasizer Nano ZS for the measurement of size, molecular weight, mobilty and zeta potential of dispersed particles and molecules in solution-01No., High temperature option-01No., Upgrade for flow mode operation-01No., Low-volume quartz batch cuvette-01No., Universal 'dip' cell kit-01No., 12mm O.D. square glass cell with square aperture and cap-01No., Box containing 10 disposable folded capillarly cells with 20 stoppers.-01No., Pack of 100 disposable 12mm o.d square polystyreme cuvettes with 100 stoppers-01No., 12mm O.D. square glass cell with circular aperture and stopper, for size measurement.-01No., Pack of 100 disposable plastic micro cuvettes with cap, for size measurement at 173° scattering angle Minimum volume is 40µL.-01No., For Data Acquisition A branded suitable PC to run the software and to acquire the data-01No., A branded Laptop (Mac/HP) will be supplied for offline data analysis-01No. | National Institute of Immunology | BKB |  |  | Up | Characterization |  |  |  | MALVERN PANAYTICAL INSTRUMENTS LTD | vanessa.johnson@malvern.com | MALVERN PANAYTICAL INSTRUMENTS LTD | vanessa.johnson@malvern.com | stores@nii.ac.in
Bio-Plex 200 Suspension Array System with Kit Validation Bioplex and V4 |  | CF |  |  |  | Internal | NII |  | Bio-Plex 200 Suspension Array System-01no., Kit, Validation, Bioplex, V4.-02NO., Bioplex Calibration kit-02NO., Bio-plex pro wash station-01NO., Bio-plex sheath fluid, 1X, 20L-75NO., 17 plex kit as per specification., a) Bio-plex pro Hu screening panel 14plx XPL-04NO., b) Bio-plex pro Human Th17 3plx EXP-04NO., Hu Cytokine screening panel 48-plex as per tender specs-03NO., Magnetic COOH Beads (MC100xx01)-01NO., Bioplex data pro software-01NO., Compatible PC with processor of 3 GHz (or higher), 32 GB RAM, 1 TB Hard drive, DVD/CD drive/writer, 22" LCD Monitor, external data storage drive (2TB) as per tender specs -01NO., Laser double-sided black and white printer as per tender specs -01NO., Online 5 KVA branded UPS with minimum 30 minutes backup as per tender spec-01NO., Bio-plex® Handheld magnetic washer-01NO., Microtiter plate shaker (0-3000 rpm)-01NO. | National Institute of Immunology | CF |  |  | Up | Characterization |  |  |  | BIO-RAD PACIFIC LTD | sales.india@bio-rad.com | BIO-RAD PACIFIC LTD | sales.india@bio-rad.com | stores@nii.ac.in
Inverted Research Microscope |  | RP |  |  |  | Internal | NII |  | INVERTED REASEARCH MICROSCOPE | National Institute of Immunology | RP |  |  | Up | Characterization |  |  |  | NIKON CORPORATION | towa@towaoptics.com | NIKON CORPORATION | towa@towaoptics.com | stores@nii.ac.in
Small Animal imaging System with X-ray |  | SAF |  |  |  | Internal | NII |  | SMALL ANIMAL IMAGING SYSTEM WITH X-RAY | National Institute of Immunology | SAF |  |  | Up | Characterization |  |  |  | SPECTRAL INSTRUMENTS IMAGING | harshit.singh@dssimage.com | SPECTRAL INSTRUMENTS IMAGING | harshit.singh@dssimage.com | stores@nii.ac.in
Multi Angle Light Scattering |  | AKS |  |  |  | Internal | NII |  | MULTI ANGLE LIGHT SCATTERING | National Institute of Immunology | AKS |  |  | Up | Characterization |  |  |  | WYATT TECHNOLOGY CORPORATION | parthasarathy@spincotech.com | WYATT TECHNOLOGY CORPORATION | parthasarathy@spincotech.com | stores@nii.ac.in
UV-VIS Detector |  | AKS |  |  |  | Internal | NII |  | UV-DIS DETECTOR | National Institute of Immunology | AKS |  |  | Up | Characterization |  |  |  | SHIMADZU ASIA PACIFIC PTE LTD | bashuki.mishra@spincotech.com | SHIMADZU ASIA PACIFIC PTE LTD | bashuki.mishra@spincotech.com | stores@nii.ac.in
Forma Steri Cycle i160 CO2 Incubator with Cell Locker System |  | IDL | Thermo Scientific |  |  | Internal | NII |  | Thermo Scientific™ Forma™ Steri-Cycle™ i160 CO2 incubator with the Thermo Scientific™ Cell Locker™ System-01No., Package of 6 Cell Lockers with stainless steel sliding tray and transport cover-01No. | National Institute of Immunology | IDL |  |  | Up | Characterization |  |  |  | THERMOFISHER AG | deepa.khati@thermofisher.com | THERMOFISHER AG | deepa.khati@thermofisher.com | stores@nii.ac.in
Imaging System |  | IIL |  | Vu-CF |  | Internal | NII |  | Imaging System (Model No.'Vü-CF')-01No., Laptop for Data Analysis (Supplied locally by Biodigital Pvt. Ltd)-01No., 2 KVA Online UPS (Supplied locally by Biodigital Pvt. Ltd)-01No., Transparent UV Trays-02No., UV Tube-01No., Colour Laser Printer-01No. | National Institute of Immunology | IIL |  |  | Up | Characterization |  |  |  | POP-BIO LTD | sunita.sharma@biodigitalindia.com | POP-BIO LTD | sunita.sharma@biodigitalindia.com | stores@nii.ac.in
Quantstudio Flex Real Time PCR System 96-well |  | IGL |  |  |  | Internal | NII |  | Quantstudio™ Flex Real-Time PCR System, 96-well, laptop-01No., Quantstudio™ 6 Flex system block upgrade kit, 384 well-01No., Standard Calibration Install Kit, 96-well-01No., Primer Express™ Software v3.0.1 License-01No., TaqMan™ Fast Reagent Starter Kit-01No., HRM Software Module for Quantstudio™ 6 & 7 Systems-01No., MeltDoctor™ HRM Calibration Standard (20X)-01No., MeltDoctor™ HRM Master Mix-01No., Taqman™ R Nase P Instrument Verification Plate-01No., Laptop with Windows 10 business, i7, 8th Gen generation Processor ,12GB RAM and 1 TB storage preloaded with antivirus for 5 years and MS office academic 2019, UPS 3KVA with 30Min backup (Supplied locally at the time of installation-01No., Superscript™ III Reverse Transcriptase-01No., FG-384-WELL Clear RXN Plate, EACH-01NO., MicroAmp™ Optical 96-Well Reaction Plate-01NO., MicroAmp™ Optical Adhesive Film-01NO., PowerUp™ SYBR Green Master Mix-01NO., | National Institute of Immunology | IGL |  |  | Up | Characterization |  |  |  | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | LIFE TECHNOLOGIES | sneha.gupta@thermofisher.com | stores@nii.ac.in
Upright Ultra Low Deep Minus 86 Degree C |  | SSS |  |  |  | Internal | NII |  | Minus 86°c UP-RIGHT ULTRA LOW DEEP | National Institute of Immunology | SSS |  |  | Up | Characterization |  |  |  | SELECT REFRIGERATION | info@selectrefrigeration.in | SELECT REFRIGERATION | info@selectrefrigeration.in | stores@nii.ac.in
CLARIOstar Plus Multi Mode Reader |  | NBL |  |  |  | Internal | NII |  | CLARIOstar Plus Multi Mode Reader | National Institute of Immunology | NBL |  |  | Up | Characterization |  |  |  | Biotron Healthcare (India) Pvt. Ltd. | rajkumar@biotronhealthcare.com | Biotron Healthcare (India) Pvt. Ltd. | rajkumar@biotronhealthcare.com | stores@nii.ac.in
Implen NanoPhotometer |  | IIL |  |  |  | Internal | NII |  | IMPLEN NANOPHOTOMETER | National Institute of Immunology | IIL |  |  | Up | Characterization |  |  |  | INKARP INSTRUMENTS | harishrawat@inkarp.co.in | INKARP INSTRUMENTS | harishrawat@inkarp.co.in | stores@nii.ac.in
Shimadzu i-Series LC2030C Plus HPLC System Cooler model |  | PEL |  |  |  | Internal | NII |  | Shimadzu i-Series HPLC system LC2030C Plus Cooler model | National Institute of Immunology | PEL |  |  | Up | Characterization |  |  |  | Spincotech Pvt. Ltd. | spincoaccounts@spincotech.com | Spincotech Pvt. Ltd. | spincoaccounts@spincotech.com | stores@nii.ac.in
Forma FDE Series Ultra Low Temperature Freezers |  | IIL | Thermo Scientific |  |  | Internal | NII |  | Thermo Scientific™ Forma™ FDE Series Ultra-Low temperature Freezers | National Institute of Immunology | IIL |  |  | Up | Characterization |  |  |  | THERMO FISHER SCIENTIFIC INDIA PRIVATE LIMITED | deepa.khati@thermofisher.com | THERMO FISHER SCIENTIFIC INDIA PRIVATE LIMITED | deepa.khati@thermofisher.com | stores@nii.ac.in
Imaging System |  | MGL |  | Vu-CF |  | Internal | NII |  | Imaging System (Model No.'Vü-CF')-1NO., Laptop for Data Analysis-1NO., 2 KVA Online UPS-1NO., Transparent UV Trays-2NO. UV Tube-1NO. | National Institute of Immunology | MGL |  |  | Up | Characterization |  |  |  | POP BIO LTD | sunita.sharma@biodigitalindia.com | POP BIO LTD | sunita.sharma@biodigitalindia.com | stores@nii.ac.in
Low Volume Multiskan Sky Spectrophotometer with Touchscreen Cuvette and µDrop Plate |  | SFBL |  |  |  | Internal | NII |  | LOW VOLUME SPECTROPHOTOMETER MULTISKAN SKY WITH TOUCHSCREEN, CUVETTE AND UDROP PLATE A SUITABLE DESKTOP/LAPTOP COMPUTER WITH THE FOLLOWING SPECIFICATION TO OPERATE THE EQUIPMENT. 8 GB MEMORY, 1TB HARD DISK DISC SPACE, WINDOWS 10 OR ANOTHER OPERATING SYSTEM FOR THE ANALYSIS SOFTWARE, 3.5 GHZ PROCESSOR. (1 YEAR WARRANTY) | National Institute of Immunology | SFBL |  |  | Up | Characterization |  |  |  | LIFE TECHNOLOGIES HOLDINGS PTE. LTD. | sneha.gupta@thermofisher.com | LIFE TECHNOLOGIES HOLDINGS PTE. LTD. | sneha.gupta@thermofisher.com | stores@nii.ac.in
CO2 Incubator Shaker |  | NBL |  |  |  | Internal | NII |  | CO2 INCUBATOR SHAKER | National Institute of Immunology | NBL |  |  | Up | Characterization |  |  |  | EPPENDORF AG | patel.t@eppendorf.co.in | EPPENDORF AG | patel.t@eppendorf.co.in | stores@nii.ac.in
Microprocessor Controlled Refrigerated Table Top Universal Centrifuge |  | NBL |  | Z 446 K |  | Internal | NII |  | Microprocessor Controlled Refrigerated Table Top Universal Centrifuge Model Z 446 K-1 NO., | National Institute of Immunology | NBL |  |  | Up | Characterization |  |  |  | HERMLE LABORTECHNIK |  | HERMLE LABORTECHNIK |  | stores@nii.ac.in
In Vivo CT Imaging System |  | CIF |  |  |  | Internal | NII |  | IN-VIVO CT IMAGINIG SYSTEM | National Institute of Immunology | CIF |  |  | Up | Characterization |  |  |  | PEKRINELEMER | rajeev.shukla@perkinelmer.com | PEKRINELEMER | rajeev.shukla@perkinelmer.com | stores@nii.ac.in
Multimode Microplate Reader |  | IGL |  |  |  | Internal | NII |  | MULTIMODE MICROPLATE READER | National Institute of Immunology | IGL |  |  | Up | Characterization |  |  |  | MOLECULAR DEVICES LLC | munish.kanojia@spincotech.com | MOLECULAR DEVICES LLC | munish.kanojia@spincotech.com | stores@nii.ac.in
FemtoJet 4i Programmable Microinjector with Integrated Comp |  | SD |  |  |  | Internal | NII |  | FERNTOJET 4i PROGRAMMABLE MICROINJECTOR WITH INTEGRATED COMP. | National Institute of Immunology | SD |  |  | Up | Characterization |  |  |  | EPPENDORF AG | patel.t@eppendorf.co.in | EPPENDORF AG | patel.t@eppendorf.co.in | stores@nii.ac.in