## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) Usage cost/Sample | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
UV Visible Spectrophotometer | UV-Vis spectroscopy | Biotech lab | ELICO | SL159 | 952/2006 | Institute fund |  |  | SL-159 Single Beam Microprocessor based Scanning UV-Visible Spectrophotometer | Department of biotechnology | Oriental institute of Science and Technology | 1.70 lakh |  | Running | Analytical | Not fixed | Variable | 100/Sample |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Laminar Flow -Horizontal | Laminar cabinet | Microbiology lab | Webcon instruments private limited |  |  | Institute fund |  |  | Horizental air flow ,UV and normal visible light facility | Microbiology department | Oriental institute of Science and Technology | 70000 |  | Running | Research instrument | Not fixed | Variable | 300/day | Webcon | webcon@redifmail.com | Dr.Kishalay Paria | kishalayparia@gmail.com
Cooling centrifuge (C24BL) | colling centrifuge | General lab | REMI | 412-LAG | lACl-10171 | Institute fund |  |  | This instrument is good for centrifugation of heat sensetive materials basically we use for DNAisolation | Biochemistry department | Oriental institute of Science and Technology | 54500 |  | Running | Analytical | Not fixed | Variable | 50/slot | Remi instrumentsLTD Mumbai-India-400053 |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Bacteriological incubator | incubator | Microbiology lab | Indo scientific and surgicals | NA | NA | Institute fund |  |  | Use for incubation of bacterial plate at about 28-40 degree celcious temperature | Microbiology department | Oriental institute of Science and Technology | 35000 |  | Running | Research instrument | Not fixed | Variable | 200/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Gel apparatus | Gel apparatus | Cell and molecularbiology lab | GENEI | NA | NA | Institute fund |  |  | Use for DNA and protein seperation by electrode after isolation | Microbiology department | Oriental institute of Science and Technology | 40000 |  | Running | Research instrument | Not fixed | Variable | 500/slot |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Digital colorimeter 112 (Systronics) | Digital colorimeter 112 (Systronics) | General lab | systronics | 112 | 12587 | Institute fund |  |  | Able to mesure absorbtion of light for qualitative and quantitative detection of biomolecules | Department of biotechnology | Oriental institute of Science and Technology | 6500 |  | Running | Characterization | Not fixed | Variable | 50/slot | systronics |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Normal Centrifuge (ELTEK) | Centrifuge | General lab | Elektrocraft | TC 451 | NA | Institute fund |  |  | To use seperation of any sustance from liquide sample | Department of biotechnology | Oriental institute of Science and Technology | 7000 |  | Running | Analytical | Not fixed | Variable | 50/slot |  | info@eltekindia.com | Dr.Kishalay Paria | kishalayparia@gmail.com
Magnetic stirer with hot plate | Magnetic stirer with hot plate | General lab | REMI | 2MLH | NA | Institute fund |  |  | Able to mix any solution in presence of heat or without heat | Biochemistry department | Oriental institute of Science and Technology | 10000 |  | Running | Research instrument | Not fixed | Variable | 50/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Hot air oven | Hot air oven | Microbiology lab | Indo scientific and surgicals | OV-U | NA | Institute fund |  |  | Use basically sterilization purpose of glass goods .heating range upto 300 degree celcious | Department of biotechnology | Oriental institute of Science and Technology | 22000 |  | Running | Research instrument | Not fixed | Variable | 100/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Autoclave 220/230 Volt/1/CY.AC | Autoclave | Microbiology lab | Indo scientific and surgicals | OV-U | NA | Institute fund |  |  | Use sterilization purpose under pressure.Upto 20lb/squre inch we can use | Microbiology department | Oriental institute of Science and Technology | 45000 |  | Running | Research instrument | Not fixed | Variable | 200/slot |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Digital PH meter | PH meter | Cell and molecularbiology lab | Systronics | NA | 1809 | Institute fund |  |  | Use for PH mesurement and buffer preparation at different PH | Department of biotechnology | Oriental institute of Science and Technology | 7300 |  | Running | Analytical | Not fixed | Variable | 50/2samples |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Cold centrifuge | Cold centrifuge | Cell and molecularbiology lab | REMI | CM-12PLUS | ZEHU-26807 | Institute fund |  |  | Seperation of heat sensetive materials like DNA,Protein etc. | Microbiology department | Oriental institute of Science and Technology | 1.2 lakh |  | Running | Research instrument | Not fixed | Variable | 50/slot |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Shaker incubator | Shaker incubator | General lab | Thermocon | NA | NA | Institute fund |  |  | Use for bacterial and fungal culture | Biochemistry department | Oriental institute of Science and Technology | 1 lakh |  | Running | Research instrument | Not fixed | Variable | 200/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Shaker water bath | Shaker water bath | General lab | Thermocon | NA | NA | Institute fund |  |  | Use for water heating at shaking condition | Department of biotechnology | Oriental institute of Science and Technology | 45000 |  | Under maintainance | Research instrument | Not fixed | Variable | 100/day | Digitech systems |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Shaker water bath | Shaker water bath | Cell and molecularbiology lab | Bangalore Genei Pvt.Ltd. | GENEI | NA | Institute fund |  |  | Use for detection of DNA band under UV light | Biochemistry department | Oriental institute of Science and Technology | 35000 |  | Running | Analytical | Not fixed | Variable | 100/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Cyclo mixture | Cyclo mixture | General lab | REMI | CM 101 | NA | Institute fund |  |  | Use for mixing purpose in conical of glass bottle | Biochemistry department | Oriental institute of Science and Technology | 8500 |  | Running | Analytical | Not fixed | Variable | 50/2 saples |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Colorimeter | Colorimeter | General lab | Systronics | µ C Colorimeter 115 | 1984 | Institute fund |  |  | Use for detection of biological liquide by light absobtion | Microbiology department | Oriental institute of Science and Technology | 6500 |  | Running | Characterization | Not fixed | Variable | 100/slot | systronics |  | Dr.Kishalay Paria | kishalayparia@gmail.com
BOD incubator | BOD incubator | General lab | Indo scientific and surgicals | NA | NA | Institute fund |  |  | Use only for incubation but not shake | Department of biotechnology | Oriental institute of Science and Technology | 45000 |  | Running | Characterization | Not fixed | Variable | 100/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
UV Spectrophotometer | UV Spectrophotometer | Cell and molecularbiology lab | LABMAN | LMSP-UV1200 | NA | Institute fund |  |  | To estimate qualitatively and quantitatively of biomolecule ,that depends upon absorbtion of light from UV range to visible range | Microbiology department | Oriental institute of Science and Technology | 80000 |  | Under maintainance | Research instrument | Not fixed | Variable | 150/set of sample |  | instservicekolkata@remigroup.com | Dr.Kishalay Paria | kishalayparia@gmail.com
Incubator | Incubator | Microbiology lab | Indo scientific and surgicals | NA | NA | Institute fund |  |  | Use only for bacteria culture | Biochemistry department | Oriental institute of Science and Technology | 4500 |  | Running | Research instrument | Not fixed | Variable | 100/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Digital colony counter | Digital colony counter | Microbiology lab | Environmental and Scientific instruments co | 321 | NA | Institute fund |  |  | Use for bacterial colony count in petriplate | Department of biotechnology | Oriental institute of Science and Technology | 7000 |  | Under maintainance | Research instrument | Not fixed | Variable | 50/plate |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
ELISA strip analyser | ELISA reader | Cell and molecularbiology lab | Robonik | READWELL STRIP | SR0110307RBK | Institute fund |  |  | To be detect specific protein in strip | Microbiology department | Oriental institute of Science and Technology | 1.32 lakh |  | Running | Research instrument | Not fixed | Variable | 500/slot |  | sales@robonikindia.com | Dr.Kishalay Paria | kishalayparia@gmail.com
Microcentrifuge | Microcentrifuge | Cell and molecularbiology lab | REMI | RM 12 -C | IALC-2320 | Institute fund |  |  | Centrifuge for seperation of solid matter from liquid soloution by appendrof | Biochemistry department | Oriental institute of Science and Technology | 24000 |  | Running | Analytical | Not fixed | Variable | 200/set |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Mini rotary shaker | Mini rotary shaker | Cell and molecularbiology lab | REMI | REMI RS-12 | NA | Institute fund |  |  | Shakeautomaticall any liquide sample for long time | Microbiology department | Oriental institute of Science and Technology | 19000 |  | Running | Research instrument | Not fixed | Variable | 100/day |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com
Microscope | Microscope | Cell and molecularbiology lab | Olympus Opto System India pvt ltd | MLX-TR Plus | 1.8e+236 | Institute fund |  |  | Visualized microbial and eukaryotic cell structure | Department of biotechnology | Oriental institute of Science and Technology | 30000 |  | Running | Research instrument | Not fixed | Variable | 100/h |  |  | Dr.Kishalay Paria | kishalayparia@gmail.com