## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
400 MHZ NMR Spectrometer | NMR | Main Building, A Wing, Ground Floor, NMR Lab | Jeol Asia Pte. Ltd., 2 Corporation Road #01-12, Corporatin Place, Singapore 618494 | Spectrometer : NMR : JNM ECS 400 MHz |  | Institution | IISER PUNE |  | (2) Discovery Lipidomics | Physics
Automated Multi Technique deposition system | Magnetron Sputtering | G1, Lab no.-311 | Moorfield Associates Moorfield House Plumley Moor Road Plumley Cheshire United Kingdom WA16 9RS | Deposition System : Minilab 080 Series |  | Institution | IISER PUNE |  | MiniLab 080 series platform for Automated Multi-technique deposition system with SQC310 sequential process controller | Physics
Powder X-ray Diffractometer | PXRD | H-Cross, Lab No. 222 | Bruker AXS GmbH Oestliche Rheinbrukerenstr. 49 D-76187 Karlsruhe Germany | D8 Advance Series-2 |  | Institution | IISER PUNE |  | Bruker AXS High Resolution X-Ray Diffractometer D8 ADVANCE basic hardware and software unit consisting of : D8_A02_L High Resolution Goniometer, Theta/Theta, long tracks, vertical, 435 mm extendable up to 600 mm measuring circle diameter. Sample stage is in horizontal position Goniometer Specification: • Maximum 2 Theta Angular Range: -110 to 168 degree. • Step size resolution: 0.0001 degree • Angular Reproducibility: ± 0.0001 degree • Scan speed: 0.0002 deg to 2 degree per second • Slew speed: 25 degree per second D8_A03_A Fixed mount, 150mm, 1 window D8_A04_1Radiation Safety Enclosure D8_A05_83kW ( 20- 60kV,5-80 mA) X-Ray Generator Stability : ±0.005% per 10% variations of mains D8_A06_1 Power Supply 230V, 50 Hz D8_P02 Computer Controlled Automated Divergence slit assembly incl. 2.5° Soller. Slit opening is controlled via Diffrac Plus software and PC D8_P17 Short spacer for push-plug optics, H 150 mm D8_B45 Set of Plug in slits D8_T02 Rotating Spinner sample stage with sample holder with varying speed controllable in 0 rpm, 30 rpm, 60 rpm, 90 rpm and 120 rpm D8_D33+D32 Computer controlled automated Antiscatter slit assembly for Lynx Eye Fast Detector. Slit opening is controlled via Diffrac Plus software and PC D8_S25 Long spacer for optics, H150 LynxEye 1-Dimensional Fast Detector including controller, soller slit, & Mount for LynxEye Detector. The Lynx Eye Detector has additional capability to work in 0-Dimensioanl mode also for profiling and calibration of the system. Built-in energy discriminator for reducing fluorescence. Also can work for SAXS, Thin film, Stress & Strain, High and low temperature analysis. D8_S28 Spacer for detector, H150 A17D79 Multi Axes Clock Cable D8_D50 90° Switch mount for LynxEye, D8_R16 Copper Ceramic tube KFL CU 2K, long fine, 2.2kW rating D8_E03 Indexer / Driver with 4 Axis / 2 Amp D8_V50 Counter balance for D8 Theta/Theta, tube or detector circle P100A100 DIFFRACplus Measurement Center software for instrument control and data collection 7KP72008AR DIFFRACplus BASIC Evaluation software module, 2 user dongles 7KP72008AC DIFFRACplus SEARCH software module for qualitative phase analysis( work in combination with ICDD Database)- 2 user dongles 7KP3008BKICDD PDF2, Complete Database with License ( to be used in combination with DIFFRAC plus SEARCH phase analysis software) Application software : Rietveld method based Software for Profile Fitting, Structure Refinement, Structure Solution based on Ab-Initio Structure solution from Powder data, Micro-strain determination,Crystallite Size Determination,Standard -less Quantificaton of Phases 7KP72008JT Diffrac Plus TOPAS software - 2 dongles Grazing Incidence Attachment for Thin Film Analysis D8_S11 Flat LiF Monochromator D8_S28 Spacer for detector, H150 D8_S17 Parallel beam attachment, 0.35° D8_S23short spacer for optics Goebel Mirror for Parallel beam Studies and SAXS Studies D8_P04 Goebel Mirror, 60 mm length, for Cu radiation, D8_A03_D tube mount, 2 DOF-ROOT, 150mm, 1 window in lieu of fixed tube mount offered in Item 1.0 Attachment for Small Angle X-Ray Scattering Studies 7KP29148AA Capillary sample stage incl. standard goniometer head, microscope C79298A3130A72 Cable controller – synchronous motor C79298A3244B160 D8 Adapter block for microscope 7KP39108AC (Pre)Alignment device with microscope 7KP29148ABSample rotation device A100B30 Primary beam stop and low-angle aperture C71187Z834K4 Capillaries made of special glass, wall thickness 0.01 mm, outer diameter 0,3 mm, 25 pieces C71187Z834K5 Capillaries made of special glass, wall thickness 0.01 mm, outer diameter 0,5 mm, 25 pieces Data Interpretation software for SAXS Studies: P100A701 DiffracPlus NanoFit software for SAXS studies High Temperature Attachment PAR-16N HTK 16N (max. temp. 1600 deg. C), operation under vacuum or normal atmosphere, incl. manual alignment adapter PAR-C44018TCU 2000N Temperature controller for HTK 16N 7KP29118EK Vacuum pump stand with vacuum measurement device C79298A3130A76 Sub min connection cable to computer CCVCCSIOCARD1S Serial RS232 I/O for PCI-Bus for 1 free serial port 7KP29118CW Tanalum Heating element | Physics
Field Emission Scanning Electron Microscope | FESEM | H-Cross, Lab No. 212 | Carl Zeiss NTS GmbH Strasse 56, 73447 Oberkochan Germany | Ultra-55 |  | External | IISER PUNE |  | ULTRA 55 - Field Emission Scanning Electron Microscope | Physics
Optical Lithography System | Lithography | H-Cross, Lab No. 212 | Microtech s.r.l Corso Pisani, 22 90129 Palermo, Italy | LW405B Standard |  | Institution | IISER PUNE |  | 1. Laser Writer - Model LW405B Standard Laser : 1 Set, Lithograhy System, model LaserWriter LW405B Standard, with 150mm x 150mm patterning area, 405 nm GaN laser, XY laser interferometer. Including i) Front –back wafer alignment – 01 Nos ii) Vaccum Switch - 01 Nos iii)Operator table a) Stainless Steel – 01 Nos b) Light – 01 Nos : 1 Set, 2. Coprocessing unit : 1 Nos, 3200.00EURO, 3. Automated final lens changer : 1 Nos, 6000.00EURO. Note : The Laserwriter should be supplied with operating manual, interconnect schematic, labels for plugs and any necessary instructions for system installation and operation | Physics
Electron beam Lithography | E-lithography | H-Cross, Lab No. 212 | Raith Gmbh Hauert 18 Technologiepark, 44227 Dortmund Germany | ELPHY Plus |  | External | IISER PUNE |  | 1) ELPHY Plus lithography system 6 MHz Advanced SEM/FIB nanolithography system ELPHY Plus Hard- and Software for Windows XP, Dedicated Pattern Generator Hardware in DSP technology comprising: - 400 MHz Digital Signal Processor unit - 6 MHz max. writing speed with <2ns dwelltime control - 2 x high speed DACs (16 bit, 25 MHz bandwidth, deglitched) for X and Y main beam deflection - 6 multiplying 16-bit DACs for overlay alignment and write field calibration with sub-nm step size control - All DACs are thermally stabilized and rf noise shielded - Synchronized beamblanker control circuit, TTL output - 1 x Video ADC with 14 bit, 360ns min pixel acquisition time - connection cables to SEM or FIB and Raith PC (SEM or FIB model must be specified) ELPHY Pattern Generation Software Suite in 32 bit architecture - multi-user management: separate design and parameter files for each user - hierarchical GDSII CAD editor with large file handling capability - data import formats DXF, ASCII, CIF, etc - extensive task list generation with SEM or FIB remote control functionality (for most digital SEM or FIB) - automation package for step and repeat exposure mode - pattern alignment, user assisted, fully automated - fast image acquisition with zooming and overlay techniques - integrated metrology functionality - user specific automation capabilities using Microsoft scripting language - job control functionality with parameter and system information logging - second software licence for Off-line data preparation Surface Editor Module for gas assisted and/or milling applications: - CAD toolbox for - electron/ion beam induced deposition (EBID/IBID) - precise placement of the ion beam for milling purposes - CAD elements are directly edited and overlayed onto SEM/FIB images - simplifies controlled Electron- and Ion-Beam Induced Deposition Documentation: extensive operation and reference manuals and online help PC data set with 22 inch Flat Panel Display included, preinstalled and tested with Windows XP and Raith application software. Universal Lithography Sample Holder The Universal Sample Holder is a straightforward solution to fix small samples. CHESSY as calibration standard will be delivered as reference for precise write field Adjustment. - sample size up to 20 x 20 mm - Faraday cup for probe current measurement - CHESSY SEM test and calibration standard - to fit most SEM (please specify SEM model) Proximity effect correction Nano PECS and post processing functions Features: - Spatial resolution of 1 nm and 0.1% dose resolution. - Three models for point-spread function to adapt calculation to all substrates. - Monte-Carlo-Simulation of point-spread function to determine proximity parameters. - All Proximity Effect parameters including measured values can be managed in one database. - 3-dimensional simulation of energy distribution and resist-profile to evaluate correction. - Data post processing features like grow, shrink, frame, overlap removal, etc. Installation and training 2) Electrostatic Beam Blanker Unit (Raith) comprising of special anode with built in blanking system ,vacuum feed through electronic switch box ,power supply and control rack. Designed for E-beam Lithography and related applications with GEMINI column. Typical frequency 20 kHz (1 MHz for 30 s), rise and fall time <50 ns TTL input | Physics