## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Glovebox | Glovebox | SIT Tumkur | Vacuum Techniques Pvt. Ltd. | LABPRO 1250 |  | SERB-DST and SIT | ECR/2017/000370, Government of India | Fabricating Novel Sodium metal-oxide cathode materials for rechargeable batteries: A ternary diagram approach | Moisture and Oxygen< 5ppm, Fabrication of coin/t-cells, manupulation of air sensitive chemicals/reactions | Physics | Glovebox | 1908900 | Physics (sit.ac.in) | Active | Fabrication |  |  |  | Vacuum Techniques Pvt. Ltd. 2/13, 1 st Stage, 1 st Phase, Peenya Industrial Area, Bangalore – 560058 080 2839 2746/47/48 | info@vtvacuumtech.com | Vacuum Techniques Pvt. Ltd. 2/13, 1 st Stage, 1 st Phase, Peenya Industrial Area, Bangalore – 560058 080 2839 2746/47/48 | info@vtvacuumtech.com | madhuc@sit.ac.in
High Temperature furnace with PID control (8 segment) | Muffle Furnace | SIT Tumkur | Flow & Force Engineers, Bagalore | 1450 |  | VGST, Govt of Karnataka | SMYSR-VGST/GRD-583/2016-17 | Mixed-oxide spniel composites AM2O4 (A=Zn, Mg, Ca,; M=3d block, p-block element) thin films by printing and their photocatalytic , photocurrent activities | Max Temp = 1350C, Heating/Cooling rate = 1 to 10 C/min Accuracy = ±2C, 8 segment programming | Physics | Furnace | 350000 | Physics (sit.ac.in) | Active | Synthesis |  |  |  | Flow & Force Engineers, Bagalore | flowandforce@yahoo.com | Flow & Force Engineers, Bagalore | flowandforce@yahoo.com | madhuc@sit.ac.in
High Temperature Oven with PID control (8 segment) | Hot air Oven | SIT Tumkur | Delta Power Controls, Bangalore | 300 | 7116 | VGST, Govt of Karnataka | SMYSR-VGST/GRD-583/2016-17 | Mixed-oxide spniel composites AM2O4 (A=Zn, Mg, Ca,; M=3d block, p-block element) thin films by printing and their photocatalytic , photocurrent activities | Max Temp = 300C, With or without autoclave, Heating/Cooling rate = 1 to 10 C/min Accuracy = ±2C, 8 segment programming | Physics | Oven | 50000 | Physics (sit.ac.in) | Active | Synthesis |  |  |  | Delta Power Controls, Bangalore | deltapowercontrols@yahoo.co.in | Delta Power Controls, Bangalore | deltapowercontrols@yahoo.co.in | madhuc@sit.ac.in
Keithley 2450 EC workstation | Electrochemical workstation | SIT Tumkur | Keithley | 2450 |  | VGST and SIT | SMYSR-VGST/GRD-585/2016-17 | Green synthesis of metal oxides and Natural dyes for dye sensitized solar cells | CV, Impedance, DSSC evaluation | Physics | Electrochemical Workstation | 600000 | Physics (sit.ac.in) | Active | Characterization |  |  |  | Convergent Technology Bangalore | sales@convergenttech.in | Convergent Technology Bangalore | sales@convergenttech.in | mpshridhar@sit.ac.in, madhuc@sit.ac.in
Neware Battery cycler | Battery tester | SIT Tumkur | Neware | BTS4000 5V10mA | T2103-256193 | SERB-DST and SIT | ECR/2017/000370, Government of India | Fabricating Novel Sodium metal-oxide cathode materials for rechargeable batteries: A ternary diagram approach | Voltage: 0 to 5V; Current 0.001 to 10mA | Physics | Battery testing | 149500 | Physics (sit.ac.in) | Active | Characterization |  |  |  | Neware Battery Testing Systems Amalraj 91 9600007260 | support@newarebattery.com | Adilab Tech India Prabhu 91 9940506562 | sukruth@adilabtech.com | madhuc@sit.ac.in
UV-Vis DRS spectrophotometer | UV-vis spectrometer | SIT Tumkur | Lab-India | UV 3092 | 27-1950-01-0166 | VGST, Govt of Karnataka | CISEE-VGST/GRD-531/2016-17 | Transition metal ion doped semiorganic amino acid crystal nonlinear optics (NLO) applications: elaborating magneto-optics relations | UV-Visible Spectra Operating Mode: Absorption, transmission, reflectance; Attachment: Integrated Sphere for DRS; SampleType: powder, thinfilms, cystals | Physics | UV-Vis photometer | 897015 | Physics (sit.ac.in) | Active | Characterization |  |  |  | Lab India Analytical Instruments Pvt Ltd, Mumbai |  | Lab India Analytical Instruments Pvt Ltd, Mumbai |  | hms@sit.ac.in