## Equipments
Equipment Name | Approved Abbreviation | Location | Make | Model | Serial No | Funding Agency Type | Funding Agency Details | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost (Rs) | Refernce Website | Equipment Status | Category | FOV Cost (Rs) | CIF Cost (Rs) | Any Other Cost (Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Trinocular Metallurgical Microscope | - | Engg Metallurgy Lab | Metzer (VISION PLUS-5000 TMM) | VISION PLUS-5000 TMM | - | RCOEM | - | - | Total Magnification =2000X | Mechanical Engg | RCOEM | 21476 | - | Working | Characterisation Equipment | - | - | - | - | - | - | - | -
Digital Camera | - | Engg Metallurgy Lab | Metzer | - | - | RCOEM | - | - | 3 Megapixel colour CMOS Sensor Size 6.55*4.92,pixel size 3.2 micro square PC interface | Mechanical Engg | RCOEM | 23344 | - | Working | Characterisation Equipment | - | - | - | - | - | - | - | -
Image Analyzer Software | - | Engg Metallurgy Lab | Metzer | - | - | RCOEM | - | - | Capture, Process analyze of image | Mechanical Engg | RCOEM | 46688 | - | Working | Characterisation Equipment | - | - | - | - | - | - | - | -
Cut off Wheel Machine | - | Engg Metallurgy Lab | Metzer | - | - | RCOEM | - | - | Wheel Dia- 8" to 10", 1 HP (AC) electric motor. (Now in Workshop) | Mechanical Engg | RCOEM | 37350 | - | Working | Characterisation Equipment | - | - | - | - | - | - | - | -
Izod Charpy Impact Testing Machine | - | Engg Metallurgy Lab | Fine Testing (FIT-300N) | - | - | RCOEM | - | - | FIT-300N | Mechanical Engg | RCOEM | 113219 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Jominy End Quench Hardnability Test | - | Engg Metallurgy Lab | Meta Tech | - | - | RCOEM | - | - | Setup designed as per SAE J406 MAY 85 & BS 44371969, consist of parts- 1. Quenching fixture, 2. Standard Accessories. | Mechanical Engg | RCOEM | 55981 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Electric Furnace | - | Engg Metallurgy Lab | Labo-Tech (BDI-73) | - | - | RCOEM | - | - | Size: (250*125*125mm) -Rating: 3kw, -Working Temp: 1150oC, -With microprocessor PID digital temperature indicator-cum-controller | Mechanical Engg | RCOEM | 51944 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Rockwell Cum Brinell Hardness Tester | - | Engg Metallurgy Lab | Meta Test (MRB-250) | - | - | RCOEM | - | - | Test load 60/100/250 Kgf for brinnel | Mechanical Engg | RCOEM | 47559 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Set up for Dead weight Pressure gauge tester | - | Mechanical Measurement Lab | Benix | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 41737.5 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Set up for Vibration measurement | - | Mechanical Measurement Lab | Benix | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 31992.2 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Data Acquisation System | - | Mechanical Measurement Lab | Benix | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 71859 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
BALANCING OF RECIPROCATING MASS | - | K-DOM Lab | - | - | - | RCOEM | - | - | Single reciprocating | Mechanical Engg | RCOEM | 55901 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
UNIVERSAL VIBRATION APPRATUS | - | K-DOM Lab | - | - | - | RCOEM | - | - | 12 expt. module | Mechanical Engg | RCOEM | 55890 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
CREO 2.0 | - | CAD Lab | PTC | - | - | RCOEM | - | - | 3D Drafting Software | Mechanical Engg | RCOEM | 434232 | - | Working | Analytical | - | - | - | - | - | - | - | -
ANSYS | - | CAD Lab | ANSYS | - | - | RCOEM | - | - | Analysis Software | Mechanical Engg | RCOEM | 375552 | - | Working | Analytical | - | - | - | - | - | - | - | -
P_Scope | - | CAD Lab | IIT Madras | - | - | RCOEM | - | - | Analysis Software | Mechanical Engg | RCOEM | 59000 | - | Working | Analytical | - | - | - | - | - | - | - | -
Miniaturized Industrial Production System | - | Robotics lab | - | - | - | RCOEM | - | - | Miniaturized Industrial Production System | Mechanical Engg | RCOEM | 1115100 | - | Working | Analytical | - | - | - | - | - | - | - | -
Vapour Compression Refrigeration Test Rig | - | RAC Lab | - | - | - | RCOEM | - | - | Compressor, Air Cooled Condenser, Evaporator, Capillary Tube and Expansion Valve, SCADA Software | Mechanical Engg | RCOEM | 467499 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Computerised cycle Air Conditioning Test Rig | - | RAC Lab | - | - | - | RCOEM | - | - | Compressor, Air Cooled Condenser, Evaporator, and Expansion Valve, SCADA Software | Mechanical Engg | RCOEM | 531271 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Variable Compression Ratio petrol Engine | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Single cylinder 2 stroke variable compression ratio petrol engine | Mechanical Engg | RCOEM | 216867 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Pneumatic Circuit Trainer | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Double acting pneumatic cylinder, S A Cylinder | Mechanical Engg | RCOEM | 95624 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Computer based single cylinder 4-stroke petrol engine Test Rig | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Single cylinder 4 stroke petrol engine, Dynamometer | Mechanical Engg | RCOEM | 429251 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Computer based single cylinder Diesel engine Test Rig | - | Thermal Engg Lab | - | - | - | RCOEM | - | - | Single cylinder 4 stroke Diesel engine, Dynamometer | Mechanical Engg | RCOEM | - | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Concentric tube heat exchanger | - | Heat Transfer Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 64865 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Vertical condenser | - | Heat Transfer Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 65110 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Pyranometer | - | Solar Energy Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 81753 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
PV setup | - | Solar Energy Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 184537 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Solar Thermal System | - | Solar Energy Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 262237 | - | Working | Testing Equipment | - | - | - | - | - | - | - | -
Linear Motion Control(Travel speed 250mm, Ball screw stepper motor 7kg-cm) | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 59200 | - | Working | Analytical | - | - | - | - | - | - | - | -
Conveyor belt sorting arrangement | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 134125 | - | Working | Analytical | - | - | - | - | - | - | - | -
PLC trainer panel | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 67525 | - | Working | Analytical | - | - | - | - | - | - | - | -
PLC pacakege (5 Licenses) | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 185000 | - | Working | Analytical | - | - | - | - | - | - | - | -
PLC Trainer Siemens(1 bundle of 6 PLC) | - | Mechatronics Lab | - | - | - | RCOEM | - | - | - | Mechanical Engg | RCOEM | 293250 | - | Working | Analytical | - | - | - | - | - | - | - | -
Simula8 |  | OR Lab |  |  |  | RCOEM |  |  |  | Mechanical Engg | RCOEM | 86863 |  | Working | Analytical
Robotic Welding Cell System | Arc Welding Robot | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | Yaskawa | YRC1000 AR1440 |  | External | Tata Technologies | Production & Manufacturing | PAIR or equivalent with Electro-Pneumatic Jigs and welding power source | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working
TAL BRABO Robot | Pick & Place Robot | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | TATA Automation Ltd. | TAL BRABO | R105750 | External | Tata Technologies | Production & Manufacturing | Pick & Place Robot Base Plate, EOAT- Gripper, Vacuums Gripper, Assembly, Illuminated Table, Safety Fencing with Door, MS Wiremesh Enclosure, Software, Pedestal and Cables 04 Brabo by TAL 1 06/04/2020 01 | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working
Manufacturing Execution system (MES) | MES | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | Tata Technologies |  |  | External | Tata Technologies | Production & Manufacturing | Manufacturing Execution system Conveyor (12m) with PLC, Emergency Stop & Authorization Box, Allen Bradley Make PLC of Compact Logic L16-ER, Bonfiglioli Motor and Cables, PLC integration with Rittal IP-65 panels -AB-L16_ER and latest with Buffer modules to suit, with 3 tier lamps, Hooter and Andon scheme, Pick to light sensor integration, pick to light Racks with bin system for 6 Nodes, Pick to Light sensor: K50APFF100GREQ-50 E series, Pick to Light cables, Tower Light, Mechanical Components for assembly, Air Compressor 2 hp KND Make 03 TATA Technologies 1 06/04/2020 01 | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working
Vertical machining Center | VMC | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | Ace Micromactic | AMS-430 V |  | External | Tata Technologies | Production & Manufacturing | 01 Vertical machining Center Spindle power: 5.5 / 3.7 kW, Three tier indication lamp, Table size-650 x 350mm, Max load on Table standard/option - 250 / 400, Spindle nose fact to table top 135-615 mm, Max. Tool length 250mm, Max Tool Weight 8kgf, Table longitudinal travel (X - Axis)- 400 mm, Table cross travel (Y - Axis) – 350 mm 01 AMS-430 V 1 06/04/2020 01 TATA Technologies Ltd., Pune | Center for Invention Innovation Incubation & Training | Integrated advanced Manufacturing |  |  | Its Working
Digital Vernier Caliper | Vernier | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | BAKER | SDN 30 | 4399279066 | External | Tata Technologies | Measurement | Digital Vernier Caliper ( 0-300 mm) | Center for Invention Innovation Incubation & Training | Measurement | 6,940 /- |  | Its Working
Digital Micrometer | Micrometer | Integrated advanced Manufacturing Centre (Ground Floor CIIIT) | BAKER | DMM 25 | 4399279316 | External | Tata Technologies | Measurement | Digital Micrometer ( 0-25 mm) | Center for Invention Innovation Incubation & Training | Measurement | 5,654 /- |  | Its Working
Ultimaker 3D Printing Machine | 3-D Printer | Innovation Design Incubation Centre (1st Floor CIIIT) | Ultimaker | Ultimaker 3 Extended | BPP-013446-053732 | External | Tata Technologies | Prototype part Production | 05 3-D Printer FDB, Dual extrusion print head with a unique auto-nozzle lifting system and swappable print core, Build Volume: Left nozzle: 215 x 215 x 300 mm Right nozzle: 215 x 215 x 300 mm 05 Ultimaker 3 Extended 1 06/04/2020 01 | Center for Invention Innovation Incubation & Training | 3-D Printing & Additive Manufacturing |  |  | Its Working
SLA 3D Printing Machine | SLA 3 | Innovation Design Incubation Centre (1st Floor CIIIT) | Farmlab |  |  | External | Aspire | Prototype part Production | Resin | Center for Invention Innovation Incubation & Training | 3-D Printing & Additive Manufacturing | 8.00 Lakh |  | Resin Is not Available so Its not in working
Ein Scan -SE Shining 3-D Scanner | 3-D Scanner | Innovation Design Incubation Centre (1st Floor CIIIT) | Think 3D | Ein Scan -SE (Elite) | EinscanSEB-GJAJ053K10 | External | Tata Technologies | Dead Solid part Scanning | For Re-engineering and upgradation, Scan Volume of 700x700x700 mm, single shot accuracy less than 0.01mm, range of single capture 200x150mm and scan speed of < 8Sec. | Center for Invention Innovation Incubation & Training | 3-D Scanning & Reverse Engineering |  |  | Its Working
3-D Experience Modeling Platform Software | 3-D Experience | Innovation Design Incubation Centre (1st Floor CIIIT) | DASSAULT |  |  | External | Tata Technologies | Solid Modeling |  | Center for Invention Innovation Incubation & Training | MODELING Software |  |  | Its Working
Delmia Modeling Software | Delmia | Innovation Design Incubation Centre (1st Floor CIIIT) | DASSAULT |  |  | External | Tata Technologies | Solid Modeling |  | Center for Invention Innovation Incubation & Training | MODELING Software |  |  | Its Working
Adams structures Bundle | Adams | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
Adams Machinery Studio | Adams | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
Easy5 | Easy5 | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
Marc | Marc | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
MSC Apex Structures | MSC Apex Structures | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
MSC Apex Modeler | MSC Apex Modeler | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
MSC Patran | MSC Patran | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
MSC Nastran | MSC Nastran | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
scFLOW | scFLOW | Innovation Design Incubation Centre (1st Floor CIIIT) | MSC |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
FEAST | FEAST | Innovation Design Incubation Centre (1st Floor CIIIT) | ISRO |  |  | External | Tata Technologies | Analysis |  | Center for Invention Innovation Incubation & Training | Analysis Software |  |  | Its Working
IoT Kit | IoT Kit | Machine Learning Centre (1st Floor CIIIT) | Tata Technologies |  |  | External | Tata Technologies |  | Raspberry Pi4, Ardiuno Nano, ESP 01, Sensors & Actuators | Center for Invention Innovation Incubation & Training | Controlled Sensors & Actuators |  |  | Its Working
FLUKE 5502A Multi -Product Calibrator with 6.5 digit DMM | calibrator | Machine Learning Centre (1st Floor CIIIT) | Fluke | [5 empty] | All Electrical & Electronics Equipment Calibrator, Multi -Product Calibrator with 300 MHz Oscilloscope | Center for Invention Innovation Incubation & Training | All Electrical & Electronics Equipment Calibrator | 31.68 Lakh |  | Its Working
Spectrum Analyzer | Analyzer | Machine Learning Centre (1st Floor CIIIT) | Rohde & Schwarz | [5 empty] | FPC1000 | Center for Invention Innovation Incubation & Training |  | 2.53 Lakh |  | Its Working
Arbitary Waveform Signal Generator | Signal Generator | Machine Learning Centre (1st Floor CIIIT) | APLAB | [5 empty] | AWG80D Function/Arbitary Waveform Generator 80 MHz | Center for Invention Innovation Incubation & Training |  | 0.75 Lakh |  | Its Working
Digital multimeter | multimeter | Machine Learning Centre (1st Floor CIIIT) | ITech | U1232A |  |  |  |  | 6.5 Digit Multimeter, True RMS Multimeter | Center for Invention Innovation Incubation & Training | Its measures Current, Voltage & Resistance | 0.68 Lakh |  | Its Working
Power Supply Triple Output | Power Supply | Machine Learning Centre (1st Floor CIIIT) | ITech | [5 empty] | Tripple Output (0-30 V, 3A x 2CH/0-5V,3A) | Center for Invention Innovation Incubation & Training | DC Power Supply | 0.38 Lakh |  | Its Working
SMD Rework Station | Soldering Machine | Machine Learning Centre (1st Floor CIIIT) | Weller | [5 empty] | Reparaturstation, Repair Station, 230 V 50/60Hz 300W | Center for Invention Innovation Incubation & Training |  | 1.79 Lakh |  | Its Working
Motor-Generator-Motor set | MG_MS | EE-1 | BENN |  |  | Internal |  |  | 1HP/415V star connected IM 750W/220V/1500rpm/DC shunt generator 1HP/220Varmature/220V field/1500 rpm DC shunt motor | Electrical | Research Lab-I | 230868 | www.bennelec.com | Working | Testing Equipment |  |  |  | BENN Electricals | bennelectricals@gmail.com | BENN Electricals | bennelectricals@gmail.com
MD03MSO-16 digital channel probe |  | EE-2 | Argo |  |  | Internal |  |  | Compatible to MD03024 along with set of logic probe P6316-16 channel logic probe with accessaries | Electrical | Research Lab-II | 124372 | www.argotechnologies.in/ | Working | Testing Equipment |  |  |  | Argo Technologies | sales@argotechnologies.in | Argo Technologies | sales@argotechnologies.in
Digital Storage Oscilloscope | DSO | EE-2 | Techtronics | TPS2024B | CO20181 | Internal |  |  | Digital Storage Oscilloscope TPS2024B: CO20181 200mHZ | Electrical | Research Lab-II | 252000 | www.cyronics.com | Working | Testing Equipment |  |  |  | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com
Digital Storage Oscilloscope | DSO | EE-2 | Cyronics Instruments | TBS1072B | C012607 | Internal |  |  | DSO TBS1072B-EDU:C012607 70mHZ 2 Channel, 1GS/s, TFT Digital Storage Oscilloscope | Electrical | Research Lab-II | 26250 | www.cyronics.com | Working | Testing Equipment |  |  |  | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com
Digital Storage Oscilloscope | DSO | EE-2 |  |  | C012608 | Internal |  |  | DSO TBS1072B-EDU:C012607 70mHZ 2 Channel, 1GS/s, TFT Digital Storage Oscilloscope | Electrical | Research Lab-II | 26250 | www.cyronics.com | Working | Testing Equipment |  |  |  | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com
Digital Storage Oscilloscope | DSO | EE-2 |  |  | C012609 | Internal |  |  | DSO TBS1072B-EDU:C012607 70mHZ 2 Channel, 1GS/s, TFT Digital Storage Oscilloscope | Electrical | Research Lab-II | 26250 | www.cyronics.com | Working | Testing Equipment |  |  |  | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com | Cyronics Instruments Pvt. Ltd. | maniritatkar@cyronics.com
Mixed domain oscilloscope | MDO | EE-2 | BEEN | MDO 3024 | C034320 | Internal |  |  | 200MHz amalong Channels ,10M Record lemghts 200MHz Spectrurm Analyzer | Electrical | Research Lab-II | 239088 | www.saninstruments.com | Working | Testing Equipment |  |  |  | San Instruments | * | San Instruments | *
Digital PWM controller | DPWMC | EE-2 | VI microsystem | dsPIC30F4011 |  | Internal |  |  | Digital PWM controller dsPIC Controller dsPIC30F4011 | Electrical | Research Lab-II | 42860 | www.vimicrosystems.com | Working | Analytical Equipment |  |  |  | Vi Microsystems Pvt Ltd. | sales@vimicrosystems.com | Vi Microsystems Pvt Ltd. | sales@vimicrosystems.com
Ultra Capacitor | UC | EE-2 | Neotroniks |  |  | Internal |  |  | LSUM 016R2C0500F EA MH01 | Electrical | Research Lab-II | 45000 | www.nuotroniks.com | Working | Analytical Equipment |  |  |  | Nuotroniks Pvt Ltd | sales@nuotroniks.com | Nuotroniks Pvt Ltd | sales@nuotroniks.com
Ultra Capacitor | UC | EE-2 | Neotroniks |  |  | Internal |  |  | LSUM 016R8L0058F EA VE02 | Electrical | Research Lab-II | 8900 | www.nuotroniks.com | Working | Analytical Equipment |  |  |  | Nuotroniks Pvt Ltd | sales@nuotroniks.com | Nuotroniks Pvt Ltd | sales@nuotroniks.com
Ultra Capacitor | UC | EE-2 | Neotroniks |  |  | Internal |  |  | LSUC 002R8L0350 EA VE02 | Electrical | Research Lab-II | 6800 | www.nuotroniks.com | Working | Analytical Equipment |  |  |  | Nuotroniks Pvt Ltd | sales@nuotroniks.com | Nuotroniks Pvt Ltd | sales@nuotroniks.com
Solar System Analyzer | SSA | EE-2 | Monarch | 9018BT |  | Internal |  |  | Upto 12A DC , 1000V with PC communications at software | Electrical | Research Lab-II | 277789 | * | Working | Analytical Equipment |  |  |  | Monarch Enterprises | moarchngp@dataone.in | Monarch Enterprises | moarchngp@dataone.in
Solar Grid tied inverter | SGTI | EE-2 | Zener |  | BS10001411660005 | Internal |  |  | Zener solar Grid tied inverter | Electrical | Research Lab-II | 31500 |  | Working | Analytical Equipment |  |  |  | Photon Energy Solution | * | Photon Energy Solution | *
Transformer |  | EE-2 | Shree Enterprises |  |  | Internal |  |  | 2kVA, 1 phase 230/0-55-110 | Electrical | Research Lab-II | 15770.5 | www.shreeenterprisessngp.com | Working | Testing Equipment |  |  |  | Shree Enetrprises | info@shreeenterprisessngp.com | Shree Enetrprises | info@shreeenterprisessngp.com
Transformer |  | EE-2 | Shree Enterprises |  |  | Internal |  |  | 2kVA, 3 phase 400/0-55-110 | Electrical | Research Lab-II | 17735.5 | www.shreeenterprisessngp.com | Working | Testing Equipment |  |  |  | Shree Enetrprises | info@shreeenterprisessngp.com | Shree Enetrprises | info@shreeenterprisessngp.com
Inductive load bank | ILB | EE-1 | M.E |  |  | Internal |  |  | 400V , 5A Inductive Load bank | Electrical | Research Lab-II | 24337.5 | www.argotechnologies.in/ | Working | Testing Equipment |  |  |  | Argo Technologies | sales@argotechnologies.in | Argo Technologies | sales@argotechnologies.in
Electric Power Transmission line simulator-1 1. Generating Station Module (Power Transformer) | EPTLS | EE-2 | VI microsystem | VPST-100HV1 | VPST-100HV1#A | External | AICTE, New Delhi | Modernization of Power System Laboratory with EHV-AC Transmission Line Simulation and Motor Simulation Panel under MODROB scheme | Input Voltage415, 3phase 50Hz Output voltage 55-1110-220-330V line to line current rating 2.5A | Electrical | Research Lab-I | 674960 | www.vimicrosystems.com | Working | Testing Equipment |  |  |  | Vi Microsystems Pvt. Ltd. | sales@vimicrosystems.com | Vi Microsystems Pvt. Ltd. | sales@vimicrosystems.com
Electric Power Transmission line simulator-1 2. Artifical Transmission line module for 220kV |  |  |  |  | VPST-100HV1#B |  |  |  | Type-3 phase bench model, no of pi sections-18, operating volage-55-110-220-330V line to line current rating-2.5A, short circuit strenght -5A | Electrical
Electric Power Transmission line simulator-1 3. Fixed VAR compensator Module |  |  |  |  | VPST-100HV1#CE |  |  |  | Shunt capacitor-500 to 1500VAR,shunt reactor, series reactor | Electrical
Electric Power Transmission line simulator-1 4. Receiving Station Module (Power Transformer) |  |  |  |  | VPST-100HV1#D |  |  |  | Input voltage 55-1110-220-330V line to line Output voltage-415V line to linecurrent rating 2.5AR Load 1kW, L load 1HP, overcurrent, over voltage/under voltage protection | Electrical
Static VAR Comp Module |  | EE-2 | JSK | JSK-SVC-01 |  |  |  |  | JSK4-SVC-01 Two nos of PIC 4011 microcontroller for pulse generator | Electrical | Research Lab-II | 132160 | www.jsklabinstruments.com | Working | Testing Equipment |  |  |  | JSK Lab Instruments | sales.jsklab@gmail.com | JSK Lab Instruments | sales.jsklab@gmail.com
ETAP software 50 Bus | ETAP | EE2 | ETAP automation private ltd |  |  | Internal |  |  | 5 lan user | Electrical | Research Lab-II | 289100 |  | Working |  |  |  |  | ETAP Automation Pvt. Ltd | *
MPLAB ICE |  |  | MPLAB |  |  | Internal |  |  | Part DV 244005 | Electrical | Research Lab-II | 55045 |  | Working
EDU all VSAT PSAT SSAT 5 User license with CD |  |  | Nayak |  |  | Internal |  |  | EDU all VSAT PSAT SSAT 5 User license with CD | Electrical | Research Lab-II | 552039 | www.adccinfocad.com | Working |  |  |  |  | Nayak Power Systems Pvt Ltd | accounts@nayakpower.com | Nayak Power Systems Pvt Ltd | accounts@nayakpower.com
PSIM |  | EE1/1 | PSIM |  |  | Internal |  |  | 5 Lan Users PSIM Basic + motor drive+digital | Electrical | PE lab | 301500 | https://www.tridenttechlabs.com | Working |  |  |  |  | Trident TechLabs Pvt. Ltd. |  | Trident TechLabs Pvt. Ltd. | accounts@tridenttechlabs.com
Ultrasonic Flowmeter-Portable | UFM | Fluid Mechanics Lab | FUJI |  |  | Internal | RCOEM |  | Measure the Flow Rate , enables real time monitoring of flow profile and water auditing. | CIVIL Engineering | Fluid Mechanic Lab | 531000 |  | Working |  |  |  |  | Monarch enterprises, Nagpur | monarchngp@dataone.in | Fuji |  | gangwanilr@rknec.edu
Expt set of hydraulic tilting flume with accessories and models | Flume | Fluid Mechanics Lab | Altech |  |  | Internal | RCOEM |  | Tilting Flume with tilting mechanism, Differential manometer, venturimeter, with models can be used for open channel flow Analysis | CIVIL Engineering | Fluid Mechanic Lab | 84650 |  | Working |  |  |  |  | Perfect Traders, Nagpur | altech.in@gmail.com | Altech | altech.in@gmail.com | gangwanilr@rknec.edu
Schmidt Rebound Hammer | Rebound Hammer | Concrete Technology Lab | Stanlay | OS8200 | - | External | AICTE under MODROB scheme | moderation and removal of obsolescence (MODROB) in Concrete and Building Technology laboratory of our civil engineering department. | Use to check the strength of concrete | Civil Engineering | Concrete Technology | 279990 | www.stanlay.com | working | Testing | - | - | - | Asian Contec Limited | accounts@stanlay.com | Stanlay | - | -
Portable Anvil for OS8200 Digital Hammer N/L Type | Anvil | Concrete Technology Lab | Proceque | OS8200 | - | External | AICTE under MODROB scheme | moderation and removal of obsolescence (MODROB) in Concrete and Building Technology laboratory of our civil engineering department. | Use for calibration of rebound hammer | Civil Engineering | Concrete Technology | 58650 | www.stanlay.com | working | Testing | - | - | - | Asian Contec Limited | accounts@stanlay.com | Stanlay | - | -
Rebar Detector Ferro Scan | Ferroscan | Concrete Technology Lab | Hilti | PS300 | - | External | AICTE under MODROB scheme | moderation and removal of obsolescence (MODROB) in Concrete and Building Technology laboratory of our civil engineering department. | Use to detect the steel reinforcement embedded in the concrete | Civil Engineering | Concrete Technology | 636923 | www.hilti.group | Working | Testing | - | - | - | Hilti India Pvt. Ltd. | - | Hilti | - | -
Ultrasonic ConcreteTester With software | UPV | Concrete Technology Lab | Canopus | Cute102 | - | Internal | RCOEM | - | NDT equipment | Civil Engineering | Concrete Technology | 197856.7797 | - | working | Testing | - | - | - | Canopus | - | Canopus | - | -
Automatic Compression Testing Machine with computer and software | CTM | Concrete Technology Lab | Aimil | 3000kN | - | Internal | RCOEM | - | - | Civil Engineering | Concrete Technology | 695159.322 | Aimilindia.com | working | Testing | - | - | - | Aimil | - | Aimil | - | -
Fine particulate matter sampler (PM 2.5) and gaseous pollutant sampler | PM 2.5 sampler and gaseous sampler | Environmental Engineering Lab. | Envirotech | APM 550 MFC and APM 433 | - | External | DST, FIST Level 0 GRANT | Developmet of infrastructure for air and water quality monitoring and management, DST, FIST Level 0 | For sampling, monitoring and analysis of particulate matter and gaseous pollutants in air. | Civil Engineering | Fine particulate matter sampler (PM 2.5) and gaseous pollutant sampler for air quality monitoring | 250941 | https://envirotechindia.com/ | working | Testing | - | - | - | Envirotech Instruments Pvt. Ltd, New Delhi | sales.envirotech@gmail.com | Envirotech Instruments Pvt. Ltd, New Delhi | - | -
371,Water Analyzer | Water Qualty Analyzer | Environmental Engineering Lab. | Systronics | Model No. -371 | - | Internal (college) | RCOEM, Civil Departmental Lab purchase | Water Qualty Analyzer | Water Qualty Analyzer for Colorimeter,d.o.,TDS,pH,Salinity, Temp. | Civil Engineering | Water Qualty Analyzer for for Colorimeter,d.o.,TDS,pH,Salinity, Temp. | 67275 | website/the-global-marketing | working | Testing | - | - | - | The Global Marketing, Nagpur. | pradesh_67@yahoo.com | The Global Marketing, Nagpur. | - | -
Spectrophotometer UV VIS | UV VIS Spectrophotomete | Environmental Engineering Lab. | Shimadzu | Model No.-UV VIS Model 1800 | - | Internal (college) | RCOEM, Civil Departmental Lab purchase | Spectrophotometer UV VIS | With the spectrophotometer, the amount of a known chemical substance (concentrations) can also be determined by measuring the intensity of light detected. | Civil Engineering | UV VIS Spectrophotomete for determination of concentrations of different parameters | 506250 | https://sharpcontrol.in/ | working | Testing | - | - | - | Sharp Control Equipment pvt. Ltd | sharpcontrol@dataone.in | Sharp Control Equipment pvt. Ltd | - | -
Orbital shaker incubator | Orbital shaker incubator | Environmental Engineering Lab. | BTI | Model No. BTI-38 | - | Internal (college) | RCOEM, Civil Departmental Lab purchase | Orbital shaker incubator | Orbital shaker incubator for agittaion under different controlled conditions like temperatue, agitaion speed, etc. | Civil Engineering | Orbital shaker incubator for shaking and agittaion | 138697 | website/the-global-marketing | working | Testing | - | - | - | The Global Marketing, Nagpur. | pradesh_67@yahoo.com | The Global Marketing, Nagpur. | - | -
Total Station | TS | Surveying Laboratory | Pentax | R-1565 N | [5 empty] | Civil Engineering | Surveying Laboratory RCOEM | [7 empty] | Lawrence and Mayo | dp@lynxinst.com
Digital Electronic Universal Testing Machine 400 kn (40T) Model | UTM | Strength of Materials Lab | MCS Mechatronic Ichal karanji | UTM 40 T MCS Mechatronics, Ichalkaranji (M.S.) |  | Internal (college) | RCOEM, Civil Departmental Lab purchase |  | To find tensile strength of a given mild/ Tor steel rod specimen. To find the modulus of rupture of wooden beam subjected to bending Electronic Extensometers Model MCE-2, Shear test attachment with variable dia. punches (5,8,12,16,20 dia), Window based software with real time graph on PC, 2 point flexural test attachment with Software and Calibration | Civil Engineering | Strength of Materials Lab | 503250 | https://mcstestingmachines.com/computerized-universal-testing-machines.html | working | Testing |  |  |  | MCS Mechatronic Ichal karanji | <ceo@mcstestingmachines.com | MCS Mechatronic Ichal karanji
Rockwell Hardness Testing Machine | Rockwell Hardness Testing Machine | Strength of Materials Lab | MCS Mechatronic Ichal karanji | microprocessor based design with LED Bar Indicator, Motorised for automatic operation, i.e. load/ unload, preliminary test force - 3, 10 kg. |  | Internal (college) | RCOEM, Civil Departmental Lab purchase |  | To find Brinell’s Hardness No. of various materials. Mild Steel , Copper , Brass | Civil Engineering | Strength of Materials Lab | 147656 | https://mcstestingmachines.com/computerized-brinell-hardness-testers.html | working | Testing |  |  |  | MCS Mechatronic Ichal karanji | <ceo@mcstestingmachines.com | MCS Mechatronic Ichal karanji
Triaxial Test appratus (Electronic) |  | Civil, Geotechnical Engineering Lab | AIMIL |  |  |  | RCOEM, Civil Departmental Lab purchase |  | with microporocessor loading unit with Data Adquisition System and Geostar | Civil |  | 570222 |  | Working | Testing Equipment |  |  |  | Laxmi Sales Amravati | info@laxmisales.com
Unconifined Compression Apparatus |  | Civil, Geotechnical Engineering Lab | LMS |  |  |  | RCOEM, Civil Departmental Lab purchase |  | The load frame is design for conducting Unconfined, triaxial, CBR and other routine tests consist of cabinate which houses the gear system and motor with sturdy angle iron frame. with three speed 50 kN cap | Civil |  | 61798 |  | Working | Testing Equipment |  |  |  | Lawrence & Mayo, Scientific & Engineering Instrument . | : instrmum@lawrenceandmayo.co.in
Humidity Chamber Humidity & Temperature |  | Civil, Geotechnical Engineering Lab | LMS |  |  |  | RCOEM, Civil Departmental Lab purchase |  | (as per ISO 9001/2008) Control Cabinet (only Heating), Temp.Range Amb.+5 to 60 Deg.C. +- 1 Deg. C., Humidity -Amb. to 95% +- 3%, Double Walled, Inner Chamber SS 304, Digital Controlled cum Indicator, Size : 610x610x910mm (AIMIL or equivalent Make) | Civil |  | 105169 |  | Working | Testing Equipment |  |  |  | Lawrence & Mayo, Scientific & Engineering Instrument . | : instrmum@lawrenceandmayo.co.in
Direct Shear Apparatus(Electronic) |  | Civil, Geotechnical Engineering Lab | AIMIL |  |  |  | RCOEM, Civil Departmental Lab purchase |  | complete with Shear box assembly,frame, load cell, csenser, | Civil |  | 62950 |  | Working | Testing Equipment |  |  |  | Asso. Inst. Delhi | sales@associatedscientific.com
Field Pressure Meter |  | Civil, Geotechnical Engineering Lab | AIMIL |  |  |  | RCOEM, Civil Departmental Lab purchase |  | [With 10 Nos. Casing Pipe For AX, 1 No. Casing Shoe For AX, 10 Nos. Casing Pipe For BX, 1 No. Casing Shoe For BX & 1 No. Soaking Tank For Sub-Soil Deformeter] | Civil |  | 341807 |  | Working | Testing Equipment |  |  |  | Asso. Inst. Delhi | sales@associatedscientific.com
Universal automatic compactor complete with compaction mould for CBR & SPT |  | Civil, Geotechnical Engineering Lab | AIMIL |  |  |  | RCOEM, Civil Departmental Lab purchase |  | The load frame is design for conducting Unconfined, triaxial, CBR and other routine tests consist of cabinate which houses the gear system and motor with sturdy angle iron frame. with three speed 50 kN cap | Civil |  | 61798 |  | Working | Testing Equipment |  |  |  | Lawrence & Mayo, Scientific & Engineering Instrument . | : instrmum@lawrenceandmayo.co.in
Six Gang Consolidation App. With Weight And Accessories |  | Civil, Geotechnical Engineering Lab | AIMIL |  |  |  | RCOEM, Civil Departmental Lab purchase |  | Consolidation Assembly of set of Six including, consolidometer, weight, dial guage etc. | Civil |  | 87746 |  | Working | Testing Equipment |  |  |  | Laxmi Sales Amravati | info@laxmisales.com
Field Vane Shear Test App. |  | Civil, Geotechnical Engineering Lab | AIMIL |  |  |  | RCOEM, Civil Departmental Lab purchase |  | 3 vanes, 2 guides, without dial guage | Civil |  | 91301.11 |  | Working | Testing Equipment |  |  |  | Laxmi Sales Amravati | info@laxmisales.com
Geo5 Package of Education 10 Seat |  | Civil, Geotechnical Engineering Lab | Datacode |  |  |  | RCOEM, Civil Departmental Lab purchase |  |  | Civil |  | 108834 |  | Working | Software |  |  |  | Datacode, Nagpur | purchase@datacodeintl.com
Jodhpur Permeameter |  | Civil, Geotechnical Engineering Lab | AIMIL |  |  |  | RCOEM, Civil Departmental Lab purchase |  | Permeameter mould C/S area 50cm2 effective height 6cms topcap fitted with water inlate and air release vent. Dynamic compaction base plate | Civil |  | 34050 |  | Working | Testing Equipment |  |  |  | Shree trading companay, saturna road | shreeamt@gmail.com
California Bearing Ratio Testing Machine | CBR test | Nagpur | AMIL | [5 empty] | Equipment is used to find the CBR Value of Soil | Civil Engineering department RCOEM, Nagpur | Transportation Engineering Lab | 142840=00 |  | working |  |  |  |  | Laxmi Sales Agencies | nfo@laxmisales.com
Marshall Stability Testing Machine | Marshall Test | Nagpur |  | ASTMD-1559 |  |  |  |  | Equipment is used for testing bituminous mixes | Civil Engineering Department , RCOEM, Nagpur | Transportation Engineering Lab | 14000=00 |  | Working |  |  |  |  | Precision Sales and Services , Nagpur
Data Acquisition System and Strain Gauges | DAS | Civil Engineering Research Laboratory | AIMIL |  |  | Research -RPS | AICTE | Experimental investigation of anchorage zone stresses and development of equation to calculate bursting tensile force in post-tension concrete member | 12 Strain channel with software | Civil Engineering | Dr.R.N.Khapre | 1091500 | https://www.aimil.com/data-acquisition | Working | Analytica Equipment |  |  |  | AIMIL Instrumentation & Technology | info@aimil.com | Aimil
Single Pull Jack |  | Civil Engineering Research Laboratory | Asian Ferrotech |  |  | Research- RPS | AICTE |  | 25T Capacity along with hydraulic power pack | Civil Engineering | Dr.R.N.Khapre | 141300 | https://www.asianferrotech.com/ | Working | Testing Equipment | 25000 |  | 25 | Asian Ferrotech | aianferrotech@gmail.com | N Subramanian
GEO5 | GEO5 | Computer Lab | Bentley | - | - | - | - | - | Computer Software | Civil Engineering | Computer Lab | 108834 |  | Working | Analytical | - | - | - | Datacode | sarthak@datacodeintl.com | - | - | -
Bentley Academic Select Subscription (52 Softwares) | Bentley Academic Select Subscription (52 Softwares) | Computer Lab | Bentley | - | - | - | - | - | Computer Software | Civil Engineering | Computer Lab | 8,49,600 |  | Working | Analytical | - | - | - | Capricot Technologies Pvt. Ltd. | nareshbabu.c@capricot.com | - | - | -
TCAD software | TCAD | B2/5 | Cogenda Pvt.Ltd |  |  | AICTE | MODROP/F.No.9-232/RFID/MOD/POLICY-1/2018-19 | Upgradation of analog circuit device simulation facility | 1 user license+3 GUI license+ Dell precision tower desktop | Electronics Engineering | Analog Circuits Lab | 899500 | https://www.cogenda.com/ | Working | Software |  |  |  | Cadre design systems Pvt.Ltd. | amit@cadredesign.co.in | Cadre design systems Pvt.Ltd. | amit@cadredesign.co.in | hodelectronics@rknec.edu, anjankarsc@rknec.edu
Vector Network Analyser | VNA | B2/4 | Keysight |  |  | DST | FIST Level-0 SR/FST/College/-310/2016 dated Dec 2016 | Water and air quality | 300 KHz -4.5GHz 2 ports | Electronics Engineering | Center for Microsystems | 928847 | https://www.keysight.com/us/en/products/network-analyzers.html | Working | Testing Equipment |  |  |  | Geekays India Pvt.Ltd. | sales@elmackengg.com | Geekays India Pvt.Ltd. | sales@elmackengg.com | hodelectronics@rknec.edu, khurshidaa@rknec.edu
Keithley Electrometer- | Electrometer | B2/4 | Keithley | 6517B |  | DST | FIST Level-0 SR/FST/College/-310/2016 dated Dec 2016 | Water and air quality | High impedance meter for Volatge, current and charge measurement | Electronics Engineering | Center for Microsystems | 757796 | https://www.tek.com/en/datasheet/6517b-electrometer-high-resistance-meter | Working | Characterisation Equipment |  |  |  | San Instruments | sales@saninstruments.com | San Instruments | sales@saninstruments.com | hodelectronics@rknec.edu, khurshidaa@rknec.edu
IntelliSense MEMS CAD tool | Intellisuite | B2/4 | Intellifab, Blueprint, TEM, 3D builder, SYNPLE |  |  | NA | NA | NA | 2 users licenses, Intellifab, Blueprint, TEM, 3D builder, SYNPLE | Electronics Engineering | Center for Microsystems | 1155456 | https://www.intellisense.com/ | Working | Software |  |  |  | Intellisense software, Banglore | india@intellisense.com | Intellisense software, Banglore | india@intellisense.com | hodelectronics@rknec.edu, balpandes@rknec.edu
COMSOL multiphysics | COMSOL | B2/1(B) | COMSOL Pvt.Ltd. | 5.3 Version |  | NA | NA | NA | 1 user license | Electronics Engineering | RESEARCH LAB | 4855801 | https://www.comsol.com/products | Working | Software |  |  |  | COMSOL Multiphysics Pvt. Ltd., Banglore | info-in@comsol.com | COMSOL Multiphysics Pvt. Ltd., Banglore | info-in@comsol.com | hodelectronics@rknec.edu, balpandee@rknec.edu
Antenna Trainer kit | Antenna Trainer | B1/1(A) | GB Tech |  |  | NA | NA | NA | 8.2-12.4GHZ X band Generator | Electronics Engineering | Microwave Engineering | 146397 |  | Working | Testing Equipment |  |  |  | Anant ultralabs industries, Gaziabad | anantultralab@yahoo.com | Anant ultralabs industries, Gaziabad | anantultralab@yahoo.com | hodelectronics@rknec.edu, tiwariar@rknec.edu
MIC Trainer Kit | MIC trainer | B1/1(A) | GB Tech |  |  | NA | NA | NA | 4-6 GHz C band Generator | Electronics Engineering | Microwave Engineering | 146202 |  | Working | Testing Equipment |  |  |  | Anant ultralabs industries, Gaziabad | anantultralab@yahoo.com | Anant ultralabs industries, Gaziabad | anantultralab@yahoo.com | hodelectronics@rknec.edu, tiwariar@rknec.edu
Antenna Trainer | AT | DCOM LAB | Scientech Pvt. Ltd. | ST2261 |  | Internal | RCOEM |  | Antenna Trainer Kit with 20 units | Electronics and Communication | CE/DOCM LAB | 77564 |  | working | Analytical |  |  |  | Scientech Tech. Pvt. Ltd. |  | Scientech Tech. Pvt. Ltd. |  | Kenejd@rknec.edu
Bluetooth Trainer | BT | DCOM LAB | VI Microsystem Pvt. Ltd. |  |  | Internal | RCOEM |  | Bluetooth Trainer | Electronics and Communication | CE/DOCM LAB | 27665 |  | working | Testing |  |  |  | VI Microsystem Pvt. Ltd. |  | VI Microsystem Pvt. Ltd.
COMMSIM 7 | COMS | DCOM LAB | NI | Version-7 |  | Internal | RCOEM |  | COMMSIM 5 users | Electronics and Communication | CE/DOCM LAB | 176000 |  | working | Analytical |  |  |  | Trident Techlabs |  | Trident Techlabs
Digital Storage Oscilloscope | DSO | DCOM LAB | KEYSIGHT | RMT3000 |  | Internal | RCOEM |  | 1 GHz DSO Rohde & Schwartz | Electronics and Communication | CE/DOCM LAB | 442000 |  | working | Characterisation |  |  |  | Monarch Enterprises, Shivaji Nagar, Nagpur |  | Monarch Enterprises, Shivaji Nagar, Nagpur
Fiber Optic Trainer | FOT | DCOM LAB | Scientech | ST2502 |  | Internal | RCOEM |  | ST 2502 | Electronics and Communication | CE/DOCM LAB | 23940 |  | working | Testing |  |  |  | Scientech Tech. Pvt. Ltd. |  | Scientech Tech. Pvt. Ltd.
Fiber Optical Trainer | FOT | DCOM LAB | Mars Edpal |  |  | Internal | RCOEM |  |  | Electronics and Communication | CE/DOCM LAB | 135750 |  | working | Testing |  |  |  | Mars Edpal |  | Mars Edpal
GPS Trainer | GPS | DCOM LAB | Scientech | ST2276 |  | Internal | RCOEM |  | ST 2276 | Electronics and Communication | CE/DOCM LAB | 50732 |  | working | Testing |  |  |  | Scientech Tech. Pvt. Ltd. |  | Scientech Tech. Pvt. Ltd.
GSM Trainer | GSM | DCOM LAB | Scientech | GSM01 |  | Internal | RCOEM |  | GSM Trainer & its application module | Electronics and Communication | CE/DOCM LAB | 112500 |  | working | Testing |  |  |  | DigiCom Engineers |  | DigiCom Engineers
ANSYS Academic Teaching HFSS package | HFSS | DCOM LAB | ANSYS | HFSSV14 |  | Internal | RCOEM |  | Ansoft Designer | Electronics and Communication | CE/DOCM LAB | 551250 |  | working | Testing |  |  |  | Entuple Technologies |  | Entuple Technologies
ISDN Trainer | ISDN | DCOM LAB | FALCON |  |  | Internal | RCOEM |  | ISDN Trainer office Trainer Model FALCON B-LINK-4 | Electronics and Communication | CE/DOCM LAB | 227700 |  | working | Testing |  |  |  | EDAS |  | EDAS
LAN Trainer LAN-T-LAN | LAN | DCOM LAB | Benon Mark |  |  | Internal | RCOEM |  | LAN-T-LAN | Electronics and Communication | CE/DOCM LAB | 248400 |  | working | Testing |  |  |  | EDAS |  | EDAS
Optical Fiber Communication - Dual Channel & PC - PC Communication Trainer | OFC | DCOM LAB | Scientech |  | ST2502 | Internal | RCOEM |  | Optical Fiber Communication - Dual Channel & PC - PC Communication: ST 2502 | Electronics and Communication | CE/DOCM LAB | 45444 |  | working | Testing |  |  |  | Infitech Enterprises, Nagpur |  | Infitech Enterprises, Nagpur
Network Simulator (Academic Version 7.1 or higher) | NETSIM | DCOM LAB | Technoscientific Co. | Version-7 |  | Internal | RCOEM |  | NETSIM 10 user | Electronics and Communication | CE/DOCM LAB | 220894 |  | working | Testing |  |  |  | Technoscientific Co. |  | Technoscientific Co.
Spectrum Analyzer | SA | DCOM LAB | Signet | MSA338TG |  | Internal | RCOEM |  |  | Electronics and Communication | CE/DOCM LAB | 384313 |  | working | Characterisation |  |  |  | Signet Technology |  | Signet Technology
Satellite Communication Trainer | SATCOM | DCOM LAB | AMITEC | STC24 |  | Internal | RCOEM |  |  | Electronics and Communication | CE/DOCM LAB | 234140 |  | working | Characterisation |  |  |  | Techno scientific Co. |  | Techno scientific Co.
Satellite Communication Trainer | SATCOM | DCOM LAB | Scientech | ST2271 |  | Internal | RCOEM |  |  | Electronics and Communication | CE/DOCM LAB | 94902 |  | working | Characterisation |  |  |  | Digi com Engineers |  | Digi com Engineers
SDR Trainer Kit | SDR | DCOM LAB | Akademika Lab | V-17 |  | Internal | RCOEM |  |  | Electronics and Communication | CE/DOCM LAB | 162873 |  | working | Characterisation |  |  |  | Akademika Lab Solutions |  | Akademika Lab Solutions
WiCOMM-T | WCOM | DCOM LAB | Benon Mark | WiCOMM-T |  | Internal | RCOEM |  |  | Electronics and Communication | CE/DOCM LAB | 463680 |  | working | Characterisation |  |  |  | EDAS |  | EDAS
DSP Kit TMS | TMS | Computer Center | Cranes software |  |  | Internal | RCOEM |  | TMDS DSK613DSP with CCS | Electronics and Communication | Computer Center | 28455 |  | working | Characterisation |  |  |  | EDAS Technologies |  | EDAS Technologies
MATLAB Simulink | MATSIM | Computer Center | Cranes software |  |  | Internal | RCOEM |  | HDL coder, Simulink fixed point toolbox | Electronics and Communication | Computer Center | 84474 |  | working | Testing |  |  |  | Cranes Software |  | Cranes Software
AVR Devlopment Board with Programmer | AVR | Computer Center | NVIS Technology |  |  | Internal | RCOEM |  |  | Electronics and Communication | Computer Center | 33016 |  | working | Characterisation |  |  |  | NVIS Technology pvt. Ltd |  | NVIS Technology pvt. Ltd
DSP Trainer | DSPT | Computer Center | NIZ Design Logic Pvt. Ltd. |  |  | Internal | RCOEM |  | 6747 OMAPL 137/TM320c674 | Electronics and Communication | Computer Center | 35910 |  | working | Characterisation |  |  |  | NIZ Design Logic Pvt. Ltd. |  | NIZ Design Logic Pvt. Ltd.
DSP Based video processing trainer | DSPT | Computer Center | EDAS |  |  | Internal | RCOEM |  | Davinci video development Platform | Electronics and Communication | Computer Center | 78750 |  | working | Characterisation |  |  |  | EDAS |  | EDAS
Microcontroller development board. | MC | Computer Center |  |  |  | Internal | RCOEM |  | Pic programmer. | Electronics and Communication | Computer Center | 35177 |  | working | Characterisation |  |  |  | NVIS Technology pvt. Ltd |  | NVIS Technology pvt. Ltd
Modelsim | MODSIM | Computer Center |  |  |  | Internal | RCOEM |  | 25 User | Electronics and Communication | Computer Center | 265000 |  | working | Characterisation |  |  |  | Trident Techlabs |  | Trident Techlabs
PL- TSM320XXXX DSP TRAINER | DSPT | Computer Center | Texas instrument |  |  | Internal | RCOEM |  | DSP TRAINER | Electronics and Communication | Computer Center | 65149 |  | working | Characterisation |  |  |  | Academika lab solution |  | Academika lab solution
OMAP-L138DSP+ARM-9 DEVELOPMENT KIT | ARM | Computer Center | Texas instrument |  |  | Internal | RCOEM |  | DSP + ARM TRAINER | Electronics and Communication | Computer Center | 12595 |  | working | Characterisation |  |  |  | Texas instrument, U.S |  | Texas instrument, U.S
8051 microcontroller development kit with interfacing cards | MC51 | Computer Center | Uquare |  |  | Internal | RCOEM |  | 8051 board with P89V51RD2XX device with 40 pin DIP package | Electronics and Communication | Computer Center | 45920 |  | working | Characterisation |  |  |  | Siddhi infotech enterprises |  | Siddhi infotech enterprises
Sparten 3E piggy |  | AC/Project LAB | Vi Microsystem |  |  | Internal | RCOEM |  |  | Electronics and Communication | AC/Project LAB | 8053 |  | working | Characterisation |  |  |  | Vi Microsystem |  | Vi Microsystem
EDA Tanner Tool | EDA | AC/Project LAB | EDA |  |  | Internal | RCOEM |  | Analog Mixed signal layout design system | Electronics and Communication | AC/Project LAB | 198000 |  | working | Characterisation |  |  |  | Integrated micro system |  | Integrated micro system
Altera DE-1 Development kit | ADE | AC/Project LAB | EDA |  |  | Internal | RCOEM |  | Altera Cyclone II Evaluation Board, Altera Cyclone II 2C20 FPGA with 20000 Les | Electronics and Communication | AC/Project LAB | 43690 |  | working | Testing |  |  |  | VI Microsystems |  | VI Microsystems
VL-FPGA-B | FPGA | AC/Project LAB | EDA |  |  | Internal | RCOEM |  | Basic FPGA Traner kit spartan 3 | Electronics and Communication | AC/Project LAB | 38250 |  | working | Testing |  |  |  | Akademika |  | Akademika
Lab Veiw | LV | EDC LAB | NI |  |  | Internal | RCOEM |  |  | Electronics and Communication | EDC LAB | 120250 |  | working | Testing |  |  |  | Tridentech System |  | Tridentech System
ORCAD |  | EDC LAB | NI |  |  | Internal | RCOEM |  | Orcad capture, OrcadPspice AD, Orcad PCB editor, Spectra Router 5 User | Electronics and Communication | EDC LAB | 374000 |  | working | Testing |  |  |  | Global Technology system |  | Global Technology system
GSM/GPRS module | GSM | Workshop LAB | Rhydolabz |  |  | Internal | RCOEM |  | Quad band SIM-900 | Electronics and Communication | EDC LAB | 2869 |  | working | Testing |  |  |  | Rhydolabz systems |  | Rhydolabz systems
Spectrum Analyzer |  | UHF Lab | HAMEG | HM5012-2 |  | Internal | RCOEM |  | 1 GHz Model No. HM5012-2 | Electronics and Communication | EDC LAB | 179000 |  | working | Testing |  |  |  | ARK Associates |  | ARK Associates
EMI/EMC Trainer |  | UHF Lab | Scientech | Model no.ST2206 |  | Internal | RCOEM |  |  | Electronics and Communication | EDC LAB | 45000 |  | working | Testing |  |  |  | Scientech |  | Scientech
Hyperspectral Camera | HSI | RCOEM, CSE | RESONON | PIKA NIR320 Hyperspectral Imaging Camera RCOEM/CSE/2021-22/Camera |  | External | CMPDI ranchi | Development of Coal Quality Exploration Technique based on Convolutional Neural Network and Hyperspectral Images | PIKA NIR320 Hyperspectral Imaging Camera | Computer Science and Engineering | Research Lab | 4950000 |  | Working | Analytical |  |  |  | Sinsil International Pvt. limited | sinsilbrd@gmail.com |  | sinsilmumbai@gmail.com | hiras@rknec.edu
UPS | UPS | RCOEM, CSE | GLOBE MULTISOLUTIONS | GXTMT+CX 1KSB RCOEM/CSE/2021-22/UPS |  | External | CMPDI ranchi | Development of Coal Quality Exploration Technique based on Convolutional Neural Network and Hyperspectral Images |  | Computer Science and Engineering | Research Lab | 23010 |  | Working |  |  |  |  | Sinsil International Pvt. limited |  |  | sinsilmumbai@gmail.com
Printer | Printer | RCOEM, CSE | PULSE SYSTEMS | EPSON L3250 MF TANK PRINTER |  | External | CMPDI ranchi | Development of Coal Quality Exploration Technique based on Convolutional Neural Network and Hyperspectral Images |  | Computer Science and Engineering | Research Lab | 15000 |  | Working |  |  |  |  | Sinsil International Pvt. limited |  |  | sinsilmumbai@gmail.com
SERVER | SERVER | RCOEM, CSE | KEY Computers | DELL PRECISION 3650 TOWER |  | External | CMPDI ranchi | Development of Coal Quality Exploration Technique based on Convolutional Neural Network and Hyperspectral Images |  | Computer Science and Engineering | Research Lab | 410050 |  | Working | Analytical |  |  |  | Key Computers | accounts@keycomputers.in |  | accounts@keycomputers.in | hiras@rknec.edu
HP Server | Server | IT Lab-01 | HP | HPML10 |  | Internal | NA | NA | Intel Xeon E3 3.1 GHz, 4 Core, 24 GB RAM, 500 GB HDD, 2 Single port Ethernet | Information Technology | IT Lab-01 | 64,575/- | NA | Working | Computing |  |  |  | Shreyas Infotech | rajesh.s@shreyasinfotech.com | Shreyas Infotech | rajesh.s@shreyasinfotech.com | kadurk@rknec.edu
Graphics Server (3 Nos.) | Server | IT Lab-01 | Dell | 3620XCTO | CNODKJWG-64180-5AL-2B5B/17XB/73B | Internal | NA | NA | Intel Xeon E3 3.2 GHz,Intel Chipset, 8 GB DDR4 RAM, 1 TB SATA HDD, 2 GB Nvidia Graphics Card(K420),Single port Ethernet | Information Technology | IT Lab-01 | 2,29,463/- | NA | Working | Computing |  |  |  | Key Computers |  | Key Computers |  | kadurk@rknec.edu
Hitachi F-7000 Spectrometer | Spectrometer | G-Block 2nd floor Central Instrumentation Centre | Hitachi | F-7000 | 1914-024 | External | DST | Development of Phosphors for Solid State Lighting | Used for measuring fluorescence spectra in UV-Visible Region (220-700nm), Decay measurement with millisecond order | Physics | Central Instrumentation Centre | 826000 | https://www.hitachi-hightech.com/global/product_detail/?pn=ana-f7000 | Working | Characterization
Quantum Master NIR Spectrophotometer | Spectrophotometer | G-Block 2nd floor Central Instrumentation Centre | Photon Technologies USA | QM-51 | 3350 | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | Used for measuring fluorescence spectra in UV-Visible Region (220-700nm), Reflectance of material. | Physics | Central Instrumentation Centre | 2138760 |  | Working | Characterization
Mettler Balance (0.1mg accuracy) | Weighing Balance | G-Block 2nd floor Central Instrumentation Centre | Metler Toledo | ME204 | 2733510060 | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | Used for weighing of samples | Physics | Central Instrumentation Centre | 75825 |  | Working | MateriaL Preparation
Muffle Furnace Maximum Temperaure : 1700oC | Furnace | G-Block 2nd floor Central Instrumentation Centre | Metrex Scientific |  |  | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | For heating of materials upto 1700oC | Physics | Central Instrumentation Centre | 375000 | http://www.metrexscientific.in/muffle-furnace-5739564.html | Working | MateriaL Preparation
Atmosphere Furnace | Furnace | G-Block 2nd floor Central Instrumentation Centre | Metrex Scientific |  |  | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | Atmosphere Furnace upto 1300 deg C with flow of nitrogen or argon | Physics | Central Instrumentation Centre | 173138 | http://www.metrexscientific.in/programmable-tube-furnace-5742229.html | Working | MateriaL Preparation
LED Meter | LED Meter | G-Block 2nd floor Central Instrumentation Centre | UPRTECK | MK350N | HS0313450118 | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | CMOS Linear Image Sensor; 380 to 780 nm; Approximately 12 nm (Half Bandwidth). Used for detecting visible spectra of material. | Physics | Central Instrumentation Centre | 116218 |  | Working | Characterization
Lumen meter | Lumen Meter | G-Block 2nd floor Central Instrumentation Centre | ZVISION | ZWL-600 | 50000607657 | External | BARC MoU | Development of LED based dosimeters for Personal monitoring | Used for measuring Color Coodinates , Color Rendering Index, Lumen output LED angle and angle intensity, color temperature, lumen, current and voltage, etc of materials used for making LEDs | Physics | Central Instrumentation Centre | 306974 | https://www.made-in-china.com/showroom/ledtester/product-detailGoOQfyxKaHkm/China-LED-Lumen-Angle-Color-Temperature-Testing-Instrument-ZWL-600-.html | Working | Characterization
USB-2000 Spectrometer | Spectrometer | G-Block 2nd floor Central Instrumentation Centre | Ocean Optics | USB-2000 |  | External | ICMR | Development and Synthesis of UV Lamp Phosphors for Phototherapy | Portable spectrometer used for measuring fluorescence spectra in UV-Visible Region (250-650nm) | Physics | Central Instrumentation Centre | 150000 | https://www.oceaninsight.com/globalassets/catalog-blocks-and-images/manuals--instruction-old-logo/spectrometer/usb2000-operating-instructions1.pdf | Working | Characterization
Spin Coating Unit | Spin Coating Unit | G-Block 2nd floor Central Instrumentation Centre |  |  |  | External | DST | Development of Phosphors for Solid State Lighting | Used for making thin films | Physics | Central Instrumentation Centre |  |  | Working | MateriaL Preparation
El. Analytical Balance |  | Che. Lab G 1/12 | Mettlar Toledo | AB 204-S/FACT | 1127341426 | Internal | NA | NA | used to measure the analytical weights upto 0.1 mg | Chemistry | Chemistry Lab | 95000 | NA | Working | Analytical | NA | NA | 11875 (12.5 % VAT) | Central scientific | info@cscnagpur.com | Central scientific | info@cscnagpur.com | NA
Rotary Shacker |  | Che. Lab G 1/12 | REMI | RS 24 Plus | ZEFS-21224 | Internal | NA | NA | Use to shake the samples for Adsorption | Chemistry | Chemistry Lab | 88000 | NA | Working | Testing Equipment | NA | NA | 15840 (18 %GST) | Monarch Enterprises Nagpur | mme_ngp@sancharnet.in | Monarch Enterprises Nagpur | mme_ngp@sancharnet.in | monarchngp@dataone.in
Visible Spectrophotometer |  | Che. Lab G 1/12 | Aimil | AIM-23004 | 2012 | Internal | NA | NA | use to determine the concentration calorimetrically | Chemistry | Chemistry Lab | 85000 | NA | Working | Characterisation | NA | NA | 15300 (18 %GST) | The Standard Sci. Co. Nagpur | chemical_np@yahoo.com | The Standard Sci. Co. Nagpur | chemical_np@yahoo.com | standard_ngp@yahoo.com
Rotary Evaporator |  | Che. Lab G 1/12 | JSGW | 1188 Bucchi Type | 23513 | Internal | NA | NA | Rotary evaporator is used to seperate out two different solvents with different boiling point. | Chemistry | Chemistry Lab | 48750 | NA | Working | Testing Equipment | NA | NA | 8775 (18 %GST) | The Global Marketing Nagpur | pradesh_67@yahoo.com | The Global marketing | pradesh_67@yahoo.com | NA
BOD Incubator | BOD | Che. Lab G 1/12 | Bio Tech India | NA | 22237 | Internal | NA | NA | It is used to check the Biological Oxygen demand of water sample | Chemistry | Chemistry Lab | 73108 | NA | Working | Analytical/Testing Equipment | NA | NA | 13159.44 ( 18 % GST) | Upper India Scientific Co. | upperindiangp@gmail.com | Upper India Scientific Co. | upperindiangp@gmail.com | NA