## Sheet2
Equipment Name | Approved Abbreviation | Location | Make | Model | Serial No | Funding Agency Type | Funding Agency Details | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost (Rs) | Refernce Website | Equipment Status | Category | FOV Cost (Rs) | CIF Cost (Rs) | Any Other Cost (Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Hitachi F-7000 Spectrometer | Spectrometer | G-Block 2nd floor Central Instrumentation Centre | Hitachi | F-7000 | 1914-024 | External | DST | Development of Phosphors for Solid State Lighting | Used for measuring fluorescence spectra in UV-Visible Region (220-700nm), Decay measurement with millisecond order | Physics | Central Instrumentation Centre | 826000 | https://www.hitachi-hightech.com/global/product_detail/?pn=ana-f7000 | Working | Characterization
Quantum Master NIR Spectrophotometer | Spectrophotometer | G-Block 2nd floor Central Instrumentation Centre | Photon Technologies USA | QM-51 | 3350 | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | Used for measuring fluorescence spectra in UV-Visible Region (220-700nm), Reflectance of material. | Physics | Central Instrumentation Centre | 2138760 |  | Working | Characterization
Mettler Balance (0.1mg accuracy) | Weighing Balance | G-Block 2nd floor Central Instrumentation Centre | Metler Toledo | ME204 | 2733510060 | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | Used for weighing of samples | Physics | Central Instrumentation Centre | 75825 |  | Working | MateriaL Preparation
Muffle Furnace Maximum Temperaure : 1700oC | Furnace | G-Block 2nd floor Central Instrumentation Centre | Metrex Scientific |  |  | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | For heating of materials upto 1700oC | Physics | Central Instrumentation Centre | 375000 | http://www.metrexscientific.in/muffle-furnace-5739564.html | Working | MateriaL Preparation
Atmosphere Furnace | Furnace | G-Block 2nd floor Central Instrumentation Centre | Metrex Scientific |  |  | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | Atmosphere Furnace upto 1300 deg C with flow of nitrogen or argon | Physics | Central Instrumentation Centre | 173138 | http://www.metrexscientific.in/programmable-tube-furnace-5742229.html | Working | MateriaL Preparation
LED Meter | LED Meter | G-Block 2nd floor Central Instrumentation Centre | UPRTECK | MK350N | HS0313450118 | External | DST | Development of Quantum Cutting Phosphors for Crystalline Silicon Solar Cell | CMOS Linear Image Sensor; 380 to 780 nm; Approximately 12 nm (Half Bandwidth). Used for detecting visible spectra of material. | Physics | Central Instrumentation Centre | 116218 |  | Working | Characterization
Lumen meter | Lumen Meter | G-Block 2nd floor Central Instrumentation Centre | ZVISION | ZWL-600 | 50000607657 | External | BARC MoU | Development of LED based dosimeters for Personal monitoring | Used for measuring Color Coodinates , Color Rendering Index, Lumen output LED angle and angle intensity, color temperature, lumen, current and voltage, etc of materials used for making LEDs | Physics | Central Instrumentation Centre | 306974 | https://www.made-in-china.com/showroom/ledtester/product-detailGoOQfyxKaHkm/China-LED-Lumen-Angle-Color-Temperature-Testing-Instrument-ZWL-600-.html | Working | Characterization
USB-2000 Spectrometer | Spectrometer | G-Block 2nd floor Central Instrumentation Centre | Ocean Optics | USB-2000 |  | External | ICMR | Development and Synthesis of UV Lamp Phosphors for Phototherapy | Portable spectrometer used for measuring fluorescence spectra in UV-Visible Region (250-650nm) | Physics | Central Instrumentation Centre | 150000 | https://www.oceaninsight.com/globalassets/catalog-blocks-and-images/manuals--instruction-old-logo/spectrometer/usb2000-operating-instructions1.pdf | Working | Characterization
Spin Coating Unit | Spin Coating Unit | G-Block 2nd floor Central Instrumentation Centre |  |  |  | External | DST | Development of Phosphors for Solid State Lighting | Used for making thin films | Physics | Central Instrumentation Centre |  |  | Working | MateriaL Preparation