## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Chemical Vapor Deposition (CVD) | CVD | D304, Peenya Campus (D Block) | Mansha Vacuum Equipment Pvt. Ltd. Bengaluru |  |  | Government | DST, SERI | • High Temperature Tubular Furnace : Single Zone / Two Zone • Tube Quartz : upto 1200°C • Vacuum Pumping System • Vacuum Valves • Vacuum Gauges • Temperature Controllers • Gas mixing chamber • Mass Flow Controllers : Argon / Nitrogen | Materials Synthesis and Characterisation Laboratory |  |  |  | Fabrication | Under Maintenance
FPGA Development Board | FPGA | Hardware Lab, Peenya Campus | DELL, Texas Instruments |  |  | Government | AR&DB Sigma Panel | • High Power Computing work station, DSP Processors | Department of Electronics and Communication Engineering - LAB |  |  |  | Research Equipment | Under Maintencance
E&C Lab Equipment and Boards | Powerstation | Hardware Lab, Peenya Campus | DELL | i3 |  | Government | AR&DB Sigma Panel | • High Power Computing work station | Department of Electronics and Communication Engineering - LAB |  |  |  | Research Equipment | Under Maintencance
Digital PH Metre | PH Metre | Faculty of Pharmacy, M.S.Ramaiah University of Applied Sciences,BEL Road, Bangalore-560 054 | Amkette Analytics Ltd. | FT20 |  | Government | VGST, DST | • Potable/ Pocket type - Electronic pH Meter with Temperature and Humidity Reading | Department of Pharmaceutics |  |  |  | Analytical Measurement | Up
Digital Balanace | Balance | Faculty of Pharmacy, M.S.Ramaiah University of Applied Sciences,BEL Road, Bangalore-560 054 | Shimadzu | 0.1mg Sensitivity |  | Government | VGST, DST | • Weighing Sensitivity 0.1 – 200g | Department of Pharmaceutics |  |  |  | Analytical Measurement | Up
PCB Board Frabricator | PCB Fabrication Unit | B-104, Peenya Campus | NVIS Technologies |  |  | Government | AR&DB Sigma Panel | • Manual PCB Fabrication Unit | Department of Electronic and Communication Engineering / PCB Fabrication Lab |  |  |  | Research Equipment | Up
High Temperature Furnance | Furnace | D304, Peenya Campus (D Block) | OMEGA Furances Pvt. Ltd. | HT-1800 |  | Government | AR&DB - GTMAP | • 1800 Deg C Furnace | Material Science & Characterization Lab |  |  |  | Fabrication | Up
Sputter Deposition | Sputtering M/C | D304, Peenya Campus (D Block) | MANSHA Vaccum Equ. Pvt. Ltd. | DC-RF-PDC |  | Government | AR&DB - GTMAP | • Sputtering for PDC | Material Science & Characterization Lab |  |  |  | Fabrication | Up
CNC Wire Cut Electric Discharge Machine | Wire Cut EDM | Machine Shop | CONCORD United Products Pvt. Ltd. | DK7732VC |  | Government | KCTU | • Hard machining | Department of Mechanical & Manufacturing Engineering /Machine Shop |  |  |  | Fabrication | Up
Optical Measuring Microscope (OMM) | OMM | Machine Shop | Olympus | STM-7 |  | Government | KCTU | • Surface Measuring | Department of Mechanical & Manufacturing Engineering /Machine Shop |  |  |  | Fabrication | Up
Piezoelectric Milling Tool Dynamometer | Dynamometer | Machine Shop | Medilab Enterprises | MLB-PML-P300 |  | Government | KCTU | • Cutting Force Measuring | Department of Mechanical & Manufacturing Engineering /Machine Shop |  |  |  | Fabrication | Up
Laser Based Digital Tool Tip Temperature Indicator | Digital Tool Tip Temperature Indicator | Machine Shop | Medilab Enterprises | MLB-1200 |  | Government | KCTU | • Temperature Measuring | Department of Mechanical & Manufacturing Engineering /Machine Shop |  |  |  | Fabrication | Up
Lumerical Products Academic Lab Suite |  | SEM lab D 304 Peenya campus | Lumerical |  |  | Government | ISRO | • Software | Department of Electronic and Communication Engineering |  |  |  | Simulation | Up
Dell Precision Tower 3620 XCTO Base(CX) | Dell Workstation | SEM lab D 304 Peenya campus | Dell International Services India | 3620 XCTO Base(CX) |  | Government | ISRO | • Dell workstation | Department of Electronic and Communication Engineering |  |  |  | Simulation | Up
Hydraulic Press | Hydraulic Press | Peenya Campus - Workshop | Industrial Engineering Instruments | IEI - Customised |  | Government | KCTU | • Load Frame rated for at least 25kN in tension / compression dynamic capacity • Hydraulic Actuator to load at leat 25kN actuators are double-ended, fatigue rated and designed with proprietary materials that minimize friction, while maximizing reliability, wear resis • Hydraylic power pack with hydraulic oil and pump of sufficient capacity to run the system continuously with Aluminum housing manifold blocks that hold valves, and a hydraulic gear pump • DSP based Digital Servo Controller • Formability fixtures | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
MIG Welding | MIG Welding | Peenya Campus - Workshop | Industrial Engineering Instruments | IEI - Customised |  | Government | KCTU | • Electra or equivalent | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
Dynamic Balancing Machine | Balancing Machine | Peenya Campus - Workshop | Industrial Engineering Instruments | IEI - Customised |  | Government | KCTU | • Precibalance | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
Wheel Balancing Machine | Wheel Balancing Machine | Peenya Campus - Workshop | Industrial Engineering Instruments | IEI - Customised |  | Government | KCTU | • ARO or equivalent | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
Experimental Set Up with All Equipment and Accessories to Evaluate Mechanical Properties of Plant Materials |  | Peenya Campus - Workshop | Industrial Engineering Instruments | IEI - Customised |  | Government | KCTU | • IEICOS - Loading Frame, Load Cells with Amplifiers with Computer Interface and Displacement Measurement • Fixtures for Tensils, Compression, Shearing and bending developed by IEICOS for the Loading Frame • Computer interface and Lab view based graphical user interface software • Computer with runtime version of Lab view installed (DELL/HP/Equivalent: Intel Core i3, 4GB RAM with DVDRW, WIN8, 64 bit, Hard disc, 500 GB, 18.5" colour flat panel monitor, keyboard, mouse, CD/DVD writer with software installed or better) | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
Set of Electrical Motors with Different Power Ratings and Related Accessories |  | Peenya Campus - Workshop | Industrial Engineering Instruments | IEI - Customised |  | Government | KCTU | • Induction Motors • High Efficient Light Weight High Torque Geared HUB Motor with Controlled | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
Set of Petrol/Diesel Engines with Different Power Ratings and Accessories Tools and Accessories Required for Prototype Development |  | Peenya Campus - Workshop | Industrial Engineering Instruments | IEI - Customised |  | Government | KCTU | • Petrol Engine 4 Stroke Single Cylinder • Disel Engine - Kissan AKV - 10 • Spanner Set, Ring Set, Bit Box etc | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
3D Printer with all Accessories | 3D Printer | Peenya Campus - Workshop | Vyapti Tecnica Solutions LLP | Aeqon 400 |  | Government | KCTU | • Aeqon 400 Rapid Prototyping Machine with build size 300mm x 250mm x 400mm (LxWxH) • Print Cleaning Accessory Kit • Machine Interface Software & Manual • Nozzle • ABS Spools | Department of Mechanical & Manufacturing Engineering |  |  |  | Fabrication | Up
UV-VIS-Spectrophotometer | UV-VIS | D304, Peenya Campus (D Block) | Shimadzu, Japan | Shimadzu UV-2600 Model: 206-27600-45 |  | Government | KCTU | • Lo-Ray-Ligh grade blazed holographic diffraction grating with Czerny- Turner monochromator design • Wavelength range from 185nm to 900nm expandable to Near Infra-Red range up to 1,400nm with integrating sphere attachment • Variable spectral bandwidth selection from 0.1nm to 5nm and L2/L5 for low stray light mode for critical samples • 32bit UV Probe software includes – Spectrum, Data processing , Multitasking Photometric, Kinetics and time course, Report Generation and Inspection mode • ISR-2600 Plus Integrating Sphere Measurement Range : 220 – 1,400 nm | Materials Synthesis and Characterisation Laboratory |  |  |  | Characterization | Up
Scanning Tunneling Microscopy (STM) | STM | D304, Peenya Campus (D Block) | Nanosurf AG, Switzerland | Nanosurf Naio STM - BT 04999 |  | Government | KCTU | • Naio STM 500 nm • Imaging modes ○ Constant current (Topography) Constant Height (Current) • Spectroscopy Modes ○ Current Voltage ○ Current Distance | Materials Synthesis and Characterisation Laboratory |  |  |  | Characterization | Up
Cone & Plate Viscometer |  | D304, Peenya Campus (D Block) | Brookfield, UK | (CAP2000+H) + CAP-01 |  | Government | KCTU | • Spindle: CAP-01 • Viscosity Range: 0.2- 375 Poise • Shear Rate: 13.3N/sec • Sample Volume: 67 micron • Speed: 5 to 1000 rpm • Automated PC Control using CAPCALC Software • Choice of Built -in temperature control: 5°C - 75°C | Materials Synthesis and Characterisation Laboratory |  |  |  | Characterization | Up
Digital Viscometer |  | D304, Peenya Campus (D Block) | Brookfield, UK | RVDV-2T |  | Government | KCTU | • Spindle: SC4-27 • Viscosity Range: 100- 40M cP(mPa.s) • Shear Rate: wide range • Speed: 0.1 to 200 rpm • Automated PC Control using Software | Materials Synthesis and Characterisation Laboratory |  |  |  | Characterization | Up
Rheometer |  | D304, Peenya Campus (D Block) | Brookfield, UK | Thermosel 230V DP |  | Government | KCTU | • Spindle SC4-27 • Viscosity Range: 125- 2.5McP (mPa.s) • Shear Rate: 0.34N/sec • Sample Volume: 10.5mL • Speed: 5 to 1000 rpm • Automated PC Control using CAPCALC Software • Choice of Built -in temperature control: 5°C - 75°C | Materials Synthesis and Characterisation Laboratory |  |  |  | Characterization | Up
Linear Actuator - 100.1 -12 vdc |  | Peenya Campus - Techno Centre | Actuonix | PQ12-P |  | Government | DRDO | • Motors with Controller Board | Department of Electronic and Communication Engineering |  |  |  | Analytical Measurement | Up