## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Name | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Raman Spectroscopy | MR | SAIF-DST-CFC center Shivaji University, Kolhapur | Renishaw UK Sales,UK | Renishaw INVIA 0120 -20 | 450519 | External Funding | DST -PURSE PHASE - II |  | Raman Spectroscopy is mostly used for detect functional group. when laser light Incident on material, its interact with material and release enengy and we get spectrum. | SAIF-DST-CFC center |  | 95,55,322/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Labindia Instrument PVT.LTD. | nairjr@labindia.com | Yuvraj Patil | raman@renishaw.com | rgsonkawade@gmail.com
Gas chromatography-Mass Spectroscopy /MS - TQ 8050 Plus with HS-20 | GC-MS MS | SAIF-DST-CFC center Shivaji University, Kolhapur | Shimadzu Japan | TQ 8050 plus with HS-20 | MS0215054 GC-00971 | External Funding | DST-SAIF |  | GS-MS/MS is analytical Instrument that measure the content of various components in sample. | SAIF-DST-CFC center |  | 11748108 | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Toshvin Analytical Instrument | pune.service@toshvin.com | Toshvin Analytical Instrument | shreyas.tribhuvane@agilent.com | rgsonkawade@gmail.com
Partical size analzer with zeta potential | PSA-ZP | SAIF-DST-CFC center Shivaji University, Kolhapur | Malvern | Nano ZS 90 ZEN 3696 | MAL 1140144 | External Funding | DST-SAIF |  | DLS with Sub Nano to Micrometers size and Zeta potential | SAIF-DST-CFC center |  | 25,14,310/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | AIMIL LTD | ssgodre@aimil.com |  | www.malvern.com | rgsonkawade@gmail.com
Themogravimetric analysis/differential thermal analysis/differential Scanning Cato | TGA/DTA/DSC | SAIF-DST-CFC center Shivaji University, Kolhapur | TA Instrumentation | SDT Q 600 | 0600 -0801 | External Funding | UGC XI TH Plan |  | In TGA -DTA-DSC we get Thermal Stability of Material as well as get weight loss at different temperature. | SAIF-DST-CFC center |  | 18,00,000/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Thermal Analysis & Rhcology Waters India | india@tainstrument.com | Manoj Dubey | rupesh@tainstrument.com | rgsonkawade@gmail.com
FTIR ( ALPHA FT-IR) | FTIR | SAIF-DST-CFC center Shivaji University, Kolhapur | Burker, Germany | PN: 1010948106 | SN: 100508 | External Funding | UGC XII TH Plan D.8.P1.2.7 |  | It is qualitative technique and used for analysis of organic and inorganic compounds for determination of functional group and characterizing covalent bonding information. | SAIF-DST-CFC center |  | 10,03,466/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Burker, Germany | bopt.te@bruker.com | Burker, Germany | pratik.limkar@labindia.com | rgsonkawade@gmail.com
X-Ray Photoelectron Spectroscopy | XPS | SAIF-DST-CFC center Shivaji University, Kolhapur | JEOL,Japan | JPS-9030 | Ap1250000230023 | External Funding | RUSA |  | XPS is a suface sensitive analytizal techniqne XPS can detect all elements except Hydrogen & Helium | SAIF-DST-CFC center |  | 3,11,43,495/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | JEOL | sameerpai@jeolindia.com | JEOL | sameerpai@jeolindia.com | rgsonkawade@gmail.com
XRD - X Ray DIFFRACTOMETER | XRD | SAIF-DST-CFC center Shivaji University, Kolhapur | Burker, Germany | D8.Advance | PTB3119vststschg | External Funding | DST -PURSE PHASE - II |  | It is non-destructive technique for characterizing crystalline materials. It provides information about crystal structure, phase, preferred crystal orientation and other structural parameters such as grain size, crystalinity, stress, and strain. | SAIF-DST-CFC center |  | 1,45,00,000/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Burker India | Accounts@biozed.com | Burker India | Accounts@biozed.com | rgsonkawade@gmail.com
ICP-OES | ICP-OES | SAIF-DST-CFC center Shivaji University, Kolhapur | Agilent Technology,Malaysia | ICP-OES 5100 | My 15230013 | External Funding | DST-SAIF |  | ICP-OES is used to determine concentration of different metals in different materials, arsenic in food and trace elements bounds to proteins. | SAIF-DST-CFC center |  | 3910684 | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Agilent | supportservices_india@agilent.com transactional india@agilent.com | Agilent | customercare india@agliment.com | rgsonkawade@gmail.com
Microwave digestion system | Microwave digestio system | SAIF-DST-CFC center Shivaji University, Kolhapur | Anton paar,Australia | Multiwave pro | 82192730 | External Funding | DST-SAIF |  | It is generally used for the sample preparation for ICP-OES equipment. It can digest all type of samples including food, biological, environmental samples, agricultural samples, cosmetic and pharmaceutical samples. It is designed for the easiest handling with low investment and running costs. | SAIF-DST-CFC center |  | 18,10,626/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Anton paar | www.anton-paar.com | pratik nandgaonkar | pratik.nandgaonkar@anton-paar.com | rgsonkawade@gmail.com
Transmission electrone microscope | TEM | SAIF-DST-CFC center Shivaji University, Kolhapur | JEOL | JEM-2100 plus | EM 1753001630163 | External Funding | DST-SAIF |  | transmission electron microscope (TEM) is a microscope that use a electron beam to visualize specimens and generate highly magnified image than optical microscope. | SAIF-DST-CFC center |  | 5,03,96,500/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | JEOL/JAPAN | sameerpai@jeolindia.com | JEOL/JAPAN | sameerpai@jeolindia.com | rgsonkawade@gmail.com
Ultracentrifuge | Ultracentrifuge | SAIF-DST-CFC center Shivaji University, Kolhapur | Beckman-coulter | optima XPN-100 | XPN 19K06 | External Funding | DST-PURSE |  | The ultracentrifuge is a centrifuge optimized for spinning a rotor at very high speeds, capable of generating acceleration as high as 100000 rpm for separating nano-particles from the liquid with controlled environment, temperature and speed. | SAIF-DST-CFC center |  | 29,92,500,00/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Beckman coulter | www.beckmancoulter.com | Beckman coulter | www.beckmancoulter.com | rgsonkawade@gmail.com
Bio-Atomic Force Microscope | Bio-AFM | SAIF-DST-CFC center Shivaji University, Kolhapur | park syst.s.korea | NX-10 | IN10019-131119 | External Funding | DST-PURSE |  | It is used for imaging any type of surface, including polymers, ceramics, composites, glass and biological samples and works in all contact, non-contact, tapping modes. We can do lateral force microscopy, force modulation mcroscopy, phase imaging, magnetic force microscopy, electrical modes such as EFM, PFM, KPFM, CAFM and scanning ion conductance mode. | SAIF-DST-CFC center |  | 1,58,02,514/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Icon Anyalytical Equipemnt Pvt. Ltd. | service@iconanalytical.com | Icon Anyalytical Equipemnt Pvt. Ltd. | service@iconanalytical.com | rgsonkawade@gmail.com
Vectro network Analyzer | VNA | SAIF-DST-CFC center Shivaji University, Kolhapur | Keysight Technology | ENA E5063A | MY54504446 | External Funding | DST -PURSE PHASE - II |  | It is used for measuring microwave properties of the material, network parameters such as S parameters, reflection, transmission etc. and also used for the measurement of different test parameters of microwave antenna. It is also used for testing component specification and verify design simulation. | SAIF-DST-CFC center |  | 25,20,000/- | http://www.unishivaji.ac.in/saif/Facilities | Working | Characterization |  |  |  | Cyronics Instrument Private Ltd. | shailesh@cyronics.com | Bhmack Engg. Services pvt. Ltd., Pune | umesh.aherruo@elmackengg.com | rgsonkawade@gmail.com