## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
SOLAR ANALYSER |  | SOLAR Energy Lab | AMPROBE | SOLAR 500 | 9090034 | nil | nil |  | A solar simulator (also artificial sun or sunlight simulator) is a device that provides illumination approximating natural sunlight. The purpose of the solar simulator is to provide a controllable indoor test facility under laboratory conditions. | Electrical & Electronics Engineering |  | 129986 | https://www.amprobe.com/product/ | active | Analytical/Experimental |  |  |  |  | info@amprobe.com | Solar Lab/EEE | venkateshkumar@karunya.edu | venkateshkumar@karunya.edu
SOLAR GENERTION SYSTEM 1 KW |  | SOLAR Energy Lab | GREEN WICH NEXEN |  | GNX/2011-12/1094 | nil | nil |  | Solar PV Training and Research system is a compact miniaturised version of an actual Solar PV standalone power plant. The system enables user to study wiring and interconnections of different components involved in the system to develop basic understanding of working and operation of a Standalone PV system. Through the help of experiments a student can understand underlying principles of solar PV, its applications in standalone system and challenges like sizing of system, MPPT, installations etc. by doing various experiments. The system also provides scope for further research. | Electrical & Electronics Engineering |  | 320000 | www.greenwichnexen.com | active | Analytical/Experimental |  |  |  |  | sales@elitmus.com | Solar Lab/EEE | venkateshkumar@karunya.edu | venkateshkumar@karunya.edu
SOLAR PHOTOVOLTAIC TRAINING &RESEARCH KIT |  | SOLAR Energy Lab | ECOSENSE |  |  | nil | nil |  | Solar PV Grid Tied Training System is a compact version of an actual Solar PV Grid Tied power plant. The system enables user to study wiring and interconnections of different components involved in the system to develop basic understanding of working and operation of a Grid connected system. A user can understand underlying principles power electronics, its applications in power system and challenges like harmonics and grid synchronisation by doing various experiments. The system also provides scope for further research. | Electrical & Electronics Engineering |  | 190000 | https://www.ecosenseworld.com/ | active | Analytical/Experimental |  |  |  |  | ecosense@ecosenseworld.com | Solar Lab/EEE | venkateshkumar@karunya.edu | venkateshkumar@karunya.edu
Solar PV Grid tied Training System |  | SOLAR Energy Lab | ECOSENSE |  |  | nil | nil |  | The training system consists of three parts: an artificial wind generator, a wind turbine, and a control / measurement unit.  Wind generating unit consists of an induction motor with a fan-hub sub unit and variable frequency drive (VFD). This unit will generate different wind speed with change in frequency of motor input supply. | Electrical & Electronics Engineering |  | 329212 | https://www.ecosenseworld.com/ | active | Analytical/Experimental |  |  |  |  | ecosense@ecosenseworld.com | Solar Lab/EEE | venkateshkumar@karunya.edu | venkateshkumar@karunya.edu
Wind Energy Training system |  | Wind Experimental Station | ECOSENSE |  |  | nil | nil |  |  | Electrical & Electronics Engineering |  | 513750 | https://www.ecosenseworld.com/ | active | Analytical/Experimental |  |  |  |  | ecosense@ecosenseworld.com | Wind Experimental System | venkateshkumar@karunya.edu | venkateshkumar@karunya.edu