## Sheet2
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Die Electric Breakdown Tester |  | CIPET:CSTS BHAGALPUR | Sensors India | SENSORS SI-DBDT-20 | SI-DBDT-20 | External Funding | Institution funding self supported |  |  | Testing |  | 650900 |  |  | Electrical | Sensors India | Email:sensor@sensorindia.com | Sensors India | Email:sensor@sensorindia.com | bhagalpur@cipet.gov.in
Contour Cutter |  | CIPET:CSTS BHAGALPUR | Tejas Enterprises | TECHPLAST CON-T | CON-T | External Funding | Institution funding self supported |  |  | Testing |  |  |  |  | Mechanical | Tejas Enterprises | Email: tejasentpune@rediffmail.com | Tejas Enterprises | Email: tejasentpune@rediffmail.com | bhagalpur@cipet.gov.in
FTIR |  | CIPET:CSTS BHAGALPUR | Thermo Fisher Scientific India Pvt Ltd | THERMO FISHER SCIENTIFIC NICOLET SUMMIT PRO | NICOLET SUMMIT PRO | External Funding | Institution funding self supported |  |  | Testing |  | 1770000 |  |  | Chemical | Thermo Fisher Scientific India Pvt. Ltd. | Email: asish.singh@thermofisher.com | Thermo Fisher Scientific India Pvt. Ltd. | Email: asish.singh@thermofisher.com | bhagalpur@cipet.gov.in
TGA Apparatus |  | CIPET:CSTS BHAGALPUR | BioZed Engineering Pvt Ltd | TA Instruments Discovery TGA 55 | Discovery TGA 55 | External Funding | Institution funding self supported |  |  | Testing |  | 3125820 |  |  | Thermal | BioZed Engineering Pvt. Ltd. | E-mail ; sales@biozed.com | BioZed Engineering Pvt. Ltd. | E-mail ; sales@biozed.com | bhagalpur@cipet.gov.in
Automized Izod/ Charphy Impact Tester |  | CIPET:CSTS BHAGALPUR | AIMIL Ltd | Tinius Olsen Testing IT504 | IT504 | External Funding | Institution funding self supported |  |  | Testing |  | 3309192 |  |  | Mechanical | AIMIL Ltd | Email: svinothkumar@aimil.com | AIMIL Ltd | Email: svinothkumar@aimil.com | bhagalpur@cipet.gov.in
Cold Water Bath |  | CIPET:CSTS BHAGALPUR | Dinesh Scientific | Dinesh Scientific DS-1265 | DS-1265 | External Funding | Institution funding self supported |  |  | Testing |  | 192104 |  |  | Mechanical | Dinesh Scientific | Email: dineshvrm@gmail.com | Dinesh Scientific | Email: dineshvrm@gmail.com | bhagalpur@cipet.gov.in
Rockwell Hardness Tester |  | CIPET:CSTS BHAGALPUR | Banbros Engineeing Pvt Ltd | Banbros BRSN-D | BRSN-D | External Funding | Institution funding self supported |  |  | Testing |  | 336047 |  |  | Mechanical | Banbros Engineeing Pvt. Ltd | Ph: +91-120-4556371 to 76 Mob: 9873392381 | Banbros Engineeing Pvt. Ltd | Ph: +91-120-4556371 to 76 Mob: 9873392381 | bhagalpur@cipet.gov.in
Universal Testing Machine |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited | HEMTECH HT- U2510 & HT- LTE | HT- U2510 & HT- LTE | External Funding | Institution funding self supported |  |  | Testing |  | 1923400 |  |  | Mechanical | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
WVTR |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited | PERMTECH PERMEH2O - S | PERMEH2O - S | External Funding | Institution funding self supported |  |  | Testing |  | 3410200 |  |  | Chemical | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
Melt Flow Rate Tester |  | CIPET:CSTS BHAGALPUR | HEM Techsys Private Limited | HEMTECH HT-MFI ABACWLPC | HT-MFI ABACWLPC | External Funding | Institution funding self supported |  |  | Testing |  | 649000 |  |  | Rhelogical | HEM Techsys Private Limited | Email: pratik@hemtech.in | HEM Techsys Private Limited | Email: pratik@hemtech.in | bhagalpur@cipet.gov.in
Comparative Tracking Index |  | CIPET:CSTS BHAGALPUR | San Engineering Company | CSR ELEKTRONIKS CSR ELEKTRONIKS | CSR ELEKTRONIKS | External Funding | Institution funding self supported |  |  | Testing |  | 599543 |  |  | Electrical | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Deep Freezer |  | CIPET:CSTS BHAGALPUR | San Engineering Company | ARCADE ARC-2220-HDF | ARC-2220-HDF | External Funding | Institution funding self supported |  |  | Testing |  | 185959 |  |  | Mechanical | San Engineering Company | Email: sanenggco@rediffmail.com | San Engineering Company | Email: sanenggco@rediffmail.com | bhagalpur@cipet.gov.in
Falling Weight Impact Tester |  | CIPET:CSTS BHAGALPUR | P S I Sales Private Limited | P.S.I PLC-27 | PLC-27 | External Funding | Institution funding self supported |  |  | Testing |  | 110649 |  |  | Mechanical | P.S.I Sales Private Limited | _ | P.S.I Sales Private Limited | _ | bhagalpur@cipet.gov.in
Environmental Stress Cracking Resistance |  | CIPET:CSTS BHAGALPUR | P S I Sales Private Limited | P.S.I PLC-30 | PLC-30 | External Funding | Institution funding self supported |  |  | Testing |  | 111829 |  |  | Chemical | P.S.I Sales Private Limited | _ | P.S.I Sales Private Limited | _ | bhagalpur@cipet.gov.in
Volume & Surface Resistivity Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt Ltd | SIVANANADA LS3BM | LS3BM | External Funding | Institution funding self supported |  |  | Testing |  | 263730 |  |  | Electrical | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Gloss Meter |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt Ltd | Rhopoint Novo-Gloss Trio (20/30/85) & Novo Gloss 45 (45 Deg) | Rhopoint Novo-Gloss Trio (20/30/85) & Novo Gloss 45 (45 Deg) | External Funding | Institution funding self supported |  |  | Testing |  | 317066 |  |  | Optical | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Elmendrof Tear Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt Ltd | ASIAN TEST ATE/ETT/1 | ATE/ETT/1 | External Funding | Institution funding self supported |  |  | Testing |  | 276710 |  |  | Mechanical | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Hydrostatic Pressure Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI/HPTP-09 | EPI/HPTP-09 | External Funding | Institution funding self supported |  |  | Testing |  | 812430 |  |  | Mechanical | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Notch Cutter |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI - 250 | EPI - 250 | External Funding | Institution funding self supported |  |  | Testing |  | 258066 |  |  | Mechanical | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Glow Wire Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI / GWT - 01 | EPI / GWT - 01 | External Funding | Institution funding self supported |  |  | Testing |  | 382320 |  |  | Thermal | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Hot Water Bath |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | ELEMECH EPI / HWB - 09 | EPI / HWB - 09 | External Funding | Institution funding self supported |  |  | Testing |  | 210276 |  |  | Mechanical | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
HDT VSP Apparatus |  | CIPET:CSTS BHAGALPUR | Venture Instrumentation Technology Pvt Ltd | COESFELD VICAT HDT COMPACT | VICAT HDT COMPACT | External Funding | Institution funding self supported |  |  | Testing |  | 3221046 |  |  | Thermal | Venture Instrumentation Technology Pvt. Ltd. | _ | Venture Instrumentation Technology Pvt. Ltd. | _ | bhagalpur@cipet.gov.in
Double Beam UV Spectrophotometer |  | CIPET:CSTS BHAGALPUR | Perkin Elmer India Pvt Ltd | PerkinElmer Lamba 365 | Lamba 365 | External Funding | Institution funding self supported |  |  | Testing |  | 1416000 |  |  | Chemical | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Gas Chromatography |  | CIPET:CSTS BHAGALPUR | Perkin Elmer India Pvt Ltd | PerkinElmer Clarus 690 | Clarus 690 | External Funding | Institution funding self supported |  |  | Testing |  | 4484000 |  |  | Chemical | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Atomic Absorption Spectrophotometer |  | CIPET:CSTS BHAGALPUR | Shiva Global Teknosys | ANALYTIK JENA AG GERMANY ZEEnit 700P | ANALYTIK JENA AG GERMANY ZEEnit 700P | External Funding | Institution funding self supported |  |  | Testing |  | 5841000 |  |  | Chemical | Shiva Global Teknosys | _ | Shiva Global Teknosys | _ | bhagalpur@cipet.gov.in
UV Weather -O- Meter |  | CIPET:CSTS BHAGALPUR | Venture Instrumentation Technology Pvt Ltd | QLAB CORPORATION QUVSE230G4 | QUVSE230G4 | External Funding | Institution funding self supported |  |  | Testing |  | 1225548 |  |  | Mechanical | Venture Instrumentation Technology Pvt. Ltd. | _ | Venture Instrumentation Technology Pvt. Ltd. | _ | bhagalpur@cipet.gov.in
Differential Scanning Calorimetry |  | CIPET:CSTS BHAGALPUR | Perkin Elmer India Pvt Ltd | PerkinElmer DSC 4000 | DSC 4000 | External Funding | Institution funding self supported |  |  | Testing |  | 2301000 |  |  | Thermal | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | Perkin Elmer (India) Pvt. Ltd | Email: jobi.alexander@perklinelmer.com | bhagalpur@cipet.gov.in
Hot Air Oven 100 kg |  | CIPET:CSTS BHAGALPUR | Labtherm Scientific Products | LABTHERM LSP001HOV100KG | LSP001HOV100KG | External Funding | Institution funding self supported |  |  | Testing |  | 76700 |  |  | Thermal | Labtherm Scientific Products | Email: labtherm@gmail.com | Labtherm Scientific Products | Email: labtherm@gmail.com | bhagalpur@cipet.gov.in
Arc Resistance |  | CIPET:CSTS BHAGALPUR | Arcom Enterprises | ARCOM AE-ART | AE-ART | External Funding | Institution funding self supported |  |  | Testing |  | 743400 |  |  | Electrical | Arcom Enterprises | E -mail: sales@arcomenterprises.com | Arcom Enterprises | E -mail: sales@arcomenterprises.com | bhagalpur@cipet.gov.in
Burst Strength Tester |  | CIPET:CSTS BHAGALPUR | EIE Instruments Pvt Ltd | VIPL PT-101SH50 | PT-101SH50 | External Funding | Institution funding self supported |  |  | Testing |  | 162899 |  |  | Mechanical | EIE Instruments Pvt. Ltd | E-mail : tender@eieinstruments.com | EIE Instruments Pvt. Ltd | E-mail : tender@eieinstruments.com | bhagalpur@cipet.gov.in
Free Falling Dart Impact Tester |  | CIPET:CSTS BHAGALPUR | Khushboo Scientific Pvt Ltd | STECH | STECH | External Funding | Institution funding self supported |  |  | Testing |  | 119180 |  |  | Mechanical | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | Khushboo Scientific Pvt. Ltd. | E-m a i l : sales@khusbbooscientific.com | bhagalpur@cipet.gov.in
Opacity Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/OT/016 | EPI/OT/016 | External Funding | Institution funding self supported |  |  | Testing |  | 82527 |  |  | physical property testing | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Haze & Clarity Meter |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/HC/030 | EPI/HC/030 | External Funding | Institution funding self supported |  |  | Testing |  | 404058 |  |  | Optical | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Carbon Black Content Tester |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/CBC/017 | EPI/CBC/017 | External Funding | Institution funding self supported |  |  | Testing |  | 134559 |  |  | Chemical | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Muffle Furnance |  | CIPET:CSTS BHAGALPUR | Elemech Pneumatic Industries | Elemech EPI/MF/010 | EPI/MF/010 | External Funding | Institution funding self supported |  |  | Testing |  | 63197 |  |  | Thermal | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | Elemech Pneumatic Industries | Email: sales@elmechpneumatic.com | bhagalpur@cipet.gov.in
Limiting Oxygen Index Apparatus |  | CIPET:CSTS BHAGALPUR | Shree Enterprises | SE-60 | SE-60 | External Funding | Institution funding self supported |  |  | Testing |  | 212400 |  |  | flammability testing | Shree Enterprises | _ | Shree Enterprises | _ | bhagalpur@cipet.gov.in
Melting Point Appartus |  | CIPET:CSTS BHAGALPUR | Dinesh Scientific | DS-MPA-400 | DS-MPA-400 | External Funding | Institution funding self supported |  |  | Testing |  | 326119 |  |  | Thermal | Dinesh Scientific | _ | Dinesh Scientific | _ | bhagalpur@cipet.gov.in
Punching Press |  | CIPET:CSTS BHAGALPUR | Srimathy Engineers | ESSARRAM / HARIHAR SICO / HPC - 30 | SICO / HPC - 30 | External Funding | Institution funding self supported |  |  | Testing |  | 1392400 |  |  | Mechanical | Srimathy Engineers | Email: ssrimathyengineers@gmail.com | Srimathy Engineers | Email: ssrimathyengineers@gmail.com | bhagalpur@cipet.gov.in
Environmental Chamber |  | CIPET:CSTS BHAGALPUR | World Invent Scientific Technologies Pvt Ltd | Wist WTENV 100 - W2 | WTENV 100 - W2 | External Funding | Institution funding self supported |  |  | Testing |  | 415000 |  |  |  | World Invent Scientific Technologies Pvt. Ltd. | Email: tenders@worldinventscientific.com | World Invent Scientific Technologies Pvt. Ltd. | Email: tenders@worldinventscientific.com | bhagalpur@cipet.gov.in