## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id ) | @dropdown
WSN Module | WSN Module | M512 | Excel Technologies | ET-IOT-A | None | MIET | NA | NA | Zigbee, controller, sensor and accessories | CSE IOT | IOT Cell | 30000 | https://miet.ac.in/ | Working | Research and development | None | None | GST- Rs 5000 | Excel Technologies | info.exceltechnologies@gmail.com | MIET | mohini.singh@miet.ac.in | director@miet.ac.in
GSM Module | GSM Module | M512 | Excel Technologies | None | None | MIET | NA | NA | GSM Module, sensors and accessories | CSE IOT | IOT Cell | 25000 | https://miet.ac.in/ | Working | Research and development | None | None | GST- Rs 5000 | Excel Technologies | info.exceltechnologies@gmail.com | MIET | mohini.singh@miet.ac.in | director@miet.ac.in
IoT Advance Module | IoT Kit | M512 | Excel Technologies | None | None | MIET | NA | NA | Comprises of onboard Pi and Uno controller along with multiple sensors,putputs and actuators | CSE IOT | IOT Cell | 49500 | https://miet.ac.in/ | Working | Research and development | None | None | GST- Rs 5000 | Excel Technologies | info.exceltechnologies@gmail.com | Excel Technologies | info.exceltechnologies@gmail.com | MIET | mohini.singh@miet.ac.in
Universal Programmer Kit | Universal Programmer | M513 | Excel Technologies | None | None | MIET | NA | NA | 40 pin IC programmer | CSE IOT | IOT Cell | 12500 | https://miet.ac.in/ | Working | Research and development | None | None | GST- Rs 5000 | Excel Technologies | info.exceltechnologies@gmail.com | MIET | mohini.singh@miet.ac.in | director@miet.ac.in
3D Printing with 3D Scanner | Development of prototype | MIET IDEA LAB | MakerBot | None | None | MIET | NA | NA | 3D Object Printing | IDEA LAB | IDEA LAB | 1600000 | https://miet.ac.in/idealab/ | Working | Research and development | None | None |  |  |  | MIET AICTE IDEA LAB |  | director@miet.ac.in
CNC Router | Development of prototype | MIET IDEA LAB | Unistar CNC | None | None | MIET | NA | NA | Surface Cutting | IDEA LAB | IDEA LAB |  | https://miet.ac.in/idealab/ | Working | Research and development | None | None |  |  |  | MIET AICTE IDEA LAB |  | director@miet.ac.in
Laser Cutter | design and development | MIET IDEA LAB |  | None | None | MIET | NA | NA | Cutting and ingraving | IDEA LAB | IDEA LAB |  | https://miet.ac.in/idealab/ | Working | Research and development | None | None |  |  |  | MIET AICTE IDEA LAB |  | director@miet.ac.in
3 D Scanner | Reverse Engg | MIET IDEA LAB | Polyga | None | None | MIET | NA | NA | Scanning 3D Object | IDEA LAB | IDEA LAB |  | https://miet.ac.in/idealab/ | Working | Research and development | None | None |  |  |  | MIET AICTE IDEA LAB |  | director@miet.ac.in
Mechanical tools for cutting and grindings | development of Idea to prototype | MIET IDEA LAB |  | None | None | MIET | NA | NA |  | IDEA LAB | IDEA LAB |  | https://miet.ac.in/idealab/ | Working | Research and development | None | None |  |  |  | MIET AICTE IDEA LAB |  | director@miet.ac.in
Electrical tools for welding | development of Idea to prototype | MIET IDEA LAB |  | None | None | MIET | NA | NA |  | IDEA LAB | IDEA LAB |  | https://miet.ac.in/idealab/ | Working | Research and development | None | None |  |  |  | MIET AICTE IDEA LAB |  | director@miet.ac.in
Flow Cytometer | FACS | DST-Fist Center | Becton Dickinson (BD) India Pvt. Ltd | BD Acccuri C6 Plus | R660517590895 | MIET | NA | NA |  | Central Lab of DST-Fist |  | 2550000 | www.bd.com | Working | Scientific | None | None |  | Becton Dickinson India Pvt Ltd 34, Assisi Nagar, West Thottam, Madhavaram, Near Agarsen College, Chenni, Tamil Nadu, 600051 India |  | BD Biosciences |  | director@miet.ac.in
Multiskan Sky Microplate Spectrophotometer |  | DST-Fist Center | Thermo Fisher Scientific | Multiskan Sky High | 51119700DP | MIET | NA | NA |  | Do |  | 1485000 | www.thenmofisher.com | Working | Scientific | None | None |  | USD Enterprises756, Nyay Khand-2, Indirapuram, Ghaziabad-201014 | usdenterprises15@gmail.com | Invitrogen Bioservices India Pvt. Ltd. | aman.arora@thermofisher.com | director@miet.ac.in
Gas Chromatograph | GC | DST-Fist Center | Centurion Scientific | CS 5700 | 9027 | MIET | NA | NA |  | Do |  | 460000 | www.centurionscientific.co.in | Working | Scientific | None | None |  | Lakshya Enterprises C-31 Krishna Puram Near Birla Mandir Mathura-281003 | lakshyaenterprisesmathura@gmail.com | Centurion Scientific | centurionscientific@vsnl.net | director@miet.ac.in
Water Jacketed Co2 Incubator |  | DST-Fist Center | Centurion Scientific | 3111 | 300300901 | MIET | NA | NA |  | Do |  | 826790 | www.thenmofisher.com | Working | Scientific | None | None |  | USD Enterprises756, Nyay Khand-2, Indirapuram, Ghaziabad-201014 | usdenterprises15@gmail.com | Thermo Fisher Scientific India Pvt. Ltd. | ininfo@thermofisher.com | director@miet.ac.in
Biological Safety Cabinet | BSC | Medical Translational Lab | Modern Scientific Industries (MSI) | MSI 1019 |  | MIET | NA | NA |  | Biotechnology |  | 164970 | www.msiinstruments.com | Working | Scientific | None | None |  | The Modern Scientific Industries 199-A, Saket, Meerut-250003 | saralmadhav@yahoo.com | DSS Imagetech Pvt. Ltd. | enquiry@dssimage.com | director@miet.ac.in
Olympus Inverted Fluo.Research Microscope |  | Medical Translational Lab | Olympus Corporation | IX 73 | 5M43711 | MIET | NA | NA |  | Biotechnology |  | 1685953 | www.olympus-lifescience.com | Working | Scientific | None | None |  | Olympus Corporation Shinjuku Monolith, 3-1 Nishi- Shinjuku 2-Chome, Shinjuku-Ku, Tokyo 163-0914, Japan |  |  |  | director@miet.ac.in
PLC, HMI & SCADA KIT | PLC & HMI KIT | Q 405 | Siemens | PLC- S7-1200, HMI- SIMATIC KTP700 BASIC |  | MIET | NA | NA | PLC- S7-1200, HMI- SIMATIC KTP700 BASIC | EE | INDUSTRIAL AUTOMATION LAB |  | https://miet.ac.in/ | Working | INDUSTRIAL AUTOMATION | None | None |  | IATC Chandigarh | info@iatc.in | MIET | avinash.kumar@miet.ac.in | director@miet.ac.in
Siemens AC & DC Drives | AC & DC Drives | Q 405 | Siemens | AC DRIVE- G120 DC DRIVE- 6RA80 |  | MIET | NA | NA | AC DRIVE- G120 DC DRIVE- 6RA80 0.5 HP MOTOR | EE | INDUSTRIAL AUTOMATION LAB |  | https://miet.ac.in/ | Working | INDUSTRIAL AUTOMATION | None | None |  | IATC Chandigarh | info@iatc.in | MIET | avinash.kumar@miet.ac.in | director@miet.ac.in
Raspberry Pi Development Board | Pi Board | B4-208 | Raspberry Pi Foundation | Model B |  | MIET | NA | NA | NA | ECE |  | 8869 | https://www.electronicscomp.com/buy-raspberry-pi-3-model-b-plus-india?gclid=CjwKCAiAqt-dBhBcEiwATw-ggNztgRk3KMo6M_-O5O3aZA__0Rb8QI9sUEPV4NXYs2br211nTlPK5RoCGg4QAvD_BwE | Working | Research and development | None | None |  | Excel Technologies | info.exceltechnologies@gmail.com | MIET | neeraj.joshi@miet.ac.in | director@miet.ac.in
HFSS Software ( Academic and Research License) and Ansys Learning Hub | HFSS Software ( Academic and Research License) and Ansys Learning Hub | B4-106 and B-208 | ANSYS Inc. | NA | NA | MIET | NA | NA | NA | ECE | ECE | 2183000/- |  | Working | Research and development | None | None |  | Entuple Technologies Pvt Ltd |  | MIET | subodh.tripathi@miet.ac.in | director@miet.ac.in
MSP430 EXP430G2 Value Line | Project Module/Launch Pad | B-4-107 | Texas | EXP430G2 | NA | MIET | NA | NA | 14-/20-pin DIP (N) Socket, Supports MSP430G2xx2, MSP430G2xx3, and MSP430F20xx devices in PDIP14 or PDIP20 packages | ECE | ECE | [7 empty] | TEXAS Instruments |  | MIET | ratneshwar.ratnesh@miet.ac.in | director@miet.ac.in
MSP430 EXP430F5529 | Project Module/Launch Pad | B-4-107 | Texas | EXP430F5529 | NA | MIET | NA | NA | USB 2.0-enabled MSP430F5529 16-bit MCU, Up to 25 MHz, eZ-FET lite: Open source onboard debugger with application UART, 40 pin LaunchPad standard leveraging the BoosterPack ecosystem | ECE | ECE | [7 empty] | TEXAS Instruments |  | MIET | ratneshwar.ratnesh@miet.ac.in | director@miet.ac.in
MSP430 E2 430 RF 2500 | Project Module/Launch Pad | B-4-107 | Texas | E2 430 RF 2500 | NA | MIET | NA | NA | The eZ430-RF2500 is a complete USB-based MSP430 wireless development tool providing all the hardware and software to evaluate the MSP430F2274 | ECE | ECE | [7 empty] | TEXAS Instruments |  | MIET | ratneshwar.ratnesh@miet.ac.in | director@miet.ac.in
Sensor Hub Boster Pack | Project Module/Launch Pad | B-4-107 | Texas | TM 4C-123 G (Tiva C Series) | NA | MIET | NA | NA | The Sensor Hub BoosterPack is a Tiva platform for evaluating the use of ARM® Cortex™-M4F based TM4C devices in sensor fusion applications, and demonstrates the mathematical and algorithm computation features of the M4F architecture. | ECE | ECE | [7 empty] | TEXAS Instruments |  | MIET | ratneshwar.ratnesh@miet.ac.in | director@miet.ac.in