## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
Liquid Chromatography Mass Spectrometry (LC-MS) platform for (1) Proteomics (2) Discovery Lipidomics | LC-MS | Main Building, Ground Floor | AB SCIEX Pte Ltd., Singapore | Sciex 6600 QTOF High Resolution Accurate Mass MSIMS System |  | Bio FIST | External |  | Liquid Chromatography Mass Spectrometry (LC-MS) platform for (1) Proteomics (2) Discovery Lipidomics | Biology | Characterization |  |  | Up | Characterization
LIQUID SCINTILLATION COUNTER/LUMINOMETER | LIQUID SCINTILLATION COUNTER/LUMINOMETER | Radioactivity Lab, Main Building, Ground Floor | PerkinElmer Singapore Pte Limited Singapore | Scintillation Counter : MicroBeta2 |  | NA | Institution |  | The MicroBeta2 System provides advanced radiometric and luminescent detection abilities for GPCRs, kinases, reporter gene assays, and traditional liquid scintillation counting. Providing coincidence counting with two photomultiplier tubes that simultaneously detect signal, the Microbeta2 System ensures high efficiency and extremely low background for a variety of radionuclides. The Microbeta2 System features time-resolved liquid scintillation counting (TR-LSC), with improved counting performance for opaque plates where traditional coincidence counting isn't possible. | Biology | Characterization |  |  | Up | Characterization
High Performance Liquid Chromatography System | HPLC | 2nd floor/B wing/Inst Lab 2/SR Lab | PerkinElmer Singapore Pte Limited Singapore | Agilent 1260 Series |  | NA | Institution |  | 1260 Infinity Quaternary Pump Maximum pressure 600 bar. Includes integrated 4-channel degassing unit quaternary pump, column, connecting capillaries and solvent cabinet. | Biology | Chromatography |  |  | Up | Chromatography
Typhoon Trio+, Imaging and quantiation System | Fluorescence Imaging | GF/A Wing/Inst Lab 2/SG Lab | GE Healthcare Bio-Sciences Ltd. Hong Kong | Typhoon Trio+, Imaging and quantiation System |  | DBT | External |  | The Typhoon instrument is a variable-mode imager that produces digital images of radioactive, fluorescent, or chemiluminescent samples. The Typhoon Trio instrument contains three internal lasers (blue, green, and red). | Biology | Imaging |  |  | Up | Imaging
Automated System for ChIP & MeDIP : SX-8G-IP-Star Diagenode | Epigenetics Sample Preparation | Main Building, B Wing, First Floor, Lab No. (B Instrument Lab II) | Diagenode SA | SX-8G-IP-Star Automated System for ChIP and MeDIP |  | DBT | External |  | The IP-Star® Compact benchtop automation system is the latest innovation in epigenetics sample preparation automation, replacing the numerous manual, error-prone steps of complex epigenetics protocols and library preparation applications. The instrument provides a reliable, highly consistent and automated process that requires minimal operator intervention. In addition, as an open platform, the IP-Star Compact provides the flexibility needed to change multiple protocol parameters achieve optimal and customized experimental conditions. | Biology | Epigenetics |  |  | Up | Epigenetics
Spectral Karyotyping System with upright microscope | Karyotyping | Dr. Kundan Sengupta's lab computer | Applied Spectral Imaging Ltd Israel | Software : Spectral Karyotyping System with Axio Imager Z2 |  | Welcome DBT | External |  | Automatic identification of translocations and chromosomal origins. Simultaneous detection of chromosomal aberrations in one hybridization. Measurement of entire spectrum at each point. | Biology | Karyotyping |  |  | Up | Karyotyping
Environmental Scanning Electron Microscope | ESEM | Main Building, A Wing, First Floor, Microscopy Facility | CARL ZEISS NTS LTD, U.K. | Microscope : SEM EVO 10 |  | DBT | External |  | The scanning electron microscope (SEM) makes it possible to achieve a significantly higher magnification rate than a conventional light microscope by electron image formation. With this device, magnifications up to 200,000-fold are possible. Thus, insights into areas of the surface structure which are not possible with conventional means can be obtained. With the use of a micro-tensile module, the REM can show damage to tensile stresses, which may eventually lead to failure of the component. By means of the use of a vacuum diaphragm and thus the generation of a low vacuum in the sample chamber, plastics and nonmetals, which the electrons can not dissipate, can also be imaged very well. | Biology | Microscopy |  |  | Up | Microscopy
High Performance Cluster Computing Facility | HPC | Main Building, C Wing, Ground Floor, Cluster Room | Wipro Limited, Singapore | Cluster : HPC |  | Welcome Trust - DBT India Alliance | External |  | High Performance Cluster (HPC) Solution includes : Master Nodes, Compute Nodes, Racks, Managed Infiniband switches , Unmanaged Infiniband switches, Infiniband Cables, All KVM Components, Network Switches. | Biology | HPC Computing |  |  | Up | HPC Computing
Multiphoton Microscope with Accessories and IR Laser | Microscope | Bio Main Building/ Ground Floor/ Microscopy Facility | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : DM6 Upright |  | NA | Institution |  | A fully automated widefield system for fluorescence and brightfield imaging. The DM6 has a full range of objectives (10- 100x), monochrome and colour cameras and filtersets to enable fluorescence imaging of up to 4 distinct channels from UV to far red excitation. Stage and z are also motorised, allowing multichannel z stacks in multiple positions or tilescans. The system can be operated using one of two software packages; Leica LAX, MBF StereoInvestigator. | Biology | Microscopy |  |  | Down | Microscopy
DM6 Upright Microscope with Accessories | Microscope | Bio Main Building/ Ground Floor/ Microscopy Facility | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : DM6 Upright |  | DBT | External |  | A fully automated widefield system for fluorescence and brightfield imaging. The DM6 has a full range of objectives (10- 100x), monochrome and colour cameras and filtersets to enable fluorescence imaging of up to 4 distinct channels from UV to far red excitation. Stage and z are also motorised, allowing multichannel z stacks in multiple positions or tilescans. The system can be operated using one of two software packages; Leica LAX, MBF StereoInvestigator. | Biology | Microscopy |  |  | Up | Microscopy
Advanced Optical Tomography System | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : Axioimager.Z1 |  | NA | Institution |  | The Zeiss AxioImager Z1 is an upright, fully motorized, computer controlled high-performance research microscope capable of Brightfield, DIC (Differential Interference Contrast) and Fluorescent Imaging. The microscope has a Hamamatsu HRm camera and also a color AxioCam MRc camera. Zeiss AxioVision software drives the microscope and allows multi-dimensional data acquisition (multiple fluorescence channels, Z-stacks, time lapse). | Biology | Microscopy |  |  | Up | Microscopy
Non –Contact Laser Micro dissection Workstation | Laser Micro Dissection | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Laser Micro dissection System PALM Microbeam System With Inverted Research Microscope Axio Observer .A1 |  | NA | Institution |  | Non –Contact Laser Micro dissection Workstation for collection of Pure DNA,RNA,Proteins from fixed sections and living cells The PALM Robot MicroBeam laser microdissection system provides a robust system for the retrieval of specified cells (including single cells). Due to the fragile nature of DNA, and in particular RNA, robust protocols are required to obtain reliable data from a limited number of cells (1-10.000 cells). | Biology | Dissection System |  |  | Up | Dissection System
Advanced Spectral Confocal Laser Scan Microscope System | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : LSM 710 Inverted |  | NA | Institution |  | Advanced Spectral Confocal Laser Scan Microscope System with Inverted Motorized Research Microscope & All Standard Accessories | Biology | Microscopy |  |  | Up | Microscopy
Motorised Inverted Fluorescence Microscope | Microscope | Bio Main Bldg/ Ground floor/Microscopy Room | Olympus Singapore Pte Ltd 491B River Valley Road #12-01/04 Valley Point Office Tower Singapore 248373 | Microscope : IX81S1F3 Inverted |  | NA | institution |  | Total Internal Reflection Fluorescence Microscope | Biology | Microscopy |  |  | Up | Microscopy
Single Crystal X-ray Diffractometer | SCXRD | GF/X-Ray crystallography Room No. 218 | Rigaku Americas Corporation 9009 New Trails Drive The Woodlands, Texas 77381-5209 USA | X-Ray Generator : MicroMax-007HF |  | NA | Institution |  | MicroMax-007HF Microfocus, direct-drive, high frequency rotating anode generator Loading: 1200W. VariMax-HF Confocal Optical System (right port configuration) provides the maximum usable flux with user adjustable divergence settings allowing the beam to be optimized for a sample’s unit cell size. | Biology | Crystallography |  |  | Up | Crystallography
ADVANCED SPECTRAL CONFOCAL LASER SCANNING MICROSCOPE | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : LSM 710 Inverted |  | NA | Institution |  | Advanced Spectral Confocal Laser Scan Microscope System with Inverted Motorized Research Microscope & All Standard Accessories | Biology | Microscopy |  |  | Up | Microscopy
SP8 Inverted Confocal Microscope with Accessories | Microscope | Bio main lab/GF/Microscopy room | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : SP8 Inverted Confocal |  | DBT | External |  | The SP8 has been designed for confocal microscopy with optimal photon efficiency and high speed. All optical components are matched towards preserving fluorescence photons for image contrast and to improve cell viability in live cell imaging. | Biology | Microscopy |  |  | Up | Microscopy
STED Microscope with Accessories | Microscope | Bio main lab/GF/Microscopy room | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : STED |  | DBT | External |  | As a truly infinitely super-resolving technology, STED nanoscopy offers resolution down to 30 nanometers. STED provides instant super-resolved imaging with multiple channels and approaching isotropic super-resolution in three dimensions. | Biology | Microscopy |  |  | Up | Microscopy
Gas Chromatography- Mass Spectrometry system | GCMS | Main Building, Ground Floor | Agilent Technologies, USA | 7000D GCMS/MS with 7890B GC |  | NA | Institution |  | Gas Chromatography- Triple Quadrupole Mass Spectrometry (GC-MS/MS) system for targeted and non-targeted metabolomics | Biology | Gas Chromatography- Mass Spectrometry |  |  | Up | Gas Chromatography- Mass Spectrometry
Liquid Chromatography Mass Spectrometry (LC-MS) platform for Discovery Lipidomics | LCMS | Main Building, Ground Floor | AB SCIEX Pte Ltd., Singapore | Sciex 6600 QTOF High Resolution Accurate Mass MS/MS System |  | BioFist | External |  | Liquid Chromatography Mass Spectrometry (LC-MS) system | Biology | Liquid chromatography mass spectrometry |  |  | Up | Liquid chromatography mass spectrometry
Advanced Multiphoton and Confocal Imaging System | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : LSM 780 NLO |  | NA | Institution |  | ADVANCED MULTIPHOTON & CONFOCAL IMAGING SYSTEM WITH HIGH SENSITIVE DETECTORS MODEL: LSM 780 NLO | Biology | Microscopy |  |  | Up | Microscopy
NextSeq® 550 Sequencing System | NGS | G1 Building/NGS room | Illumina Inc, San Diego, California, USA | NextSeq550 Benchtop system |  | NA | Institution |  | Enables sequencing of exomes, whole genomes, and transcriptomes | Biology | DNA sequencing |  |  | Up | DNA sequencing
Chromium™ Single Cell Controller | ScRNA-seq | Main Building, A Wing, Ground Floor, NMR Lab | 10x Genomics,7068 Koll Center Parkway Suite 401, Pleasanton, California, 94566, United States | 10x Genomics, Single Cell Controller |  | NA | Institution |  | Profile cells at Single Cell level | Biology | Single Cell DNA/RNA sequencing |  |  | Up | Single Cell DNA/RNA sequencing
BD FACS Aria Fusion Cell Sorter SORP | FACS | Main Building B108 | BD Biosciences | BD FACS Aria Fusion Cell Sorter SORP: 65828272 |  | DBT | External |  | 18 colour cell Sorter with 04 nozel options (70-130uM) | Biology | Flow Cytometry |  |  | up | Flow Cytometry

## Sheet1
Equipment Name | Approved Abbreviation | Landmark/Location (Room No.) | Make (Manufacturer of Equipment) | 2 | Serial no. | Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc. | Funding Agency Type (External/Instituion) | Project Title | Equipment Description | Department | Category | Basic Cost | Reference Website | Present status of Equipment (Up/Down/Under Maintenance) | Category | Name of Equipment Technologist/Operator | Email id of Equipment Technologist/Operator | Contact No. (Mobile No.) of Equipment Technologist/Operator | Cost of Instrument Sanctioned in the Project | Year of Installation | % of total time to be made available to the external users | Lab/Facility Name | Department Name | Name of Head of the Department | Email id of Head of the Department | Phone No. (Office) of Head of the Department | Name of Department Representative | Contact No. of Department Representative | Email id of Department Representative | Name of Faculty Incharge of Facility | Email id of Faculty Incharge of Facility | Contact No. of Faculty Incharge of Facility | Name of Departments (in case Faculty Incharge belongs to multiple departments) | Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments) | Name of the Project | Duration (From Year - To Year)
Liquid Chromatography Mass Spectrometry (LC-MS) platform for (1) Proteomics (2) Discovery Lipidomics | LC-MS | Main Building, Ground Floor | AB SCIEX Pte Ltd., Singapore | Sciex 6600 QTOF High Resolution Accurate Mass MSIMS System |  | Bio FIST | External |  | Liquid Chromatography Mass Spectrometry (LC-MS) platform for (1) Proteomics (2) Discovery Lipidomics | Biology | Characterization |  |  | Up | Characterization | Saddam Shekh | saddamshekh@iiserpune.ac.in | +91 75587 68065 |  | 2018 | 10% | Dr. Siddhesh Kamat's Lab | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Saddam Shekh | +91 75587 68065 | saddamshekh@iiserpune.ac.in | Dr. Siddhesh Kamat | siddhesh@iiserpune.ac.in | 020-25908433 | NA | NA | NA | NA
LIQUID SCINTILLATION COUNTER/LUMINOMETER | LIQUID SCINTILLATION COUNTER/LUMINOMETER | Radioactivity Lab, Main Building, Ground Floor | PerkinElmer Singapore Pte Limited Singapore | Scintillation Counter : MicroBeta2 |  | NA | Institution |  | The MicroBeta2 System provides advanced radiometric and luminescent detection abilities for GPCRs, kinases, reporter gene assays, and traditional liquid scintillation counting. Providing coincidence counting with two photomultiplier tubes that simultaneously detect signal, the Microbeta2 System ensures high efficiency and extremely low background for a variety of radionuclides. The Microbeta2 System features time-resolved liquid scintillation counting (TR-LSC), with improved counting performance for opaque plates where traditional coincidence counting isn't possible. | Biology | Characterization |  |  | Up | Characterization | NA | NA | NA |  | 2014 | 2% | Radioactivity Lab | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 |  |  |  | Prof. Sanjeev Galande | sanjeev@iiserpune.ac.in | 020-25908060 | NA | NA | NA | NA
High Performance Liquid Chromatography System | HPLC | 2nd floor/B wing/Inst Lab 2/SR Lab | PerkinElmer Singapore Pte Limited Singapore | Agilent 1260 Series |  | NA | Institution |  | 1260 Infinity Quaternary Pump Maximum pressure 600 bar. Includes integrated 4-channel degassing unit quaternary pump, column, connecting capillaries and solvent cabinet. | Biology | Chromatography |  |  | Up | Chromatography | CooL lab operator | coollab2012@gmail.com | 020-25908061 |  | 2014 | 3% | 2nd floor/B wing/Inst Lab 2/SR Lab | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Dr. Sudha Rajamani | 020-25908061 | coollab2012@gmail.com | Dr. Sudha Rajamani | srajamani@iiserpune.ac.in | 020-25908061 | NA | NA | NA | NA
Typhoon Trio+, Imaging and quantiation System | Fluorescence Imaging | GF/A Wing/Inst Lab 2/SG Lab | GE Healthcare Bio-Sciences Ltd. Hong Kong | Typhoon Trio+, Imaging and quantiation System |  | DBT | External |  | The Typhoon instrument is a variable-mode imager that produces digital images of radioactive, fluorescent, or chemiluminescent samples. The Typhoon Trio instrument contains three internal lasers (blue, green, and red). | Biology | Imaging |  |  | Up | Imaging | NA | NA | NA |  | 2014 | 2% | GF/A Wing/Inst Lab 2/SG Lab | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 |  |  |  | Prof. Sanjeev Galande | sanjeev@iiserpune.ac.in | 020-25908060 | NA | NA | NA | NA
Automated System for ChIP & MeDIP : SX-8G-IP-Star Diagenode | Epigenetics Sample Preparation | Main Building, B Wing, First Floor, Lab No. (B Instrument Lab II) | Diagenode SA | SX-8G-IP-Star Automated System for ChIP and MeDIP |  | DBT | External |  | The IP-Star® Compact benchtop automation system is the latest innovation in epigenetics sample preparation automation, replacing the numerous manual, error-prone steps of complex epigenetics protocols and library preparation applications. The instrument provides a reliable, highly consistent and automated process that requires minimal operator intervention. In addition, as an open platform, the IP-Star Compact provides the flexibility needed to change multiple protocol parameters achieve optimal and customized experimental conditions. | Biology | Epigenetics |  |  | Up | Epigenetics | SG lab Users | sanjeev@iiserpune.ac.in | 020-25908060 |  | 2012 | 3% | Main Building, B Wing, First Floor, Lab No. (B Instrument Lab II) | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Prof. Sanjeev Galande | 020-25908060 | sanjeev@iiserpune.ac.in | Prof. Sanjeev Galande | sanjeev@iiserpune.ac.in | 020-25908060 | NA | NA | NA | NA
Spectral Karyotyping System with upright microscope | Karyotyping | Dr. Kundan Sengupta's lab computer | Applied Spectral Imaging Ltd Israel | Software : Spectral Karyotyping System with Axio Imager Z2 |  | Welcome DBT | External |  | Automatic identification of translocations and chromosomal origins. Simultaneous detection of chromosomal aberrations in one hybridization. Measurement of entire spectrum at each point. | Biology | Karyotyping |  |  | Up | Karyotyping | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2012 | 1% | Dr. Kundan Sengupta's lab computer | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Kundan Sengupta | kunsen@iiserpune.ac.in | 020-25908071 | NA | NA | NA | NA
Environmental Scanning Electron Microscope | ESEM | Main Building, A Wing, First Floor, Microscopy Facility | CARL ZEISS NTS LTD, U.K. | Microscope : SEM EVO 10 |  | DBT | External |  | The scanning electron microscope (SEM) makes it possible to achieve a significantly higher magnification rate than a conventional light microscope by electron image formation. With this device, magnifications up to 200,000-fold are possible. Thus, insights into areas of the surface structure which are not possible with conventional means can be obtained. With the use of a micro-tensile module, the REM can show damage to tensile stresses, which may eventually lead to failure of the component. By means of the use of a vacuum diaphragm and thus the generation of a low vacuum in the sample chamber, plastics and nonmetals, which the electrons can not dissipate, can also be imaged very well. | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2013 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Prof. L S Shashidhara | ls.shashidhara@iiserpune.ac.in | 020-25908059 | NA | NA | NA | NA
High Performance Cluster Computing Facility | HPC | Main Building, C Wing, Ground Floor, Cluster Room | Wipro Limited, Singapore | Cluster : HPC |  | Welcome Trust - DBT India Alliance | External |  | High Performance Cluster (HPC) Solution includes : Master Nodes, Compute Nodes, Racks, Managed Infiniband switches , Unmanaged Infiniband switches, Infiniband Cables, All KVM Components, Network Switches. | Biology | HPC Computing |  |  | Up | HPC Computing | HP | ram-mohan.shrivastava@hpe.com | 9922425344 |  | 2015 | 2% | Main Building, C Wing, Ground Floor, Cluster Room | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Neeta Deo | 9923457347 | dneeta@iiserpune.ac.in | Dr. Madhusudhan | madhusudhan@iiserpune.ac.in | 020-25908133 | NA | NA | NA | NA
Multiphoton Microscope with Accessories and IR Laser | Microscope | Bio Main Building/ Ground Floor/ Microscopy Facility | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : DM6 Upright |  | NA | Institution |  | A fully automated widefield system for fluorescence and brightfield imaging. The DM6 has a full range of objectives (10- 100x), monochrome and colour cameras and filtersets to enable fluorescence imaging of up to 4 distinct channels from UV to far red excitation. Stage and z are also motorised, allowing multichannel z stacks in multiple positions or tilescans. The system can be operated using one of two software packages; Leica LAX, MBF StereoInvestigator. | Biology | Microscopy |  |  | Down | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2016 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Richa Rikhi | richa@iiserpune.ac.in | 20-25908065 | NA | NA | NA | NA
DM6 Upright Microscope with Accessories | Microscope | Bio Main Building/ Ground Floor/ Microscopy Facility | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : DM6 Upright |  | DBT | External |  | A fully automated widefield system for fluorescence and brightfield imaging. The DM6 has a full range of objectives (10- 100x), monochrome and colour cameras and filtersets to enable fluorescence imaging of up to 4 distinct channels from UV to far red excitation. Stage and z are also motorised, allowing multichannel z stacks in multiple positions or tilescans. The system can be operated using one of two software packages; Leica LAX, MBF StereoInvestigator. | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2016 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Richa Rekhi | richa@iiserpune.ac.in | 20-25908066 | NA | NA | NA | NA
Advanced Optical Tomography System | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : Axioimager.Z1 |  | NA | Institution |  | The Zeiss AxioImager Z1 is an upright, fully motorized, computer controlled high-performance research microscope capable of Brightfield, DIC (Differential Interference Contrast) and Fluorescent Imaging. The microscope has a Hamamatsu HRm camera and also a color AxioCam MRc camera. Zeiss AxioVision software drives the microscope and allows multi-dimensional data acquisition (multiple fluorescence channels, Z-stacks, time lapse). | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2008 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Aurnab Ghose | aurnab@iiserpune.ac.in | 020-25908058 | NA | NA | NA | NA
Non –Contact Laser Micro dissection Workstation | Laser Micro Dissection | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Laser Micro dissection System PALM Microbeam System With Inverted Research Microscope Axio Observer .A1 |  | NA | Institution |  | Non –Contact Laser Micro dissection Workstation for collection of Pure DNA,RNA,Proteins from fixed sections and living cells The PALM Robot MicroBeam laser microdissection system provides a robust system for the retrieval of specified cells (including single cells). Due to the fragile nature of DNA, and in particular RNA, robust protocols are required to obtain reliable data from a limited number of cells (1-10.000 cells). | Biology | Dissection System |  |  | Up | Dissection System | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2010 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Anjan Banerjee | akb@iiserpune.ac.in | 020-25908057 | NA | NA | NA | NA
Advanced Spectral Confocal Laser Scan Microscope System | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : LSM 710 Inverted |  | NA | Institution |  | Advanced Spectral Confocal Laser Scan Microscope System with Inverted Motorized Research Microscope & All Standard Accessories | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2010 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Aurnab Ghose | aurnab@iiserpune.ac.in | 020-25908058 | NA | NA | NA | NA
Motorised Inverted Fluorescence Microscope | Microscope | Bio Main Bldg/ Ground floor/Microscopy Room | Olympus Singapore Pte Ltd 491B River Valley Road #12-01/04 Valley Point Office Tower Singapore 248373 | Microscope : IX81S1F3 Inverted |  | NA | institution |  | Total Internal Reflection Fluorescence Microscope | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2010 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Aurnab Ghose | aurnab@iiserpune.ac.in | 020-25908058 | NA | NA | NA | NA
Single Crystal X-ray Diffractometer | SCXRD | GF/X-Ray crystallography Room No. 218 | Rigaku Americas Corporation 9009 New Trails Drive The Woodlands, Texas 77381-5209 USA | X-Ray Generator : MicroMax-007HF |  | NA | Institution |  | MicroMax-007HF Microfocus, direct-drive, high frequency rotating anode generator Loading: 1200W. VariMax-HF Confocal Optical System (right port configuration) provides the maximum usable flux with user adjustable divergence settings allowing the beam to be optimized for a sample’s unit cell size. | Biology | Crystallography |  |  | Up | Crystallography | XRD users | saikrishnan@iiserpune.ac.in | 2025908047 |  | 2013 | 10% | Crystallography Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Saikrishnan Kayarat | 2025908047 | saikrishnan@iiserpune.ac.in | Dr. Saikrishnan Kayarat | saikrishnan@iiserpune.ac.in | 020-2508047 | NA | NA | NA | NA
ADVANCED SPECTRAL CONFOCAL LASER SCANNING MICROSCOPE | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : LSM 710 Inverted |  | NA | Institution |  | Advanced Spectral Confocal Laser Scan Microscope System with Inverted Motorized Research Microscope & All Standard Accessories | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2012 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Richa Rikhi | richa@iiserpune.ac.in | 20-25908065 | NA | NA | NA | NA
SP8 Inverted Confocal Microscope with Accessories | Microscope | Bio main lab/GF/Microscopy room | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : SP8 Inverted Confocal |  | DBT | External |  | The SP8 has been designed for confocal microscopy with optimal photon efficiency and high speed. All optical components are matched towards preserving fluorescence photons for image contrast and to improve cell viability in live cell imaging. | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2016 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Richa Rekhi | richa@iiserpune.ac.in | 20-25908066 | NA | NA | NA | NA
STED Microscope with Accessories | Microscope | Bio main lab/GF/Microscopy room | Leica Mikrosysteme Vertrieb GmbH, Ernst-Leitz-strasse 17-37 35578 Wetzlar, Germany | Microscope : STED |  | DBT | External |  | As a truly infinitely super-resolving technology, STED nanoscopy offers resolution down to 30 nanometers. STED provides instant super-resolved imaging with multiple channels and approaching isotropic super-resolution in three dimensions. | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2016 | 5% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Richa Rekhi | richa@iiserpune.ac.in | 20-25908066 | NA | NA | NA | NA
Gas Chromatography- Mass Spectrometry system | GCMS | Main Building, Ground Floor | Agilent Technologies, USA | 7000D GCMS/MS with 7890B GC |  | NA | Institution |  | Gas Chromatography- Triple Quadrupole Mass Spectrometry (GC-MS/MS) system for targeted and non-targeted metabolomics | Biology | Gas Chromatography- Mass Spectrometry |  |  | Up | Gas Chromatography- Mass Spectrometry | Saddam Shekh | saddamshekh@iiserpune.ac.in | +91 75587 68065 |  | 2018 | 10% | Metabolomics facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Dr. Sagar Pandit | 020-25908432 | sagar@iiserpune.ac.in | Dr. Sagar Pandit | sagar@iiserpune.ac.in | 020-25908432 | NA | NA | NA | NA
Liquid Chromatography Mass Spectrometry (LC-MS) platform for Discovery Lipidomics | LCMS | Main Building, Ground Floor | AB SCIEX Pte Ltd., Singapore | Sciex 6600 QTOF High Resolution Accurate Mass MS/MS System |  | BioFist | External |  | Liquid Chromatography Mass Spectrometry (LC-MS) system | Biology | Liquid chromatography mass spectrometry |  |  | Up | Liquid chromatography mass spectrometry | Saddam Shekh | saddamshekh@iiserpune.ac.in | +91 75587 68065 |  | 2018 | 10% | Metabolomics facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Dr. Sagar Pandit | 020-25908432 | sagar@iiserpune.ac.in | Dr. Sagar Pandit | sagar@iiserpune.ac.in | 020-25908432 | NA | NA | NA | NA
Advanced Multiphoton and Confocal Imaging System | Microscope | Bio main lab/GF/Microscopy room | M/s. Carl Zeiss Microlmaging GMBH, Koenigsalee 9-21, 37081 Goettingen, Germany | Microscope : LSM 780 NLO |  | NA | Institution |  | ADVANCED MULTIPHOTON & CONFOCAL IMAGING SYSTEM WITH HIGH SENSITIVE DETECTORS MODEL: LSM 780 NLO | Biology | Microscopy |  |  | Up | Microscopy | Santosh Podder | santosh.p@iiserpune.ac.in | 2025908029 |  | 2012 | 1% | Microscopy Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Santosh Podder | 020-25908029 | santosh.p@iiserpune.ac.in | Dr. Richa Rikhi | richa@iiserpune.ac.in | 20-25908065 | NA | NA | NA | NA
NextSeq® 550 Sequencing System | NGS | G1 Building/NGS room | Illumina Inc, San Diego, California, USA | NextSeq550 Benchtop system |  | NA | Institution |  | Enables sequencing of exomes, whole genomes, and transcriptomes | Biology | DNA sequencing |  |  | Up | DNA sequencing | NGS users | ngs@acads.iiserpune.ac.in | 020-25908195 |  | 2019 | 40% | NGS Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Dr. Krishanpal Karmodia | 020-25908195 | krish@iiserpune.ac.in | Dr. Krishanpal Karmodia | krish@iiserpune.ac.in | 020-25908195 | NA | NA | NA | NA
Chromium™ Single Cell Controller | ScRNA-seq | Main Building, A Wing, Ground Floor, NMR Lab | 10x Genomics,7068 Koll Center Parkway Suite 401, Pleasanton, California, 94566, United States | 10x Genomics, Single Cell Controller |  | NA | Institution |  | Profile cells at Single Cell level | Biology | Single Cell DNA/RNA sequencing |  |  | Up | Single Cell DNA/RNA sequencing | NGS users | ngs@acads.iiserpune.ac.in | 020-25908195 |  | 2019 | 40% | NGS Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Dr. Krishanpal Karmodia | 020-25908195 | krish@iiserpune.ac.in | Dr. Krishanpal Karmodia | krish@iiserpune.ac.in | 020-25908195 | NA | NA | NA | NA
BD FACS Aria Fusion Cell Sorter SORP | FACS | Main Building B108 | BD Biosciences | BD FACS Aria Fusion Cell Sorter SORP: 65828272 |  | DBT | External |  | 18 colour cell Sorter with 04 nozel options (70-130uM) | Biology | Flow Cytometry |  |  | up | Flow Cytometry | Mr Saurabh Vaishnav | saurabh.vaishnav@iiserpune.ac.in | 9654517464 | USD 350000 | 2019 | 10% | IISER Flow Cytometry Facility | Biology | Dr. Thomas Pucadyil | chair.biology@iiserpune.ac.in | 020-25908204 | Mr aurabh Vaishnav | 9654517464 | saurabh.vaishnav@iiserpune.ac.in | Dr Sanjeev Galande | sanjeev@iiserpune.ac.in | 020-25908060 | NA | NA | Pune Biocluster | 2018-2023