## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
UV-Vis Spectrophotometer with PC Printer & UPS (UVSPEC) | UVSPEC | Science Lab | Motras Scientific | UV Plus |  | Institute | CUSB | > Auto wavelength selection and correction based on D2 peaks. > Individual control over D2 and Visible lamps to extend lifetime. > Pre-aligned optics allow easy lamp change operation. > Large sample compartment to accommodate various path length cuvettes. > Configurable scan wavelength from 0.1nm to 5nm for accurate/faster analysis. > Analysis applications supports the following modes: Photometric, Quantization, Multi-wavelength, Scan Spectrum, Time scan Kinetics, DNA/Protein analysis. | Chemistry, Science Lab |  |  |  | Measurement | Up
Inverted Research Microscope | Invt. Rech. M. | Tissue Cul.Lab. | Nikon | Eclipse TiU |  | Institute | CUSB | For imaging and analysis of live cells in culture flasks and multi-well plates. | Biotechnology |  |  |  | Measurement | Up
Incubated Shaker | Incub.Sh. | Biotech Lab | Thermo Scientific | 4360 |  | Institute | CUSB | For cell culturing, cell aeration, and solubility studies | Biotechnology |  |  |  | Fabrication | Under maintenance
Water Purification System | W.Pur.S | Biotech Lab | Millipore | Elix Synergy |  | Institute | CUSB | To purify water for routine work. | Biotechnology |  |  |  | Fabrication | Up
RT PCR Machine | PCR-RT | Biotech Lab | Eppendorf | AG2231 |  | Institute | CUSB | For molecular biology applications | Biotechnology |  |  |  | Measurement | Up
Biosafety Cabinet | Bio.Saf.C | Tissue Cul. Lab. | Thermo Scientific | 1336 |  | Institute | CUSB | To maintain aseptic condition and avoid contamination of samples | Biotechnology |  |  |  | Fabrication | Up
Chemidoc MP System | Gel.Doc.S | Biotech Lab | BioRad | Universal Hood |  | Institute | CUSB | For gel imaging and analysis of DNA and proteins | Biotechnology |  |  |  | Measurement | Up
Deep Freezer -86 degree Celcius | deep F | Biotech Lab | Thermo Scientific | 88400V63 |  | Institute | CUSB | For long term storage of temperature sensitive consumables | Biotechnology |  |  |  | Fabrication | Under Maintenance
Freeze Dryer (Lyophilizer) | Lyophi | Biotech Lab | Optics Technology | Optics |  | Institute | CUSB | For Lyophilization of solution | Biotechnology |  |  |  | Fabrication | Up
Nano Drop UV/Vis Spectrophotometer | UV/Vis Spec. ND | Biotech Lab | Thermo Scientific | 200c |  | Institute | CUSB | For quantification of DNA | Biotechnology |  |  |  | Measurement | Up
Stakable Incubator Shaker | Incub.Sh.Stack. | Biotech Lab | Thermo Scientific | 496 |  | Institute | CUSB | For storage and orbital shaking of cultures with digital controls. | Biotechnology |  |  |  | Fabrication | Up
ProFlex PCR System | PCR-ProFlex | Biotech Lab | Applied Bioscience | Pro Flex |  | Government | DST | For molecular biology applications | Biotechnology |  |  |  | Measurement | Up
Thermal Cycler Veriti 96 well PCR | PCR-96 Well | Biotech Lab | Invitogen | Verity 96 well |  | Institute | CUSB | For molecular biology applications | Biotechnology |  |  |  | Measurement | Up
Refrigerated High Speed Table Top Centrifuge | Ref. Cent.HS | Biotech Lab | Thermo Scientific | Heraeus Multifuge X3R |  | Institute | CUSB | For separation of precipitates in solutions | Biotechnology |  |  |  | Fabrication | Up
Akta Purifier Chromatography System | FPLA-Akta | Life Sc. Lab. | GE Heath Care Bio Sc. | Aktapurifier |  | Institute | CUSB | For purification of protein | Life Science |  |  |  | Measurement | Under Maintenance
Refrigerated High Speed Table Top Centrifuge | Ref. Cent.HS | Life Sc. Lab. | Thermo Scientific | Heraeus Multifuge X3R |  | Institute | CUSB | For separation of precipitates in solutions | Life Science |  |  |  | Fabrication | Up
2D Gel Electrophoresis Unit | 2D Gel Elet. | Life Sc. Lab. | BioRad | ProteanI 12 IEF Cell |  | Institute | CUSB | For separation of protein | Life Science |  |  |  | Fabrication | Up
Human Physiology Data Aqquisition System (HPDAS) | HPDAS | Life Sc. Lab. | Ad instrument | Ultimate teaching kit |  | Institute | CUSB | For human physilogy data analysis | Life Science |  |  |  | Measurement | Up
IRGA- Portable Photosynthesis System | IRGA-Photo. S | Life Sc. Lab. | Elron Instrument | Li6400XT |  | Institute | CUSB | For measurement of Photosynthesis rate | Life Science |  |  |  | Measurement | Up
Inverted Research Microscope | Invt. Rech. M. | Life Sc. Lab. | Nikon | Ti-S |  | Institute | CUSB | For imaging and analysis of live cells in culture flasks and multi-well plates. | Life Science |  |  |  | Measurement | Up
Plant Growth Chamber | P.G.C | Life Sc. Lab. | LabTech | LGC-5301 |  | Institute | CUSB | To grow and study plants in controlled condition | Life Science |  |  |  | Charecterisation | Under Maintenance
My Spec Spectrophotometer | Spectro.My Sp4ec. | Life Sc. Lab. | Sigma-SVI | MS-120 |  | Institute | CUSB | For quantification of DNA | Life Science |  |  |  | Measurement | Up
Shaker Incubator | Sh.Incub. | Life Sc. Lab. | Thermo Scientific | 4360 |  | Institute | CUSB | For cell culturing, cell aeration, and solubility studies | Life Science |  |  |  | Fabrication | Up
UV-Visible Spectrophotometer | UV-Vis Spec. | Life Sc. Lab. | Perkin Elmer | Lambda 35 |  | Institute | CUSB | For qualitative and quantitative analysis | Life Science |  |  |  | Measurement | Under Maintenance
Water Purification System | W.Pur.S | Life Sc. Lab. | Millipore | Elix-Synergy |  | Institute | CUSB | To purify water for routine work. | Life Science |  |  |  | Fabrication | Under Maintenance
G box-chemi xr5 gel documentation system | Gel.Doc.S-G Box | Life Sc. Lab. | Synoptics | Gbox xr5 |  | Institute | CUSB | For gel imaging and analysis of DNA and proteins | Life Science |  |  |  | Measurement | Up
Rotary Evaporator | Rota-Vap | Centre For Environmental Sciences | Hedolph | Hi-Vap Precision |  | Institute | CUSB | Used for Sample concentration, purification And Extraction | Centre for Environmental scinces |  |  |  | Characterisation | Up
Fluorescence Stereozoom Microscope | Stereozoom | Centre For Environmental Sciences | Lieca | M205FA |  | Institute | CUSB | Observation and identification of Macro and Micro live and fixed sample | Centre for Environmental scinces |  |  |  | Characterisation | Up
Digestion and Steam Distillation Unit for Kjeldahl Nitrogen | Kjeldahl | Centre For Environmental Sciences | Pelican Instruments | Pelican/Classic DX-VA-TS |  | Institute | CUSB | Used for estimation of Nitrogen,Nitrate and Ammonia | Centre for Environmental scinces |  |  |  | Measurement | Up
Bench Top Luminescence Spectrophotometer | Fl Spectrometer | Centre For Environmental Sciences | Perkin Elmer | Perkin Elmer/LS-55 |  | Institute | CUSB | Used in Cell biology, cellular toxicity/viability, molecular toxicity, protein, .Pesticide detection, ground water tracing, oil contamination of waterand chlorophyll determination. | Centre for Environmental scinces |  |  |  | Measurement | Up
Gas Chromatography (GC) System | GC | Centre For Environmental Sciences | Perkin Elmer | Perkin Elmer/Calrus 680 |  | Institute | CUSB | Separation and Identification of Compound | Centre for Environmental scinces |  |  |  | Characterisation | Up
Gas Chromatography Mass Spectroscopy System (GCMS) | GCMS | Centre For Environmental Sciences | Perkin Elmer | Pertkin Elmer/Calrus 580 |  | Institute | CUSB | Separation and Identification of Compound | Centre for Environmental scinces |  |  |  | Characterisation | Up
UV/Vis Spectrometer | UV/Vis | Centre For Environmental Sciences | Perkin Elmer | Perkin Elmer/Lamda-25 |  | Institute | CUSB | Quantitative determination of concentration of Sample | Centre for Environmental scinces |  |  |  | Measurement | Up
Bomb Calorimeter | Colorimeter | Centre For Environmental Sciences | IKA | IKA/C-200 |  | Institute | CUSB | Estimation of Calorific value of given organic sample | Centre for Environmental scinces |  |  |  | Measurement | Up
Automated Solvent Extraction (ASE) System | ASE | Centre For Environmental Sciences | Thermo Scientific | Thermo Scientific/ASE-350 |  | Institute | CUSB | Used for extracting various chemicals from a complex solid or semisolid sample matrix. | Centre for Environmental scinces |  |  |  | Extraction | Up
Atomic Absorption Spectrophotometer (AAS) | AAS | Centre For Environmental Sciences | Thermo Scientific | Thermo Scientific/IEC-3500 |  | Institute | CUSB | Quantitative determination of Element | Centre for Environmental scinces |  |  |  | Measurement | Up
Microwave Assisted Sample Preparation System (MASP) | MASP | Centre For Environmental Sciences | Milestone | Milestone/START-D |  | Institute | CUSB | Used for Digetion of organic & Inorganic sample | Centre for Environmental scinces |  |  |  | Digestion | Up
Portable CO2 and H2o Analyzer | CO2 and H2o Analyzer | Centre For Environmental Sciences | CID Bioscience | CID/CI-340 |  | Institute | CUSB | Used for non-destructive measurement of photosynthetic rates. | Centre for Environmental scinces |  |  |  | Measurement | Up
CHNS-O Elemental Analyzer | CHNS | Centre For Environmental Sciences | Euro Vector | Euro vector/EA3000 |  | Institute | CUSB | Quantitative determination of carbon,Hydrogen,Oxygen,Nitrogen and Sulpher in Solid & liquid sample | Centre for Environmental scinces |  |  |  | Measurement | Under Maintenance
Ion Chromatography System | IEC | Centre For Environmental Sciences | Metrohm | Metrohm/881 IC pro |  | Institute | CUSB | Estimaton of selective Cations and Anions in liquid sample | Centre for Environmental scinces |  |  |  | Measurement | Up
Advance Inverted Microscope | Research Inverted Microscope | Centre For Environmental Sciences | Olympus | Olympus/IX |  | Institute | CUSB | Observation and identification of Macro and Micro live and fixed sample | Centre for Environmental scinces |  |  |  | Characterisation | Up
Flourimeter | Flourimeter | Centre For Environmental Sciences | Quanta Lase pvt ltd | LF 2 |  | Government | BARC | Estimation of Uranium | Centre for Environmental scinces |  |  |  | Measurement | Up
Unix (AIX) Server | Unix Server | Centre For Environmental Sciences | IBM | IBM Power 710 |  | Private | IBM | Climate Modeling | Centre for Environmental scinces |  |  |  | Data Processing | Up
Linux Server | Linux Server | Centre For Environmental Sciences | HP | HP-ML-350 |  | Government | DST | Numerical Weather Simulation | Centre for Environmental scinces |  |  |  | Data Processing | Up
ARC GIS & ENVI | ARC GIS | Centre For Environmental Sciences | ESRI | 10.2 |  | Institute | CUSB | Remote Sensing And GIS Applications | Centre for Environmental scinces |  |  |  | Data Processing | Up