## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Vector Network Analyzer | VNA | CASEST, Physics Annexe | Agilent Technologies | E8361C | US49010187 | UGC | Plan Grants | 11th Plan Grants | Does measurement as a function of frequency from 10MHz to 67GHz | Centre for Advanced Studies in Electronics Science and Technology (CASEST), School of Physics | Microwave range materials and devices measurement facility | Rs.1.5 Crores | www.keysight.com | Functional | Specialized measurement facility |  | 15000000 | 10000000 | Agilent Technologies. Presently Keysight | usa_orders@keysight.com | Kesight | kcjrsp@uohyd.ac.in | kcjrsp@uohyd.ac.in
X-Ray Diffractometer | PXRD | University of Hyderabad | Malvern PANalytical B. V., The Netherlands. | X'Pert3 Powder | DY5481 | Government | UGC XII plan grants | Powder X-Ray Diffractometer | X-ray diffraction (XRD) is a versatile non-destructive analytical technique used to analyze physical properties such as phase composition, crystal structure and orientation of powder, solid and liquid samples. | School of Physics | Common Facility | 9250000 | www.malvernpanalytical.com | Working | XII Plan | 8780000 | 450000 | 775000 | M/s. Spectris Technologies (P) Limited, Singapore,417818. | austin.maxwell@panalytical.com | M/s. Spectris Technologies (P) Limited | austin.maxwell@panalytical.com | srinath@uohyd.ac.in
High Resolution X-Ray Reflectivity cum Diffractometer | HR-XRD | University of Hyderabad | Bruker AXS GmbH, Germany | D8-Discover-Series-2 | 204636 | Government | VC Special Grant, DST FIST | X-Ray facility with Reflectance set-up | Bruker AXS D8 Discover High Resolution State-of-the-Art, Automated X-Ray Diffractometer System for Reflectivity, Thin film Diffraction (GID+XRR), In-Plane GID, Texture and Stress, Small Angle XRD. | School of Physics | Common Facility | 24300000 | www.bruker.com | Working | XI Plan | 22000000 | 265000 | 830000 | M/s. Bruker India Scientific (P) Ltd, Andheri east, Mumbai-400093 | kranthi.babu@gmail.com | M/s. Bruker India Scientific (P) Ltd, Andheri east, Mumbai-400093 | kranthi.babu@gmail.com | vgsp@uohyd.ac.in
FE-SEM facility with EDS and accessories | FE-SEM | University of Hyderabad | Carl Zeiss NTS GmbH, Germany | ULTRA 55 | ULTRA 55-36-75 | Government | VC Special Grant | Field Emission Scanning Electron Microscope | The ZIESS Ultra 55 offers ultra high resolution for both secondary electrons (SE) to image surface information and backscattered electrons (BSE) to present compositional information. The EsB detector features an integrated filtering grid to enhance image quality and requires no additional adjustments. | School of Physics | Common Facility | 24000000 | www.zeiss.co.in | Working | XI Plan | 22100000 | 2065000 | 500000 | M/s. Carl Zeiss India Bangalore Pvt Ltd., Bangalore-560099. | webmaster@zeiss.com | Carl Zeiss India Bangalore Pvt Ltd., Bangalore-560099. | webmaster@zeiss.com | nsrgsp@uohyd.ac.in
Confocal Micro Raman Spectrometer | Raman Spectrometer | University of Hyderabad | Horiba Jobin Yvon SAS, France, Europe. | LABRAM-HR | - | Government | VC Special Sanction-OBC Grants | Confocal Micro Raman Spectrometer | The LabRAM HR Evolution is a fully achromatic spectrometer covering a very wide spectral range from 200 nm to 2200 nm due to its multilaser and multidetector capabilities. | School of Physics | Common Facility | 12400000 | www.horiba.com | Working | XI Plan | 11200000 | 1200000 | 130000 | M/s. Laser-Spectra Services India Pvt. Ltd., Bangalore-560054 | admin@laser-spectra.com | Laser-Spectra Services India Pvt. Ltd., Bangalore-560054 | admin@laser-spectra.com | ammanabrolu@uohyd.ac.in
Scanning Near-Field Optical Microscope | NSOM | University of Hyderabad | Nanonics Imaging Ltd., Israel. | Multiview 4000 | - | Government | DST-FIST | Scanning Near Field Optical Microscope | The power of independently controlled multiprobe AFM with all SPM modes is exclusively and only available today in the Multiview 4000. As many as four probes operate simultaneously and independently, with each probe having its own feedback and scanning capabilities. Measure sophisticated properties only possible with the availability of multiple probes such as electrical, thermal and optical properties of devices. It is a novel and only platform containing multiple probes/AFMs for advanced experiments such as: nanoscale transport, optical pump-probe, and read-write experiments. | School of Physics | Common Facility | 28500000 | www.nanonics.co.il | Working | Project | 30000000 | 1540000 | 1200000 | M/s. Labindia Instruments Private Limited, Hyderabad, Telangana, India. | enquiry@labindia.com | M/s. Labindia Instruments Private Limited, Hyderabad, Telangana, India. | enquiry@labindia.com | ashok_vs@uohyd.ac.in
Rheometer | Rheometer | Room No: P-127 School of Physics, University of Hyderabad | Anton Paar | MCR 501 | 80418719 | University of Hyderabad | UoH | UGC | Rheometer with rheomicroscopy, electro and magnetorheology, Rheo-SALS facilities | School of Physics | Rheometer | 9000000 | www.surajitdhara.in | Working | Common facility | 9000000 | 9000000 | 0 | Anton Paar | vijay vijaya.saradhi@anton-paar.com | Anton Paar | vijay vijaya.saradhi@anton-paar.com | vijay vijaya.saradhi@anton-paar.com
Supercontinuum laser source | SC laser | P123 | NKT Photonics | SuperK Extreme (EXR-15), LLTF Contrast (Vis, NIR) | 18120115 Ver 18 | DST-PURSE grant | DST-PURSE grant | Establishment of research facility | Laser source spanning the visible and NIR spectral region | School of Physics | Supercontinuum laser | 65,00,000 | https://www.nktphotonics.com/products/supercontinuum-white-light-lasers/ | Working &Available | Characterization | 60,00,000 | 65,00,000 | 30000 | Advanced Photonics, India | sales@advancedphotonicsindia.com | Advanced Photonics, Mumbai | sales@advancedphotonicsindia.com | sales@advancedphotonicsindia.com
Electron Beam Evaporation Sysytem | EB-PVD | Hyderabad | Hind High Vacuum (HHV) company Pvt. Ltd. | TF 600 | NA | DST PURSE | DST | - | Electron Beam evaporation system with all necessary accessories | CASEST, School of Physics | Thinfilm deposition | 86,90,000 | https://hhv.in | Working | PVD | 24,33,200 | 11123200 | NA | HHV, India | sed@hhv.in, eed@hhv.in | HHV. India | sed@hhv.in, eed@hhv.in | svnsp@uohyd.ac.in
DC and RF Sputtering | RF-PVD | Hyderabad | Advanced Process Technology Pvt. Ltd. | SQC-310 | NA | Plan grants | UGC | - | RF/DC magnetron Sputtering System with all necessary accessories | CASEST, School of Physics | Thinfilm deposition | 47,02,500 | https://aptglobal.com | Working | PVD | 8,63,438 | 5565938 | NA | APT, India | atul_nagras@aptglobal.com | APT, India | atul_nagras@aptglobal.com | svnsp@uohyd.ac.in
DYNACOOL PPMS 9T | DYNACOOL PPMS 9T | SCHOOL OF PHYSICS, UoH | QUANTUM DESIGN | DYNACOOL PPMS 9T | D-538 | INSTITUTION OF EMINENCE, UNIVERISTY OF HYDERABAD | INSTITUTION OF EMINENCE, UNIVERISTY OF HYDERABAD | EQUIPMENT UNDER IOE | DYNACOOL PPMS 9 TESLA | SCHOOL OF PHYSICS | DYNACOOL PPMS | 42391650 | https://qdusa.com/ | WORKING | PPMS | 42391650 | 42391650 | 400000 | QUANTUM DESIGN, USA | info@qdusa.com | QD INDIA | info@qd-india.com | ammanabrolu@uohyd.ac.in